## Slide 1: An-Najah National University Building Engineering Department
Integrated redesign of Lemon W Na3Na3 Restaurant
Prepared By:
Lama Jarrar
Maryam Abu Taha
Nora Awartani
Supervisor:
Eng. Moayad Salhab.

## Slide 2: CONTENTS:
Architectural
Site & Location
Environmental Design
Passive Design
Structural Design
Electro-Mechanical Design
Fire & safety
BOQ
1

## Slide 3: Site location

## Slide 4: Site Location
Lemon W Na3na3 restaurant is located in the North-East of Nablus city, behind An-Najah-National University.
2

## Slide 5: Site location

## Slide 6: Second basement floor
3

## Slide 7: First basement
4
Before
After

## Slide 8: Ground floor
5
Before
After

## Slide 9: First floor
6

## Slide 10: North Elevation
7

## Slide 11: West elevation
8

## Slide 12: Sections
Section A-A
Section B-B
9

## Slide 13: ENVIRONMENTAL DESIGN

## Slide 14: Daylighting
The model of the restaurant from Design Builder is as shown below:
Modifications for day lighting were as shown below:
using drapes inside.
Using low transmission double glass filled with Argon.
10

## Slide 15: Daylight analysis for Ground floor:
Before
After
11

## Slide 16: Daylight analysis for first floor:
12

## Slide 17: Thermal DESIGN

## Slide 18: Materials and layers for construction elements in the restaurant:
External walls
Partitions
13

## Slide 19
Materials and layers for construction elements in the restaurant:
Flat roof
Site and source energy
The energy = 61.54 KW/m2
14

## Slide 20: Comfort graph for the restaurant:
15

## Slide 21: HVAC system:
The used system for HVAC is VRV.
Cooling load for the building = 100.60 KW.
The system components are from TROX and DAIKIN.
Air handling unit from DAIKIN with cooling capacity = 111.70 KW
VAV box from DAIKIN
Split unit from Samsung with an air flow of 0.10 m3/s.
TROX ceiling diffuser with an air flow rate 0.042 m3/s.
TROX wall diffuser with an air flow rate 0.035 m3/s.
16

## Slide 22: Duct distribution:
Duct distribution for ground floor
Duct distribution for first floor
17

## Slide 23: HOODS distribution for the main kitchen:
HOODS distribution in the kitchen.
The used hood with different sizes.
18

## Slide 24: Structural design

## Slide 25: Structural system:
The used structural system for all floors is two-way ribbed slab, except for the parking floor U-BOOT slab was used.
Ribs distribution for second floor
Ribs distribution for first floor
19
Two-way ribbed slab section

## Slide 26: ETABS model
U-BOOT slab
20

## Slide 27: Seismic checks:
1. Period check:
T calculated = 0.65 sec
T ETABS= 0.78 sec
T calculated almost = T ETABS period check is ok.
2. Base Shear check:
Base shear |  |  | 
V main | 3207.5 | Old scale factor | 2230
V secondary | 1069 | Old scale factor | 8920
Shear values for the main X from ETABS are greater than the manual values so the shear check is ok.
3. Drift check:
All drifts from ETABS for all stories < 100 mm so drift check is ok.
21

## Slide 28: Footing layout:
Critical isolated footing (F1)
22

## Slide 29: Columns sections:
Beam sections:
23

## Slide 30: Retaining wall design:
24

## Slide 31: Water tank design:
25
Water tank raft footing
Water tank solid slab

## Slide 32: ELECTRO-MECHANICAL DESIGN

## Slide 33: * Artificial lighting
The Luminaires we used: * Lighting with switches
Rec Rec Mounted on wall Pendant
Rec
Pendant
Sur-mounted
Pendant
26

## Slide 34: Results from DIAlux evo for the first basement floor.
Parking
Store
Kitchen
27

## Slide 35: Results from DIAlux evo for the ground floor.
WC
Main Dining Hall
Bar
28

## Slide 36: For the first floor.
Office
Main Dining Hall
29

## Slide 37: Sockets plan for the kitchen and main dining hall:
30

## Slide 38: The electrical load of power, lighting and loud speaker system in the ground floor
The electrical load of power, lighting and loud speaker system in the main distribution board
30

## Slide 39: Mechanical system
Water tank :
In our project we used a concrete underground water tank.
Water tank capacity = 50 m3, with a dimensions of (4 × 4 × 3.10) m.
Water collector :
31

## Slide 40: Total Fu & water demand:
Diameter of pipes on basement : Diameter of pipes on G.F & F.F :
Pipe | Diameter
Vertical pipe | 2.5’’
Horizontal pipe | 1.5’’
Branch pipe | 1.25’’
Pipe | Diameter
Vertical pipe | 2”
Horizontal pipe | 2’’
Branch pipe | 0.5’’
32

## Slide 41: Summary for diameter & pipe slope :
33

## Slide 42
34

## Slide 43: Drainage pipes and manhole on the site:
35

## Slide 44: Safety DESIGN

## Slide 45
The symbols of the suppression system in the plans
The symbols for the detection
and notification system.
The emergency lights and signs
36

## Slide 46
37
Fire escape plane:

## Slide 47
Wet chemical sprinkler
Extinguisher type C & K
Heat detector
Emergency sign
Wall sprinkler
38

## Slide 48: ACOUSTICAL DESIGN

## Slide 49: Used materials with absorption coefficients:
Surface | Finish material | Frequency Hrz |  |  |  |  |  |  |  | 
 |  | 63 | 125 | 250 | 500 | 1000 | 2000 | 4000 | 8000 | 16000
Wall 1 | Agenda decoration | 0.05 | 0.05 | 0.10 | 0.17 | 0.34 | 0.61 | 0.83 | 0.60 | 0.60
Wall 2 | Plaster | 0.12 | 0.09 | 0.07 | 0.01 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02
Windows | Double glass | 0.11 | 0.09 | 0.05 | 0.03 | 0.02 | 0.02 | 0.02 | 0.03 | 0.03
Ceiling | Gustaf panels | 0.50 | 0.50 | 0.60 | 0.55 | 0.45 | 0.45 | 0.45 | 0.20 | 0.20
Floor | timber | 0.05 | 0.04 | 0.07 | 0.09 | 0.14 | 0.12 | 0.10 | 0.14 | 0.17
Frequency(Hrz) | RT60
125 | 1.00
250 | 0.80
500 | 0.94
1000 | 1.01
2000 | 0.93
4000 | 0.80
8000 | 0.97
Reverberation time (RT60):
RT60 zero occupied
Frequency(Hrz) | RT60
125 | 1.00
250 | 0.81
500 | 0.94
1000 | 1.04
2000 | 0.99
4000 | 1.00
8000 | 0.96
RT60 100% occupied
39

## Slide 50: Sound transmission class (STC):
40
STC should be > 50 dB.
STC for exterior walls without glazing
STC for glazing
STC composite
STC for partitions

## Slide 51: Impact insulation class (IIC):
41
IIC value according to standards should be > 60 dB
IIC for the ceiling

## Slide 52: Loud speakers:
42
The used speakers are ACE 1250 that are used in the main dining hall.
ACE 1250
Parameter | Standard value
Sound pressure level (SPL) | (75-90) dB
Back ground noise | (40-45) dB
Speech transmission index(STI) | >= 0.50
Standards
Frequency | Direct SPL | Average | Maximum | Minimum
125 Hz | 75.10 | 78.20 | 85.07 | 59.72
250 Hz | 74.82 | 78.10 | 83.57 | 60.45
500 Hz | 73.05 | 77.72 | 84.24 | 59.83
1000 Hz | 73.46 | 76.91 | 79.95 | 68.77
2000 Hz | 71.15 | 76.50 | 81.68 | 69.76
4000 Hz | 69.26 | 74.25 | 79.62 | 67.65
8000 Hz | 67.58 | 73.47 | 79.47 | 65.98
SPL for the main dining hall

## Slide 53: STI for the main dining hall
43
Frequency | STI | Average | Maximum | Minimum
125 Hz | 0.67 | 0.70 | 0.75 | 0.66
250 Hz | 0.67 | 0.70 | 0.75 | 0.66
500 Hz | 0.67 | 0.70 | 0.75 | 0.66
1000 Hz | 0.67 | 0.70 | 0.75 | 0.66
2000 Hz | 0.67 | 0.70 | 0.75 | 0.66
4000 Hz | 0.67 | 0.70 | 0.75 | 0.66
8000 Hz | 0.67 | 0.70 | 0.75 | 0.66
Articulation loss
Frequency | Articulation Loss | Average | Maximum | Minimum
125 Hz | 4.64 | 3.91 | 4.84 | 2.95
250 Hz | 4.64 | 3.91 | 4.84 | 2.95
500 Hz | 4.64 | 3.91 | 4.84 | 2.95
1000 Hz | 10.00 | 10.00 | 10.00 | 10.00
2000 Hz | 13.00 | 13.00 | 13.00 | 13.00
4000 Hz | 16.00 | 16.00 | 16.00 | 16.00
8000 Hz | 19.00 | 19.00 | 19.00 | 19.00

## Slide 54: Quantity surveying and cost estimation

## Slide 55: Quantity Surveying
The total cost of the restaurant is 1,890,651 NIS and the total area of the restaurant is 1850 m2 which means that the
total unit cost per m2 is 1021.97 NIS/ m2.
Structural Work=910533.55NIS
Formwork= 128,065.40 NIS
Finishes Work=348411 NIS
Electrical work=150580 NIS.
Mechanical work=353062NIS