## Slide 1: Graduation Project 2 Structural Analysis And Dynamic Design Of Bonyan Building
An-Najah National University
Faculty of Engineering
Civil Engineering Department
By:
Fu’ad AL-Khalde
Ramzi Droobi
Mahmoud Hmedat
Mohanad Johar
Supervisor:
Dr . Mahmoud Dwaikat

## Slide 2: Outline
Introduction.
Dynamic Analysis And Verifications.
Dynamic Design.
Discussion & Conclusion.

## Slide 3: Introduction
Project description
Design Code
Materials
Loads
Load Combination

## Slide 5
Commercial building
Rafedia-Nablus
Area of land =
Total area of the building :
Introduction
PROJECT DESCRIPTION

## Slide 7
Floor number | Function
Basement three & two | Parking
Basement one | Stores ( warehouse )
Ground floor | Stores ( commercial stores )
First, Second & Third floors | Exhibitions
Fourth, Fifth, Sixth & Roof floors | Offices
Introduction
PROJECT DESCRIPTION
Notes: The project consists of three floors with a total area about 360 m2.The first floor has residence for the imam 56 m2, center for learning Holy Quran 120 m2 , bathrooms 30 m2 , place to ablutions 21 m2 and place to special case 64 m2. The second floor has place for men to pray 292 m2. The third floor has place for woman to pray 135 m2 . In addition , it contains minaret has 36 m high from ground and its base area about 10m2 and dome has 12.2 m high from ground and its base area about 13 m2 .

## Slide 8
ACI 318-14
ASCE07-10
UBC 97
Introduction
DESIGN CODES
Notes: The project consists of three floors with a total area about 360 m2.The first floor has residence for the imam 56 m2, center for learning Holy Quran 120 m2 , bathrooms 30 m2 , place to ablutions 21 m2 and place to special case 64 m2. The second floor has place for men to pray 292 m2. The third floor has place for woman to pray 135 m2 . In addition , it contains minaret has 36 m high from ground and its base area about 10m2 and dome has 12.2 m high from ground and its base area about 13 m2 .

## Slide 9
Materials:
Concrete B350 (f’c = 28 Mpa)
Concrete B400 (f’c = 32 Mpa)
Yielding steel (fy = 420 Mpa)
Unit Weight of RC =
Modulus of elasticity of steel ( E = 200 Gpa )
Introduction
Materials
Notes: The project consists of three floors with a total area about 360 m2.The first floor has residence for the imam 56 m2, center for learning Holy Quran 120 m2 , bathrooms 30 m2 , place to ablutions 21 m2 and place to special case 64 m2. The second floor has place for men to pray 292 m2. The third floor has place for woman to pray 135 m2 . In addition , it contains minaret has 36 m high from ground and its base area about 10m2 and dome has 12.2 m high from ground and its base area about 13 m2 .

## Slide 10
Materials:
Material | Unit weight( KN/)
Plain concrete | 23
Filler material | 17
Blocks for partitions | 12
Blocks for Ribbed slab | 10
Masonry stone | 27
Tiles | 26
Material | 
Plain concrete | 23
Filler material | 17
Blocks for partitions | 12
Blocks for Ribbed slab | 10
Masonry stone | 27
Tiles | 26
Introduction
Materials

## Slide 11
Live Loads
4 KN/m^2 | Garages (Parking)
2.5 KN/m^2 | Offices
6 KN/m^2 | Storage
5 KN/m^2 | Exhibition
10 KN/m^2 | Roof
Introduction
LOADs
Notes: The project consists of three floors with a total area about 360 m2.The first floor has residence for the imam 56 m2, center for learning Holy Quran 120 m2 , bathrooms 30 m2 , place to ablutions 21 m2 and place to special case 64 m2. The second floor has place for men to pray 292 m2. The third floor has place for woman to pray 135 m2 . In addition , it contains minaret has 36 m high from ground and its base area about 10m2 and dome has 12.2 m high from ground and its base area about 13 m2 .

## Slide 12
Super imposed dead load = 4.5 KN/m^2
Walls weight:
1. Masonry wall = 25 KN/m
2. Block wall = 11 KN/m
Typical cross section in R.C. slab
Introduction
LOADs

## Slide 13
According to “UBC 97" The ultimate load combinations are:
1.4D
1.2D + 1.6L + 0.5 (Lr or S)
1.2D + 1.6 (Lr or S) + (f1 L or 0.8W)
1.2D + 1.3W + f1 L + 0.5 (Lr or S)
1.2D + 1.0E + (f1 L + f2 S)
0.9D + (1.0E or 1.3W)
Where:
D: Dead load.
L: Live load.
E = ρ Eh + Ev
Introduction
LOAD COMBINATIONs

## Slide 14
According to “UBC 97" The service load combinations are:
D
D + L + (Lr or S)
D+( W+ )
0.9D+
[D+.75 [ L+( or S) + (W or ) ]
Where:
D: Dead load.
L: Live load.
E = ρ Eh + Ev
Introduction
LOAD COMBINATIONs

## Slide 16: For Block 1:

## Slide 17
Beams |  | Columns | 
Section Dimensions (mm) | Name | Section Dimensions(mm) | Name
400*800 | B1, B2, B3, B4, B5, B6, B7, B8, B9, B10, B11, B12, B16, B17, B18, B19, B20, B21, B22, B23, B24, B25, B26, B27, B28, B29, B30 | 1200*900 | C1,C2,C4,C6, C7, C13, C14.
 |  | 1000*800 | C3, C5, C8,C9, C10, C11, C12
300*320 | B13,B14,B15,B31,B32 ,B33 ,B34, B35, B36, B37, B38, B39, B40, B41, B42, B43, B44 |  | 

## Slide 18: Section In Slab

## Slide 19
For Ribbed Slab.

## Slide 20
For Beams.

## Slide 21
For Column.

## Slide 22
For Roof Column.

## Slide 23
For Shear Walls.

## Slide 24
Dynamic Analysis And Verifications

## Slide 25
Compatibility Check:

## Slide 26
% of difference | SAP (KN) | Hand (KN) | Load type
0.5 | 88595 | 88186 | Dead
0.04 | 32245.25 | 32233.38 | Live
0.00 | 23767.55 | 23760.00 | S.D.
0.00 | 18864.52 | 18864.46 | Wall
Equilibrium Check:

## Slide 27
Frame
Local Equilibrium Check:

## Slide 28
Column
Beam
Local Equilibrium Check:

## Slide 29
% of difference | SAP (KN.m) | Hand (KN.m) | Element type
2.7 | 195.2 | 200.7 | Frame
8.0 | 222.8 | 205.3 | Beam
% of difference | SAP (KN) | Hand (KN) | Element type
8.8 | 2030.00 | 2227.5 | Column
Local Equilibrium Check:

## Slide 30
In X-Direction :
In Y-Direction:
 Our Building is regular
Torsional Irregularity Check:

## Slide 31
Check Modal Participation Mass Ratio:

## Slide 33
Method A:
Method B:
Period Check:

## Slide 34
TSAP = 0.84 sec ≈ Tmethod B  OK.
Tmethod B Should be less than 1.4 Tmethod A
0.85 < 1.4*0.81= 1.13 sec  OK.

## Slide 35: Define Response Spectrum Function

## Slide 36: Response Spectrum Parameters
Seismic Zone factor ( Z )
Soil classification
Seismic coefficients ( Ca , Cv )
Seismic Importance Factor ( I )
Structural System Coefficient ( R )

## Slide 37: Seismic Zone Factor:
Nablus city
Zone 2B
Z = 0.2 g

## Slide 38: Site Classification:
qall = 250 KN/m^2
Soft Rock
Sc

## Slide 39: Seismic Coefficient Ca:
Ca = 0.2

## Slide 40: Seismic Coefficient Cv:
Cv = 0.32

## Slide 41: Importance Factor:
Commercial building
I = 1.0

## Slide 42
Shear Wall
Bearing Wall
Bearing Wall System
R = 4.5
Structural System Coefficient (R):

## Slide 43
W = D.L + SID + 0.25 L.L = 139288 KN.
Z | 0.2
Ca | 0.24
Cv | 0.32
I | 1
R | 4.5
Base Shear By ELF method (V):

## Slide 44: Base Shear (V):
139288 = 12228 KN
 V = 12228 KN

## Slide 45: Dynamic Analysis
Define of Response Spectrum Function By SAP program :

## Slide 47: Response Spectrum in X-Direction:
Scale Factor = gI/R = 9.81 * 1 /4.5
= 2.18

## Slide 48: Response Spectrum in Y-Direction:
Scale Factor = gI/R = 9.81 * 1 /4.5
= 2.18

## Slide 50
Base Reactions in X And Y-Direction:

## Slide 51
Allowable drift = 0.02*Story height (m)
OK
Drift Check:

## Slide 52
 use 14 cm
Seismic Joint:

## Slide 53: Structural Elements design
Contents:
Design of slabs.
Design of beams.
Design of columns.
Design Of Shear Wall
Design Of Mat Foundation
Design Of Stairs

## Slide 54
Two way ribbed slab:
Elements Design
DESIGN OF SLab

## Slide 55
The max immediate deflection due to service load from SAP = 17 mm.
The long term deflection is about twice of immediate deflection = 17*2 = 34 mm.
The allowable deflection = L / 240
= 10.5m / 240 = 44 mm > 34 mm.
OK.
Deflection Check:

## Slide 56
Ok. Or Not Ok | ɸVc (KN) | V23 (KN) | V13 (KN) | Slab Type
OK. | 138.9 | 34.4 | 45.3 | Solid (Roof)
Ok. Or Not Ok | ɸVc (KN/rib) | V23 (KN/rib) | V13 (KN/rib) | Slab Type
OK. | 30.55 | 13.89 | 23.3 | Ribbed
Check Shear:

## Slide 57
As,min.=

Design For Flexure:

## Slide 59
Shrinkage steel | +Ve Steel | -Ve Steel | Slab Type
/m |  |  | Ribbed
Shrinkage steel | +Ve Steel | -Ve Steel | Slab Type
 |  |  | Ribbed

## Slide 60
Elements Design
DESIGN OF beams

## Slide 63
Elements Design
DESIGN OF COLUMNS

## Slide 64
Columns Steel Reinforcements:

## Slide 65
Detailed Cross Section In Column (C1):

## Slide 66
 use
 use
 use

## Slide 67
Detailed Longitudinal Cross
Section In Column:

## Slide 68
Design Of Shear Wall:

## Slide 70

 Use 5 ϕ10 / m in both sides.
Vertical steel :

 Use 5 ϕ10 / 1m in both sides.
Design For Flexure:

## Slide 71
For Pu = 13900
Mux(M2) =4290KN.m

## Slide 72
For Pu = 13900
Muy(M3) =56KN.m

## Slide 73
Detailed Cross Section In shear wall

## Slide 74
Design Of Mat Foundation:

## Slide 75
Max Deflection Of Mat Foundation
Check For Deflection:

## Slide 76
Max Pressure Under Mat Fondation
Maximum stress on the footing is
244 KN/m2 < 250 KN/m2  Safe
Check Soil Pressure:

## Slide 77
Pu = 9620KN
 OK
Check Punching Shear:

## Slide 78
Moment Diagram For Column Strip
As,min /2 = 0.0018*1000*1100 / 2 = 990 mm2  420 /m
For M=5000KN.m/column strip
M=5000/4 = 1250KN.m /m532/m in X-direction ( bottom steel )
For M=1800 KN.m/column strip
M=1800/4 = 450KN.m /m520 /m in X-direction ( Top steel )
Design For Flexure:

## Slide 79
Steel Reinforcement In X-direction

## Slide 80
Steel Reinforcement In Y-direction

## Slide 81
Thickness of the flight:
Design Of Stairs:

## Slide 82
The own weight of stairs
The live load is assumed = 5 KN/.
The SD load = 3 KN/.
Loads On Stairs:

## Slide 83
Vu=19.3 KN/m
 there is no need for shear reinforcement.
Check For Shear:

## Slide 84
Deflection limitation :
 OK.
Check For Deflection:

## Slide 85
Stair station | Positive(left) | Positive(at the middle) | Positive(Right)
Moment 22 (kN.m) | 9 | 23 | 10
Mu = 23 KN.m /m Use (4 12/ m) for all longitudinal steel ( main steel )
For transverse steel use
Use (5 10/ m ) for each layer
Design For Flexure:

## Slide 86
Discussion & Conclusion