## Slide 1
An-Najah National University
Faculty of Engineering and Information Technology
Building Engineering Department
Graduation Project – 2
Redesign of Nablus Municipality building.
Prepared By :
1.Anas Shawahni
2.Monjed Saleem
3.Muath Yameen
4.Yazan Fashafsheh
Supervisor:
Dr. Luay N. Dwaikat.

## Slide 2
Introduction.
Site Analysis.
Architectural aspects.
Environmental aspects.
Structural aspects.
Electro mechanic aspects.
Cost Estimation.
Contents:

## Slide 3
Introduction
Objectives:
Redesigning and development the building, all aspects and engineering systems will be included where all weaknesses and problems of the building will be taken into account during the operation process.

## Slide 4
Site Analysis:
Location:
The land on which the Municipality will be built located in Yafa street near Jamal Abdul Nasser park.

## Slide 5
Architectural Design.

## Slide 6
General Information.
Floors.
Elevations.
Sections.
Architectural Design.

## Slide 7
General Information.
The land area is about 3000 m².
The municipality contains 7 floors, two of them are basement floors.
The main entrance in East elevation.

## Slide 8
Site Plan.
before
after

## Slide 9
  Basement (2) floor.
  Floor height = 3.75 m.
after
before

## Slide 10
  Basement (1) floor.
  Floor height = 3.75 m.
after
before

## Slide 11
Ground floor
  Floor height = 3.75 m.
after
before

## Slide 12
First floor.
  Floor height = 3.75 m.
after
before

## Slide 13
Second floor.
  Floor height = 3.75 m.
after
before

## Slide 14
Third floor.
  Floor height = 3.75 m.
after
before

## Slide 15
Forth floor.
  Floor height = 3.75 m.
after
before

## Slide 16
N - E

## Slide 17
S - E

## Slide 18
E - E

## Slide 19
W - E

## Slide 20
Section 2-2

## Slide 21
Environmental
aspects

## Slide 22
The orientation building.
Thermal Design.
Daylight factor.
The important parameter of environmental assessment

## Slide 23
The Orientation and sun path of the building.

## Slide 24
Thermal Design
Design builder model

## Slide 25
insulation of building envelopes
U-value=0.339 W/m2. K
U-value=0.489 W/m2. K
U-value=0.32 W/m2. K
External wall
Ground floor
Flat roof
Standard U-value=0.5 W/m2. K
Standard U-value=0.8 W/m2. K
Standard U-value=0.35 W/m2. K
Notice that all U-value for envelope are less than the LEED standard values
Passive design

## Slide 26
Glazing Insulation
Lighting type
Standard U-value for window =2.1 W/m2. K
U-value for window =1.49 W/m2. K

## Slide 27
2-Shading systems
East and west curtain
South elevation
East elevation windows
North elevation

## Slide 28
3-Photovoltaic system (PV) analysis and design:
Number of panels are 315 panel
The amount of annual emission reduction is 81.1-ton CO2 and its equivalent to reduce the emission of not using of 15 cars for 1 year.
RET screen results for PV system

## Slide 29
Life cycle cost and payback period analysis on RET screen program
Total revenue =1.36 million $ after 25 years system life
Simple payback period =3.4 years
Equity payback period=3.3 years

## Slide 30
Cash flow diagram
Notice that the system is very efficient and useful as its payback its cost after just 3 years.

## Slide 31
Manually system capacity calculation
Design builder results for PV system
PV system saves about 74 % of total energy consumption of the building
Comparison between manually and Design builder program results

## Slide 32
Cooling and heating design results
heating design results

## Slide 33
All values are less than 80 W / m2 because the improvements in the building envelope and the sealing for infiltration (0.3 ach/hr.)
Total heating design capacity is 111.62 KW

## Slide 34
Cooling design results
Total internal gains in the building
Notice that maximum gain came from external glazing and occupant

## Slide 35
Simulation results from design builder

## Slide 36
Pierce thermal comfort scale
Based on PMV set from the figure, most values are between -1 and 1, Standard comfort range of Pierce is (-1 to 1) ,the clients are comfortable in the building .

## Slide 37
Daylight factor after modification comparison
Ground floor
First floor

## Slide 38
Second floor
Third floor

## Slide 39
Forth floor
Most of values in floors are within standard threshold
Standard daylight factor threshold is (2-10)%

## Slide 40
Acoustical Design.
 ceiling → gypsum perforated suspended ceiling
 Floor → Carpet + tile
 wall → plaster + glass
Material Choices:

## Slide 41
EASE program
the values of RT60 in this analysis its in the avg. in the a reverberation time in the range (1.2 to 1.7 ) seconds
the most value is acceptable.
Multipurpose halls

## Slide 42
Direct SPL
Sound pressure level (SPL) must be 65-80dB

## Slide 43
Total SPL:
This value represents the sum of the direct and indirect sound.

## Slide 44
Articulation Loss :
The value of Articulation Loss must be less than 12% and her its acceptable.

## Slide 45
STC for wall
we have a composite wall & STC value for wall must be more than 45dB.

## Slide 46
STC value for ceiling:
STC value for ceiling must be over 60dB

## Slide 47
Structural Design.

## Slide 48
Structural Design
General Information
Design code :
ASCE-7 for loads and combinations.
American Concrete Institute ACI 2014 for design.
Materials:
1. Concrete.
Concrete used for slabs Columns (f'c=28 Mpa) …..(B350).
2. Steel rebar .
Steel yield strength Fy= 420 Mpa.
Loads:
Live Load for parking = 5 KN/m².
Live Load for floors = 3 KN/m².
Superimposed dead load = 4.5 KN/m².
Properties of Materials:
specific weight of Reinforced concrete = 25 KN/m³.
Specific weight of block = 12 KN/ m³.
Weight of Masonry wall = 21 KN/m.
Weight of glazing wall = 16 KN/m.

## Slide 49
3D model after run .

## Slide 50
Compatibility check.
All members moving together.
The check is OK.

## Slide 51
Equilibrium check

## Slide 52
Internal force checks.

## Slide 53
Seismic checks:
Period check:
Limit =0.7924 sec
period from ETABS = 0.762
period from ETABS < Limit
Check is OK.

## Slide 54
Seismic checks:
Drift Check.
All Value for Delta is less than limit
Check is OK.

## Slide 55
Slab Structural System:
Two way ribbed slab.
Thickness of slab = ln\30 = 11.2 / 30 = 40 cm.

## Slide 56
Slab and Beams:
Basement 2&1 Floor
GF Floor

## Slide 57
Slab and Beams:
(1st), (2nd)&(3rd ) Floor
(4th ) Floor

## Slide 58
Columns Design:

## Slide 59
Beams Design:

## Slide 60
Footing Design:
Isolated footing.
wall footing.
Mat footing.

## Slide 62
Electrical aspect

## Slide 63
Artificial Lighting Design
The modern lighting was determined on the Deluxe program, then, at that point, the structure is raised to the program and the spaces are arranged by their utilization and the capacities for which they were planned, then, at that point, the program makes the estimations after the necessary contributions from the program client are entered

## Slide 64: Luminaire list
Artificial Lighting Design
Type Luminaire

## Slide 65: Luminaire list
Artificial Lighting Design
Type Luminaire

## Slide 66: Stander lux of rooms. office 300 lux multi purpose 500 lux reception 500 lux wc 400 lux office manger 500 lux meeting room 500 lox corridor 300 lux
Artificial Lighting Design

## Slide 67: The recommended and standard for office room space
Artificial lighting Render in office room

## Slide 68
Artificial lighting Render in multi-purpose hall
The recommended and standard for multi-purpose hall

## Slide 69
Artificial lighting Render in office manager
The recommended and standard for office manager

## Slide 70
Artificial lighting Render in meeting room
The recommended and standard for office manager

## Slide 71: sockets in the zones of the building
Ground Floor
First Floor

## Slide 72
second Floor
third Floor

## Slide 73
fourth Floor

## Slide 74: Lighting and Switch plan
Ground Floor
First Floor
Lighting distributions throughout the building's spaces in accordance with the Dialux program distribution for units

## Slide 75
second Floor
Third Floor

## Slide 76
Fourth Floor

## Slide 77
Basement 2 Floor

## Slide 78: Summary of electrical loads consumed by the building
I=power/(power factor *voltage)
I: Current. (A) P: Power. (W)
V: Voltage = 380 Volt. P.F: Power Factor = 0.95.
3-phase fuse were used due to the relatively large loads
Current Calculations for Socket and Lighting
Socket and Lighting Demand Power Calculations

## Slide 79: Elevator
Passenger Capacity
According to the standard and calculations, needed number of elevators =4

## Slide 80: Electrical Generator for emergency
Generator model that used.
Location for Generated in building basement 2
Generator Capacity = 40 KW

## Slide 81
mechanic aspects

## Slide 82: Mechanical aspect water supply distribution:
Ground floor:

## Slide 83: 1st Floor

## Slide 84: 2nd Floor

## Slide 85: Water supply calculation:
Main Vertical (Gf , 1st , 2nd , 3rd , 4th ) |  |  | 
 | FUS = 190 , Flow = 88 gpm |  | 
Diameter | 3" | 2.5" | 2"
Loss/100 | 1.5 | 3.8 | 10
Loss/100.56 | 1.51 | 3.82 | 10.06
Main Horizontal (Gf , 1st , 2nd , 3rd , 4th ) |  |  | 
 | FUS = 38, Flow = 22 gpm |  | 
Diameter | 1.5" | 1.25" | 1"
Loss/100 | 3 | 8 | 23
Loss/14.4 | 0.43 | 1.15 | 3.31
Main Branch (Gf , 1st , 2nd , 3rd , 4th ) |  |  | 
 | FUS = 5 , Flow = 5 gpm |  | 
Diameter | 1" | 3/4" | 1/2"
Loss/100 | 1.3 | 5.5 | 40
Loss/25.2 | 0.33 | 1.39 | 10.08
# of F.U for feeder 1 in ground floor:
The diameter of pipe for feeder 1 :
total number of F.U for feeder 1 :
So, we chose 3” for main vertical
And 1.5” for main horizontal
And 1” for branch

## Slide 86: Drainage system
ground floor:

## Slide 87: First Floor

## Slide 88: Second Floor

## Slide 89: Drainage water calculation
# of D.F.U in ground floor:
pipe function | Diameter | Slope | Pipe Type
Vent | 4" | 0% | PVC
Stack | 4" | 0% | PVC
Drainage | 4" | 1% | PVC
Sewer | 2" | 2% | PVC
Drainage between Manhole | 6" | 1% | PVC
Our chosen pipe diameters:
Line diagram:

## Slide 90: Fire fighting system Ground Floor:

## Slide 91: Second floor

## Slide 92: evacuation paths in the building :

## Slide 93
HVAC system
Selected indoor and outdoor units
High wall indoor unit
4-way cassette unit

## Slide 94
Sections from HVAC system layout for the 66.89 Ton refregirent cooling capacity

## Slide 95
Quantity surveying & Cost Estimate