An-Najah National Universty Faculty of Engineering and Informayion Technology

Graduation project 1

FOUNDATION OF SALAHAT BULDING

By Ahmad Hussain 11716159 Mahdi Ghazal 11715164 Osama Abo-Baker 11715952

Under Supervision : Dr. Monther Ibrahem

Project aims :

- Designing the foundations of the Salahat building located in Al-Ma'ajin area - Nablus , Considerate Design suitable bases to carry at least 7 floors .

- check up the soil of the site to be built on and leveled to see how much it can bear the pressure on it.

- Estimating the appropriate types of footing based on the soil report Choose the best type of footing based on strength and cost

Procedure :

- Soil samples were taken from the site and tested in the laboratory .

- We distributed the loads to the entire building through the SAP program .

- We calculated the amount of loads on the bases through the SAP program .

- Appropriate rules were taken into account based on the soil report .

Results:

Based on the soil report the top soil is marl soil of medium plasticity that have medium swelling potential. 
A Shallow foundation was used for this site after improving the site with  40 cm of compacted base course and the allowable bearing capacity in this case is 210 kN/m2 (2.1 kg/cm2).