## Slide 1
3D Analysis and Design
Maythoon Police Station
By:
-Yara herzallah.
-Qasam Osta Ali.
Supervisor : Dr. Imad Al-Qasem.

## Slide 2: Outline
Introduction.
What we do in graduation project 1.
Dynamic analysis:
-Modes and period.
-Response spectrum analysis.
Design of structural element.

## Slide 3: Introduction
Maythalon police station is located in Jenin city in Palestine, This building divided in two parts, the first part consists of ground floor, one top floors, and staircase and the second part consists of two floors with a total area 842.2 m^2
Structural elements will be designed as reinforced concrete members according to strength and serviceability criteria as specified in ACI 318 for gravity load and as specified in IBC 2012 for seismic load.

## Slide 4
We have two Blocks.
Floor | Area | Height
Ground | 482 | 3.85
First | 279.4 | 3.75
staircase | 48 | 3.25

## Slide 6: What we do in GP1?
Definitions Of Material.
  fˋc=30 MPa (columns, shear walls,Footing).
  fˋc=24 MPa (slabs &beams).
CONCRETE
  fy=420 MPa.
STEEL

## Slide 7: What we do in GP1?
stories =5kN/m^2
staircase=5KN/m^2
Dead
Superimposed
Live
Gravity Load
  Wall = 20.8KN/m.
  Slab= 5 KN/m^2

## Slide 8: Structural Systems
One way solid slab(block A)
GF
&stair case
One way solid slab(block B)
GF
&First Floor
0.16m&0.15m thickness
0.18m ,0.2m thickness

## Slide 9
Columns
250*250mm
300*300mm
300*500 mm (Block A)
Beam

## Slide 10: 3D Model(A)

## Slide 11: 3D Model(B)

## Slide 12: DYNAMIC ANALYSIS
Response Spectrum Analysis

## Slide 13: Definition of Mass Source

## Slide 14: Seismic Parameters
0.2 | z
Rock(B) | Soil
0.5 | Ss
0.25 | Sa
1.25 | I
5 | R

## Slide 15: Seismic Zone Factor Z

## Slide 16: Site Class

## Slide 17: Site Coefficient at Short Period Fa

## Slide 18: Site Coefficient at 1-second Period Fv

## Slide 19: Risk Category

## Slide 20: Seismic Importance Factor I

## Slide 21: Response Modification Coefficient R

## Slide 22: Define Of Response Spectrum Function:

## Slide 23: Response Spectrum In X-Direction
Factor = (gI/R)*(3/2)
= (9.81*1.25/5) * 1.5
= 3.67
(1/3)*3.67
=1.2233
Ey=EY+0.33Ex

## Slide 24: Response Spectrum In y-Direction
Factor = (gI/R)*(3/2)
= (9.81*1.25/5) * 1.5
= 3.67
(1/3)*3.67
=1.2233
Ey=EY+0.33Ex

## Slide 25: Modal Mass Participation Ratio
According to IBC Code, we should have Modal Participating Mass Ratio (MPMR) more than 90% in both directions
at 12 modes we achieve 90%
Block A:

## Slide 26: Modal Mass Participation Ratio
Block B:
The mass participation ratio is very small in (x,y) direction because the model is moving in z direction mainly and the Model has a lot of shear wall .

## Slide 27: Verifications of structural analysis
Equilibrium Check
Stress Strain Check
Check deflection(Immediate and long term )
Check shear

## Slide 28: Equilibrium
SAP
Dead
Superimposed
Live
Hand Calculations
4461.65 KN
4403.4KN
1987.37KN
1987.37KN
1894.9KN
1894.9KN
Differences
1.3%
0%
0%
Block A:

## Slide 29: Equilibrium
SAP
Dead
Superimposed
Live
Hand Calculations
3756.3KN
3780.2KN
535.8KN
535.766KN
1420KN
1413.2KN
Differences
0.6%
0%
0.49%
Block B:

## Slide 30: Stress-strain
Block A:
Block B:

## Slide 31: Immediate deflection
* Allowable Deflection on solid slab (Block A):
From ACI 318-08 maximum deflection
= L/240
=(3.7*1000)/240=15.41 mm.
* Allowable Deflection on solid slab (Block B):
=(5.04*1000)/240=21 mm

## Slide 32: Immediate deflection in solid slab
maximum deflection in Solid slab = 14.97 mm
Block A

## Slide 33: Immediate deflection in solid slab
maximum deflection in Solid slab = 21 mm
20.21
Block B

## Slide 34: Long Term Deflection
The long term deflection is given by the following equation:
Δ Long term = Δ L + λ∞ x Δ D + λt x Δ SL
To find T
Where:
λt = λ∞ , since we assumed that the live load will sustained for 5 years ≈ ∞
λ = (such that is the compression steel ratio, T is a multiplier for long term deflection)
Δ L= deflection due to live load
Δ D= deflection due to dead load
Δ SL= deflection due to sustained live
As we notice from the figure at time 5 years
(60 months):
λ= = 2

## Slide 35: Long Term Deflection
* ∆Lt on Solid slab (Block A)
∆Lt = 0.21 + 2* 2+ 2*0.12 = 4.45 mm < 15 mm

## Slide 36: Long Term Deflection
* ∆Lt on solid slab (Block B)
∆Lt = 2.71+ 2* 1.81+ 2*1.24 = 8.8 mm < 21 mm
→(OK).

## Slide 37: Check shear
Vu from SAP = 34KN.
→ 34 < 85.73 KN.
→ ( OK ).
Block A

## Slide 38: Check shear
Vu from SAP = 34KN.
→ 20 < 33.9 KN.
→ ( OK ).
Block B

## Slide 39: Design of structural element.
Load combinations
DESIGN OF SLAB
DESIGN OF BEAMS
DESIGN OF COLUMNS
Design of shear wall
Design of stair
DESIGN OF FOOTINGS

## Slide 40: Load Combination
U = 1.4D (9-1)
U = 1.2D + 1.6L + 0.5(Lr or S or R) (9-2)
U = 1.2D + 1.6(Lr or S or R) + (1.0L or 0.5W) (9-3)
U = 1.2D + 1.0W + 1.0L + 0.5(Lr or S or R) (9-4)
U = 1.2D + 1.0E + 1.0L + 0.2S (9-5)
U = 0.9D + 1.0W (9-6)
U = 0.9D + 1.0E (9-7)
Where:
U: ultimate load
D: dead load
L: live load
W: wind load
E: earthquake Load
H: load due to weight or pressure of soil
ACI 318M-11-Equations (9.1-9.7)

## Slide 41: DESIGN OF SLAB
design of Solid slab (Block A)
DESIGN OF solid SLAB (Block B )

## Slide 42: M11 in X direction:
Block A:
Max Positive Moment in panel → Mu = 12.03 KN.m.
Max Negative Moment in panel at both side is→ Mu = 18.9,14.9 KN.m.
use 5φ12/m
For M+
ρ= 0.00165
For M-
ρ= 0.00262
ρ= 0.00205

## Slide 43: M22 in y direction:
Block B:
Max Positive Moment in pannel → Mu = 18.1 KN.m.
Max Negative Moment in pannel at both side is→
Mu = 22 , 18 KN.m.
use 5φ12/m
As min = 0.0018*1000*180 = 324mm2.
ρ =0.00292
ρ =0.00357
ρ =0.00292
use 5φ12/m

## Slide 44: Design of Beams

## Slide 46: Designed Beam
Block A
Block B

## Slide 47: Design of columns
Critical column | Columns | Area gross | Group
C9 = 329.81KN | C1,C4,C9 ,C14,C15, C16, C17, C18, C19. | 250*250 mm | Group 1
C5 = 798.5 KN | C2,C3,C5 ,C6,C7,C8 C10, C11, C12, C13. | 300*300 mm | Group 2
Block A

## Slide 48
Check slenderness:
Lu = 3.85 - 0.25 = 3.6 m
r = 0.3 h = 0.3*0.25 = 0.075 m
M1= 41.226 KN.m
M1= 140.83 KN.m
Ic =3.25 *10-4 m4
IB= = 3.125* 10-3m4
IC = 0.7* 3.25 *10- 4 = 2.275*10-4 m4
IB= 0.35*3.125*10-3 = 1.1*10-3 m4
Kx :
ΨA=0
ΨB= 0.186
Ky :
ΨA=0
ΨB= 0.453
Take K = 0.59
KLu/r=0.59*3.6/0.075<
34-12M1/M2
28.32 < 33.7
So it’s short column

## Slide 50: Summary of Columns
Bars | Area of steel (mm^2) | Cross sectional area(mm^2) | Critical axial load(KN) | Group
8ф 12 | 625 | 250*250 | 329.81 | 1
8ф 12 | 900 | 300*300 | 798.5 | 2
8ф 12 | 900 | 300*300 | 558.35 | 3

## Slide 51
Ag from SAP =62500 mm^2
As=0.01*250*250=625 mm^2
Use 8φ12
Tie steel:
S ≤ 16* 12 = 192 mm
≤ 480 mm.
≤ 250 mm
Use 1 ф 10 / 150 mm
Group 1

## Slide 52
Block B
Group 3
Group 2
Block A

## Slide 53: Designed shear wall under gravity load
𝑆ℎ𝑒𝑎𝑟 𝑤𝑎𝑙𝑙 ( 𝑋∗𝑌)
= ( 200𝑚𝑚∗2150𝑚𝑚).
𝐶𝑜𝑣𝑒𝑟 =40𝑚𝑚.

## Slide 54: Designed shear wall under gravity load
F22
F11
F22 = 315KN
F11 = 70KN
Ag for strip 1 m = 200*1000=200000KN

## Slide 55: Design Of Shear Wall
Use minimum Shear reinforcement.
→Use 𝜌min=0.0025
𝐴𝑠,ℎ𝑜𝑟𝑖𝑧𝑜𝑛𝑡𝑎𝑙
= 𝜌𝑚𝑖𝑛∗𝑏∗ℎ=0.0025∗1000∗200=500𝑚𝑚2.
500/2=250 𝑚𝑚2 on each side.
Assume ϕ10→4 ϕ10 / m in each side.
As, Vertical
𝑈𝑠𝑒 𝐴𝑠=1505.7𝑚𝑚2.
Assume ϕ12 → 7 ϕ12 / m in each side.

## Slide 56: Design Of Stair
Thickness of flight = 18cm
Load on stair:
*Live = 5 𝑘𝑁/𝑚2
*Superimposed = 5 𝑘𝑁/𝑚2

## Slide 57: Design of Flexure for stair
Flight , Landing
𝐴𝑠= 0.0092*150*1000 = 1380
→ use 8φ16mm/1000mm
Max M33(Negative) = 33.27 KN.m
→ ρ = 0.0041 >0.0018
Use ρ = 0.0041
→ use 8φ16mm/m
Max M33(Negative) = 70.9 KN.m
→ ρ = 0.0092 >0.0018
Use ρ = 0.009

## Slide 58
Design for Transverse steel
𝐴𝑠 𝑠ℎ𝑟𝑖𝑛𝑘𝑎𝑔𝑒 =0.0018×180×1000
=324𝑚𝑚2.
(Use 1 ∅12/250mm )

## Slide 59: Design of Footing

## Slide 60: Design of Footing
Footing 1:
Pservice = 595.733 KN Pu= 798.49 KN
Footing area = 1.5 m2 ,
use B = 1.25 m , L = 1.25 m.
Pu= 798.49 KN
qu =511.03KN/m^2
qall = 400 KN/m

## Slide 61: Check Wide Beam Shear
ΦVc = 0.75∗0.333∗√30∗330∗1000=226 KN
.
Vu= qu(L1-d)= 74.1 KN
.
Vu < ΦVc . OK

## Slide 62: Check Punishing Shear
ΦVc p = 0.75∗0.333∗√30∗330∗2.52=1127 KN
.
Vup= Pu- qu A1= 595 KN
.
Vup < ΦVc p . OK

## Slide 66: check deflection
Max deflection in Footing = 9.51 mm < 10 mm .

## Slide 67: Check allowable max stress
Stress=28.92/0.3*0.3=321 KN/m^2 < 400 OK

## Slide 68: Check Shear from Ultimate Load
Capacity of section ok
ϕ Vc = 226KN
Vu=75.43/1.25=60.3
Section Cut at d