## Slide 1
Supervisor:
Dr. Ahmad Saleh
HEALTH Clinic
Prepared By:
Yazan Yameen
Rafeeq Amous
Building Engineering Department
Graduation project II
Supervisor:
Dr. Moatasem Babaa

## Slide 2: contents
Introduction
Architectural aspect
Environmental aspect
Structural design concept
Electrical aspect
Mechanical aspect
System integration
Cost Estimation

## Slide 3: Introduction
Health Clinic
located in Palestine – Nablus city
It consist of second floor

## Slide 4
Architectural Aspect

## Slide 5
Project plans
Site Plan

## Slide 6
Project plans
Ground Floor Plan

## Slide 7
First Floor Plan
Project plans

## Slide 8
Environmental Aspect

## Slide 9
Shading
Day light factor
Material Properties
Acoustical Analysis
Solar Radiation
Contents

## Slide 10
Material properties
External Wall
Roof material
Window Glass

## Slide 11: Shading
Shading in Winter at 8:00AM

## Slide 12: Shading
Shading in Winter at 3:PM

## Slide 13
Solar Radiation
After Treatment

## Slide 14: Daylight Factor
After Treatment
Ground floor

## Slide 15
Acoustical Analysis
STC (Sound Transmission Class ) for Internal Wall

## Slide 16
STC (Sound Transmission Class ) for
External Wall and OITC (Outdoor–Indoor Transmission Class)
(55 - 60 dBA)
Where the outdoor background noise level is between 55 dBA and 60 dBA, Since the amount of (background noise level) is 55dBA so that OITC rating not less than 55 – 25= 30dB this value is less than the actual OITC value of the wall 50dB, so its acceptable
Acoustical Analysis

## Slide 17: Structural Aspect

## Slide 18
Ground floor Plan

## Slide 19
ETABS model for all blocks :
Block 1
Block 2
Block 2

## Slide 20
Codes :
ACI318-14 Code
UBC-97
Material Specification :
Compressive strength (F'c = 28MPa)
Yielding strength of steel (Fy = 420Mpa)
Loads :
Live Load = 5KN/m2
SID = 4.3KN/m2
Wall Load = 22KN/m
Information Analysis :

## Slide 21
The parameters seismic analysis :
Seismic zone : the building is located in Tulkarem city therefore the seismic zone is (2B) and the Z value is 0.20 .
Soil profile : type of soil is rock so the soil profile is SB .
Force Reduction Factor R = 5.5 (Building Frame System is used) (shear wall) .
Importance factor I = 1.25
Acceleration-Dependent Seismic Coefficient Ca = 0.2
Velocity-Dependent Seismic Coefficient Cv = 0.2
Weight source : Dead Load 100% and Live Load 25% .
Information for seismic Analysis :

## Slide 22
Slab Thickness(ribbed slab” used : 25 cm
Sections of Beams: 60*30cm, 50*50cm, 30*30cm and 50*50cm
Columns Sections: 50*50 cm, 21*100cm
Shear Wall: 21cm thickness
Element dimensions :

## Slide 23
Models from programs :

## Slide 24
Drift check for block 2 :
Drift check for block 1 :
:All drifts in floors is less than limit .
All drifts in floors is less than limit .
The values from ETABS is greater than manual values .
Seismic checks :

## Slide 25
Table of design for block 1:
Detailing for columns :
Design columns :

## Slide 26
Detailing for columns :
Design columns :

## Slide 27
Detailing for beam :
Design beams :

## Slide 28: Detaling of beams

## Slide 29
Detailing for slab :
Design slab :

## Slide 30
Plan footing
Design footing :
Allowable bearing capacity of soil = 350 KN/m2

## Slide 31
Detailing for footing and Tie beam :
Design footing :

## Slide 32
Detailing for water tank:
Design water tank :

## Slide 33
Electrical Aspects

## Slide 34
3F FILIPPI
LI43
Luminaries used in project
Artificial Lighting

## Slide 35
Result from DIALux .
Rendering for exteral building .

## Slide 36
All Luminaries used for the building.

## Slide 37
Distribute the lighting and branch on the ground floor
Symbols of Lighting

## Slide 38
Distribute the lighting and branch on the first floor

## Slide 39
Distribute the Sockets on the Ground floor
Symbols of Socket

## Slide 40
Distribute the Sockets on the First floor

## Slide 41
Distribution of circuit breaker in distribution board ground and first floor
Main distribution board

## Slide 42
Main distribution board of circuit breaker in the ground floor
Main distribution board

## Slide 43: Mechanical Aspects
Plumbing system
Water Supply system
Fire Fighting system
HVAC system

## Slide 44
Plumbing system
NODE | SERV | Type | WFU | GPM | Size | Pipe Length | Pressure Drop (PSI)
1 | CW | FT | 30.5 | 19.67 | 1-1/2" | 3 | 0.06
 | HW | FT | 10.5 | 7.87 | 1" | 3 | 0.07
NODE | SERV | Type | WFU | GPM | Size | Pipe Length | Pressure Drop (PSI)
1 | CW | FT | 61 | 32.35 | 2" | 7 | 0.09
 | HW | FT | 21 | 14.06 | 1-1/4" | 7 | 0.16

## Slide 45
Plumbing system
NODE | SERV | Type | WFU | GPM | Size | Pipe Length | Pressure Drop (PSI)
2 | CW | FT | 54.5 | 30.08 | 2" | 2 | 0.02
 | HW | FT | 4.5 | 4.33 | 3/4" | 2 | 0.05
NODE | SERV | Type | WFU | GPM | Size | Pipe Length | Pressure Drop (PSI)
2 | CW | FT | 109 | 45.04 | 2" | 7 | 0.16
 | HW | FT | 9 | 6.98 | 3/4" | 7 | 0.46

## Slide 46
Plumbing system
NODE | SERV | Type | WFU | GPM | Size | Pipe Length | Pressure Drop (PSI)
3 | CW | FT | 6 | 5.21 | 3/4" | 0.6 | 0.02
 | HW | FT | 6 | 5.21 | 3/4" | 0.6 | 0.02
NODE | SERV | Type | WFU | GPM | Size | Pipe Length | Pressure Drop (PSI)
3 | CW | FT | 12 | 8.75 | 1" | 7 | 0.19
 | HW | FT | 12 | 8.75 | 1" | 7 | 0.19

## Slide 47
Water consumption
Size of water tank
Water supply
For Laundry Per Bed: - |  | 
NO. of Bed | 40 | Bed
Assume daily water consumption in L/bed | 600 | L/bed
Daily water consumption | 24 | m3
Daily Domestic Water Consumption: - |  |  | 
water consumption per day for the building |  | 24 | m3
Daily Irrigation Water Consumption: - |  |  | 
water consumption per day for the building |  | 0 | m3
Total Daily Water Consumption For the Building: - |  |  | 
total consumption of water per day |  | 24 | m3
multiply the water consumption in 10% safety factor |  | 26.4 | m3
Under Ground or Ground Water Tank |  |  | 
the storage capacity for 2 days |  | 52.8 | m3
Roof Water Tank Capacity |  |  | 
the storage will be for 1 day |  | 26.4 | m3

## Slide 48
The symbols of the suppression system in the plans
Fire fighting system

## Slide 49
Fire fighting in floors
Fire fighting system
Distribution for Reception Hall:
L=8.5m
W=8.5m
Area = 57
Number of Sprinklers = = = 2.12 =3 spr
Distance between two sprinklers S = = 2.8 m
Distance between sprinkler and wall =

## Slide 50
Pump design room
Fire fighting system

## Slide 51
HVAC system
The system used in the project VRF system
The table below shows the amount of design capacity for building floors

## Slide 52
Specification of VRF System components
  1- Diffuser
  2- Fan coil (daiken company)
HVAC system

## Slide 53
  3- Outdoor unit(daikken company)
HVAC system

## Slide 54
  daimension of duct
HVAC system

## Slide 55
Distributing the HVAC system on the Ground floor
Symbols of HVAC system
HVAC system

## Slide 56
Cost Estimation
Mobilization = 18000 NIS
Excavation = 269950.1 NIS
Water Tank = 39166.5 NIS
Site Work = 515648.8 NIS
The information below is for the entire building

## Slide 57
Thank
You