## Slide 1
“Economic and Technical Analysis of a Grid-Connected Photovoltaic System and Battery Energy Storage System”
Supervised by:
Dr. Aysar Yasin
Prepared by:
Hasan Dawod
Hybrid Systems
An-Najah National University
Faculty of Engineering & Information Technology
Energy and Environment Department

## Slide 2
Outlines
Overview
01
Objective
02
Methodology
03
Case Study
04
Results
05

## Slide 3
Overview
Operating Time
System Capacity
System Control
Optimal Operation State
Economically Feasible
Peak Time
Highest Cost

## Slide 4
Objective
Studying several cases to achieve the best operating state;
And the more feasibility state.

## Slide 5
START
Set PV-BES system power rates
Read hourly data
Irradiation, Temperature, Load
Calculate the PV system hourly energy production
EA,h
No
No
EA,h > EL,h ? SOCB,h > KB-min ?
Yes
Yes
No
No
SOCB,h = KB-max ?
EL,h > 0 ?
Yes
Yes
No
Energy still available ?
Yes
END
Purchase the energy from the grid EG,h
Sell the energy surplus to the grid
Charge BES system
Discharge BES system and supply the energy demand EB,h
Supply the energy demand EA,h
Methodology

## Slide 6
Methodology
Scenario 2
Scenario 3
Financial analysis
Maximum storage capacity
The storage system works at peak time
The storage system operates at evening
Electricity costs
Scenario 1
On grid system

## Slide 7
Case Study
Electricity that transfers to grid from scenario 1 [kW].
Time (hr.) | Electricity in August [kW]
9:00am | 20
10:00am | 40
11:00am | 58
12:00pm | 58
1:00pm | 70
2:00pm | 35
3:00pm | 5

## Slide 8
Case Study
Scenario 2
Scenario 3

## Slide 9
Results

## Slide 10
Results
Battery state of charge for the third scenario.
Hour
SOC [%]

## Slide 11
Results
Period | Charge ($/kWh)
1 | 0
2 | 0.145
3 | 0.16
4 | 0.167
5 | 0.327
Period 1, the system is not working.
Period 2, sells the electricity according to PPA.
Period 3, 10% higher than the PPA cost, at peak time.
Period 4, 15% higher than the PPA cost, when the batteries are working.
Period 5, for the third scenario when the batteries and PV are supplying electricity.

## Slide 12
Results
Scenario 1
Scenario 2
Scenario 3

## Slide 13
Results
Chart: ATCF, Scenario 1
Capital Cost | -1423710
Revenues without inflation | 456902 | 442499 | 422102 | 410696 | 412719 | 404699 | 396679 | 398792 | 400911 | 403031 | 405171 | 407259 | 409420 | 411581 | 413761 | 415956 | 418158 | 420363 | 422522 | 424757 | 426995 | 429251 | 431516 | 433793 | 436071
Rebenues with inflation | 475178.08 | 478606.9184 | 474807.3441 | 480456.2312 | 502135.7692 | 512073.3415 | 522002.5023 | 545774.3887 | 570621.362 | 596584.3344 | 623742.1395 | 652034.7803 | 681714.3954 | 712725.124 | 745160.1858 | 779077.787 | 814530.1754 | 851578.3079 | 890190.1275 | 930694.8929 | 973022.5715 | 1017290.0112 | 1063564.1923 | 1111943.4036 | 1162493.9149
Chart: ATCF, Scenario 3
Capital Cost | -1616896
Revenues without inflation | 780856.6667 | 765850 | 744048 | 732439 | 735683 | 675414 | 721264 | 724956 | 728800 | 732234 | 683545 | 740932 | 744811 | 748739 | 752640 | 703844 | 761202 | 765196 | 769211 | 773214 | 724672 | 782086 | 786050 | 790182 | 794284
Ravenues with inflation | 812090.9333 | 828343.36 | 836952.8095 | 856850.0338 | 895070.8572 | 854614.1796 | 949134.2188 | 992152.3445 | 1037309.6489 | 1083885.1937 | 1052286.1229 | 1186256.0038 | 1240165.0641 | 1296573.6917 | 1355462.12 | 1318286.6119 | 1482745.753 | 1550146.6943 | 1620611.5615 | 1694207.0899 | 1651359.4139 | 1853480.308 | 1937389.6527 | 2025476.8116 | 2117431.1447

## Slide 14
Scenario | Annual Energy Production [kWh] | Net Capital Cost [$] | Annual Worth [$] | Net Present Value [$] | SPP [year] | IRR | LCOE [$/kWh]
Scenario 1 | 2,807,312 | $1,423,710 | $479,154 | $3,193,164 | 2.3 | 35% | 0.0365
Scenario 2 | 2,808,975 | $1,616,896 | $470,207 | $2,887,778 | 2.6 | 31% | 0.044
Scenario 3 | 2,809,182 | $1,616,896 | $847,638 | $6,352,127 | 1.5 | 52% | 0.044
Results
Scenario 3 achieves the highest financial parameters.
Despite the LCOE for Scenario 1.
Scenario 2 also achieves good economic indications.

## Slide 15
Thank You