## Slide 1: Design of Wastewater collection network for Amman Street, Nablus
By: Izz Ad-Din Jamal Dweikat (11716459)
Sa’eb Shaker Dweikat (11716814) under supervisio of: Dr. Mohammad N.Almasri

## Slide 2: OUTLINE 01 03 02 04
Introduction
Methodolgy
Case Study
Limitations
Data Calculation
05
Design
06
Results
07
Cost Estimation
08
Recommendations
09

## Slide 3: Introduction
Amman street is located 2Km to the east from the center of Nablus.
With 1.2Km length, Amman street is one of the most important streets in the city.
High traffic volume.
Combined system for drainage.
About the study area:
1

## Slide 4: Study Area
Location:

## Slide 5: Case Study
Problems in the wastewater collection network:
2

## Slide 6: Project Objectives
Study the drainage system in Amman Street Area.
To Redesign the combined wastewater collection network for this area using SewerCAD.
To estimate the cost of the redesigned network.

## Slide 7: Methodology
1. Determination of the project Idea.
2. Obtaining all the required drawings from Nablus Municipality.
4. Selection of the study area using GIS maps.
5. Computing of the hydraulic loads
7. Analysis the current network
6. Data input/entry to network using SewerCAD
3.making a couple of meetings with different
Municipal Engineers.
8. Redesign the network and calculate the cost
3

## Slide 8: Limitations
Topographic Nature is a big challenge.
Lack of important data such as:
  The precise population in the area.
  The water consumption rate.
A 1-meter contour map will give better details about the elevation.
4

## Slide 10: Data Calculation
5

## Slide 11: Data Calculation

## Slide 12: Data Calculation
The Population is determined using approximate method that use the number of buildings in the count:
466
3
2
5

## Slide 13: 13,980
Persons

## Slide 14
Year
2017
2018
2019
2020
2021
Nablus
155545
158557
2026
2023
2022
164758
161630
2025
2024
177638
174387
167931
184152
180897
171150
r = 1.89%
P2022 = 13980 persons
P2052 = 24516 persons

## Slide 15: Manhloe Load Calculation:
Total Load = Population x W.C/c-d x W/WW% x PHF x (1+infiltration)
13980
24516
86/100
86/100
80%
80%
4
4
1+0.05
1+0.05
Current =
Future
(30Years) =

## Slide 16: Manhloe Load Calculation:
Total Loads:
Current
Future (30 Years)
4039.6 m3/day
7084.14 m3/day
Number of Manholes = 243
Manhole load
Current
Future (30 Years)
16.6 m3/day
29.15 m3/day

## Slide 17: Design Constrains
Velocity: 0.6m – 3.5m
Slope: 1% - 12%
Cover depth: 1.0m – 4.0m
6

## Slide 18: SewerCAD Model

## Slide 19: Results
7
Current Design

## Slide 20: Results
Current Design

## Slide 21: Results
Current Design

## Slide 22: Results
Current Design

## Slide 23: Results
Current Design

## Slide 24: Results
Current Design

## Slide 25: Results
Current Design

## Slide 26: Results
Future Design

## Slide 27: Results
Future Design

## Slide 28: Results
Future Design

## Slide 29: Results
Future Design

## Slide 30: Results
Future Design

## Slide 31: Results
Future Design

## Slide 32: Results
Profile

## Slide 33: Cost Estimation
8
Sewer
.
86,265$
Re-paving
.
206,090$
Labor Cost
.
94,690$
Sewer
Pipes
31,109$
Excavation Cost
258,313$
Total Cost = 676,467$
Cost/KM = 121,448$

## Slide 34: Recommendations
9
Precise Survey about this area.
Another area must be checked.

## Slide 35
Thanks
GG WP