## Slide 1: “Redesign Cultural Center in Nablus City”
Prepared By:
Haitham Aker
Ahmad Awwad
Mahmoud Qawareq
Supervisor: Eng. Alaa Shaheen
Faculty of Engineering & Information Technology
Department of Building Engineering
An-Najah National University

## Slide 2: Contents:
Site analysis
Architectural Design
Environmental Design
Structural system Design
Electro-Mechanical system Design
Safety design
Quantity Survey and Cost Estimation

## Slide 3: Site Analysis

## Slide 4
Site analysis
The site is located in Nablus city near the old campus of An-Najah National University, it’s in the Northern side of Al Jamaa street and rise about 597 m above sea level. Site has a total area of 2692 m2.

## Slide 5: Site analysis
Building area = 1954 m2

## Slide 6: Architectural Design

## Slide 7: Basement 2
Old Basement 2 area = 1812 m2
New Basement 2 area = 1796 m2

## Slide 8: Basement 1
Old Basement 1 area = 1832 m2
New Basement 1 area = 1816 m2

## Slide 9: Ground Floor
Old Ground Floor area = 1484 m2
New Ground Floor area = 1508 m2

## Slide 10: First Floor
First Floor area = 1508 m2

## Slide 11: Southern Elevation

## Slide 12: Northern Elevation

## Slide 13: Eastern Elevation

## Slide 14: Western Elevation

## Slide 15: Section A-A

## Slide 16: Section B-B

## Slide 17
3D model

## Slide 18
3D model

## Slide 19: Environmental Design

## Slide 20
Thermal Design
Old U value for building envelope
Component | U-value (w/m2-k)
External Wall | 0.514
Partition Wall | 1.955
Floor | 0.513
Roof | 0.467
Windows (Double glass) | 2.665
Component | U-value (w/m2-k)
External Wall | 0.442
Partition Wall | 1.955
Floor | 0.487
Roof | 0.368
Windows (Double glass, low e, 6 mm) | 1.493
New U value for building envelope

## Slide 21: Shading
Design Builder program ( 3D Model )
Summer day (sun path 21/6 at 12:00 pm )
Winter day (sun path 21/1 at 8:00 am )

## Slide 22
Heating and cooling load
Heating load 194 kw
Cooling load 248 kw
Site and Source Energy
Thermal Design
Old total site energy
New total site energy

## Slide 23
Comfort PMV-Set
Old PMV graph
New PMV graph

## Slide 24: Daylight analysis
D.F% | Floor
1.55 | Basement 2
1.75 | Basement 1
1.83 | Ground Floor
2.00 | First Floor
Overcast sky

## Slide 25: Acoustics Design
RT60 (Reverberation Time)
For Theater

## Slide 26
RT60 (Reverberation Time)
Element | Finish material | Absorption coefficient(α) at each frequency |  |  |  |  |  |  |  |  | 
 |  | 63HZ | 125 HZ | 250 HZ | 500 HZ | 1000 HZ | 2000 HZ | 4000 HZ | 8000 HZ | 16000HZ | 
Ceiling | Acoustical Tile | 0.7 | 0.66 | 0.72 | 0.92 | 0.88 | 0.75 | 0.75 | 0.75 | 0.75 | 

## Slide 27
Sound Transmission Class(STC)
TL = 50 dB
External Wall

## Slide 28
TL = 46 dB
Internal Wall
Sound Transmission Class(STC)

## Slide 29
IIC For Ceiling
IIC = 70 dB

## Slide 30: Structural Design

## Slide 31: Codes and Loads
Loads
Live Load = 5 kN/
SID = 6.8 kN/
Eq Load coefficients (UBC-97)
R = 5.5 , I = 1
Z = 2B (Nablus) , Cv=0.2 , Ca = 0.2
Soil Profile (SB)
Codes
UBC-97 for Earthquake design
ACI 318-14 for RC structure design
Structural design

## Slide 32: Structural system
Materials
Concrete B350
Steel fy = 420 Mpa
Structural design
Structural System
One Way Ribbed Slab
With Drop Beams
Final Design Sections
Slab thickness 40 cm
Beams dimensions ( 60* 90 & 60 * 70 ) cm and others
Columns dimensions(50*50 & 90*60)cm and others
Walls Thickness 30 cm

## Slide 33: 3D-Modeling
Structural design

## Slide 34: Model Checks
Structural design
Compatibility Check

## Slide 35: Model Checks
Structural design
Done for Dead, SID and Live load within difference less than 5 %.
Equilibrium Check
Internal Forces Check
Done of all item slab, beams and columns within difference less than 10%

## Slide 36: Model Checks
Structural design
Deflection Check
Limit = L/240
= 27500/ 240 = 114mm
Uz from Etabs =55.9mm
Check is ok
Period from ETABS = 0.348 sec.
Period from hand calculation= 0.57
T from ETABS < 1.4 from hand calc.
0.348 sec.< 0.799 sec.
Period Check

## Slide 37: Slab Reinforcement layout
Structural design

## Slide 38: Slab Reinforcement
Structural design

## Slide 39
Structural design
Beams Reinforcement
One sample of beams that taken in detail: -

## Slide 40
Structural design
Columns Reinforcement
One sample of columns that taken in detail: -

## Slide 41
Structural design
Columns Reinforcement
Table of other columns reinforcement: -

## Slide 42
Structural design
Footing Reinforcement
One sample of isolated footing that taken in detail:-

## Slide 43
Structural design
Footing Reinforcement
One sample of combined footing that taken in detail:-

## Slide 44
Structural design
Footing layout

## Slide 45
Structural design
Shear Wall Reinforcement

## Slide 46
Structural design
Water tank design
Wall design
Base design

## Slide 47
Structural design
Water tank design
Roof design

## Slide 48
Structural design
Stairs Reinforcement

## Slide 49
Structural design
Past and New Design
Past
Not Designed For Seismic Load
No construction joint
Use the Hidden Beams.
There is no water tank design.
New Design
Earth quick Design Based
There a construction joint
all beams are Drop Beams.
There is water tank design.

## Slide 50: Mechanical Design

## Slide 51: Water demand = 30 /day
Water Supply System

## Slide 52
Water Supply System
Old number of tanks = 4
New number of tanks = 17
fresh water
Gray water
sprinkler tank

## Slide 53
Drainage system

## Slide 54
Drainage system

## Slide 55
Rain Water Drainage
Storm Water Tank size = 340 m3

## Slide 56: (HVAC (System
VRV system used
From Design builder
Total Cooling load 248 kw
Total Heating load 194 kw

## Slide 57: (HVAC (System
VRV system
Outdoor unit Selected From Daikin company
Outdoor unit uses (RXQ30TANYM(E)

## Slide 58: (HVAC (System
VRV system
indoor unit From Daikin company
depending on load capacity for each space.
Fan coil (FXZQ50MVE)
slim unit uses provided by Daikin

## Slide 59: Ground floor HVAC system layout

## Slide 60: Electrical Design

## Slide 61: First Floor socket plan

## Slide 62: First Floor Lighting Plan

## Slide 63: Luminaires Layout

## Slide 64: Sample of 3D Rendering model (Dialux)
Library
Computer lab

## Slide 65: Firefighting and Safety Design

## Slide 66
1. Sprinkler system
Emergency Fire Protection System

## Slide 67
2. Fire extinguisher
Emergency Fire Protection System

## Slide 68
3. Fire hose reel
Emergency Fire Protection System

## Slide 69
Emergency Egress System
Escaping Plan for basement(1) Floor

## Slide 70
(3) Elevator of (1.8m*1.8m) are calculated
Elevator System

## Slide 71: Quantity Surveying and Cost Estimation

## Slide 72
Unit Direct Cost = 8,348,097/5600 = 1546 NIS /m2
Cost Estimation
Unit Direct Cost = 430 $ /m2
Unit Cost (NIS/m2) | Total Cost (NIS) | Item
 | 2,215,330 | Excavation Work
 | 3,687,560 | Structure Work
 | 1,761,327 | Finishing work
 | 301,914 | Mechanical Work
 | 363,266 | Electrical Work
 | 18,700 | Safety Work
1546 | 8,348,097 | Total

## Slide 73
Thank You