## Slide 1: Design of Businessmen Forum Building
An-Najah National University
Faculty of Engineering & Information Technology
Department of Building Engineering
Graduation Project ll
Prepared by: Supervisor:
Raya Blawneh Dr. Narmin Al Barq
Wardah Bsharat

## Slide 2: Contents of Presentation
Site Analysis
Architectural Design
Structural Design
Environmental Design
Electro – Mechanical Design
Quantity Surveying

## Slide 3: Site Analysis

## Slide 4: Site Analysis
Total site area = 1000 m2
Building area = 500 m2
Notes: The site plan speaks for itself and it mainly shows how the building behaves with the surroundings. Total site land is approx. 2000 and the building area is 500
The basement garage ramp is shown here, building main entrance, parking spaces in front of the building.

## Slide 5: Architectural Design
Southern Elevation
Notes: Moving on to the first design phase, this slide shows a 3D shot of the building entrance modelled by 3D Max

## Slide 6: Architectural Design
Western Elevation
Notes: The upcoming slides will present the main architectural drawings. This shows furnished basement floor plan

## Slide 7: Architectural Design
Section A-A
Notes: Ground floor plan

## Slide 8: Architectural Design
Section B-B
Notes: First floor plan. Section B-B is taken in the floor plans here

## Slide 9: Architectural Design
3D Model
Notes: Section b-b in

## Slide 10: Architectural Design
3D Model
Notes: SW Elevation

## Slide 11: Architectural Design
3D Model
Notes: NW Elevation

## Slide 12: Architectural Design
3D Model
Notes: NW Elevation

## Slide 13: Structural Design
3D Structural Model
Notes: The extruded 3D Model presented is taken from etabs

## Slide 14: Structural Design
Design Codes
ACI -318-14 for Reinforced Concrete Structural Design
UBC -97 for Seismic Load Calculation Design
Design Data
Concrete B350 with fʹc = 28 MPa for All Structural Elements
Allowable Bearing Capacity of Soil = 250 KN/m²
Design Loads
Super Imposed Load = 4 KN/m²
Live Load = 5 KN/m²
Notes: The design codes used in the design are 1 2 ..
Design data shows the used concrete in all structural elements which is the b350 with compressive strength of 28. Qall = 175
The SD load = 4 and the LL=3

## Slide 15: Structural Design
3D ETABs Deformed Model
Notes: The building was structurally modelled using ETABs and This shows the structure’s deformed shape after running the model

## Slide 16: Structural Design
Model Primary Checks
Model was checked and is valid for:
Compatibility
Equilibrium
Internal Stress-Strain Interaction
Notes: Primary checks were conducted and the model is valid for compatibility, equil and the internal reactions are okay

## Slide 17: Structural Design
Model Dynamic Checks
Building Time Period Check
Tmanual = 0.763 sec
TETABs = 0.777 sec
Notes: The four main dynamic checks were also obtained. The time period and base shear check are shown as a sample here.

## Slide 18: Structural Design
Results and Reinforcement
Slab Design
Voided Slab Thickness=50cm
U-boot height= 40cm
Notes: Moving on to the final stage of the structural design, results and elements reinforcement. The slab design section is shown here.

## Slide 19: Structural Design
Results and Reinforcement
2. Column and Stair Design
Notes: Sample footing section and detailing here

## Slide 20: Structural Design
Results and Reinforcement
2. Footing Design
Notes: Sample footing section and detailing here

## Slide 21: Environmental Design
External Wall
U-Value = 0.521 W/m2.k

## Slide 22: Environmental Design
Flat Slab
U-Value = 0.30 W/m2.k

## Slide 23: Environmental Design
3D Shot in Design Builder show shading on the building
21st Dec
12:00p.m
21st June
12:00 p.m.

## Slide 24: Environmental Design
Total heating load is 70 kWh
Total cooling load is 151.77kWh
Pierce PMV SET values nearly ranges within the limit (-0.5 and 0.5) throughout the year

## Slide 25: Environmental Design
Energy Consumption
The total energy consumption per meter square is equal
64.96 kWh/m²

## Slide 26: Environmental Design
Acoustical Design
Reverberation time (RT60)
RT60 Range Should be (1.4-1.9)
From table and figure, the RT60 of
Multipurpose hall between the range.

## Slide 27: Environmental Design
Acoustical Design
Sound Transmission Class (STC)
For the internal partition
From Insul software, the
STC value between Multipurpose
Hall and interior equals 38 db is
Less than 40db

## Slide 28: Environmental Design
Acoustical Design
Sound Transmission Class (STC)
For the exterior partition
From Insul software, the
STC value between Multipurpose
Hall and interior equals 39db is
more than 38db

## Slide 29: Environmental Design
Acoustical Design
Distribution of speakers
Number of speaker which was used equals 5 speaker.

## Slide 30: Electro-Mechanical Design
Water supply demand
Notes: These plans show the water system in the building, and here are two samples of the water piping system in ground floor and basement.

## Slide 31: Electro-Mechanical Design
Sanitation System
Notes: Moving to the sanitation system, These plans are showing a sample of the sanitation system of grey, black and storm water in the building.

## Slide 32: Electro-Mechanical Design
HVAC System
VRF with diffuser was used in the building.
Outdoor Unit
Diffuser
Notes: Talking about the HVAC system used in our design, VRF with split units were used in our building, here is the split units distribution in the ground floor.

## Slide 33: Electro-Mechanical Design
VRF System
Notes: A sample of the capacities of indoor units for each zone in basement and ground floor displayed as shown.

## Slide 34: Electro-Mechanical Design
Fire Protection
Hose Station
Hose Station
Sprinkler
Notes: The fire fighting system used in our design is a dry riser, it includes an inlet at street level on the outside face of the building that can be used by the fire department trucks and an outlet in each floor which helps in delivering water as quickly as possible in case of fire.

## Slide 35: Electro-Mechanical Design
Multipurpose hall Results
Eavg = 566 lux
7 Concentric Recessed Lamps
Artificial Lighting Design
Emax = 696 lux
Emin = 408 lux
U = 72%
Notes: Moving to the design of the artificial lighting, Dialux evo were used for these calculations
We have 3 rooms samples starting with the Kitchen results we used 7 concentric recessed lamps and we have got a 518 lux Illuminance and uniformity of 0.62 and the Max UGR = 14 and its all in its ranges and acceptable.

## Slide 36: Electro-Mechanical Design
Notes: Moving to the design of the artificial lighting, Dialux evo were used for these calculations
We have 3 rooms samples starting with the Kitchen results we used 7 concentric recessed lamps and we have got a 518 lux Illuminance and uniformity of 0.62 and the Max UGR = 14 and its all in its ranges and acceptable.

## Slide 37: Electro-Mechanical Design
Notes: Moving to the design of the artificial lighting, Dialux evo were used for these calculations
We have 3 rooms samples starting with the Kitchen results we used 7 concentric recessed lamps and we have got a 518 lux Illuminance and uniformity of 0.62 and the Max UGR = 14 and its all in its ranges and acceptable.

## Slide 38: Electro-Mechanical Design
Meeting room Results
Visual task= 609 lux
Artificial Lighting Design
Surrounding area= 299 lux
Background = 388 lux
Notes: Moving to the design of the artificial lighting, Dialux evo were used for these calculations
We have 3 rooms samples starting with the Kitchen results we used 7 concentric recessed lamps and we have got a 518 lux Illuminance and uniformity of 0.62 and the Max UGR = 14 and its all in its ranges and acceptable.

## Slide 39: Electro-Mechanical Design
Artificial Lighting Design
Notes: Moving to the design of the artificial lighting, Dialux evo were used for these calculations
We have 3 rooms samples starting with the Kitchen results we used 7 concentric recessed lamps and we have got a 518 lux Illuminance and uniformity of 0.62 and the Max UGR = 14 and its all in its ranges and acceptable.

## Slide 40: Electro-Mechanical Design
Artificial Lighting Design
Notes: Moving to the design of the artificial lighting, Dialux evo were used for these calculations
We have 3 rooms samples starting with the Kitchen results we used 7 concentric recessed lamps and we have got a 518 lux Illuminance and uniformity of 0.62 and the Max UGR = 14 and its all in its ranges and acceptable.

## Slide 41: Electro-Mechanical Design
Luminaires Distribution Sample in second floor
Notes: This photo shows the luminaires distribution and its wiring in GF

## Slide 42: Electro-Mechanical Design
Sockets Distribution Sample in basement Floor
Notes: Ending up with this photo showing the sockets distribution and its wiring in GF, and you can find all the other plans in the drawing sheets.

## Slide 43: Electro-Mechanical Design
Total project cost= 4441046 NIS
Notes: Ending up with this photo showing the sockets distribution and its wiring in GF, and you can find all the other plans in the drawing sheets.