## Slide 1
Faculty of Engineering & Information Technology
AL-Qassas Mosque Redesign
Graduation Project II Presentation
Prepared by : Tayseer Katot
Mohammed Khayat
Alaa Saleem
Yousef Kan’an
Supervised by : Dr.Luay Dweikat
An-Najah National University
Department of Building Engineering

## Slide 2
Presentation outline :
1.Introduction
2.Earlier Studies
3.Architectural Design
4.Structural Design
5.Environmental Design
6. mechanical Design
8.Quantity & Cost Estimation
7.Electrical Design

## Slide 3
1.Introduction

## Slide 4
Photos of the existing mosque:

## Slide 5
1.1 Site And Location:
The site is located in (Bit wazan), west of Nablus near To (dawar zawata) ,( tulkarem street) , about 496 m Above sea level, The Site has a total area of 954 m2.

## Slide 6
1.2 Site advantage and disadvantage:
Pros:
-Away from traffic rush.
-Has a quiet surrounding environment.
-Close to the neighborhood residents.
-There is no buildings impedes the building from sun and wind at an exact elevation.
Cons:
-The total area were challenging to redesign the mosque with full specifications required.
- The slop of the land.

## Slide 7
2. Earlier Studies:

## Slide 8
2.1 Solar Analysis:
In a Summer Day:
In a Winter Day:
The Site is fully exposed to sun.
In the midday, it is fully exposed to sun.

## Slide 9
2.2 Noise Analysis:
Manual measured For Back Ground Noise:
Highest value doesn’t exceed 52db.

## Slide 10
2.3 Earlier Conclusions:
Architectural Aspect:
-Mosque Area = 130 m2 for 118-130 Worshipers.
-Important facilities are missed.
- The Material & Design doesn’t provide thermal comfort.
Safety Considerations:
- Emergency Fire Protection System

## Slide 11
2.3 Earlier Conclusions:
Environmental Aspect:
-Low rated thermal comfort in the building.
-Bad Acoustic performance for Pray hall.
-The design does not offer optimal environmental solutions
Structural Aspect:
- Seismic design considerations.
Mechanical Aspect:
- Suitable HVAC system doesn’t exist.

## Slide 12
3. Architectural
Re-design:

## Slide 13
3.1 Building Function:
The building is a mosque.
Normal Working hours from 3:30 am to 10:30 pm.
Used by 140-170 worshipers .

## Slide 14
3.2 Design Modifications:
Table of Areas |  | 
 | Old Design | New Design
Floor | Total Area(m2) | Total Area(m2)
Basement | Doesn't exist | 785
Ground Floor | 130 | 141
Mizanin Floor | 42 | 47
Laibrary | Doesn't exist | 45
Ablution For men | 13 | 30
Ablution For women | Doesn't exist | 20
WC For Men | 24 | 30
WC For woMen | Doesn't exist | 25

## Slide 15
Old Site Plan
New Site Plan

## Slide 16
Old Ground Floor
New Ground Floor

## Slide 17
New Main Elevation
Old Main Elevation

## Slide 18
Old Main Section
New Main Section

## Slide 19
3.3 Improvements:
The Car parking is designed in a new Building while in the old one there was no car parking.

## Slide 20
The Library is designed in a new Building while in the old one there was no Library.
3.3 Improvements:

## Slide 21
Old Ablution & WC
New Ablution & WC
3.3 Improvements:

## Slide 22
3.4 Final architectural plans :
Ground Floor Plan
Mezzanine Floor Plan

## Slide 23
East Elevation
Section B-B
3.4 Final architectural plans :

## Slide 24
3.5 Final Design Photos:
External Render

## Slide 25
Internal Render
3.5 Final Design Photos:

## Slide 26
4. Structural
Design:

## Slide 27
4.1 Codes & Loads & Modifiers :
ACI -318-08 (American Concrete Institution) for reinforced concrete structural design.
UBC-97 (Uniform Building Code) for earthquake load computations.
ASCE (American Society Of Civil Engineers) for design loads.
Live Load = 5 kN/
SID = 6 kN/
Exterior walls =24 kN/m
Eq Load coefficients (UBC-97) :
Z = 2B (Nablus)
R = 5.5
I = 1 ( Normal)
Cv= 0.2 , Ca = 0.2
Soil Profile (SB) ,
Bearing capacity = 350kn/m2
Structural Item | Modifier
Beams | 0.35
Slabs | 0.30
Walls | 0.70

## Slide 28
4.2 Building Description:
Structural Item | Compressive Strength
Slab, Beams & cantilever walls | (B350)
Columns, walls & Foundations | (B350)
Blinding | (B200)
Reinforced Concrete Compressive Strength (fc’)

## Slide 29
4.3 Structural System:
The system of the slab is one way slab(30 cm thickness) with Drop beams

## Slide 30
4.4 Model Checks :
Compatibility Check :
Block one

## Slide 31
4.4 Model Checks :
Compatibility Check :
Block two

## Slide 32
4.4 Model Checks :
Deflection Check:
Block one
Deflection Doesn’t exceed the limitation.

## Slide 33
4.4 Model Checks :
Deflection Check:
Block two
Deflection Doesn’t exceed the limitation.

## Slide 34
4.4 Model Checks :
Base Reaction Checks :
Load | Manual(Kn) | ETABS(Kn) | Error
Dead load | 7647 | 7514 | 1.7%
Live load | 4540 | 4555.3 | 0.34%
Super imposed | 7324.6 | 7152 | 2.35%
Block one
Load | Manual(Kn) | ETABS(Kn) | Error
Dead load | 4427 | 4437 | 0.2%
Live load | 2195 | 2204 | 0. 4%
Super imposed | 2634 | 2645 | 0.4%
Block two

## Slide 35
4.4 Model Checks :
Internal Forces Check:
Done for 3 samples of slab strip, beams and columns within difference less than 10%
Element | Manual | ETABS | Difference
Beam 1 | 257 KN.m | 243.5 KN.m | 5.2 %
Beam 2 | 120 KN.m | 110 KN.m | 8.3 %
Beam 3 | 195 KN.m | 196 KN.m | 1 %
Element | Manual | ETABS | Difference
Column 1 | 494.3 KN | 441.13 KN | 3%
Column 2 | 624 KN | 661.19 KN | 5.9 %
Column 3 | 950.7 KN | 960.4 KN | 5.4%
Element | Manual | ETABS | Difference
Panel 1 | 40 KN.m | 39.5 KN.m | 1.3 %
Panel 2 | 51 KN.m | 48.3 KN.m | 5.3 %
Panel 3 | 47 KN.m | 46 KN.m | 2.12 %

## Slide 36
4.5 Seismic Design:
Period Check:
Thus TBX = 0.096 sec TA= 0.17 sec → ok TBY = 0.072 sec TA= 0.17 sec → ok
So, the check is ok.
Block two
Thus TBX = 0.379 sec TA= 0.384 sec → ok TBY = 0.328 sec TA= 0.384 sec → ok
So, the check is ok.
Block one

## Slide 37
4.5 Seismic Design:
Modal Mass participating ratios check:
68 modes satisfy percentages higher than 90%.
Block one

## Slide 38
4.5 Seismic Design:
Modal Mass participating ratios check:
23 modes satisfy percentages higher than 90%.
Block two

## Slide 39
4.5 Seismic Design:
Base Shear Check:
Load Case / Combo | Fx (kN) | Fy (kN)
EQx | 1425 | 0
EQy | 0 | 1414.3
Manual Base Shear Values :
Base shear (Vx) = 1425KN.
Base shear (Vy) = 1414.3KN.
Block one

## Slide 40
4.5 Seismic Design:
Base Shear Check:
Load Case / Combo | Fx (kN) | Fy (kN)
EQx | 694.7 | 0
EQy | 0 | 695
Manual Base Shear Values :
Base shear (Vx) = 694.7KN.
Base shear (Vy) = 695KN.
Block two

## Slide 41
4.5 Seismic Design:
Drift Check:
Limitation= 2.5%*3.25=81.25mm
Δmx =10.4 mm 81.25 mm
Δmy = 9.24 mm 81.25 mm
Since the drift values are less than limitation, check is OK.
Block one
Limitation= 2.5%*3.5=87. 5mm
Δmx = 0.4 mm 87. 5 mm
Δmy = 2.4 mm 87.5mm
Since the drift values are less than limitation, check is OK.
Block two

## Slide 42
4.6 Reinforcement (Slab):
Block one

## Slide 43
4.6 Reinforcement(Slab):
Block two

## Slide 44
4.6 Reinforcement (Beam):

## Slide 45
4.6 Reinforcement(Columns):

## Slide 46
4.6 Reinforcement(Columns):

## Slide 47
4.6 Reinforcement(Footing):

## Slide 48
4.6 Reinforcement(Footing):

## Slide 49
4.6 Reinforcement(Retaining Wall):

## Slide 50
4.6 Reinforcement(Shear walls & Minaret):

## Slide 51
4.6 Reinforcement(Stairs):

## Slide 52
5. Environmental
Design:

## Slide 53
5.1 Solar Analysis:
In a Summer Day:
Building Shadow at 8:00 am on 21/6
Building Shadow at 2:00 pm on 21/6

## Slide 54
5.1 Solar Analysis:
In a Winter Day:
Building Shadow at 8:00 am on 21/1
Building Shadow at 2:00 pm on 21/1

## Slide 55
5.1 Solar Analysis:
Solar Chimney in minaret :

## Slide 56
5.2 Daylight factor:

## Slide 57
5.3 Heating and cooling calculations:
Part | U value before (W/m².K) | U value after (W/m².K)
External walls | 2.435 | 0.445
Floor | 1.042 | 0.452
Roof | 2.970 | 0.472
Window | 5.879 | 1.493
External wall Section (Not to scale)
U-value Improvements:

## Slide 58
5.4 Heating and Cooling Load:
The prayer hall and mezzanine and Library have a Cooling capacity = 22.7 kw
The prayer hall and mezzanine and Library have a Heating capacity = 21.1 kw

## Slide 59
5.5 Thermal Comfort:

## Slide 60
5.6 Energy Consumption(Site Energy/ m2):
New Design
Energy per Total Building Area in in old one was 136 while in new design is 110.72 which is good for worship building.
Old Design

## Slide 61
5.7 Total discomfort hours:
New Design
Old Design
The comfort in new design is Better than comfort in old one

## Slide 62
5.8 Acoustical analysis (RT60):
Pray Hall:
The recommended reverberation time (RT60) shall be from 1.2 to 2 seconds.
RT60 at 1000 Hz=0.54 s
- Old design (empty space) :
- New design (empty space):
RT60 at 125 Hz=0.95 s
RT60 at 250 Hz=0.85 s
RT60 at 500 Hz=0.61 s
RT60 at 1000 Hz=1.20 s
RT60 at 125 Hz=2.10 s
RT60 at 250 Hz=1.97 s
RT60 at 500 Hz=1.65 s

## Slide 63
5.8 Acoustical analysis (RT60):
Pray Hall:
The recommended reverberation time (RT60) shall be from 1.2 to 2 seconds.
RT60 at 1000 Hz=0.69 s
- Old design (Full space) :
- New design (Full space):
RT60 at 125 Hz=1.14 s
RT60 at 250 Hz=0.85 s
RT60 at 500 Hz=0.74 s
RT60 at 1000 Hz=1.38 s
RT60 at 125 Hz=2.17 s
RT60 at 250 Hz=1.52 s
RT60 at 500 Hz=1.35 s

## Slide 64
5.9 Acoustical analysis (STC):
Pray Hall:
STC shall be from45-55 dB to avoid unwanted noise in space
STC = 51 db

## Slide 65
5.9 Acoustical analysis (IIC):
Pray Hall:
STC shall be from50-52 dB
IIC = 50

## Slide 66
Loudspeakers :
10 Loudspeaker in pray hall needed

## Slide 67
5. Mechanical
Design:

## Slide 68
6.1 Water Supply System:

## Slide 69
6.2 Water Tanks:
Vertical = steel pipe
Horizontal = UPVC pipe
Branch = UPVC pipe

## Slide 70
6.3 Drainage Systems design:

## Slide 71
6.4 HVAC System Design:
Design capacity Cooling (Kw) | Design capacity Heating (Kw)
22.7 | 21.1
In the new design there is a split air unit for HVAC system while in old design there was no HVAC system
The prayer hall and mezzanine and Library have a cooling capacity 22.7 kw/hr , Which equal 6 ton
Use 4 split unit each unit 2 ton in pray hall and 2 ton in the library .

## Slide 72
6.5 HVAC System Design :

## Slide 73
7. Electrical
Design:

## Slide 74
Basement floor socket:

## Slide 75
Basement floor lighting Plan:

## Slide 76
Pray Hall socket :

## Slide 77
Pray Hall lighting Plan :

## Slide 78
Luminaires:
New main luminaire in parking

## Slide 79
Luminaires:
New main luminaire in pray hall

## Slide 80
3D Rendering View:

## Slide 81
Pray Hall calculation :
UGR = 16.3<19 OK
Average Illuminance 582 Lux
Required illuminance
400 lux
Required uniformity
(>0.60)

## Slide 82
Type | consumption (Kw/day ) | cost (Nis/day ) | Cost (Nis/month)
lighting | 46.12 | 33.21 | 996.3
appliance | 13.54 | 9.748 | 292.46
AC | 32 | 23.04 | 691.2
total | 91.665 | 65.9988 | 1979.964
Type | consumption (Kw/day ) | cost (Nis/day ) | Cost (Nis/month)
lighting | 47.60 | 34.27 | 1030
appliance | 12 | 8.64 | 259.2
AC | 0 | 0 | 0
total | 59.60 | 42.91 | 1289.2
Old Electricity Consumption Estimation
New Electricity Consumption Estimation
Power Consumption Estimation:

## Slide 83
Emergency Fire Protection System:

## Slide 84
8.Quantity & Cost
Estimation:

## Slide 85
Al-Qassas Mosque | Total Cost
Total project cost | ILS1,691,141
Structure work | ILS1,346,833
Mechanical Work | ILS 78,821
Finishing Work | ILS150,868
Electrical Work | ILS114,620
The total cost of the project is 331,597 JD, And the unit cost is 390 JD/M2
Cost Estimation:

## Slide 86
Thank You