An- Najah National University

Engineering Faculty

Building Engineering Department

The effect of Environmental Design

on Construction Direct and operation Cost

Prepared by :

Hamad Ibrahim Hamad Jaroun

Saleh Ali Hasan Daoud

Mohammad Najeeb Ahmed Abdullah

Graduation Project Submitted in Partial Fulfillment of the Requirements for the Degree of B.Sc in building Engineering.

Supervised by :

Ins. Luay Dwaikat

Chapter one: Introduction

1.1 Problem definition

In our project we will check the impact of environmental design on construction project total direct & operational cost on HIGH SCHOOL .

1.2 Why this project is important

lack of knowledge of the owners of buildings, designers and contractors to influence environmental design to direct  & operation construction cost .

1.3 Applications

Provide recommendation for designers about the costly environmental design elements and provide recommendations about the high school operating cost  reduction.

Chapter two : Methodology

2.1 work methodology

1. Evaluate a high school  project already designed and constructed .

2. Analysis the direct cost and estimate the operating cost .

3. look about correct methods for the design and how do that  .

4. look about environmental aspects that can affect on our high school project.

5. Redesign of the school With the application of environmental aspects and also the correct methods for the design .

6. Recalculate the direct cost analysis estimate the operational cost .

7. Compare the results with previous results for the design and recording .

8. look for payback period .

2.2 Design criteria

For the programs we used, we follow these values for the design

1. Reflection percent

Floor = 30 %

Ceiling = 80 %

Wall = 60 %

2. Recommended Illuminance values

Corridor = 150 Lux

Stair = 150 Lux

Classroom = 500 Lux

Laboratory = 500 Lux

Kitchen = 150 Lux

Library = 500 Lux

Bathroom = 100 Lux

Head master room = 500 Lux

Secretary room = 500 Lux

Social assistant room = 500 Lux

3. Temperature

In Summer T in = 24 cº

In Winter T in = 22 cº

The reference region for the design is Jerusalem

4. Humidity ratio = 50 %

5. Number of students in each class = 30 student