## Slide 1
Jan 16th, 2020
An-Najah National University
Mechanical Engineering Department
Wastewater Treatment using Advanced Oxidation Process Combined With Magnetic Mechanism Design
Presented by: Abdalkareem Arman
Emad Salahat
Yazan Haj Taher
Supervisor : Dr. Ihab Surakji
Committee Members:
Dr. Adel Al-Juaidi
Eng. Luqman Herzallah

## Slide 2: Outlines
Introduction
Literature Reviews
Optimization, Design and Fabrication
Methodology
Cost Estimation
Conclusion, Final Remarks and Contributions
Results
1
2
3
4
5
6
7

## Slide 3
Introduction

## Slide 4
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results
Water Consumption in Palestine
4
Chart: West Bank Consumption
| Residential and Industrial | Agriculture and irrigation
West Bank | 45 | 90
Chart: Gaza-strip Consumption
| Residentil and industrial | Agriculture and irrigation
Gaza-stip | 50 | 90

## Slide 5
Wastewater in Palestine
Sewerage leakage in Gaza- strip
Sewerage leakage in rural areas of Jerusalem
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results

## Slide 6
Wastewater Treatment in Palestine
6
Municipal Slaughterhouse of Nablus
Chart: 
| West Bank | Gaza-strip
Sales | 11 | 6
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results

## Slide 7
Literature Review

## Slide 8
Advanced Oxidation Process (AOP)
Its a process based on producing hydroxyl radicals of (·OH) , which is a strong attacker to the organic pollutants.
AOP has many techniques for producing (·OH) as shown in figure.
Hydroxyl radicals (·OH)
Hydrogen Peroxide ()
Hydrogen Peroxide (〖 H〗_2 O_2)
Ultra Violet (UV)
Ozone ()
Ozone (𝑂_3)
Hydroxyl radicals (·OH)
Ultra Violet (UV)
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results

## Slide 9
Techniques Used in AOP.
Fe+2
〖 H〗_2 O_2
(·OH)
Fe+2
(·OH)
What is it?
·OH
Highly Reactive
Easily Generated
Powerful Oxidant
Harmless
(Fenton Process)
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results

## Slide 10
Techniques Used in AOP.
(Fenton Process)
Why is it recommended?
Fenton Process
Occurred at room temperature
Higher Efficiency
Less Equipment Requirements
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results
RIBEIRO, A. R., NUNES, O. C., PEREIRA, M. F. & SILVA, A. M. 2015. An overview
on the advanced oxidation processes applied for the treatment of water pollutants defined in the recently launched Directive 2013/39/EU. Environment international, 75, 33-51.

## Slide 11
Optimizing, Design and Fabrication

## Slide 12
Optimization
Parameters to be optimized:
The Amount of the Agent ( with Mixing Time.
The Amount of the Agent () with Mixing Time.
The Mixing Type.
The Magnetic Field.
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results

## Slide 13
The Amount of the Agent ( with Mixing Time.
Trial Number | Initial Concentration (ppm) | Amount ml / 10 ml dye | Shaking Time (min) | PH | Final Concentration (ppm)
1 | 30 | 0 | 60 | 6 | 30
2 | 30 | 2 | 60 | 6 | 11.2
3 | 30 | 4 | 30 | 6 | 9.5
Trial Number | Initial Concentration (ppm) |  | Shaking Time (min) | PH | Final Concentration (ppm)
1 | 30 | 0 | 60 | 6 | 30
2 | 30 | 2 | 60 | 6 | 11.2
3 | 30 | 4 | 30 | 6 | 9.5
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results

## Slide 14
The Amount of the Agent ( with Mixing Time.
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results
Trial Number | Initial Concentration (ppm) | Na2S2O8 Amount g / 10 ml dye | Shaking Time (min) | PH | Final Concentration (ppm)
1 | 30 | 0.5 | 30 | 6 | 4.057
2 | 30 | 1 | 30 | 6 | 1.886
3 | 30 | 2 | 30 | 6 | 1.623

## Slide 15
Mixing Type
Trial Number | Initial Concentration (ppm) | Shaker Speed (rpm) | Conventional Mixer Speed (rpm) | Final Concentration (ppm)
1 | 30 | 40 | -- | 9.5
2 | 30 | -- | 200 | 25
3 | 30 | -- | 300 | 10.65
4 | 30 | -- | 400 | 5.5
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results

## Slide 16
The Magnetic Field
Trial Number | Coil length (m) | Result
1 | 10 | Not Effective
2 | 30 | Effective with side effect
3 | 50 | Effective with no effect
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results

## Slide 17
Design and Fabrication: (How Does the Treatment Run?).
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results

## Slide 18
Methodology

## Slide 19
Literature Review
Experimental Setup and Device Design
Evaluation the Cost of the Process
Effect of (
Effect of (〖 𝐅𝐞〗_𝟑 𝐎_𝟒)
Effect of Catalysts Used
Literature Review
Experimental Setup and Device Design
Evaluation the Cost of the Process
Effect of Catalysts Used
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results

## Slide 20
Results
20

## Slide 21
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results
21
Initial Concentration
(30ppm)
Amount of the Catalyst (Fe3O4)
(6g)
Final Concentration (0 ppm)
(Pure)
Amount of the Agent ()
(80 ml)
Amount of the Agent (〖 H〗_2 O_2)
(80 ml)
The mixing Time
(10min)
Initial Concentration
(30ppm)
Amount of the Catalyst (Fe3O4)
(6g)
Final Concentration (0 ppm)
(Pure)
The mixing Time
(10min)
Results Gained by Using the Hydrogen Peroxide Agent

## Slide 22
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results
22
Results Gained by Using the Sodium Persulfate Agent
30 ppm 120 ppm 200 ppm
Amount of the catalyst used (Fe3O4
(6g)
Amount of the catalyst used (Fe3O4)
(6g)
Amount of the Agent used
(60 g)
Amount of the Agent used 〖(𝑁𝑎〗_2 𝑆_2 𝑂_8)
(60 g)
The mixing Time (10min)
Final Concentration (0 ppm) (Pure)
30 ppm 120 ppm 200 ppm
The mixing Time (10min)
Final Concentration (0 ppm) (Pure)

## Slide 23
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results
22
Results Gained by Using the Sodium Persulfate Agent
C3
C1
C2
200 ppm CV Dye
120 ppm CV Dye
30 ppm CV Dye

## Slide 24
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results
22
The PH values for 200 ppm CV dye concentration after treating process using
The Concentration (ppm) | Cycle Number | Cylinder Number | PH Degree
200 | 1 | 1 | 3.10
 |  | 2 | 2.72
 |  | 3 | 2.50
 | 2 | 1 | 3.04
 |  | 2 | 2.52
 |  | 3 | 2.32
 | 3 | 1 | 2.12
 |  | 2 | 2.16
 |  | 3 | 2.22

## Slide 25
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results

## Slide 26
23
Cost Estimation

## Slide 27
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results
24
Components | Cost (ILS)
Four Fiber glass cylinders | 300
Three motors with rotation speed 300rpm | 300
Three couplers | 150
Four valves “16mm” diameter And pipes | 25
A Pump with flow rate = 1mL/sec | 75
Three magnets | 150
Three shafts with Three blades | 80

## Slide 28
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results
25
Components | Cost (ILS)
Power supply (12-v, 10-A) | 120
Boost | 35
Wood stand | 150
Coding the Arduino, relays and Puck installments | 320
The catalyst () | 350/1kg
The agent Hydrogen peroxide ( | 80/1L
The agent Sodium Persulfate (Na2S2O8) | 210/Kg
Total (ILS) | 2345
Components | Cost (ILS)
Power supply (12-v, 10-A) | 120
Boost | 35
Wood stand | 150
Coding the Arduino, relays and Puck installments | 320
 | 350/1kg
 | 80/1L
The agent Sodium Persulfate (Na2S2O8) | 210/Kg
Total (ILS) | 2345

## Slide 29
25
Experiment Runs
Time
Tools and Materials
Limitations

## Slide 30
Conclusion

## Slide 31
Introduction
Optimization Design Fabrication
Methodology
Cost Estimation
Conclusion Final Remarks and Contribution
Literature Review
Results
Conclusion
The effect of the catalyst used (Fe3O4).
Experimental setup and design calculations.
Final Remarks
Scale-up the wastewater treatment device.
Making a regeneration design for the catalyst.
Contribution
Enhancing the treatment design by making a regeneration design for the catalyst.
Reducing the time and increasing the amount of treated wastewater.
Feasibility Study.
Four Stages for continues wastewater flow.
Using the agent Sodium Persulfate for low costs.
Using the Sodium Persulfate agent for reducing costs.

## Slide 32
Thank You!