## Slide 1: An Integration Design for A Wedding Hall
Prepared By:
Anan Fattouh
Bahaa Shalhoub
Haya Qtait
Supervisor: Dr. Ahmed Al Haj Saleh

## Slide 2: Contents of presentation
Project Description
Architectural Design
Environmental Design
Structural Design
Electrical Design
Mechanical Design
Project Management &Quantity Surveying

## Slide 3: Project Site
The project is a wedding hall with an area of 3790 square meters, the total area for land is 1477 m2, and is located in two different streets on BeitWazan road west of Nablus, where the hall is about 7 km from the city center.

## Slide 4: Project Description
It consisting of three floors: main hall, men's hall, parking and public services department, and the halls are designed to serve more than 500 people.

## Slide 5: Project Description
Zones in the building:
Main hall.
Men hall.
Parking’s.
Administration room.
Kitchen.
Store.
Water closets.
Lobby, corridors and entrance.
Staircases.
Control room.
Service room.

## Slide 6
Architectural design

## Slide 7
Architectural Design
First floor plan

## Slide 8
Architectural Design
Hidden floor plan

## Slide 9
Architectural Design
Ground floor plan

## Slide 10
Architectural Design
First basement plan

## Slide 11
Architectural Design
Second basement plan

## Slide 12
Architectural Design
Third basement plan

## Slide 13
Architectural Design
South east elevation

## Slide 14: South west elevation
Architectural Design

## Slide 15: North western elevation
Architectural Design

## Slide 16: North east elevation
Architectural Design

## Slide 17: Section A-A
Architectural Design

## Slide 18: Section B-B
Architectural Design

## Slide 19: Comparison between old design and new design
Before modifications
After modifications
main hall

## Slide 20: Comparison between old design and new design
Before modifications
After modifications
Hidden floor.

## Slide 21: Comparison between old design and new design
Before modifications
After modifications
men hall

## Slide 22: Comparison between old design and new design
Before modifications
After modifications
parking

## Slide 23
The new parking: Second basement
The new parking: Third basement
parking

## Slide 25
Render for the Wedding Hall

## Slide 30
Environmental Design

## Slide 31
The model of the Hall from Design Builder
Design Builder
After

## Slide 32
Daylight analysis for the model for the first floor
First Floor

## Slide 33
Thermal Design

## Slide 34
Summary for the materials that were used in the walls and slabs in the Hall.
External wall
slabs
Windows

## Slide 35
The comfort graph for the faculty from Design Builder

## Slide 36
According to “pierce PMV SET-the predicted mean vote” the value is = - 0.47 (between -0.5 &0.5)
% people dissatisfied (PPD) =9.47 <10%

## Slide 37
PV s analysis and design

## Slide 38
The module are used:
225W Photovoltaic module BP 3225T:

## Slide 39
Tilt portrait configuration: 100 modules
we will use 100 modules 5 strings each string with 20 modules.
And using 5 inverters each with a capacity of 3.8kw (320V-630V) operating voltage.
Modules | 
Number of modules used | 100
Area (m^2) | 147
Capacity | 22.9 kwp
Produced energy | 39.85 MWH/YEAR
Immp | 41.6 A
Capacity | 3.8 kw
Operating voltage | 320-630 volt
Number of inverters | 5

## Slide 40
Cash flow diagram:

## Slide 41
Structural
Design

## Slide 42: Structural Design
This structural design was done by using the following codes:
ACI-318R-14 for reinforced concrete structural design
ASCE 7 2010 for load combinations
UBC – 97 for earthquake design

## Slide 43: Structural Design
The building consists of two blocks that were separated due to the difference in the levels of block.
Block 1
Block2

## Slide 44
3D Model in Etabs
The Structural system used in this project is one way solid slab with dropped beams and some of spans are 2way solid slab.
Structural Design
Block1:

## Slide 45: Design data
Loads
Materials used in this project:

## Slide 46: 3D model in ETABS
Structural Design
Etabs checks:
1.Compatibility check is ok.

## Slide 47
Structural Design
Etabs checks:
2. Equilibrium check is ok.

## Slide 48
Structural Design
Etabs checks:
3. Checks stress strain
Check is ok.

## Slide 49: Design data
Seismic design data

## Slide 50
Structural Design
Etabs checks:
1. Time period check

## Slide 51
Structural Design
Etabs checks:
2. Base shear check
check is OK

## Slide 52
Structural Design
Etabs checks:
3. Drift check

## Slide 53: Slab and beams deflection in Sixth floor.
Etabs checks:
4. Deflection Check

## Slide 54
Slab Design
Slab reinforcement for story6

## Slide 55
Slab design
Slab reinforcement for story1, 2&3

## Slide 56: Slab section:
Structural Design

## Slide 57: Columns :
Structural Design
Columns centre lines plans

## Slide 58: Columns :
Columns detailing table
Structural Design

## Slide 59: Columns :
Structural Design
Figure 148: Longitude & horizontal Sections in column 90*90 cm.
Figure 147: Columns sections

## Slide 60
Structural Design
First floor beams
Beams :
Hidden floor beams

## Slide 61
Structural Design
Ground floor beams
Beams :
First basement beams

## Slide 62
Structural Design
Beams :
basement 2&3 beams

## Slide 63: Beams :
Structural Design
Longitude & Horizontal Sections in beam2.

## Slide 64: Beams :
Structural Design
Horizontal Sections in all beams

## Slide 65
Structural Design
Shear walls :
Location of shear wall

## Slide 66
Structural Design
Shear walls :

## Slide 67
Structural Design
Shear walls detailing :
Horizontal section in shear wall 1
Vertical section in the shear wall1& mat footing

## Slide 68
Structural Design
Basement wall design

## Slide 69
Structural Design
Basement wall design

## Slide 70
Structural Design
Basement wall detailing

## Slide 71: Stairs design :
Structural Design
detailing of stair

## Slide 72
Structural Design
foundations:
Footing in block1

## Slide 73
Structural Design
foundations:
Single footing :

## Slide 74
Structural Design
foundations:
Single footing :
Horizontal & Vertical section at F3

## Slide 75
Structural Design
foundations:
Mat footing :

## Slide 76
Mat footing Checks:

## Slide 77
Mat footing Checks:
Punching shear checks
Wide shear checks

## Slide 78
Detailing for mat footing :
The reinforcement in the mat footing in the X-direction

## Slide 79
Detailing for mat footing :
The reinforcement in the mat footing in the Y-direction

## Slide 80
Detailing for mat footing :
Longitudinal section in Raft

## Slide 82
Electro-Mechanical Design

## Slide 83
      The selected Luminaires
Artificial lighting
    Lighting with switches

## Slide 84
Illuminance result from DIALux evo for the main hall .

## Slide 85
Lobby
Men's hall
Kitchen
Lobby WC
Office
Result from DIALux evo for the ground floor.

## Slide 86
Result from DIALux evo for the site.

## Slide 87
The electrical load of power, lighting and loud speaker system in the ground floor
Sockets plan for the kitchen & offices
  Distribution boards in all floor of the building

## Slide 88
The electrical load of power, lighting and loud speaker system in the main distribution board 1
The electrical load of elevators and HVAC system in the main distribution board 2

## Slide 89
Acoustical Design

## Slide 90
The spaces that were designed acoustically in the facility
The absorption coefficient for the finished material
  Main hall
  Men's hall

## Slide 91
Reverberation time(RT60):
The reverberation time for the main hall according to Sabine
The limit of the reverberation time in the hall (1.5 - 2.5)
The reverberation time for the men's hall according to Sabine
The limit of the reverberation time in the hall (1.5 - 2.5)

## Slide 92
Sound Transmission Loss (STC)
The sound transmission loss (STC) for the internal walls between different spaces in the faculty is more than the limit = 45 dB (Egan, n.d.)
The OITC for the external walls = 59dB more than the standard = 55 dB (Egan, n.d.), so it is ok for the external walls

## Slide 93
Impact Insulation Class (IIC)
The Impact insulation class for the floor = 60 dB and the calculated IIC for the floor should be more than 50 dB, so it is ok.

## Slide 94
Loud speaker
Main hall
The direct SPL distribution in the main hall

## Slide 95
HVAC system

## Slide 96
HVAC system
Using VRF (Variable Refrigerant Flow) HVAC system
The components of this system is from Daikin company.
Form Design Builder program results for the building:
The total heating load capacity = 54 kW
The total cooling load capacity = 117 kW.
The outdoor unit will be chosen according to cooling load due to larger load than heating load. Using from Daikin company the outdoor unit VRV IVX(REYQ408XA) model with 34 (ton) capacity.

## Slide 97
Block | Design capacity (kw) | Flow rate (m3/s)
Men Hall | 20.87 | 1.27
Offices | 26.85 | 1.07
Main Hall | 69.94 | 4.08
Totals | 117.66 | 6.42
Indoor unit selection
Fan coil units will be selected according to design capacity and volumetric flowrate for each space, which was obtained for Design builder program:-
The Total volumetric flow rate is 6.42 m3/s. Two indoor units used in Men hall with 4-Ton capacity and four for main hall with 6Ton capacity. The Fan coil selected from Daikin Company.
Daikin Fan coil .

## Slide 98
Diffuser
Figure 14 : 3d model for linear diffuser
Ducts sizing
By using Revit duct size will be calculated depending on airflow for each diffuser with maximum duct height is 45cm.

## Slide 99
The distribution of the ducts and diffusers in the first floor.

## Slide 100
The distribution of the ducts and diffusers in the ground floor .

## Slide 101
Car parking ventilation
First basement floor ventilation
Second and third basement floor ventilation

## Slide 102
Mechanical Design

## Slide 103
Water consumption
Mechanical system
The daily Usage = total persons in the building *( Litres per head per day ,from the table = 520 * 15 = 7800 liter/day . Assuming the water supply from Water Authority is every 5 days 5* 7800 =39000 Liter
the total number of tanks needed is four tanks.
manual water supply and treatment

## Slide 104
Diameter of the pipes for zone 1
zone 1 (w.c) | Fixture type | occupancy | type of supply | Number | Fixture unit | Total
Main hall floor | w.c | Public | Flush tank | 5 | 5 | 25
Men's hall floor | w.c | Public | Flush tank | 6 | 5 | 30
Total (F.U) |  |  |  |  |  | 55
Zone 1:- W.C
Total number of F.U’s = 55 F.U
Zone 1 (wc) | Diameter | losses
Vertical pipe | 2 | 1.14
Horizontal pipe | 1 | 3.16
Branch pipe | 0.75 | 0.746
Total loss |  | 5.046 Psi
Water supply system

## Slide 105
Diameter of the pipes for zone 2
Total number of F.U’s = 36 F.U
zone 2 (Lavatory) | Fixture type | occupancy | type of supply | Number | Fixture unit | Total
Main hall floor | Lavatory | Public | Faucet | 6 | 2 | 12
Men's hall floor | Lavatory | Public | Faucet | 12 | 2 | 24
Total (F.U) |  |  |  |  |  | 36
Zone 2:- Lavatory
Zone 2 (wc) | Diameter | losses
Vertical pipe | 2 | 1.26
Horizontal pipe | 1 | 3.11
Branch pipe | 0.5 | 0.8
Total loss |  | 5.17 Psi

## Slide 106
6'' diameter pipes between manholes. 2" diameter horizontal pipe for Kitchen Sink which connects the floor drain. 2" diameter horizontal pipe for lavatory which connects the floor drain. 4'' diameter for stacks. 4" diameter horizontal pipe for Water closet (W.C) which connects the main drainage.
Drainage system

## Slide 107
Rain water on roof

## Slide 108
Drainage pipes and manhole on the First floor
1- Storm water manhole: (green). 2- Gray water manhole: (blue). 3- Black water manhole: (black).

## Slide 109
Firefighting and Safety

## Slide 110
Components of fire fighting system
1. Extinguisher
2-Fire alarm system
3- Smoke detector
4- Hose station
5- Sprinkler system

## Slide 112
The evacuation plan for first floor

## Slide 113
The evacuation plan for ground floor

## Slide 114
Quantity Surveying and Cost Estimation

## Slide 115
The total cost of the faculty is 6,578,185 NIS and the total area of the facility building is 3790 m2 which means that the total unit cost per m2 is 1736 NIS/ m2.
Quantity Surveying
Sub Structure Work | 1307402 NIS
Super Structure | 1833400 NIS
Finishes Work | 2273424 NIS
Electrical work | 873564 NIS
Mechanical work | 290395 NIS

## Slide 116
Percentage for each work from total cost of the facility
Chart: 
| Structural work | Finishes work | Electrical work | Mechanical work
Sales | 47 | 34 | 14 | 5