## Slide 1
An-Najah National University Faculty of Engineering Building Engineering Department
Graduation Project – 2
Design of an Integrative Telecommunication Building
(JAWWAL Company) Prepared By: Abdel Rahman Khateeb
Iyad Daraghma
Amro Bdair Project supervisor: Dr. Ahmad Saleh
2016

## Slide 2
Outlines
Introduction
Selected Site
Architectural Design
Structural Design
Environmental Design
Mechanical Design
Electrical Design
Estimated Cost

## Slide 3: INTRODUCTION
The main concept of our project was to design an integrated telecommunication building for Jawwal company, and our focus has been on all aspects that include : Architectural, Structural, Environmental, Electrical and Mechanical design to make a comfortable building as much as possible.

## Slide 4: Site Selected
Site Area : 1060 m2
Rebound from streets : 4m

## Slide 5: Site Selected

## Slide 6: Site Analysis

## Slide 7: Architectural Design

## Slide 8: Site Plan

## Slide 9: Master Plan

## Slide 10: Plans
Basement plan

## Slide 11: Plans
Ground floor Plan

## Slide 12: Plans
First floor Plan

## Slide 13: Plans
Second to forth floor Plan

## Slide 14: Plans
Fifth floor plan

## Slide 15: Plans
Sixth floor Plan

## Slide 16: Elevations
North-Elevation

## Slide 17: Elevations
South-Elevation

## Slide 18: Elevations
East-Elevation

## Slide 19
West-Elevation
Elevations

## Slide 20: Sections
Section A-A

## Slide 21
Section B-B
Sections

## Slide 22: Rendered Views
3D views

## Slide 23: Rendered Views
Internal views

## Slide 24: Rendered Views
Internal views

## Slide 25: STRUCTURAL DESIGN

## Slide 26
Design Codes
ACI -318-08 for reinforced concrete structural design.
ACI -350-3-06 for seismic design of soil pressure with concrete structure .
UBC -97 for earthquake load combinations.
ASCE for load combinations.

## Slide 27
Compressive strength of Concrete “f′c”.
    For columns and footing f′c = 28 Mpa
    For slabs and beams f′c =24Mpa
    For all other elements in structure such as blinding and bracing f′c = 12 MPa
Yielding strength of steel fy = 420 MPa.
Material Property
Soil Property
Soil bearing capacity = 124 KN/m2
Soil profile = SE

## Slide 28
Dead loads (D.L): 5 .05KN/m2
Super Imposed dead load (SI):6.1 KN/m2
Live Load (L.L): 5 KN/m2 (for all floor except stair roof) 10KN/m2 ( for stair roof)
Lateral loads consider earthquake load.
Loads

## Slide 29
Column Center Lines Grid

## Slide 30: Design and Reinforcement of Structural Elements
Slab (one way ribbed slab 350mm).
Beams ( drop &hidden).
Columns(0.4*0.4and 0.6*0.6 m)
Shear wall(200mm)
Basement wall (250mm)
Stair
Footings(1100mm)

## Slide 31
3D Model - Etabs

## Slide 32
Model Checks
Compatibility

## Slide 33
Model Checks
Equilibrium
load | Manual calc | Etabs results | %error
live | 11102.5KN | 11215 | 1.15%
dead | 48633.3 KN | 47977KN | 3.7%

## Slide 34
Model Checks
Internal Forces
column | Manual axial (KN) | Etabs reading | error
C20 | 826 | 874 | 5.6%
C21 | 291.23 | 312 | 6%
C17 | 4937.6 | 5167 | 4.45%

## Slide 35
Cv = 0.64
Ca = 0.34
Seismic design
I = 1
R = 5.5
Base shear ( V ) = 8755.4 KN
Soil profile SE
Z = 0.2
From Etabs
Mass participation ratio is larger than 90% in X, Y .

## Slide 36
Footing Reinforcement Details
Mat Footing

## Slide 37
Footing Reinforcement Details
Mat Footing

## Slide 38
Basement Retaining Wall Details

## Slide 39
Column Reinforcement Details

## Slide 40
Beam Reinforcement Details

## Slide 41
Slab Reinforcement Details
Middle of the rib drawing
Edge of the rib drawing

## Slide 42
Shear Wall Details

## Slide 43
Stair Reinforcement Details

## Slide 44: Environmental DESIGN

## Slide 45
Floor Properties
Thermal Insulation
Floor Section

## Slide 46
Thermal Insulation
U-Value Of The Other Elements
Elements | U-Value
External wall | 0.51
Ceiling | 0.63
Partition | 1.94
Roof | 0.63
Window | 2.41

## Slide 47
Thermal Insulation
Zone Management
Before calculate of loads, we define the area conditions like thermal and comfort conditions and occupancy and operations for zones
zone management part1 (all zones except reception-exception zone):

## Slide 48: Thermal Insulation
zone management part 2 (reception-exception zone)

## Slide 49
Thermal Insulation
Cooling and heating load for G.F
After adding insulation:

## Slide 50
Thermal Insulation
After adding insulation:

## Slide 51
Natural Daylight Analysis

## Slide 52
Shading design

## Slide 53
Shading design
Using low SHGC for windows = 0.25

## Slide 54
Acoustical Design
Sound Transmission Class (STC)
STC-Values Between Different Spaces |  | Recommendation
Office - Office | 45 | > 45
Exception-Office | 45 | >=42
Large office - corridor | 44 | >=40

## Slide 55
    Acoustical Design
    Reverberation Time (RT60)
    Range RT60 for reception and exception recommended (0.6-1.2)
    RT60 values for reception and exception before improving :

## Slide 56
    Acoustical Design
    Reverberation Time (RT60)
    Improving RT60 by adding gypsum board for ceiling and walls and porous plywood for walls :

## Slide 57
    Acoustical Design
    Reverberation Time (RT60)
    RT60 values for reception and exception after improving = 0.78 :

## Slide 58
    Acoustical Design
    Transmission loss (TL)
    TL = 44.1 > 40

## Slide 59: Mechanical DESIGN

## Slide 60
    Water Supply Design

## Slide 61
    Water Supply System

## Slide 62
    Drainage System
    For Ground Floor

## Slide 63
    Rain Drainage System

## Slide 64
    H-VAC System
    VAV system

## Slide 65: Electrical DESIGN

## Slide 66
    Sockets Arrangement

## Slide 67
    Lighting arrangement

## Slide 68
    Artificial Lighting
Reception & Exhibition Lighting:

## Slide 69: Conference Room & offices lighting:
    Artificial Lighting

## Slide 70
    Artificial Lighting

## Slide 71: Estimated Cost

## Slide 72: Estimated Cost
The total cost of the Building is about 6.3 million NIS.
The total cost per meter square for the building is about 2625 NIS.

## Slide 73: Thank You