## Slide 1
Energy Aware
Software Defined
Radio system using
USRPs

## Slide 2
Reem Balatiah
Waseem Jaber
Hanadi Salman
Team Work
Dr. Yousef Dama
Dr. Ahmed Al-Masri
Supervisors

## Slide 3
CONTENTS
THE BEGINNING POINT
PROJECT IDEA
PRACTICAL EXPERIMENT
RESULTS

## Slide 4
Traditional Energy
Fossil Fuel Oil
Natural Gas
Nuclear
Coal

## Slide 5
Renewable Energy
Solar Energy
Hydropower Energy
Geothermal Energy
Biomass Energy
Wind Energy

## Slide 6
1
2
3
4
Green Telecom Network
Green Telecom Equipment
Safe Telecom Waste Disposal
Design of Green Central Office Buildings
Green of Telecom

## Slide 7
DG
Diesel Generator with fixed power
SE
Solar
Energy with variable power

## Slide 8
Disadvantages of Diesel Generator
Cost of fossil fuels is on increase !
High quantity of carbon emissions from diesel generators.
Many of them are in remote locations or difficult accessible places.

## Slide 9
1
2
3
4
5
reduce the cost of operations of the telecom network.
expand network into rural areas
Renewable energy technology becoming available
create sustainable businesses
reduces carbon emissions and helps us to be environmentally friendly.
Advantages of Green system

## Slide 10
Average monthly solar energy – KWh/m (2011)
2
Graph 1

## Slide 11
Chart: 
| 4.1666666666666664E-2 | 8.3333333333333329E-2 | 0.125 | 0.16666666666666666 | 0.20833333333333334 | 0.25 | 0.29166666666666669 | 0.33333333333333331 | 0.375 | 0.41666666666666669 | 0.45833333333333331 | 0.5 | 0.54166666666666663 | 0.58333333333333337 | 0.625 | 0.66666666666666663 | 0.70833333333333337 | 0.75 | 0.79166666666666663 | 0.83333333333333337 | 0.875 | 0.91666666666666663 | 0.95833333333333337 | 0
 | 0 | 0 | 0 | 0 | 20 | 135 | 343 | 532 | 774 | 905 | 1019 | 1062 | 1000 | 917 | 776 | 585 | 371 | 156 | 20 | 0 | 0 | 0 | 0 | 0
Daily solar radiation of typical summer day
Graph 2

## Slide 12
TIME
QUALITY
Telecom System
Solar Energy with Variable Power
Adaptive Coding and Modulation

## Slide 13
The idea of our Project

## Slide 14
SNR
Rx
Tx
Po , QPSK
SNR Estimation

## Slide 15
Practical Experiment

## Slide 16
Equipment and Specifications
USRP N200
Wight(Kg)
1.2
DC input (V)
6
Current consumption(A)
1.3
ADC Sample Rate(MS/s)
100
DAC Sample Rate(MS/s)
400
VERT2450
Operating Frequency(GHz)
2.4-5.85
Antenna Type : Dipole
Gain (dBi)
2
Connector : SMA
XCVR2450
Wi-Fi Standard : 802.11n
Max. Speed (Mbps)
150
Frequency (GHz)
2.4& 5

## Slide 17
BER Performance of QPSK and 8-PSK

## Slide 18
Connection

## Slide 19
Chart: QPSK / F=2.415GHz
| 5 | 10 | 15 | 20
D=3 | 0.025333 | 0.0059804 | 0.0031024 | 0.0021693
D=2 | 0.018191 | 0.0049851 | 0.0028959 | 0.001939
The comparison between BER performance for F=2.415GHz at different distances for QPSK.
Graph 1

## Slide 20
Chart: QPSK / F=5.815GHz
| 5 | 10 | 15 | 20
D=3 | 0.0032005 | 0.0029433 | 0.0023464 | 0.0020084
D=2 | 0.0030206 | 0.0028359 | 0.0021357 | 0.0018203
The comparison between BER performance for F=5.815GHz at different distances for QPSK
Graph 2

## Slide 21
BER performance for D=2m at different frequencies for QPSK.
Graph 3

## Slide 22
BER performance for D=2m at different frequencies for QPSK.
Graph 4

## Slide 23
Chart: 8PSK / F=2.415GHz
| 5 | 10 | 15 | 20
D=2 | 0.015957 | 0.012387 | 0.011506 | 0.0049099
D=3 | 0.043586 | 0.034703 | 0.02745 | 0.015505
The comparison between BER performance for F=2.415GHz at different distances for 8PSK.
Graph 5

## Slide 24
Chart: 8PSK / F=5.815GHz
| 5 | 10 | 15 | 20
D=3 | 0.018647 | 0.016306 | 0.013637 | 0.012424
D=2 | 0.007335 | 0.0067997 | 0.0062206 | 0.0040689
The comparison between BER performance for F=5.815GHz at different distances for 8PSK
Graph 6

## Slide 25
The comparison between BER performance for F=2.415GHz at different distances for 8PSK.
Graph 7

## Slide 26
BER performance for D=3m at different frequencies for 8PSK.
Graph 8

## Slide 27
Inability to create a feedback system
Shortage of work time
Constrains
Simulink is the solution

## Slide 30
Power = 0.5 Po
Power = 1.5 Po
Power = 2 Po

## Slide 31
SIGNAL LEVEL | QPSK | 8-PSK
0.5 | 16-20 | -
1 | 10-19 | 19-20
1.5 | 6-16 | 16-20
2 | 5-13 | 13-20
Comparison

## Slide 32
1
2
3
4
Measure Battery Available Power (BP)
Find Time Time = BP/Signal Level
Compare Time with To
Choose the best option

## Slide 34
Thanks for coming!
Time of Discussion
Please Be Calm until finished
Time of Dedication