## Slide 1: Three Dimensional Design of Al-sakhl Residential Building Under Gravity and Seismic Loads
Supervisor: Dr. Mahmoud Dweikat.
An-Najah National University
Faculty of Engineering
Civil Engineering Department
Prepared by:
Abdulkarim Ghozzi
Ali Sawalha
Anas Alawneh
Mohammad Yaseen

## Slide 2
Introduction.
Review of 3D Modeling
Seismic Analysis
Final design and details

## Slide 3: Project description
The building is located in Rafedia-Nablus
The building consists of 8 floors, of which 2 are underground basement floors.
The total floor areas of the building are 4786 m2.
It has two parts separated by a construction joint.

## Slide 4
  Basement 2 floor (Residential apartments) :

## Slide 5
  Basement 1 Floor ( Parking )

## Slide 6
  Ground floor (commercial stores)

## Slide 7
  Repeated floor (Residential apartments):

## Slide 8
  Assumptions for Design:
8

## Slide 9
    Structural Materials:
Reinforced concrete
Steel (Rebar, shrinkage mesh and stirrups)
Yielding strength (Fy) = 420MPa.
Modulus of elasticity (Es) = 200GPa

## Slide 10
    Non-Structural Materials:

## Slide 11
Load Assumptions:
11

## Slide 12
Soil Property
Allowable bearing capacity of soil=250 KN/m²
Surcharge Load is assumed to be 20 KN/m²
Unit weight of soil (𝛾𝑠𝑜𝑖𝑙) = 18 KN/m3

## Slide 13
3D Model

## Slide 14
Slab modifiers
One Way Ribbed Slab
One Way Solid Slab

## Slide 15
Also, for beams , columns and shear walls the modifiers are as follows:
Beams:
Torsional constant: 0.35
Moment of inertia about 2 axis: 0.35
Moment of inertia about 3 axis: 0.35
Columns:
Torsional constant: 0.7
Moment of inertia about 2 axis: 0.7
Moment of inertia about 3 axis: 0.7
Shear Walls:
Torsional constant: 0.7
Moment of inertia about 2 axis: 0.7
Moment of inertia about 3 axis: 0.7

## Slide 16
Checks
Compatibility:

## Slide 17
Equilibrium:

## Slide 18
Stress strain relationship check
Check Beam
Check slab
Check Column

## Slide 19
Dynamic Analysis
UBC 97 code
Response spectrum analysis method

## Slide 25
Check Period (T) :
The structure has a period T =0.477 seconds
T = 0.48 sec
T method A :

## Slide 26
1 KN/m2 load applied over the area.
X-Direction :
Total reaction for shear wall = 1732.4 KN …………. >75% Total reaction for column = 448.88 KN Total reaction = 2181.26 KN Also in Y-direction …… >75%
To decide the type of wall we checked the axial stress:
0.06 * 28 = 1.68 Mpa Stresses > 1.68 Mpa , then bearing wall
Determine response modification factor ( R ) :

## Slide 28
Modal case:

## Slide 30
Using response spectrum to determine the design base shear:

## Slide 32
Define Response in ETABS program

## Slide 33
Define load cases

## Slide 34
Define load cases

## Slide 36
Load combinations

## Slide 37
Check Drift :

## Slide 38
Design of structural elements
Slabs
Beams
Columns

## Slide 39
Design of slabs
The structural system for the basement one is one way solid slab(20 cm) with drop beams.
An-najah National university
Solid slab in block B, story 2.

## Slide 40
Analysis and Design for flexure

## Slide 41
For positive moment.
The values of M22 for the story two

## Slide 42
For negative moment.

## Slide 43
For negative moment.

## Slide 44
For negative moment.

## Slide 45
zone # | Moment sign | Bar
1, 2 | - ve moment | 1ɸ12/200mm
3, 4 | - ve moment | 1ɸ10/160mm
other | - ve moment | 1ɸ10/200mm

## Slide 47
Design Of Beams
Final output was taken from 3-D model.
The following figure shows the final locations and layout of beams in the repeated floor
Beams must be designed against moment and shear.
The values for these forces are obtained from 3D model

## Slide 48
Design for flexure:
Analysis and Design for flexure and shear

## Slide 49
Analysis and Design for flexure

## Slide 50
Analysis and Design for flexure

## Slide 51
Analysis and Design for flexure

## Slide 52
 | location | As (mm2) | bars
B5 | Negative – Left | 686 | 5Ø14
 | Positive | 686 | 5Ø14
 | Negative -Right | 1626 | 7Ø18
Longitudinal reinforcement for B5
Design for flexure:

## Slide 53
Design beam (B5) for shear:

## Slide 54
Design beam (B5) for shear:

## Slide 55
Seismic requirement:

## Slide 56
ETABS design result for this beam (B5):

## Slide 57
Design of columns

## Slide 58
Sway –Non sway Check
In the X-direction:
In the Y-direction:
Slenderness Check
Take Column in block B

## Slide 59
Designing the Column under axial force and moment: -
The Ultimate forces on the column: -
Pu= 2351 KN.
Mu= 59 KN.m < Mmin
Mmin= Pu (0.015+0.03h) = 2351 * (0.015 + (0.03*0.8)) = 91.69 KN.m
Use M = 91.69 KN.m

## Slide 61
by using the interaction diagrams:
Now:
ρ = 0.01
As = 0.01 * 800 * 300 = 2400 mm2.
As from ETABS = 2400 mm2.
.

## Slide 62
Seismic requirement:
So = Min { 300/2 = 150 8*14 =112 24*10 = 240 300 } So = 112 mm use So = 110 mm S1 = Min { 300 16*14 = 224 48*10 = 480 } S1 = 224 mm use S1 = 220 mm
lo = Max {800 ((3250-320=2930) /5) = 586 } lo = 800 mm

## Slide 63
A longitudinal section in column (C3)

## Slide 64: Design of shear wall
Axial = 2367 kN
Mux = 266 KN.m
Muy = 16 KN.m
Vux = 6 KN.m
Vuy = 84 KN
Check shear in x direction:-
Vux (6 KN) < Vc (281 KN)  Ok
Design for shear in y direction:-
𝑉uy/ = (112 KN) < Vc (360 KN)
Use ρt = ρt min = 0.0025
Use 112/250 mm on each side

## Slide 65
Design for moment around Y axis:-
Muy = 16 KN.m
𝐴𝑠 = 212 mm2 On each side of the wall
Design for axial force and moment around X axis:-
ρl = 0.0025
𝐴𝑠= 1275 mm2 or 638 mm2 on each side
Total area of steel 638 + 106 = 744mm2
 Use 712 mm on each side.

## Slide 66: Design of mat footing
Thickness = 1000 mm
Checks:
Check stress under mat foundation:
𝜎allowable = −250 kN/m2
𝜎maximum = −162 kN/m2
𝜎minimum = −5 kN/m2

## Slide 67
Check punching shear for mat foundation:
Ultimate punching shear-to-punching shear capacity ratios

## Slide 68: Reinforcement of Footings

## Slide 69: Design of stairs
Own weight = 6 KN/m
SID = 4 KN/m
Live = 5 KN/m
Vu = 55.4 KN
ɸ Vc = 86 KN OK
Mu = 73 KN.m
Use 1 Ø 18 / 150 mm

## Slide 71: Seismic joint
𝑠𝑒𝑖𝑠𝑚𝑖𝑐 𝑗𝑜𝑖𝑛𝑡 = Δ𝑀1 + Δ𝑀2 + 2 𝑐𝑚
  = 9 cm