## Slide 1
An-Najah National University Faculty of Engineering Civil Engineering Department
جامعة النجاح الوطنية
كلية الهندسة وتكنولوجيا المعلومات
Graduation Project Structural Design of Elite Residences Tower
Amr Qwareeq – ( 11925879)
Ezzat Mahmoud – (11925118)
Majd hammad – (11923889)
Zahra’a Alakhras – (11926395)
Under supervision of: Eng. Ibrahim Arman.

## Slide 2
Elite Residences Tower

## Slide 3
1.
  Introduction
2.
3.
CONTENT
  Preliminary Design
  Three-dimensional analysis and design

## Slide 4
1.
Introduction

## Slide 5
General
1.
Introduction

## Slide 6
1.
Introduction
Project descreption
Location

## Slide 7
Facilities:
1.
Introduction

## Slide 8
Walls
Exterior walls
Interior walls
Curtain walls
Aluminum louvers
Curtain walls with louvers
Aluminum cladding
Stainless-steel cladding
Glass
Shaer walls
Gypsum walls
1.
Introduction

## Slide 9
Codes and Standards:
ACI 318-19, (American Concrete Institute): this code will be used for the design of structural elements.
ACI 350.3-06, (American Concrete Institute): seismic design of liquid-containing concrete structures and commentary.
ASCE 7-16, (American Society of Civil Engineers).
Dubai Loads and Forces Code, 2nd Edition, 2006: This code was utilized to determine loads related to wind and earthquake.
ASTM : Codes and standards for material specifications .
AASHTO Bridge Design Specifications 8th edition.
1.
Introduction

## Slide 10
Geotechnical investigation:
(the site classification is category B)
1.
Introduction

## Slide 11
Materail of Structural Elements
Unit Weight, γc | 25 KN/m3
Modulus of Elasticity, Ec | 34677.11 MPa
Poisons Ratio, v | 0.2
Compressive Strength, fc | 70 MPa
Concrete
Reinforcing Steel
Renforcing steel bars | Value
Steel grade | Grade 60
Yield strength, fy | 420 MPa
Modulus of Elasticity, Ec | 200 GPa
1.
Introduction

## Slide 12
Material | Unit Weight (KN/)
Tile | 27
Cement Mortar | 23
ESF (Recycled Rubber) | 0.7
Gypsum | 7.2
Aluminum | 27
Material | 
Tile | 27
Cement Mortar | 23
ESF (Recycled Rubber) | 0.7
Gypsum | 7.2
Aluminum | 27
Materail of Non-Structural Elements
materials of Non-structural elemnets unit-weight.
1.
Introduction
Material | Area load (KN/)
Curtain wall | 16.67
Aluminium Louvers | 27.00
Decorative Aluminum louvers | 13.33
Aluminum Cladding | 7.50
Glazing-Balcony Parapet | 5.00
Material | 
Curtain wall | 16.67
Aluminium Louvers | 27.00
Decorative Aluminum louvers | 13.33
Aluminum Cladding | 7.50
Glazing-Balcony Parapet | 5.00
Area load of facades materials.

## Slide 13
1.
Introduction
Loads
Gravity Loads
Dead loads
self weigh of the structure elements
Live loads
Live load is distributed on all floors within a range of 2-12 kN/m2
(ASCE 7-16)
S.D loads
Exterior walls loads:Within a range of 1.5-4 kN/m2
On Slab : Total super dead loads= 1.7 KN/

## Slide 14
Hydrostatic loads
1.
Introduction

## Slide 15
Lateral loads
Soil loads
Seismic forces
Wind loads
1.
Introduction

## Slide 16
Seismic loads:
1.
Introduction
maximum considered earthquake spectral response acceleration parameters:
0.459
0.144
Design spectral acceleration parameters:

## Slide 17
Risk Category: (ІІІ)
1.
Introduction
Importance factor:

## Slide 18
Seismic design category: (B)
1.
Introduction

## Slide 19
Lateral resisting structural system
1.
Introduction
Design coefficients and factors:
Response modification coefficient (R) = 5.0.
Overstrength factor () = 2.5.
Deflection amplification factor () = 5.0.

## Slide 20
1.
Introduction
Structural systems for high-rise buildings:
)Hybrid structural system(
Tube in tube system.
Core and outrigger structural system

## Slide 21
Approximately fundamental period ():
second.
Maximum Approximately fundamental period (T):
1.
Introduction

## Slide 22
Soil loads
1.
Introduction

## Slide 23
Building enclosure: fully enclosed building.
Wind speed for a 3-second gust at a height of 10 meters on open terrain (V) = 51 m/s.
Wind loads
1.
Introduction

## Slide 24
Wind Directionality factor () = 0.85.
Surface Roughness category (C).
Exposure Category (C).
1.
Introduction
Wind loads

## Slide 25
Topographic Effects ) = 1.00.
Ground elevation factor ) = 1.00.
Velocity pressure exposure coefficient )
1.
Introduction
Wind loads

## Slide 26
Velocity Pressure ():
.
The Gust factor (G) = 0.85.
The Internal pressure coefficients () = .
1.
Introduction

## Slide 27
1.
Introduction
External pressure coefficient ().

## Slide 28
Design wind pressures (P):
(KN/).
    Leeward pressure (suction pressure):
    Case 1: P = 1.66 KN/.
    Case 2: P = 1.71 KN/.
    Sideward pressure (suction pressure):
    P = 2.20 KN/.
    Roof pressure (suction pressure):
    P = 3.64 KN/.
    P = 0.94 KN/.
    Windward pressure values along different z for case 1 and case 2.
1.
Introduction

## Slide 29
±20 °C may be used for exposed elements above ground level.
±15 °C for non-exposed elements (i.e. basement).
Temperature
1.
Introduction

## Slide 30
2.
  Preliminary Design

## Slide 31
General Notes about preliminary dimension
The initial dimensions for columns and shear walls will be directly adopted from the architectural plans.
Dimensions for beams and slabs will be established through an iterative process using ETABS.
Dimensions will be taken into account, considering factors such as story height, deflection, and the percentage of steel area.
Load combination to decide priliminary dimensions:
Time - dependent load combination = 1.8 ( D + S.D ) +1.4 L
Check design load combination = 1.2 ( D + S.D ) +1.6 L
2.
  Preliminary Design

## Slide 32
General Notes about preliminary dimension
Deflection limit:
Rebar percentage:
Column
Beam
2.
  Preliminary Design

## Slide 33
3.
  Three-dimensional analysis

## Slide 34
After completing the model and running the analysis, the check-frame design was initiated by commencing the design process using all possible load combinations. During this assessment, it was observed that over 70% of the beams, columns, and walls were flagged with a red indicator and O/S sign. To address this issue, the design approach for beams and columns was modified from a sway-special configuration to an intermediate configuration, as numerous beams did not meet the criteria for special beams. And walls sections were modified to fit stresses. as well as, spanrels modifiers are converted to 0.35 as beams.
Evaluation of the preliminary design:
3.
  Three-dimensional analysis

## Slide 35
3.
  Three-dimensional analysis

## Slide 36
3.
  Three-dimensional analysis

## Slide 37
3.
  Three-dimensional analysis

## Slide 38
3.
  Three-dimensional analysis

## Slide 39
3.
  Three-dimensional analysis

## Slide 40
3.
  Three-dimensional analysis

## Slide 41
3.
  Three-dimensional analysis

## Slide 42
3.
  Three-dimensional analysis

## Slide 43
3.
  Three-dimensional analysis
Verification of structural analysis
Compatibility of the structure

## Slide 44
Dead loads :
3.
  Three-dimensional analysis
Live loads :
Super imposed dead loads :
Verification of structural analysis
Gravity loads

## Slide 45
3.
  Three-dimensional analysis
Verification of structural analysis
Soil and Hydrostatic loads

## Slide 46
Check mass participation ratio:
sufficient to involve more than 90% of the mass in the analysis method.
3.
  Three-dimensional analysis
Verification of structural analysis
Seismic forces

## Slide 47
Check time period by Rayleigh method
Time period calculated by the Rayleigh method in the Y-direction :
3.
  Three-dimensional analysis
Time period calculated by the Rayleigh method in the X-direction “
Verification of structural analysis
Seismic forces

## Slide 48
Check equilibrium of base shear
V = Cs×W
W =
Cs = Csmin = 0.077
manual base shear = KN.
ETABS Base shear = 61949.14 KN
3.
  Three-dimensional analysis
Verification of structural analysis
Seismic forces

## Slide 49
Check response spectrum:
Edx = 35886.19 KN, Edy = 30164.85 KN.
equivalent static base shear = 77987.582 KN in both directions.
In x-direction multiplied with 1.3 as an additional factor of safety:
In y-direction multiplied with 1.3 as an additional factor of safety:
3.
  Three-dimensional analysis
Verification of structural analysis
Seismic forces

## Slide 50
Check story forces
presents manual calculations of story forces in the x-direction from Ex and compares them with the corresponding ETABS values due to Ex forces. The values calculated in this table for the y-direction will be the same since Ex equals Ey. Difference percentage values in the table exceed 10% in some stories, but they are below 10% in the most stories, making these values acceptable.
3.
  Three-dimensional analysis
Verification of structural analysis
Seismic forces

## Slide 51
Horizontal irregularity:
- Torsional irregularity:
3.
  Three-dimensional analysis
Verification of structural analysis
Structural irregularity

## Slide 52
- Out-of-plan offset irregularity:
3.
  Three-dimensional analysis
Horizontal irregularity:
Verification of structural analysis
Structural irregularity
Vertical irregularity:
- In-plane discontinuity in vertical lateral force-resisting element irregularity:

## Slide 53
all the values are approximately equal to 0.1 and less than 0.1 (OK)
3.
  Three-dimensional analysis
Verification of structural analysis
Effect of p-delta:

## Slide 54
Slabs and beams :
This span is in the ninth floor
Columns :
This column is in the ground floor
This shear wall is in the first basement floor
Shear walls :
3.
  Three-dimensional analysis
Verification of internal forces

## Slide 55
Immediate and long term deflections for slab systems
This slab falls into the 11th floor
point | C1 | C2 | C3 | C4 | M1 | M2 | M3 | M4 | Center
Deflection(mm) | 60.49 | 54.41 | 50.01 | 61.26 | 60.87 | 57.45 | 52.21 | 55.13 | 92.9
point | C1-M1-C4 | C2-M3-C3 | C1-M2-C2 | C3-M4-C4 | M1-center-M3 | M2-center-M4
Relative Deflection (mm) | 0 (OK) | 0 (OK) | 0 (OK) | 0 (OK) | 36.36 (OK) | 36.61 (OK)
Allowable Deflection (mm) | 11750/240 =49 | 11750/240 =49 | 12000/240 =50 | 12000/240 =50 | 12000/240 =50 | 11750/240 =49
C1
C4
M3
M2
M4
M1
C2
C3
3.
  Three-dimensional analysis
Deflection Computation

## Slide 56
Story drift
All values of both directions in the table are nearly lower than 0.015, so, no actions are needed to reduce the drift.
Story | Inelastic drift ratio in y-direction | Inelastic drift ratio in x-direction
85 | 0.0137 | 0.0139
84 | 0.0136 | 0.0140
83 | 0.0137 | 0.0140
82 | 0.0137 | 0.0141
81 | 0.0138 | 0.0142
80 | 0.0139 | 0.0143
79 | 0.0141 | 0.0144
78 | 0.0137 | 0.0141
77 | 0.0141 | 0.0157
76 | 0.0134 | 0.0129
75 | 0.0155 | 0.0147
74 | 0.0140 | 0.0137
73 | 0.0141 | 0.0137
72 | 0.0143 | 0.0139
71 | 0.0145 | 0.0140
70 | 0.0146 | 0.0141
69 | 0.0147 | 0.0141
68 | 0.0148 | 0.0142
67 | 0.0149 | 0.0141
66 | 0.0149 | 0.0141
65 | 0.0149 | 0.0140
64 | 0.0149 | 0.0139
63 | 0.0149 | 0.0137
62 | 0.0150 | 0.0135
61 | 0.0156 | 0.0137
60 | 0.0134 | 0.0121
59 | 0.0169 | 0.0129
58 | 0.0154 | 0.0126
57 | 0.0157 | 0.0126
56 | 0.0160 | 0.0127
the story drift values obtained from ETABS are elastic values, and they must be multiplied by a factor ().
3.
  Three-dimensional analysis
Deflection Computation

## Slide 57
Verification of structural design
3.
  Three-dimensional analysis
Beams
The specific beam selected for review on floor 48 is shown in the figure. This beam’s dimensions are 1200 mm width, 650 mm depth, and 11.76 m length.

## Slide 58
Verification of structural design
3.
  Three-dimensional analysis
Beams
The design load combination for this check is (1.2 D + 1.2 S.D + 1.6 L)
Flexural design check
= 0.0033 < 0.0049
= d = 575 = 3381 .
from ETABS = 3476 .
Difference (%) = 2.81% < 10% OK.

## Slide 59
Verification of structural design
3.
  Three-dimensional analysis
Beams
The load combination used is 1.2612(D+S.D)+1.0L-Ex.
At station 0.00:
Shear design check:
KN

## Slide 60
Verification of structural design
3.
  Three-dimensional analysis
Beams
The load combination used is 1.2612(D+S.D)+1.0 L- Ey.
Torsion design:
< KN.m, Then Consider torsion.
Difference in (%)
Difference in (%) =

## Slide 61
Verification of structural design
3.
  Three-dimensional analysis
Beams
Other design requirements for intermediate beams in ACI 318-19 that need to be checked are:
According to ACI 318-19 section 18.4.2.1 Beams shall have at least two continuous bars at both top and bottom faces. Continuous bottom bars shall have area not less than one-fourth the maximum area of bottom bars along the span. These bars shall be anchored to develop in tension at the face of support.
According to ACI 318-19 section 18.4.2.2 The positive moment strength at the face of the joint shall be at least one-third the negative moment strength provided at that face of the joint. Neither the negative nor the positive moment strength at any section along the length of the beam shall be less than one-fifth the maximum moment strength provided at the face of either joint.

## Slide 62
Verification of structural design
3.
  Three-dimensional analysis
Columns
The specific column selected for review on floor 80 is shown in the figure. This column’s dimensions are 1200×600 mm, and its height is 5.2 m.

## Slide 63
Verification of structural design
3.
  Three-dimensional analysis
Columns
The design load combination for this check is (1.2 D + 1.2 S.D + 1.6 L).
Longitudinal reinforcement design :
Check slenderness for moment about y-axis (assume to be braced / Non-sway ):
(Short column).
= KN.m, = KN (from ETABS).
From the interaction diagram , which is equal

## Slide 64
Verification of structural design
3.
  Three-dimensional analysis
Columns
The load combination used is 1.2612(D+S.D)+1.0L-Ey.
Shear design :
KN. .
Difference (%)
.
.
.
Difference (%)

## Slide 65
Verification of structural design
3.
  Three-dimensional analysis
Shear walls
Piers:
The specific pier selected for review on the 4th basement is shown in the figure. The pier’s dimensions are:
- 2700 mm in length
- 1000 mm in width
- 2.9 m in height.
The design load combination for pier design checks is 1.2612(D+S.D)+1.0 L + Ey.

## Slide 66
Verification of structural design
3.
  Three-dimensional analysis
Shear walls
Piers:
- Longitudinal reinforcement design check:
.
Reinforcement .
.
.

## Slide 67
Verification of structural design
3.
  Three-dimensional analysis
Shear walls
Piers:
- Check boundary limits:
Strain method:
.
. (Error = 0%).
.
811.1
Difference (%)

## Slide 68
Verification of structural design
3.
  Three-dimensional analysis
Shear walls
Piers:
- Check boundary limits:
Stress method:
.
.
Difference (%)
.

## Slide 69
Verification of structural design
3.
  Three-dimensional analysis
Shear walls
Piers:
- Shear design:
.
.
.
Difference (%)
.
Difference (%)

## Slide 70
Verification of structural design
3.
  Three-dimensional analysis
Shear walls
Spandrels:
The specific spandrel selected for review on elevation 29 is shown in the figure. The spandrel’s dimensions are:
- 1000 mm in length.
- 900 mm in width.
- 750 mm in depth.
The design load combination for pier design checks is 0.8388(D+S.D) - Ey.

## Slide 71
Verification of structural design
3.
  Three-dimensional analysis
Shear walls
Spandrels:
- Flexural design check
Top left:
.
.
.
.
Difference (%).

## Slide 72
Verification of structural design
3.
  Three-dimensional analysis
Shear walls
Spandrels:
- Shear design check
.
.
.
Difference (%)
.
.
Difference (%).

## Slide 73
Difference (%)
Verification of structural design
3.
  Three-dimensional analysis
Shear walls
Spandrels:
- Shear design check for diagonal

## Slide 74
Structural design
3.
  Three-dimensional analysis
Slabs
The Selected slab in the fourth basement (t = 400mm):

## Slide 75
Structural design
3.
  Three-dimensional analysis
Slabs
Check slab punching shear:

## Slide 76
Structural design
3.
  Three-dimensional analysis
Slabs
Check slabs for wide beam shear:
.
Ultimate shear V12 and V23 are shown in the figures.
All values of shear are lower than , so there is no need for shear reinforcement.

## Slide 77
Structural design
3.
  Three-dimensional analysis
Slabs
Design of slabs for flexure:
.
.
.
- Top steel splicing is in the middle of the span.
- Bottom steel splicing is near and through support.

## Slide 78
Structural design
3.
  Three-dimensional analysis
Slabs
Design of slabs details:
- , For bars diameter less than 20 mm.
- , For diameter bars equal to or larger than 20 mm.
- For positive moment splice length, .
- For negative moment splice length, .

## Slide 79
Structural design
3.
  Three-dimensional analysis
Design of Diaphragm
The selected diaphragm of story 75th was chosen to be designed according to ASCE 7-16 code.

## Slide 80
3.
  Three-dimensional analysis
KN.
.
.
Then, = 2510.13 KN.
Slab area = 1295.9 m2.
KN/m2.
F11
Structural design
Design of Diaphragm

## Slide 81
3.
  Three-dimensional analysis
Shear design of the diaphragm:
.
The maximum shear value = 617.83 KN < 10053.8 KN.
No need for shear reinforcement.
Flexural design of the diaphragm:
Assume the width of of the chord = 0.5 m.
d = 35.7 - 1 = 34.7 m.
Maximum bending moment about z- axes Mu = 856 KN.m.
KN.
mm2.
The maximum moment about z-axes.
The maximum shear.
Structural design
Design of Diaphragm

## Slide 82
Structural design
3.
  Three-dimensional analysis
Design of Collecter
For collector design details, story 75 was chosen to be designed according to the ASCE 7-16 code. The selected collector of story 75 is depicted in figure 3.168 below.

## Slide 83
3.
  Three-dimensional analysis
In structures assigned to Seismic Design Category C , D , E , or F , collector elements and their connections , including connections to vertical elements , shall be designed to resist the maximum of the following :
- Ω˳ Fx = 1.44×2.5 KN= 3.6 KN/m2.
- Ω˳ Fpx = 1.31×2.5 KN= 3.3 KN/m2.
- Fx = 2510.13+1861.05 = 4371.2 KN, Fx = 3.37 KN/m2.
Estemated axial force = 158.3 KN.
mm2.
Structural design
Design of Collecter

## Slide 84
Structural design
3.
  Three-dimensional analysis
Beams
The Selected beam in the 8th floor is shown in the figure.
The beam dimensions are:
- 11.76 m in length from the center of one wall to another.
- 1.2 m in width.
- 0.65 m in depth.

## Slide 85
Structural design
3.
  Three-dimensional analysis
Beams
Longitudinal reinforcement:
Top Longitudinal steel reinforcement at the right edge = 10 ф 28.
Top Longitudinal steel reinforcement at the left edge = 10 ф 28.
Bottom Longitudinal steel Steel reinforcement = 10 ф 28.
Middle Longitudinal steel reinforcement (due to torsion) = 4 ф 25.

## Slide 86
Structural design
3.
  Three-dimensional analysis
Beams
Transfers reinforcement:
.
.
= 100mm
.
.
.
.

## Slide 87
Structural design
3.
  Three-dimensional analysis
Beams
Beams details:
the reinforcement shall be spliced in accordance with (a) and (b):
(a) Positive moment reinforcement shall be spliced at or near the support.
(b) Negative moment reinforcement shall be spliced at or near mid-span.
Development length:
, For bars diameter less than 20 mm.
, For diameter bars equal to or larger than 20 mm.
For a positive moment, splice length, .
And for a negative moment, splice length, .

## Slide 88
Structural design
3.
  Three-dimensional analysis
Beams
Beams details:

## Slide 89
Structural design
3.
  Three-dimensional analysis
Columns
The selected column in the first basement is shown in the figure.
The column dimensions are:
- 3.2 m in length from the center of the slab to the another slab center.
- 1.0 × 1.0 m2 section.

## Slide 90
Structural design
3.
  Three-dimensional analysis
Columns
Longitudinal reinforcement:
Longitudinal reinforcement = 10000 mm2 = 32 ф 22.
Transverse reinforcement:
- mm.
- mm.

## Slide 91
Structural design
3.
  Three-dimensional analysis
Columns
Columns details:
Lab splices: In this project for bars diameter less than or equal to 32 mm.
Mechanical splicing: In this project for bars diameter greater than 32 mm.

## Slide 92
Structural design
3.
  Three-dimensional analysis
Columns

## Slide 93
Structural design
3.
  Three-dimensional analysis
Shear walls, piers
The selected pier in the 35th floor is shown in the figure.
The pier dimensions are:
- 3.55 m in height from the center of the slab to the another slab center.
- 5.65 × 1.2 m2 section.

## Slide 94
3.
  Three-dimensional analysis
Longitudinal reinforcement:
Longitudinal reinforcement = 16950 mm2 =5 ф20/1m m at each face
Shear reinforcement:
Shear reinforcement = 3000 mm2 /m= =
5 ф 20/1 m at each face of the wall.
Structural design
Shear walls, piers

## Slide 95
3.
  Three-dimensional analysis
Boundary element:
Boundary element width = 1246 mm at each end.
vertical spacing between hoops (s) = 100 mm.
.
Length of the hoop at the boundary mm.
Overlap between hoops along the boundary element mm.
Structural design
Shear walls, piers

## Slide 96
3.
  Three-dimensional analysis
Shear reinforcement:
The amount of transverse reinforcement shall be:
.
mm2.
In the transverse direction of boundary element:
mm2.
Structural design
Shear walls, piers

## Slide 97
Structural design
3.
  Three-dimensional analysis
Shear walls, spandrels
The selected pier in the first floor is shown in the figure.
The shear wall dimensions are:
- 1.0 m in length.
- 0.9 m in width.
- 0.75 m in depth

## Slide 98
Structural design
3.
  Three-dimensional analysis
Shear walls, spandrels
Flexural design:
Spandrel dimensions are: Ln = 1.0 m, b = 0.9 m, h =0.75 m.
Top Steel Reinforcement = 1090 mm2 = 4 ф 16.
Bottom Steel Reinforcement = 986 mm2 = 4 ф 16.
Development length ldt will be between 15-20 cm.

## Slide 99
Structural design
3.
  Three-dimensional analysis
Shear walls, spandrels
Shear design:
Vertical stirrups spacing for ф16 hoop = .
Vertical stirrups = hoop ф 16/ 150 mm.
Middle longitudinal steel spacing for ф16 hoop = .
Middle longitudinal steel = ф 16/ 150 mm at each face.
Development length ldt will be between 15-20 cm.

## Slide 100
Structural design
3.
  Three-dimensional analysis
Shear walls, spandrels
Diagonal design:
- Longitudinal bars of diagonal:
Area of steel = 5118 mm2 = 10ф 28
Longitudinal steel reinforcement of the diagonal = 10ф 28.
Reinforcement shall be arranged such that the spacing hx of longitudinal bars laterally supported by the corner of a crosstie or hoop leg shall not exceed 350 mm around the perimeter of the diagonal bars arrangement.

## Slide 101
Structural design
3.
  Three-dimensional analysis
Shear walls, spandrels
Diagonal design:
- Transvers reinforcement:
=100 mm.
Then Ash = 697 mm2 < 763.4 mm2.
- Development length of longitudinal bars in the diagonal:
.

## Slide 102
Structural design
3.
  Three-dimensional analysis
Shear walls, spandrels

## Slide 103
Structural design
3.
  Three-dimensional analysis
Foundations
Piles layout:
- the pile used for this structure is 36000 KN maximum axial service load with a diameter of 1.5 m and depth of 56 m.
- The maximum total load in the z-direction is equal to 4352491.593 KN.
- Assumed settlement is equal to 7 cm.
- spacing between piles = 2.5-3 times the diameter between them.
- Raft thickness is 5200 mm.

## Slide 104
Structural design
3.
  Three-dimensional analysis
Foundations
Check design of foundation:
Effective depth (d) = 5200 - 390 - 210 = 4600 mm.
KN.m.
mm2
mm2 < 19780 mm2
mm2
(OK).

## Slide 105
Structural design
3.
  Three-dimensional analysis
Foundations
Design of foundation:

## Slide 106
Structural design
3.
  Three-dimensional analysis
Foundations
Design of foundation:

## Slide 107
Structural design
3.
  Three-dimensional analysis
Foundations
Design of foundation:

## Slide 108
3.
  Three-dimensional analysis
Structural design
Design of Stairs
Fluxeral:
By using the shrinkage steel (As = 0.0018bh) which is 360 mm2, which can resist an ultimate moment equal to (Ø Mn = 21.6 KN.m) which is larger than the values on the figure.
Top and bottom Steel: As = 360 mm2 → use 1Ø12 / 250 mm.
Development Lengths: Ldt = 300 mm.
Shear:
ØVc = 83.6 KN/m (without shear reinforcement)
Figures below show the shear values.

## Slide 109
3.
  Three-dimensional analysis
Structural design
Design of Stairs

## Slide 110
THANK
YOU!