## Slide 1: Accu-Vital Monitor
Presented by : Aya Ghazal and Menna Alkhayat
Supervisor :Dr. Sufyan Samara

## Slide 2: INTRODUCTION
A multi-parameter patient monitoring system is a compact and portable device designed to facilitate easy movement and use in healthcare settings. Its portability enables flexible monitoring capabilities, enabling healthcare professionals to make informed decisions and provide timely interventions.

## Slide 3: MOTIVATION
What the problem?
Doctors and nurses must record patient vital values on paper and transfer them to a hospital system database, which requires effort, a tedious routine, lack of real-time monitoring, and the potential for mistakes. Traditional measuring methods are too heavy and nurses have difficulty moving them around.

## Slide 4: GOALS Save time and effort To ensure accuracy Fast measurements
data entry must be checked.
fast measurements saved safely for patient benefit.
ensure their comfort at work

## Slide 5: Overview of The System
The ESP32 microcontroller was used to create a health care device that is compact, integrates many medical devices, and is easy to use on a mobile device.

## Slide 6: Implementation
Nextion Display
ESP-WROOM-32

## Slide 7: All Feature
Add new potion
Medicine
Mobile App
Checkups frequently
ECG
blood sugar

## Slide 8: Feature and Design

## Slide 9: Feature and Design

## Slide 10: Checkups frequently
DS18B20 Temperature Sensor
MH-ET Live MAX30102 Heart Rate Sensor Module Pulse Detection Blood Oxygen
The accuracy of the sensor itself is within 0.5 °C
accuracy rate of the MAX30102 measurement is 97.11% and 98.84%, for heart rate .

## Slide 11
Humidity Sensor
humidity levels between 30% and 60% for comfort and health.

## Slide 12: ECG
AD8232 heart monitor
Accuracy values reaching more than 90% indicate the reliability of the implementation results

## Slide 13: Blood Glucose Measurement
MQ-136 Gas

## Slide 14: MOBILE APP

## Slide 15: CONCLUSION
AccuVital Monitoring is a lightweight and easy-to-carry product that measures vital values such as temperature, heart rate, oxygen level, blood sugar, and electrocardiogram. Data is stored in a database without human interaction or paper record.

## Slide 16: Future Work adding more sensors Integration with IoT Platforms enhancing the effectiveness of the outcomes

## Slide 17: DEMO
Do you have any questions?

## Slide 18: ALTERNATIVE RESOURCES