## Slide 1
}السلام عليكم ورحمة الله وبركاته{

## Slide 2
An-Najah National University
Faculty of Engineering
Building Engineering Department
Graduation Project II
Villa
Prepared by:
Muna Sbaihat
Supervisor:
Dr. Eehab Hejazi
2015

## Slide 3: Outlines:
The site of the Villa.
Architectural design.
Electrical design.
Environmental design.
Mechanical design.
Structural and Seismic design.
Safety design.

## Slide 4: Site of the Villa:
Site and Location: 7000 m²

## Slide 5: Site of the Villa:
Site and Location: The Land

## Slide 6: Architectural Design

## Slide 7: The Site Plan of the Villa:

## Slide 8: Ground Floor (Area = 293.55m²):

## Slide 9: First Floor (Area = 313.65m²):

## Slide 10: Roof Plan (Area = 313.65m²):

## Slide 11: North Elevation:

## Slide 12: East Elevation:

## Slide 13: South Elevation:

## Slide 14: West Elevation:

## Slide 15: Stairs Section:

## Slide 16: Villa Section:

## Slide 17: 3D view for my Villa:

## Slide 18: 3D view for my Villa:

## Slide 19: Electrical Design

## Slide 20: Lux values for each space in residential buildings, due to Egyptian code:
Space |  | Intensity of illumination (lux)
Residential buildings | Stairs | 120
 | Corridors | 60
 | Living room: | 
 | General | 150
 | Reading | 300
 | Dining room | 120
 | Bedroom | 120
 | Kitchen: | 
 | General | 120
 | Above work surfaces | 500
 | Bathroom: | 300
 | Office Room: | 
 | General | 300
 | Above work surfaces | 500

## Slide 21: Guest Room:
Guest Room with nearly equals 150 LUX.

## Slide 22: Dining Room:
Dining Room with nearly equals 120 LUX.

## Slide 23: Master Bedroom:
Master bedroom with nearly equals 120 LUX.

## Slide 24: Living Room:
Living Room with nearly equals 300 LUX.

## Slide 25: AutoCAD drawing shows location of switches and lamps for the ground floor:

## Slide 26: AutoCAD drawing shows location of switches and lamps for the first floor:

## Slide 27: AutoCAD drawing shows location of sockets for the ground floor:

## Slide 28: AutoCAD drawing shows location of sockets for the first floor:

## Slide 29: Environmental Design

## Slide 30: Orientation of the Villa:

## Slide 31: Sun Bath:

## Slide 32: Ecotect model for the Villa:

## Slide 33: Layers for the external walls:
Layer | Width (mm) | Density | Sp. Heat | Conduct.
Sandstone | 50.0 | 2150.0 | 840.000 | 5.000
Concrete Lightweight | 70.0 | 950.0 | 656.900 | 0.209
Air Gap | 50.0 | 1.3 | 1004.000 | 5.560
Block, Hollow, Lightweight, 150m# | 100.0 | 1040.0 | 840.000 | 0.620
Plaster, Sand Aggregate | 30.0 | 1680.0 | 840.000 | 0.820
Plaster Building (Molded Dry) | 5.0 | 1250.0 | 1088.000 | 0.431
U-Value of the external wall shown in the figure, is equals to 0.23 (W/m².K), from Eotect program.

## Slide 34: Layers for the windows:
U-Value of the windows shown in the figure, is equals to 2.71 (W/m².K), from Eotect program.
Layer | Width (mm) | Density | Sp. Heat | Conduct.
Glass Standard | 6.0 | 2300.0 | 836.800 | 1.046
Air Gap | 30.0 | 1.3 | 1004.000 | 5.560
Glass Standard | 6.0 | 2300.0 | 836.800 | 1.046

## Slide 35: For windows in east, west and north elevations I used vertical louvers:

## Slide 36: For windows in south elevation I used internal curtains:

## Slide 37: In addition to existence of some deciduous trees in the back and sides of the Villa.

## Slide 38: Thermal Calculations:
The suitable range for total heating and cooling loads per one meter in any building is between 30 Kwh and 80 Kwh; in my Villa it is about 58.076 Kwh and this is good.

## Slide 39: Thermal Calculations:

## Slide 40: Mechanical Design

## Slide 41: In my Villa mechanical design consists of:
Water supply system
Drainage system design

## Slide 42: Water supply system:
The main water supply of my villa is from the public water.
Two small tanks on the roof of the villa with capacity of 5000m³.
Pump between the main supply line and the small tanks on the roof.

## Slide 43: Water supply system:
Tanks on the roof

## Slide 44: Water supply system:
In my project I divided the villa for two zones, and I calculated the suitable size of the pipes for vertical and horizontal feeders and the critical branches
Total fixture units for zone1 = 36 FU’s, and water demand = 28 gpm.
Total fixture units for zone2 = 15 FU’s, and water demand = 15 gpm.

## Slide 45: Water supply system:
The main two zones for water supply for the ground floor.

## Slide 46: Water supply system:
The main two zones for water supply for the first floor.

## Slide 47: Water supply system:
By calculations and using all tables and figures needed I found that:
The suitable diameter for vertical feeder (2"), horizontal feeder (1") and branches (3/4") for both zones in the ground and first floors.
I used the galvanized steel for the vertical feeder and PVC for horizontal and branches.

## Slide 48: Water supply system:
For hot water supply I used two solar collectors on the roof of the villa.
Hot water pipes diameters will be the same of the cold water pipes diameters used.

## Slide 49: Drainage system design:
To try making the building environmentally-friendly building, the drainage system was divided into three types:
Black water: to public sewage network.
Gray water: for irrigation.
Storm water: can be used again.

## Slide 50: Drainage system design:
Stacks, vents and manholes with diameter = 4”.
Fixture unit | Drainage fixture unit | Diameter size (inch)
Shower head | 2 | 2
water closet with flush meter tank | 4 | 4
Wash up basin | 2 | 2
Dishwasher | 2 | 2
Washer | 2 | 2
Bidet | 1 | 2
Kitchen sink | 2 | 2
Bathtub | 2 | 2
By using suitable tables:

## Slide 51: Drainage system design:
Autocad drawing shows a plan of drainage fixture units for the ground floor:

## Slide 52: Drainage system design:
Autocad drawing shows a plan of drainage fixture units for the first floor:

## Slide 53: Drainage system design:
Sewage:

## Slide 54: Structural and Seismic Design

## Slide 55: Design codes:
The American Concrete Institute code ACI 318-08.
The seismic design according to UBC-97.
The analysis and design were done using SAP2000 program.

## Slide 56: Design Data:
Concrete compressive strength:
For slab fc’ = 24.
For columns fc’ = 28.
Yielding strength of steel:
= 420.
Bearing capacity of soil:
Bearing capacity = 250 KN/.

## Slide 57: Design Data:
Structural system:
One way ribbed slab with hidden beams.
Slab thickness:
For slab as one end continues use = = = 0.29 m.
For beams as simply supported use = = = 0.3 m.
Then I will use ribbed slab with hidden beams with thickness of 0.3m.

## Slide 58: Beams dimensions:
Beam | Dimensions (m) | Bottom Steel | Top Steel | Stirrups
B1 | .6 * .3 | 5 ø 14 | 7 ø 18 | 2 ø 8/ 10cm
B2 | .8 * .3 | 6 ø 16 | 5 ø 16 | 2 ø 10/ 10cm
B3 | .3 * .3 | 3 ø 12 | 3 ø 12 | 1 ø 8/ 10cm
B4 | .6 * .3 | 4 ø 16 | 4 ø 16 | 1 ø 8/ 10cm
B5 | .8 * .3 | 7 ø 16 | 7 ø 18 | 2 ø 10/ 10cm
B6 | .8 * .3 | 6 ø 14 | 6 ø 14 | 2 ø 10/ 10cm
B7 | .8 * .3 | 6 ø 12 | 5 ø 12 | 1 ø 10/ 10cm
B8 | .8 * .3 | 6 ø 14 | 5 ø 12 | 2 ø 10/ 10cm
B9 | .4 * .3 | 5 ø 12 | 5 ø 12 | 1 ø 8/ 15cm
B10 | .4 * .3 | 5 ø 14 | 5 ø 16 | 1 ø 10/ 13cm
B11 | .8 * .3 | 5 ø 12 | 6 ø 14 | 2 ø 10/ 10cm
B12 | .8 * .3 | 8 ø 16 | 10 ø 18 | 2 ø 10/ 10cm
GB | .35 * .5 | 4 ø 14 | 4 ø 14 | 1 ø 10/ 25cm

## Slide 59: Columns dimensions:
Column | Dimensions (m) | Reinforcement | 
 |  | Longitudinal | Ties
C1 | 0.6 * 0.25 | 8 ø 16 | 1 ø 10/ 25cm
C2 | 0.6 diameter | 12 ø 20 | 1 ø 10/ 25cm

## Slide 60: Footings dimensions:
Footing | Dimensions (m) | Longitudinal Reinforcement | Transverse Reinforcement
F1 | 1.80*1.40*0.30 | 6 ø 14 | 8 ø 14
F2 | 1.60*1.60*0.30 | 7 ø 14 | 7 ø 14
F3 | 3.00*1.00*0.30 | 1 ø 14/ 15cm | 1 ø 14/ 15cm
F4 | 2.50*2.50*0.30 | 1 ø 14/ 15cm | 1 ø 14/ 15cm

## Slide 61: Distribution of columns and shear walls in the Villa:

## Slide 62: Simple 3D model from SAP2000 program:

## Slide 63: Compatibility check, deformed shape:

## Slide 64: Equilibrium check:
Check | Manual value | SAP value | Error %
Live load | 1910.58 KN | 1872.491 KN | 2%
Super imposed dead load | 5687.44 | 5801.548 | 2%
Dead load |  |  | 0.46%
Check | Manual value | SAP value | Error %
Live load | 1910.58 KN | 1872.491 KN | 2%
Super imposed dead load | 5687.44 | 5801.548 | 2%
Dead load |  |  | 0.46%

## Slide 65: Seismic Check:
Design Data:
W = 13290.208 KN
fc’= 280 Kg/cm².
= 4200 Kg/cm².
Soil Type:
Location: Nablus
= 0.24
= 0.32
I = 1
= 0.0488
R = 4.5

## Slide 66: Natural Period (T) for the Villa:
T (manual) = * = 0.208 sec
T (SAP.) = 0.217
% Error = 4.3%.

## Slide 67: Structural details:
1) Slab

## Slide 68
1) Slab

## Slide 69
1) Slab

## Slide 70: 2) Beams

## Slide 71: 2) Beams

## Slide 72: 2) Beams

## Slide 73: 3) Columns

## Slide 74: 3) Columns

## Slide 75: 4) Footings

## Slide 76: 4) Footings

## Slide 77: 5) Shear walls

## Slide 78: 6) Stairs

## Slide 79: Safety Design

## Slide 80: Safety Signs used and distributed in the Villa:

## Slide 81: Safety Signs used and distributed in the Villa:
Danger electricity
Extinguishers

## Slide 82: Safety Signs used and distributed in the Villa:
Emergency light
Fire alarm

## Slide 83: Safety Signs used and distributed in the Villa:
Smoke detector

## Slide 84: AutoCAD drawing shows the distribution of safety signs and tools in ground floor of my villa:

## Slide 85: AutoCAD drawing shows the distribution of safety signs and tools in first floor of my villa: