## Slide 1: GREENING ARAB AMERICAN UNIVERSITY-JENIN.
Prepared by:
Yousef AbuShanab
Mo’ath Arqawi
Muhammad Juma’a
Muhammad Mashaqi
Supervised by: Dr. Ramiz Al-Khaldi.

## Slide 2: INTRODUCTION

## Slide 4: WHY AAUJ?!

## Slide 6: ADVANTAGES AND DISADVANTAGES OF SOLAR ENERGY
Advantages
Disadvantages
Free
Clean and non pollution source of energy
Renewable
Minimal maintenance requirements for PV panels
Unpredictability of solar energy due to the change of the weather
Solar energy panels require additional expensive equipment such as inverters
Large areas are required for large-scale photovoltaic solar projects
Solar panels efficiency levels vary but are relatively low

## Slide 7: SOLAR ENERGY SYSTEM ELEMENTS
Controllers
Inventers

## Slide 8: CELLS
Monocrystalline Silicon Cells
Polycrystalline Silicon Cells
Hybrid Cells
Amorphous Silicon Cells

## Slide 9
Current stage of Development | Cell Efficiency (%) | Construction | Type
Industrial production | 13-16 | Uniform crystalline structure single crystal | Monocrystalline
Industrial production | 12-16 | Multi crystalline structure different crystals visible | Polycrystalline
Industrial production | 6-8 | Particles irregularly – arranged – thin film | Amorphous
Industrial production | 18 | Uniform crystalline and Particles irregularly – arranged – thin film | Hybrid

## Slide 10: SCOPE OF WORK

## Slide 11: OBJECTIVES
To study availability of solar energy in Arab American University- Jenin
To study how to put solar panels in the university in architectural way that fit buildings and areas
To inform the department of engineering about this project, and to know if it can be rewardable
To study the best location which solar panels can be installed on in the university
To evaluate the economic and environmental impacts of solar energy

## Slide 12: IMPORTANCE OF WORK
Solve the problem of the high bill that drain from the university budget.
Reduce the load on the central network thereby increasing the network bandwidth.
Reduce reliance on non-renewable sources of energy such as oil, fuel, which reduces damage to the environment.

## Slide 13: ADVANTAGES AND DISADVANTAGES OF PV PANELS
Advantages
Disadvantages
Low running costs.
Low overall maintenance.
Long service life.
Easily upgradable.
Minimum risk of electric shock.
Quiet operation.
High capital cost.
Weather dependent performance.
User training is important for optimum performance.
Cannot support heavy loads.
Liable to theft/vandalism

## Slide 14: CONSTRAINTS

## Slide 15
The accurate data and the difficulty of getting a plan
During the work, we faced many difficulties and challenges, it was difficult to obtain accurate and reliable information about the amount of radiation in Palestine, especially the city of Jenin. After searching we got the data that helped us in the design. We also had difficulty getting the chart for the Arab American University, where a book was sent by the head of the Mechanical Engineering department to allow us to get the master plan but the university administration refused. This plan will help us identify the area of the university and the appropriate places to put solar panels .We then decided to visit the Arab American University to find out about the space and buildings suitable for this project

## Slide 16: EARLIER COURSEWORK
1- Energy conversion
The course talks about renewable sources of energy and how to use them properly and from this confiscation of solar energy. 2- Heat transfer and Thermodynamics 1 and 2.

## Slide 17: LITERATURE REVIEW

## Slide 18: SOLAR POWER PLANT IN TUBAS
Contribute to the generation of at least 3 MW of electricity, and this will contribute to cover at least 20% of the energy purchased by the electricity company Tubas.

## Slide 19: WORLD GAMES STADIUM IN TAIWAN
It comes with massive and gigantic solar panels which harness all the solar energy in order to generate electricity that could be used by the stadium.
It has a 14,155-square meter roof area
1.4 giga watt hours of electricity produced every year
80% of the neighborhood where the stadium is located can also be powered through the electricity generated for the stadium on days when the stadium is not in use.

## Slide 20: METHODOLOGY

## Slide 21
Solar Constant
The solar constant is defined as the quantity of solar energy (W/m²) at normal incidence outside the atmosphere (extraterrestrial) at the mean
sun-earth distance. Its mean value is 1367.7 W/m².
Solar Energy Potential in PT’s:
Palestine has a high potential of solar energy falling out during the year compared with other neighboring countries. The annual daily average of solar radiation in Palestinian Territories is estimated at (5.46 kWh/ m². day). The average of solar radiation during winter season is approximately (3.5 kwh/m². day), and it exceeds (6.2 KWh/m². day) in the rest of the year.

## Slide 22
Table(4.1):Daily Average Global Solar Radiation (kWh/m².day) in PT’s

## Slide 23
Solar Energy Applications:
1-solar thermal application
2- solar heating and cooling of buildings
3-solar thermal electricity generation
4-solar Drying 5-solar cooking
6-Greenhouse Agriculture
Solar Thermal Electricity Generation:
In our project, the panels will be installed on the roofs of the buildings of the Arab American University for electricity generation and this is the first objective, and it can also be used as an umbrella.

## Slide 24
Photovoltaic Photovoltaic (PV) or Solar cell is an energy conversion system which converts the light comes from the sun into electricity
PV output over the time per day The amount of solar radiation varies with the passage of time during the day, solar cells can work between the hours of 6 a.m. to 6 p.m

## Slide 25: HOW PHOTOVOLTAIC WORKS?
The solar cells (PV) convert sunlight directly into electricity without the need to heat the air or water. Photovoltaic cell made from at least two layers of the semiconductor material is usually silicon. A positive layer which called p-type, the other layer negative which called n-type, and between them area that called P/N junction, see figure(4.2).
When light falls on the cell surface and then enter the photons will be absorbed by atoms semiconductor article, which lead to liberation of electrons from the negative layer flowing across the electric circuit and then return to class with which constitutes a positive flow of electrons electricity.
Fig. (4.2): Components of PV Cell.

## Slide 26: HOW PHOTOVOLTAIC WORKS?
These cells are linked with each other in a sealed so-called module. When two modules are linked with each other in series the voltage will be doubled, while the current remains constant, but when two modules are linked in parallel the current will be doubled and the voltage remains constant.
For the current and the voltage that be required many number of modules are linked to each other in a series and parallel form which called array. The following figure (4.3) shows photovoltaic cell, module, and array.
Fig. (4.3): Photovoltaic Cell, Module, and Array.

## Slide 27: Geomolg.com
is a computer programme that renders a 3D representation of Earth based on satellite imagery.

## Slide 28: Shading Analysis
\

## Slide 29: Panels layout :
A lot of Panel layouts and designs were done to find the best, space-efficient and maximum power output of them, so that the maximum power of 1MW can be reached.
The layout which was found suitable is to put 4 panels in width on top of each other as shown in figure (4.5).
Fig.(4.5) : Panels Layout.

## Slide 30: Faculty of Administrative and Financial Sciences
Area= 963 .
The distribution of the modules on the building produces a capacity of 158.72 kWp.
Number of modules is 496.

## Slide 31: Faculty of Engineering and Information Technology
Area= 527 .
The distribution of the modules on the building produces a capacity of 80.04 kWp.
Number of modules is 272.

## Slide 32: Faculty of Arts and Sciences
Area= 427 & 186 .
The distribution of the modules on the building produces a capacity of 70.4 & 30.72 kWp.
Number of modules is 220 & 96.

## Slide 33: Faculty of Allied Medical Sciences
Area= 598 & 210 .
The distribution of the modules on the building produces a capacity of 98.56 & 34.56 kWp.
Number of modules is 308 & 108.

## Slide 34: Warehouse
Area= 853 .
The distribution of the modules on the building produces a capacity of 140.8 kWp.
Number of modules is 440.

## Slide 35: Sport Hall
Area= 2544 .
The distribution of the modules on the building produces a capacity of 419.84 kWp.
Number of modules is 1312.

## Slide 36
50 kW ABB Inverter datasheet
27.6 kW ABB Inverter datasheet

## Slide 37
5 kW ABB Inverter datasheet
320w JA solar panel datasheet

## Slide 38
Pamukkale AC cables datasheet

## Slide 39: DESIGN AND ANALYSIS

## Slide 41
Faculty of Administrative and Financial Sciences

## Slide 42
Faculty of Administrative and Financial Sciences

## Slide 43
Faculty of Administrative and Financial Sciences

## Slide 44
Faculty of Engineering and Information Technology

## Slide 45
Faculty of Engineering and Information Technology

## Slide 46
Faculty of Engineering and Information Technology

## Slide 47
Faculty of Arts and Sciences

## Slide 48
Faculty of Arts and Sciences

## Slide 49: Faculty of Arts and Sciences

## Slide 50: Faculty of Allied Medical Sciences

## Slide 51: Faculty of Allied Medical Sciences

## Slide 52: Faculty of Allied Medical Sciences

## Slide 53: Sport Hall

## Slide 54: Sport Hall

## Slide 55
Sport Hall

## Slide 56: Warehouse

## Slide 57
Warehouse

## Slide 58
Warehouse

## Slide 59: Available roof-top areas for PV systems installation
PV Generator Surface(m^2) | Facility name | No.
963 | Faculty of Administrative and Financial Sciences Building | 1.
527 | Faculty of Engineering and Information Technology Building | 2.
427 | Faculty of Arts and Sciences Building(1) | 3.
186 | Faculty of Arts and Sciences Building(2) | 4.
210 | Faculty of Allied Medical Sciences Building(1) | 5.
598 | Faculty of Allied Medical Sciences Building(2) | 6.
2544 | Sport Hall | 7.
853 | Warehouse | 8.
6308 | Total | 

## Slide 60: PV Generator Output (kWp) for each building.
Number of PV Modules | Power Generated (kWp) | Faculty name | No.
496 | 158.72 | Faculty of Administrative and Financial Sciences Building | 1
272 | 80.04 | Faculty of Engineering and Information Technology Building | 2
220 | 70.40 | Faculty of Arts and Sciences Building(1) | 3
96 | 30.72 | Faculty of Arts and Sciences Building(2) | 4
108 | 34.56 | Faculty of Allied Medical Sciences Building(1) | 5
308 | 98.56 | Faculty of Allied Medical Sciences Building(2) | 6
1312 | 419.84 | Sport Hall | 7
440 | 140.80 | warehouse | 8
3252 | 1033.64 | Total | 

## Slide 61: Energy generated, Performance ratio and Shading losses of every building.
Yield reduction due to shading (%/year) | Performance ratio (PR) % | PV generator energy (AC grid) (Kwh/year) | Faculty name | No.
4.5 | 81.4 | 257841.1 | Faculty of Administrative and Financial Sciences Building | 1
6.7 | 83 | 83230.4 | Faculty of Engineering and Information Technology Building | 2
1.4 | 84 | 124370.2 | Faculty of Arts and Sciences Building(1) | 3
1.4 | 84.1 | 54251.4 | Faculty of Arts and Sciences Building(2) | 4
2.6 | 82.5 | 58076.2 | Faculty of Allied Medical Sciences Building(1) | 5
2.6 | 81.5 | 168597.9 | Faculty of Allied Medical Sciences Building(2) | 6
0.3 | 81.6 | 706459.8 | Sport Hall | 7
0.1 | 84.6 | 246648 | Warehouse | 8
 |  | 1,750,000 | Total | 

## Slide 62: Inverter TRIO-27.6-TL-OUTDDistribution for each building
Inverter TRIO-27.6-TL-OUTD (# of Inverters) | Faculty name | No.
2 | Faculty of Administrative and Financial Sciences Building | 1
2 | Faculty of Engineering and Information Technology Building | 2
1 |  | 
1 | Faculty of Arts and Sciences Building(1) | 3
1 | Faculty of Arts and Sciences Building(2) | 4
- | Faculty of Allied Medical Sciences Building(1) | 5
4 | Faculty of Allied Medical Sciences Building(2) | 6
- | Sport Hall | 7
5 | warehouse | 8
16 | Total | 

## Slide 63: Inverter TRIO-50-TL-OUTDDistribution for each building.
Inverter TRIO-50.0-TL-OUTD (# of Inverters) | Faculty name | No.
2 | Faculty of Administrative and Financial Sciences Building | 1
_ | Faculty of Engineering and Information Technology Building | 2
1 | Faculty of Arts and Sciences Building(1) | 3
_ | Faculty of Arts and Sciences Building(2) | 4
_ | Faculty of Allied Medical Sciences Building(1) | 5
_ | Faculty of Allied Medical Sciences Building(2) | 6
6 | Sport Hall | 7
2 |  | 
_ | warehouse | 8
11 | Total | 

## Slide 64: Inverter PVI-5000-TL-OUTD Distribution for each building
Inverter PVI-5000-TL-OUTD (# of Inverters) | Faculty name | No.
6 | Faculty of Allied Medical Sciences Building(1) | 1

## Slide 66
 | Solar PV system energy production
420,000$ | Solar PV Module
344,801$ | Inverters
60,000$ | Mechanical Set-up
134,000$ | Engineering
170,000$ | Installation
1,128,801$ | Total cost for energy production
25year | Project Life
0.16$ | KW Price (Tariff)
1,750,000 kWh | Total energy production
4 years | Payback period (Maximum)

## Slide 67: Thank You