## Slide 1
An-Najah National University
Factually of Engineering&Information Technology
Building Engineering Department
Graduation project (2)
Integrated Design of a Nablus Municipality
Prepared by:
Aya Qino
Aya Yameen
Hiba Azim
Under the supervision of:
Dr. Monther Dwaikat
“Presented in partial fulfilment of the requirements for Bachelor degree in Building engineering”
[2020-2021]

## Slide 2
Content
Environmental analysis
01
Brief insight
02
Site analysis
03
Architectural analysis and design
04
Electromechanical design
05
06
Structural design
07
Quantity Surveying & Cost Analysis

## Slide 3
Brief insight
1

## Slide 4
Brief insight
1
Floor | Area(m2)
Basement | 1190
Ground | 1150
First | 900
Second | 950
Third | 950
Fourth | 700
Total | 5840

## Slide 5
Site analysis
1

## Slide 6
1
Site Analysis
contour
The area of it is about 3000 .
It is surrounded by two streets, one of them is main street, and the other is secondary street.

## Slide 7
Architectural Analysis and design
1

## Slide 8
Basement plane
1
Architectural Analysis and design

## Slide 9
1
Architectural Analysis and design

## Slide 10
1
Architectural Analysis and design

## Slide 11
1
Ground floor

## Slide 12
1
First floor

## Slide 13
1
Second floor

## Slide 14
1
Third floor

## Slide 15
1
Fourth floor

## Slide 16
1
Maximum Travel distance

## Slide 17
Environmental analysis
Shading
Thermal analysis
Daylight factor
1

## Slide 18
Shading
21/12 at 8:00 AM
21/12 at 12:00 PM
In winter (21/December)
1

## Slide 19
Shading
In summer (21/June)
21/6 at 8:00 AM
21/6 at 12:00 PM
1

## Slide 20
Day light analysis for ground floor
1
Case study
Modification
Result before modification
Result After modification

## Slide 21
Day light factor After modification
Daylight factor | 
Color | Value
Cyan | (2-2.5)%
Dark blue | (1)%
Recommended day light factor for offices =(1.5-2.5) %
Daylight factor for offices =(2-2.5) %
Ok
1

## Slide 22
Thermal analysis before treatment
1
Heat loss and temperature
Heat loss from glazing
126
Heat loss from wall
52
Heat loss from Roof
70

## Slide 23
U-value and design capacity before and after modification
1
Elements | U-value without insulation | U-value with insulation
Wall | 2.44 | 0.44
Roof | 2.67 | 0.38
Glass | 5.89 | 1.9
Design capacity for cooling | Befor tretement | After tretement
 | 328.24 KW | 175.1 KW
4cm of polystyrene (extruded) was placed in the wall between the two layers of the block and the concrete, and in the roof 4 cm of asphalt and 5 cm of polystyrene (extruded) were placed, and the glass type was converted into a double with 14 mm helium.
U-value =2.44
U-value =2.67
U-value =0.44
U-value =0.38
Thermal analysis
328KW
175KW

## Slide 24
Thermal analysis After treatment
Heat loss and temperature.
.
1

## Slide 25
Thermal comfort
1
PMV SET-Design Builder
Approximate energy consumption in the building

## Slide 26
1
Photovoltaic cells
Distribution of the modules in the roofs
Power for module
300W
Covered area
350m2
Total power
83KW
159000 KWh
301347KWh

## Slide 27
4 Structural analysis and Design

## Slide 28
Structural analysis AND Design
43
Codes
Modeling for each block
Model validation and seismic checks
Designing

## Slide 29
Codes
44
ACI 318M-14
1-
ASCE7.16
2-
UBC1997
3-
Yielding strength of steel(MPa)
420
compressive strength of concrete (MPa)
28 for slabs and Beams
32 for column and Mat foundation
Material properties

## Slide 30
Modeling
45
3D-Model for Block (A)
3D-Model for Block (C)
3D-Model for Block (B)

## Slide 31
47
Model Validation
Compatibility
Stress strain
Equilibrium

## Slide 32
47
Model Validation
Compatibility

## Slide 33
47
Model Validation
Equilibrium
Manual calculations |  |  | 
SID Load |  |  | 
Slab |  |  | 
Existing in | Area(m2) | SID load(KN/m2) | Live load (KN)
Basements | 2319.81 | 1 | 2319.81
Floors | 3095.83 | 3.5 | 10835.405
Wall |  |  | 
Type | Parameter(m) | Load (KN/m) | Total load (KN/M)
Masonry wall | 274.23 | 18.00 | 4936.11
Curtin wall | 351.32 | 2.80 | 983.69
Manual result(KN) |  |  | 19075.02
ETABS result(KN) |  |  | 19572.20
%Error |  |  | 2.54

## Slide 34
47
Model Validation
Stress strain
Manual |  | 
Load from | Wu(KN) | M(KN/m)
Two way | 73.22 | 390.48
Beams | 6.30 | 113.40
Total Load | 79.52 | 503.88
ETABS result | 520.00 | 
%Difference | 3.09 | 

## Slide 35
47
Seismic checks
Period
MMPR
Drift
Base shear

## Slide 36
47
Period checks
T(B)=1.4×TA .

## Slide 37
47
Model mass participation ratio checks
Case | Mode | Period | UX | UY
Modal | 1 | 0.663 | 0.962 | 0.002
Modal | 2 | 0.615 | 0.018 | 0.76
Modal | 3 | 0.445 | 0.021 | 0.244
Modal | 4 | 0.157 | 0.866 | 0.052
Modal | 5 | 0.139 | 0.115 | 0.658
Modal | 6 | 0.099 | 0.029 | 0.314
Modal | 7 | 0.069 | 0.824 | 0.062
Modal | 8 | 0.06 | 0.079 | 0.793
Modal | 9 | 0.05 | 0.021 | 0.006
Modal | 10 | 0.049 | 0.034 | 0.038
Modal | 11 | 0.04 | 0.773 | 0.022
Modal | 12 | 0.038 | 0.023 | 0.852
Case | Mode | Period | UX | UY
Modal | 1 | 0.457 | 0.962 | 0.002
Modal | 2 | 0.457 | 0.018 | 0.76
Modal | 3 | 0.335 | 0.021 | 0.244
Modal | 4 | 0.157 | 0.866 | 0.052
Modal | 5 | 0.139 | 0.115 | 0.658
Modal | 6 | 0.099 | 0.029 | 0.314
Modal | 7 | 0.069 | 0.824 | 0.062
Modal | 8 | 0.06 | 0.079 | 0.793
Modal | 9 | 0.05 | 0.021 | 0.006
Modal | 10 | 0.049 | 0.034 | 0.038
Modal | 11 | 0.04 | 0.773 | 0.022
Modal | 12 | 0.038 | 0.023 | 0.852
Model mass participation ratio
Block (A)
Model mass participation ratio
Block (B)
Model mass participation ratio
Block (C)
Case | Mode | Period | UX | UY | UZ
Modal | 1 | 1.131 | 0.238 | 0.416 | 0
Modal | 2 | 0.762 | 0.522 | 0.457 | 0
Modal | 3 | 0.549 | 0.244 | 0.131 | 0
Modal | 4 | 0.278 | 0.204 | 0.515 | 0
Modal | 5 | 0.183 | 0.503 | 0.424 | 0
Modal | 6 | 0.144 | 0.105 | 0.675 | 0
Modal | 7 | 0.124 | 0.335 | 0.179 | 0
Modal | 8 | 0.114 | 0.025 | 0.716 | 0
Modal | 9 | 0.103 | 0.007 | 0.729 | 0
Modal | 10 | 0.096 | 0.002 | 0.809 | 0
Modal | 11 | 0.094 | 0.668 | 0.19 | 0
Modal | 12 | 0.092 | 0.165 | 0.158 | 0
MMPR>90%
MMPR>90%
MMPR>90%

## Slide 38
47
Base shear check
Axis | T-ETABS (second) | T-limit (second) | T-used (second) | V-Manual | V-ETABS | New scale factor
X | 0.732 | 0.857752166 | 0.732 | 19003 | 19996 | 9913
Y | 0.732 | 0.857752166 | 0.732 | 80398 | 80469 | 43171
Axis | T-ETABS (second) | T-limit (second) | T-used (second) | V-Manual | V-ETABS (old) | V-ETABS (new) | Old scale factor | New scale factor
X | 0.633 | 0.764 | 0.633 | 5227 | 3796 | 5227 | 2317 | 3191
Y | 0.615 | 0.764 | 0.615 |  | 3179 | 5227 | 2317 | 3811
Axis | T-ETABS (second) | T-limit (second) | T-used (second) | V-Manual | V-ETABS (old)
X | 0.457 | 0.476 | 0.457 | 5227 | 3796
Y | 0.457 | 0.476 | 0.457 | 5227 | 3179
Base shear check-Block (A)
Base shear check-Block (B)
Base shear check-Block (C)

## Slide 39
47
Drift check
The drift limitation has two cases according to UBC-97, two cases illustrated as following:
Story | Height | Dis-X | Dis-Y | Drift-X | Drift-y | Delta-X | Delta-y | Drift-limitation
0 |  | 0 | 0 |  |  |  |  | 
1 | 3060 | 0.634 | 0.87 | 0.63 | 0.8 | 2 | 3 | 61
2 | 3060 | 2.4 | 1.98 | 1.76 | 1 | 6 | 4 | 61
3 | 3060 | 5.7 | 4.5 | 3.3 | 2 | 12 | 10 | 61
4 | 4000 | 14.3 | 14.5 | 8.6 | 10 | 33 | 38 | 80
5 | 4000 | 26 | 27 | 11.7 | 12 | 45 | 48 | 80
6 | 4000 | 40 | 43 | 14 | 16 | 53 | 61 | 80
7 | 4000 | 53 | 55 | 13 | 12 | 50 | 46 | 80
8 | 4000 | 65 | 66 | 12 | 11 | 46 | 42 | 80
Drift check-Block (A)
Delta maximum
First floor

## Slide 40
49
Designing
Diaphragm Slab
Special columns
Special Beams
Water tank
Retaining wall
Mat Foundation
Shear wall

## Slide 41
50
slab design
Ground floor-Block A
Slab on Ground

## Slide 42
50
Columns design
Schedule of column reinforcement
Detailing for each column in block A
Number of stirrups in each column
Dimensions | bc1 | Ash1 | Diameter | Abar | #legs
800*800 | 710 | 492.03 | 10 | 78.5 | 7
600*600 | 510 | 353.43 | 10 | 78.5 | 6
400*400 | 310 | 214.83 | 10 | 78.5 | 3

## Slide 43
Beam design
52

## Slide 44
Shear wall design
52
Shear wall 1 –Block A

## Slide 45
Mat foundation
52
Punching Check
Deflection Check

## Slide 46
Information
Water Tank
1

## Slide 47
Soil only
Water only
Lateral pressure
1

## Slide 48
Checks
Compatibility
Shear
Bearing capacity
Deflection
1

## Slide 49
For walls (Water only)
For walls (Soil only)
For base
For slab
1
Shear Check

## Slide 50
Reinforcement for the water tank
For walls
For base
For slab
1

## Slide 51
1
Cantilever retaining wall
Stability Check
Shear Check

## Slide 52
Electro-Mechanical design
1

## Slide 53
49
Artificial lighting
Acoustical
Water supply
Draining system
Firefighting
HVAC system
Electrical extensions
Electro-Mechanical design

## Slide 54
Artificial lighting
1
Design of Mayor room
Luminaires used

## Slide 55
Artificial lighting
1
Design of Mayor room
Illuminance and glare results
Render result
Glare =11<19
Lux=634lux>500lux

## Slide 56
Artificial lighting
1
Lights and switches distribution

## Slide 57
Electrical extensions
Consists of :
Electrical
Generator
1
Wire
Circuits breaker
Distribution board
Socket
Switch
Loads

## Slide 58
1
Fire fitting
Manual suppression system-ground floor

## Slide 59
1
Automatic suppression system
Fire fitting
Water sprinkler
Chemical wet sprinkler
FM200 sprinkler

## Slide 60
1
Detection ,notification ,signals and Emergency lighting
Fire fitting

## Slide 61
Drainage system
1
Gray water
Black water

## Slide 62
Manholes
1

## Slide 63
Drainage of Rain Water
1

## Slide 64
Layout of draining for ground floors
1

## Slide 65
Layout of water supply for ground floors
1
Each person inside the building consumes (20) liters / day
Hot water
Each person inside the building consumes (3) liters / day
Cold
water

## Slide 66
Vertical section
1

## Slide 67
49
HVAC system design
Outdoor unit
Diffuser
Liquid and gas pipe
Grills
Duct
Fan coil
VRF system
Components

## Slide 68
Layout of HVAC system for ground floor
1
Air flow | Capacity | Company | 
____ | 61.5 KW | Daiken | Outdoor unit
____ | 3,4 KW | Daiken | Fan coil unit
0.127 /s |  | Air master | Diffuser
Air flow | Capacity | Company | 
____ | 61.5 KW | Daiken | Outdoor unit
____ | 3,4 KW | Daiken | Fan coil unit
 |  | Air master | Diffuser
constant pressure drop
Duct size Tool

## Slide 69
Acoustical design
1
The spaces that were designed :
Corridor
Multi purpose hall
Office
The parameters should be studied:
RT60
STL
AL
SPL
STC
STCI

## Slide 70
Absorption coefficient for material:
The absorption values of tiles on the floor
The absorption values of plaster on the wall
1

## Slide 71
Absorption coefficient for material:
The absorption values of framed plasterboard on the partitions
The absorption values of gypsum on the ceiling
1

## Slide 72
Multi-purpose hall area
1
Model of speaker
Multi-purpose model -EASE.
Speaker specification
Multi-purpose hall Reverberation time
EN610
110
90
558
332
295

## Slide 73
Multi-purpose hall area
1
sound pressure level
Articulation loss
STI

## Slide 74
Acoustical design - INSUL9.0 program
1
For partitions
For Ceiling

## Slide 75
For external wall (contains window)
1
For wall
For window

## Slide 76
Composite TL for Wall
1

## Slide 77
Overlap for ground floor
1

## Slide 78
Lumion

## Slide 79
Lumion

## Slide 80
Lumion

## Slide 81
Lumion

## Slide 82
Lumion

## Slide 83
1010450
1
Summery of each work total cost in
Nablus Municipality
The total cost of the Nablus Municipality is 1580500 NIS and the total area of the Municipality is 5830 which means that the total unit cost per is 2700 NIS/ m2.
Earth work
9499845.641
Structural work
3462374
Super structural work
322142.60
Electrical work
82900.00
Fire system
53740
Mechanical work
1010450
HVAC system

## Slide 84
Thank you for listening
1