## Slide 1: Design and construction
We need to seek a design that Achieve the goal of the project
which should be :
compact
effective
So we need to know types of heat exchangers

## Slide 2: Heat exchangers type
There are two type of heat exchanger
Air water heat exchanger cross flow
Water- water system counter flow

## Slide 3: Air-water system design
This type depend on water as refrigerant air as cooling agent
To design the cycle need to know :
cooling and heating load
Over all heat transfer coefficient
Logarithmic mean temperature
So we find the surface area of different componaent

## Slide 5
As we saw from the previous slide we have to calculate U to get the surface area to construct the design for the components
As all the design is proceeded in the same method we will present the design of a sample which will be condenser

## Slide 6: Condenser design Air-water system
This design is constructed by trial and error method
So we need to assume the initial values for U, and the temperature to be calculated
U is assumed based on reference

## Slide 7: Assumptions
Assume U = 35 W/m2 .C°
An initial value for the surface area is obtained

## Slide 8: Equations
Mass and energy balance equation
To find velocity
Then find Reynolds number

## Slide 9
After we find Reynolds number we decide whether its laminar or turbulent flow
If Re < 500000 (Laminar)

## Slide 10: As the mass flow rate was for water we just calculate inside heat transfer coefficient
So repeating the previous steps for air we will find outside heat transfer coefficient
But :

## Slide 11
Sd
The Nusslets number for outside heat transfer coefficient=
Substitute in over all heat transfer coefficient and with trial and error method the resulted surface area was 28.25 meter square

## Slide 12: The resulted surface area was unsuitable for the construction so another design is proposed
Water -Water system
This design based on empirical equations
All of the values related to temperature
Same principle of the previous system but not the same evaluation

## Slide 13: Cycle

## Slide 14: Equations

## Slide 15
Q for the condenser = m`*(hf-hg)
=2.4 kw

## Slide 16
for 104<Red<5×106 and 0.5<Pr<2000

## Slide 17: Sizing