## Slide 1: Faculty of Engineering Mechanical Engineering Department
Presented by: Advisor:
Allan Shaar eng. Ramez khaldi
Al-Motasem Abu-Halimi
Mohannad Shakhshir
Mohammad Jaber
Design of a Cooling System
for Recycling Copper Wires Using Pyrolysis Process

## Slide 3: Outline
Goals
Introduction
Literature Review
Methodology
Applications
Benefits
Conclusion

## Slide 4: GOALS
EXTRACT PURE COPPER IN AN ENVIRONMENTALLY FRIENDLY WAY
PROPER UTILIZATION OF PALESTINE’S LANDFILLS
UTILIZATION OF OIL PRODUCED

## Slide 7: What is Pyrolysis?
Heating with the absence of Oxygen

## Slide 8: Shell And Tube Heat Exchanger
Cheap
Effective
Easy to construct
Simple

## Slide 9: Literature Review
Pyrolysis of PVC
De-chlorination

## Slide 10: Pyrolysis of PVC
PVC = 57% chlorine + 43% Hydrocarbons
Producing high HCL acid

## Slide 11: De-chlorination
Calcium carbonate (CaCO3)
Sodium bicarbonate (NaHCO3)

## Slide 13: Design of Cooling System

## Slide 14: How does it work?

## Slide 15: Real-life Footage

## Slide 16: Thermal Simulation
Tin (Cº) | Tout (Cº)
350˚C | 186.54˚C to 209.96˚C
Tin (Cº) | Tout (Cº)
22.6 | 116.3˚C to 139.71˚C
Water Temperature
(Phase one)
Gas Temperature
(Phase one)

## Slide 17: Thermal Simulation
Tin (Cº) | Tout (Cº)
180˚C | 113 ˚C to 90.602 ˚C
Tin (Cº) | Tout (Cº)
23.4 | 68.203˚C to 79.403˚C
Water Temperature
(Phase two)
Gas Temperature
(Phase two)

## Slide 18: Applications

## Slide 19
Benefits?
Relatively clean
Various applications
Beneficial for Palestine
Pure copper production

## Slide 20: Conclusion