## Slide 1: ISO 50001:2011 Preparing Specialized Arab Hospital –Nablus for ISO 50001:2011 STANDARD
Project team:
Lana Ghannam Nidal Amer Omar Othman Waseem Shanabli Zaid Sayeh
Supervisors:
Eng. Suleiman Daifi Dr. Mohammed Alsayed

## Slide 2: Agenda
Introduction
  Background
  Problem Statement
  Energy management & ISO 50001
Methodology
  PDCA
Developed work
    Gap Analysis
    Energy Analysis
ISO 50001 Implementation
Management and structural framework
Energy planning
Implementation and operation
Conclusion & Recommendations

## Slide 3: INTRODUCTION

## Slide 4: Specialized Arab Hospital
Health sector
Rafedia/Nablus
Multiple medical departments

## Slide 6: Problem Statement

## Slide 7: Solving the problem
Many Energy Management Systems were addressed

## Slide 8: Energy management & ISO 50001
Energy management is the process of
Monitoring,
Controlling, and
Conserving
“energy” in a building or organization.

## Slide 9
Energy Management
Energy Consumption
Collecting data
Finding Opportunities
Taking Action
Tracking the progress

## Slide 10: Methodology

## Slide 11: ISO 50001:2011 Standard uses a management approach tool called the PDCA cycle.

## Slide 13
Followed Steps

## Slide 14: Gap Analysis

## Slide 15
Gap Analysis is a technique that businesses use to determine what steps need to be taken in order to move from its current state to its desired, future state.

## Slide 16: Energy Policy
What is Energy Policy?

## Slide 17: Energy Profile

## Slide 18: Electricity Profile
Chart: 
| Lighting | Chillers | AC's | Laundry | Oxygen Station | Elevators | Others
 | 0.12 | 0.35 | 0.18 | 0.12 | 0.045 | 0.025 | 0.16

## Slide 19: Gas Profile
Chart: Boilers Consumption (NIS)
| Summer | Winter
Consumption (NIS) | 3500 | 10000

## Slide 20: Energy Consumption Systems

## Slide 21: Lighting System
Operating hours = 24 hours
Number of installed units = 500 unit
Rated Power = 45W
250-500 lumens/m2

## Slide 22: Boilers
Three Water Tube Boilers
LPG
50-100 Liters

## Slide 23: Chillers
One 160ton Petra chiller
Variable Frequency

## Slide 24: Air Conditioners
22 AC’s
24 hours
(18 – 25) C◦

## Slide 25: Oxygen Station
Constant Consumption 3800-3900 NIS/month

## Slide 26: Laundry
Two Washing Machines
One Dryer

## Slide 27: Elevators
Two Large Elevators
One Small Elevators

## Slide 28: ISO 50001 Implementation

## Slide 29: Management and Structural Framework

## Slide 30: Energy Planning
Legal Requirements and Other Requirements
Energy review
Energy Baseline
Action plans

## Slide 31: Action Plans
Rebuilding the hospital managerial structure, power management section to the maintenance section
Hiring an internal auditor to take the responsibility of applying and keeping a track on everything related about the ISO 50001
Defining what is needed and required to apply the (EnMs) and taking the ISO 50001 certificate
Setting Energy Indicators
Hiring and specifying a technical team
Following Recommendations
Building and establishing the Energy Policy and the Energy Baseline
Documentation
Training
Evaluation

## Slide 32: Documentation

## Slide 33: Conclusion
Energy consumption in Specialized Arab Hospital is a bit more than the international standards with an average cost value of 107$/ m2 while the standard average is 95$/ m2.
Total energy saving will be more than 20% by applying the suggested recommendations.

## Slide 34: Recommendation

## Slide 35: Lighting
A cleaning schedule should be established
The using of photoelectric daylight sensors
Turn off lamps when the space is not occupied.
Reducing the overall lighting levels to allow for patients to rest

## Slide 36: Boilers
Clean boiler tubes and combustion surfaces of fouling.
Don’t dispose of hot water directly if the heating process is still going on.
Don’t heat for more than the necessary temperature
Clean heat transfer coils

## Slide 37: Air Conditioners
Closing doors, windows and curtains when the air conditions are used
A thermostat can be programmed to control heating and cooling systems
Heat to the lowest acceptable temperature and cool to the highest acceptable temperature in the summer
Turn off conditions when the space is not occupied
Turn off conditions at the last half hour of work every day

## Slide 38: Laundry
Use washing machines at full load only
Use water that is already warm from other applications

## Slide 39: Chiller
From time to time, clean heat transfer coils on chillers
A periodic maintenance will keep the efficiency as much high as possible

## Slide 40: SOLAR WATER HEATERS
Install solar water heaters that will save very large amount of energy

## Slide 41: END