## Slide 1
Design of New Generation Secondary School
Graduation Project II
Faculty of Engineering & Information Technology
Department of Building Engineering
Prepared by : Odai Abo-Aishe
Mostafa Al-Haj Qasem
Supervisor: Dr.Mutasim Baba

## Slide 2: Outline:
Introduction.
Site location.
Architectural design.
Environmental design.
Structural design.
Electro-Mechanical design.
Safety design.
Quantity survey and cost.

## Slide 3: Introduction:

## Slide 4: Site location:
The land located at the Al- Ma'ajin suburb about 3 Km west of the city center, on latitude 32.23° north and longitude 35.25° east.

## Slide 6: Architectural design

## Slide 7: Architectural design:
Entrance
Reception
Headmaster room
Social worker room
Clinic
Multipurpose hall
Classrooms
Science lab.
Library
Toilets
Teachers room
Secretary room
Computer lab.
Stores
New Generation secondary school spaces

## Slide 8
Ground floor
Area=708.5

## Slide 9
First floor
Area=1031

## Slide 10
Second floor
Area=390

## Slide 11
Third floor
Area=619

## Slide 18
3D model

## Slide 19
Area spaces:

## Slide 20: Environmental design

## Slide 21: Thermal design:
External wall layers
Internal wall layers
Walls layer:

## Slide 22
U-values:

## Slide 23
Sun path at 21st Jan.
11:00am
Sun path at 21st June
11:00am

## Slide 24
Design builder results:

## Slide 25
Design builder results:

## Slide 26
Design builder results:

## Slide 27: Daylight factor:
Ground floor

## Slide 28
First floor

## Slide 29
Second floor

## Slide 30
Third floor

## Slide 31: Acoustical analysis:
Acoustical ceiling absorption

## Slide 32
Plaster absorption
Tile absorption

## Slide 33
Head master room:
RT60 standard at (500- 1000) Hz = 0.5 to 0.8
Depending on Millington-sette curve at
(500-1000) Hz Rt60 = 0.67 and 0.59 which it within the required range.
Reverberation time :

## Slide 34
Teachers room:
RT60 standard at (500- 1000) Hz = 0.4 to 0.8
Depending on Millington-sette curve at
(500-1000) Hz Rt60 = 0.46 and 0.42 which it within the required range.

## Slide 35
Multipurpose hall:
RT60 standard at (500- 1000) Hz = 0.6 to 0.9
Depending on Millington-sette curve at
(500-1000) Hz Rt60 = 0.72 and 0.66 which it within the required range.

## Slide 36
Science lab.:
RT60 standard at (500- 1000) Hz = 0.6 to 0.8
Depending on Millington-sette curve at
(500-1000) Hz Rt60 = 0.67 and 0.61 which it within the required range.

## Slide 37
Corridor:
RT60 standard at (500- 1000) Hz = 0.6 to 0.9
Depending on Millington-sette curve at
(500-1000) Hz Rt60 = 0. 7 and 0.65 which it within the required range.

## Slide 38
Class room:
RT60 standard at (500- 1000) Hz = 0.6 to 0.8
Depending on Millington-sette curve at
(500-1000) Hz Rt60 = 0. 65 and 0.6 which it within the required range.

## Slide 39
Computer lab.:
RT60 standard at (500- 1000) Hz = 0.6 to 0.8
Depending on Millington-sette curve at
(500-1000) Hz Rt60 = 0. 69 and 0.62 which it within the required range.

## Slide 40
Library:
RT60 standard at (500- 1000) Hz = 0.6 to 0.8
Depending on Millington-sette curve at
(500-1000) Hz Rt60 = 0. 7 and 0.64 which it within the required range.

## Slide 41
Sound transmission class (STC):
Recommended values for STC:

## Slide 42
External wall :

## Slide 43
Internal wall :

## Slide 44
IIC for slab between floors:

## Slide 45
Loudspeakers:
Internal loudspeakers:
JBL 8138 4PC 8 inch In-Ceiling Speakers

## Slide 47
Loudspeakers distribution
Louadspeakers distribution for Ground floor

## Slide 48
Louadspeakers distribution for first floor

## Slide 49
Louadspeakers distribution for second floor

## Slide 50
Louadspeakers distribution for third floor

## Slide 51
External loudspeakers:
Stadium Sound System Atlas Sound Paging Horn Loudspeakers and Mixer Amplifier

## Slide 52: Structural design

## Slide 53
Codes & Loads:
Codes:
  ACI -318-14 for reinforced concrete structural design.
  UBC -97 for seismic design.
  ASCE for load combinations.
Loads:
  Live load = 5 KN/
  SID = 5.5 KN/

## Slide 54
Seismic Load:
  The city of structure is Nablus.
  The seismic zone factor ( Z = 0.2).
  The soil profile is type .
  The acceleration seismic coefficient = 0.24
  The velocity seismic coefficient = 0.32
  The Seismic importance factor = 1.25
  The structural design type is intermediate, R=5.5

## Slide 55
One way ribbed slab with drop beams.
Two way solid slab with drop beams.
Materials:
Concrete:
= 24 mpa (B300)
Steel:
= 420 mpa
Structural system:

## Slide 56
We divided our building into 3 blocks by structural breaker because of difference in levels of building.
3D model-Block1

## Slide 57
3D model-Block 2

## Slide 58
3D model-Block 3

## Slide 59
Model checks:
Compatibility check:
It’s OK

## Slide 60
Equilibrium check:
Internal forces check:
Done for 3 samples of slab strip, beams and columns within difference less than 10%

## Slide 61
Deflection check:
Limit =
= = 43mm

## Slide 62
Period check:
Period from manual calculation = 0.355 second
From ETABS = 0.35
So, it’s OK.
Base shear check:
= 1950.5 KN
V from ETABS:
EQx = 1950.75 KN>
EQy = 1950.54 KN>
OK.

## Slide 63
= 0.7* R
Limit = 0.025 * Height of story, T < 0.7 sec.
Drift check:
OK.

## Slide 64
Section dimensions:

## Slide 65
Reinforcement:
Slab reinforcement:
Ground slab:

## Slide 66
First floor slab:

## Slide 67
Beams reinforcement:
Main beams:

## Slide 69
Secondary beams:

## Slide 71
Columns reinforcement:

## Slide 73
Shear walls reinforcement:

## Slide 75
Footings reinforcement:

## Slide 78
Retaining wall reinforcement:
Reinforce by minimum steel = 0.0033
= 990 /m = 5 ø 16 /m
= ø 16 @ 200 mm

## Slide 80
Electro-Mechanical System design

## Slide 81
Water supply system:

## Slide 82
Water sypply system for first floor

## Slide 83
Water sypply system for second floor

## Slide 84
Water consumption:
Water consumption per day in school = 6300 liter/day

## Slide 85
Water Supply system
Due to Palestine's water problems, there is a need to design a water tank to store water,
Palestinian school it is open 5 day so we need a sufficient water tank during this period
Water tank capacity = 6300 liter/day * 5day = 31500 liter.
In our project, we relied on municipal water as a main water supply, where it are collected in water tanks with ( 4 * 4 * 5 )meter dimension 80 cube

## Slide 86
And for daily consumption we use: 1- For cold water 4 tanks. 2- For hot 2 tanks. 3- For recycled water 2 tanks.

## Slide 87
Water tanks

## Slide 88
Water drainage system:

## Slide 89
Water drainage system for first floor

## Slide 90
Water drainage system for ground floor

## Slide 91
Rain water drainage system:

## Slide 92
Hot water heating system used is two - pipe reversed return system in first, second and third floor.
Radiator system:

## Slide 93
Hot water heating system in ground floor as showen in the figure.
Radiator system for ground floor

## Slide 94
Radiator system for first floor

## Slide 95
Radiator system for second floor

## Slide 96
Radiator system for third floor

## Slide 97
Type of radiator was selected from stelrrad cast-iron radiators catalogue.
Model name: Soft line H P+-Brag box.

## Slide 98
Number of Radiators:
For ground floor:

## Slide 99
For First floor:

## Slide 100
For Second floor:
For third floor:

## Slide 101
Fire fighting system

## Slide 102
Fire extinguisher.
Hose station.
Heat detector.
Smoke detector.
Warning signs.
Manual alarm.

## Slide 103
Fire fighting system for ground floor

## Slide 104
Fire fighting system for first floor

## Slide 105
Fire fighting system for second floor

## Slide 106
Fire fighting system for third floor

## Slide 107
Emergency egress system:
Ground floor

## Slide 108
First floor

## Slide 109
Second floor

## Slide 110
Third floor

## Slide 111
Use 1 panorama elevator with 2500 capacity and 350 fpm .
Elevator design:

## Slide 112
Electrical system

## Slide 113
Artificial lighting:
DIALux evo 8.0 software was used for design following spaces.
Multipurpose hall.
Clinic.
Head master, Secretary, Social worker, and teacher room.
Corridor.
Class room.
Library.
Computer lab, and science lab.

## Slide 114
Five type of luminaire used for design the school:
Thorn lighting – 96535734 DUOPRF 2*28W T16 HF.
Thorn lighting - 96629737 OMEGA PRO LED4200-830.
Thorn Lighting – 96629743 OMEGA LED 3300-840 HF.
Thorn lighting – 96629747 OMEGA LED 3300-840.
2*13W PL GLOBE LIGHT.
Luminaire types:

## Slide 116
3D rendering View for selected rooms:
Class room
Computer lab

## Slide 117
Ground floor lighting plan:

## Slide 118
Ground floor socket plan:

## Slide 119
First floor lighting plan:

## Slide 120
First floor socket plan:

## Slide 121
Second floor lighting plan:

## Slide 122
Second floor socket plan:

## Slide 123
Third floor lighting plan:

## Slide 124
Third floor socket plan:

## Slide 125: Distribution board design:

## Slide 126: Main distribution board:

## Slide 127: Quantity Survey

## Slide 129: Thank You