## Slide 1: Environmental status in Tulkarm city
BY: Tawfiq Saleh, Shadid Hanini, Ahmad Abu Saleh, Mutaz Abu Daher and Mahmoud Drubi
Supervisor: Dr. Abdelhaleem Khader

## Slide 2: Introduction
water
Solid waste
Air quality
wastewater

## Slide 3: Study area
Area: 2.45 km2
Elevation: 55-600 m AMSL
Population (2017): 64,532 capita

## Slide 4: POLITICAL SITUATION
Dangerous factories
Stealing and polluting water
Exploitation of wastewater
Air pollution

## Slide 5: Water Management
Quality and quantity

## Slide 6: Water Resources
Israel
85%
250 l/c/d
15%
100 l/c/d
palestine

## Slide 7: ground water quality

## Slide 8: Wastewater management

## Slide 9
Waste Water Management
Collection
Treatment
Final disposal

## Slide 10
Sewage Network
70% of the city as well as refugee camps and Anabta village
Cesspits
Iktaba
Bal'a
Kafr el Labad
Rameen
Beit Leed
Until 2007

## Slide 11
Average flow now = 11400 m3/day
Average flow in 2032=14390 m3/day
Cost for cubic meter =1.25 NIS

## Slide 12
Assumption
Design period = 13 years
Growth rate = 2.5%
Water consumption =97.8 L/c.d

## Slide 13
Population Analysis

## Slide 14
Sample Calculation

## Slide 15
Peak Factor Calculation

## Slide 16
Design Flow Rates Quantification
Total Q.design = 37200 m3/day

## Slide 17
Characteristics of wastewater
Parameter (all concentrations are in mg/l) | 
Data | Value
BOD5 | 140
COD | 449
TSS | 315
Total nitrogen Kj-N + NO | 90
Phosphate | 2.3

## Slide 18
WWTP Layout

## Slide 19
Results & Standards
Quality A
Flow = 35200 m3/day

## Slide 21: SOLID WASTE management

## Slide 22
62000 tons!
in the city 1.29 kg/day,
in the villages 0.4 to 0.9 kg/day.
33 NIS/ton for Zahrat Al-Finjan

## Slide 25
29,443 MWh's per year which means 17.6 million NIS per year
cost = 50 million$.

## Slide 26: AIR QUALITY

## Slide 27
Objectives
To study the effects of Particulate matter on the lung function for people in different areas.
compare the results with other Referenced limits in the world.
To measure the air pollutants in each area especially particulate matter using AIR-U device.

## Slide 30
Chart: %FVC
| Izbet Naser | Quarry | Heavy Traffic | Industrial
FVC | 71.8148 | 85.8148 | 83.1852 | 60.8824
Forced vital capacity

## Slide 31
Chart: %FEV1
| Izbet Naser | Quarry | Heavy Traffic | Industrial
FVC | 69.9259 | 40.4074 | 96.5556 | 32.9412
Forced expiratory volume in one second

## Slide 32
The percent of the lung size (FVC) that can be exhaled in one second
Chart: Ratio of FEV1 to FVC
| Izbet Naser | Quarry | Heavy Traffic | Industrial
FEV1 to FVC ratio | 0.80424 | 0.39979 | 0.6637 | 0.45146

## Slide 33
Particulate matter

## Slide 34: recommendations
The water network in the city have to be fixed urgently
The wastewater issue must be solved
Solid waste is a national wealth that can be directly exploited for power generation
For air pollution, a comprehensive national policy must be taken to solve this serious problem. The situation in the city is catastrophic.