## Slide 1
An-Najah National University Faculty of Engineering Building Engineering Department
Graduation Project – 2
(غرفة تجارة وصناعة - نابلس)
Chamber of Commerce & Industry
(COC)
Prepared By: Deena Jetawi
Hadeel Qawasmi Manar Da’ana
Project supervisor: Arch-Moayad Salhab 2015 - 2016

## Slide 2
Site of the project
Architectural Design
Environmental Design.
Structural and Seismic Design
Mechanical Design
Electrical Design
Cost Estimation
Outline and Contents

## Slide 3: Project Location:
N
Nablus, between Beit wazan and An- Najha National University

## Slide 4
Site Area = 3000 square meter
Site location:

## Slide 5
ARCHITECTURAL
DESIGN

## Slide 6: Site plan

## Slide 7
Ground floor
Ground Floor Area = 2500 m2

## Slide 8
Circulation Area for the first three floors

## Slide 9
First & second Floors
First Floor Area = 2500 m².

## Slide 10: Third floor(COC):
Third Floor Area = 1500 m².

## Slide 11: Fourth Floor(COC):
Fourth Floor Area = 1500 m²

## Slide 12: Fifth floor(COC):
Fifth Floor Area = 1500 m².

## Slide 13: Sixth Floor(Motel &offices):

## Slide 14
Parking B1
Parking
Parking B1

## Slide 15
Parking B2
Parking

## Slide 16
Architectural design:
North Elevation

## Slide 17
Architectural design:
South Elevation

## Slide 18
Architectural design:
East Elevation
West Elevation

## Slide 19
Architectural design:
section

## Slide 20
Architectural design:
section

## Slide 21
Architectural design:
Handicap utilities and circulation were studied well.

## Slide 22
Environmental Design

## Slide 23
Environmental Design:
Sun path
June at 8.00 AM
June at 12.00PM

## Slide 24
Environmental Design:
Sun path
January at 8.00 AM
January at 12.00 AM

## Slide 25: West East and South windows internal vertical shutters
internal horizontal shutters

## Slide 26
Environmental Design:
Thermal Insulation:
The goal: The achieved thermal coefficient U for all new and air-conditioned buildings should be not more than the U-value of the specified code
 | highest value for U | Outer structural elements of the building |  | Number | 
 | 0.5 | The External wall |  | 1 | 
 | 0.39 | Exposed horizontal roof |  | 2 | 
 | 0.39 | Exposed leaning roof |  | 3 | 

## Slide 27
Environmental Design:
Thermal Insulation:
Exterior wall
U = 0.49 < .5

## Slide 28
Environmental Design:
Thermal Insulation:
Ceiling
U = .37< .39

## Slide 29
Environmental Design:
Heating and cooling:
 Total heating load for the third floor = 40.50 KW
Total cooling load for the third floor = 58.77 KW
Total (Heating and Cooling) load from Design Builder per meter = 66.18 KWh/ m² The acceptable range from 30 to 80 KWh/ m²

## Slide 30
Environmental Design:
Acoustical Design:
One goal of acoustical engineering can be the reduction of unwanted noise, which is referred to as noise control.
According to specifications of offices the required RT60 is ( 0.4 – 0.8 ) s
Office
RT60 after modification 0.67
Acoustic tiles
Wall acoustic panel

## Slide 31
Meeting room
RT60 after modification 0.6
Motel
RT60 after modification 0.66
Carpet
Wall acoustic panel

## Slide 32
Environmental Design:
Acoustical Design:
STC Calculations:
Dense hollow block ( thick 10 cm ). ↔ STC=43db
Plaster to both side ↔ STC=4db
required STC 45-50
47 db

## Slide 33
Environmental Design:
Daylight factor & daylight level (Ecotect analysis)
  Offices
  Daylight factor distribution is
  about 2-5 %
DF = 3.97%
DL=356.9
Glass partition

## Slide 34
Environmental Design:
Daylight factor & daylight level
DF = 3.42%
DL=307.5
Glass partition

## Slide 35
Environmental Design:
Daylight factor & daylight level
DF = 2.98%
DL=300%

## Slide 36
STRUCTURAL
DESIGN

## Slide 37: DESIGN CODES
ACI -318-2011 for reinforced concrete structural design.
UBC -97 for earthquake and wind load computations.
ASCE for load computations.
SAP 2000 program for analysis and design.

## Slide 38: MATERIALS PROPERTIES
Compressive strength of Concrete (fc`) = 28 Mpa (B350kg/cm²)
Yielding strength of steel fy = 420 MPa
SOIL PROPERTIES
Soil bearing capacity = 400 KN/m2
Soil profile = SB (Rock)

## Slide 39: Column axis layout

## Slide 40: SEISMIC JOINT
Seismic joint = 10 cm

## Slide 41: 3D Model – SAP For Block (B)

## Slide 42
Structural system Used:
One way ribbed slab with Hidden beams
And drop Beam for theater
Thickness of slab:
The longest span(one end continues) = 700 cm.
The thickness of slab (h) = Ln/18.5 = 700/18.5 = 38 cm
The thickness of slab (h) = 40 cm

## Slide 43
Beams dimension
Columns dimension
Beam Type | Dimensions(mm)
Main Beam | 700*400
Secondary Beam | 600*400
Dropped Beam | 500*900
Column Type | Dimensions(mm)
Square Columns | 800*800
Circular Columns | 850 mm diameter
Rectangular Columns | 1200*500

## Slide 44: DESIGN and REINFORCEMENT of STRUCTURAL ELEMENTS
Slab (one way)
Beams
Columns
Shear wall
Stair
Footings (wall , single , strap and mat )

## Slide 45
Model checks
1-Compatibility
The Structure moves as one part
‘Compatable’

## Slide 46: Model checks
2- Equilibrium
The error percentage is acceptable, less than 10 %
Loads | SAP (KN) | Manual (KN) | % of error
Dead | 96624 | 96509 | 0.119 %
Super imposed | 19645 | 18587 | 5.6%
Live | 25689 | 24456 | 5%

## Slide 47: Model checks
3- Internal forces
Number | Manual moment (kN.m) | SAP moment (kN.m) | of Error %
1 | 108.5 | 120 | 10%
2 | 113.63 | 121.5 | 7%
3 | 117.5 | 116 | 1.2%
4 | 115.5 | 103 | 10%
5 | 106.8 | 105 | 1.6%
6 | 126 | 135.5 | 7.5%
a. for slab

## Slide 48: Model checks
3- Internal forces
Number | Manual moment (kN.m) | SAP moment (kN.m) | of Error %
B1 | 973.5 | 954.5 | 1.95%
B2 | 947.6 | 935.8 | 1.24%
B3 | 556.4 | 525.4 | 5.57%
B4 | 576.6 | 615.5 | 6.8%
B5 | 673.56 | 690 | 2.4%
B6 | 451.5 | 408.75 | 9%
a. for beam

## Slide 49: Model checks
3- Internal forces
Number | Manual axial load(kN) | SAP axial load(kN) | of Error %
C2 | 8229.8 | 7454.22 | 10%
C3 | 7283 | 7922 | 8.7%
C4 | 6139.4 | 6487 | 5.6%
a. for column

## Slide 50: Seismic Design
I = 1.25
R = 5.5
Cv = 0.2
Ca = 0.2
 | Equivalent static | LinResSpe | % of error
Base shear in x-direction | 7546.5 | 7538 | 0
Base shear in y-direction | 7546.5 | 7731 | 0
Soil type Sb
Z = 0.2
 | From SAP | From SAP EQ | From Manual
Period (sec) | 0.828 | 0.993 | 0.739 sec

## Slide 51: Structural System Design
    1-Slab design:

## Slide 52
    1-Slab design:
Structural System Design

## Slide 53
Structural System Design
    2-Beam design:

## Slide 54
Structural System Design
    3-Column design (square column):

## Slide 55
Structural System Design
    3-Column design (circular column):

## Slide 56
Structural System Design
    3-Column design (rectangular column):

## Slide 57
    Footings Design (Mat Footing):
    Reinforcement Details
if Mat used for whole building:
-Extra Concrete (1000m3)
- Extra Steel (36 ton)

## Slide 58
Structural System Design
    4-Footing design ( Mat )

## Slide 59
    Footings Design (Mat Footing):
    Reinforcement Details

## Slide 60
Structural System Design
    4-Footing design ( Isolated )

## Slide 61
Structural System Design
    4-Footing design ( Strap )

## Slide 62
    Shear Wall Design

## Slide 63
    Shear Wall Design

## Slide 64
Reinforcement details around openings:

## Slide 65
Stair Reinforcement Details
Section A-A

## Slide 66
MECHANICAL
DESIGN

## Slide 67
Mechanical Design
Water Supply System
Drainage System
HVAC System

## Slide 68
Three Underground water tank :
Capacity = 185 cubic meter.
Small nine water tanks on the roof
Capacity = 14 cubic meter.
Pump between the underground tank and the small tanks on the roof
Supplying Water for Building

## Slide 69
Supplying Water for Building

## Slide 70
Blocks (A,B, and C) Water Demand
Water Supply Calculation were made for each Block
Water Demand (gpm) | Number of F.U | Supply Control | Main Feeder
75 | 391 | Flush Tank | Block A
68 | 214 | Flush Tank | Block B
75 | 439 | Flush Tank | Block C
Firstly, finding F.Us to find pipe diameters

## Slide 71
First Floor Water Supply

## Slide 72
Third Floor Water Supply

## Slide 73
Calculations
Water demand (gpm) | Number of F.U | Type of supply control | Main feeder
75 | 391 | Flush Tank | Block A
68 | 214 | Flush Tank | Block B
75 | 439 | Flush Tank | Block C
Pipes Diameter for Block A:
Main vertical feeder (steel) = 2.5 inch
Main horizontal feeder (PVC) = 1.2 5inch
Branches (PVC) = 3\4 inch
Pipes Diameter ‘Block A’

## Slide 74
Drainage System
Black water
Grey water
First Floor Drainage System

## Slide 75
Third Floor Drainage System
Drainage System

## Slide 76
Drainage System
Storm Water Drainage

## Slide 77: Drainage System
The vertical stack pipe diameter = 4 inch.
Horizontal pipes for Grey water = 2 inch @ ¼ inch per foot slope.
Horizontal pipes for Black water = 4 inch @ 1/8 inch per foot slope
The diameter of vent = 4 inch
The main drain pipes (underground pipes) diameter = 6 inch @ 1% slope

## Slide 78: HVAC System
The system used in COC is (Variable Air Volume) dual duct VAV

## Slide 79: HVAC System

## Slide 80: HVAC System
Return Diffuser
lighting
Supply Diffuser

## Slide 81
Fire Safety System
Fire Sprinklers for COC floor

## Slide 82: ELECTRICAL DESIGN

## Slide 83
Clothes Store Artificial Lighting

## Slide 84
Gallery Artificial Lighting

## Slide 85
Gallery Artificial Lighting

## Slide 86
Computer Lap Artificial Lighting

## Slide 87
Office Artificial Lighting

## Slide 88
QUANTITIES
SURVEYING

## Slide 89
Quantity surveying
(NIS)
Steel Quantity (Ton) | Concrete Quantity (m3) | Structural elements
….. | 37846 | Excavation
51 | 1747.2 | Footing
96 | 760 | Column
145 | ..... | Beam
144 | ...... | Slab
..... | 4158.3 | Slab+ Beam
120 | 1771 | Shear wall
16 | 197.2 | Stir
31 | 417.7 | Basement wall
5 | 32 | Tie Beam
..... | 503.6 | External wall
..... | 79193# | Ribs
Unit Cost /m2 = 1555.6 NIS
Unit Cost /m2 = 398.88 $

## Slide 90
Thank You