## Slide 1
ASHRAE Type 2 Energy Audit for Rafidia Hospital
By:
Ziad Tuffaha
Majed Tayyem
Supervisor: Dr. Mohammed AlSayed

## Slide 2
Outline
Introduction
01.
Data Collection
03.
Methodology
02.
Information Management Systems
04.
Saving Opportunities
05.
Conclusion
06.

## Slide 3
Introduction
01.

## Slide 4
Energy Management and Audits
Energy audits are an integral part of energy management systems.
Energy audits are a method to decrease energy consumption and increase energy efficiency without disrupting the output or quality of life of the audited establishment.
Energy audits aim to improve energy efficiency, decrease energy consumption and greenhouse gasses.

## Slide 5
Rafidia Hospital
The number of beds in the hospital is 212.
The hospital has an occupancy rate of 100%.
The hospital has an emergency department, a general operation department, and a specialized surgery department
Built in 1976, it is one of the largest hospitals in the entire West Bank, providing services to an estimated population of 500,000

## Slide 6
Methodology
02.

## Slide 7
ASHRAE Type 2 Energy Audits
Walk-through Analysis
Energy Survey and Engineering Analysis
Detailed Analysis of Capital-Intensive Modifications
Level 1
Level 2
Level 3

## Slide 8
Equipment List
Flue Gas Analyzer
Thermal Camera
Clamp Meter
Ultra Sonic Leak
Detector
Power Analyzer
Thermal Gun

## Slide 9
Economic Evaluation
Simple Payback Period
Rate of Return
Present Value

## Slide 10
Data Collection
03.

## Slide 11
Electricity Consumption
The electricity and water consumption for the hospital were obtained by analyzing and collecting the hospital’s electricity and water bills from 2021.

## Slide 12
Water Consumption
Chart: Month
| jan | feb | march | april | may | june | july | augest | septemper | october | november | december
, | 2274.675 | 2168.297 | 2800.044 | 2717.007 | 864.597 | 2260.68 | 2628.614 | 3279.586 | 2442.054 | 1939.327 | 2721.955 | 2629.872

## Slide 13
Utilities List
The utilities list was compiled during the walk-through analysis. Utilities with high rated power were registered into the list, which include:
Boilers
Chillers
Walk-in Cold Rooms
Pumps
HVAC systems
Compressors
Washing Machines

## Slide 14
Cooling Degree Days
Chart: Cooling degree day
| 20.999999999999979 | 114.69999999999997 | 200.99999999999997 | 269.7 | 269.7 | 230.99999999999997 | 145.69999999999999 | 20.999999999999979
 | 207947.8664 | 227359.444 | 236434.3977 | 300639.5011 | 314230.9355 | 271762.628 | 243245.6756 | 210340.9867
Month | Avg temp (°C)
Jan | 13
Feb | 13
Mar | 16
Apr | 19
May | 22
Jun | 25
Jul | 27
Aug | 27
Sep | 26
Oct | 23
Nov | 19
Dec | 14

## Slide 15
Information Management Systems
04.

## Slide 16
Multiple visits to the hospital showed that there were some gaps with the data in the hospital and the way information is logged and stored. Information management systems are suggested such as:
Electricity Tracking
Diesel Tracking
Updating the Layout and Plans
Labelling Electric Panels and Circuit Breakers
Information Management Systems

## Slide 17
Saving Opportunities
5.

## Slide 18
Compressor Saving Opportunities

## Slide 19
Compressor Saving Opportunities

## Slide 20
Steam Boiler Saving Opportunities

## Slide 21
Steam Boiler Saving Opportunities

## Slide 22
Washing Machine Saving Opportunities

## Slide 23
Conclusion
6.

## Slide 24
Conclusion
Meeting with Hospital Administration
Utilizing an information management system
Exploring more opportunities
Final Takeaways
01
02
03
02

## Slide 25
Thank you for
listening!