## Slide 1
Supervised By
Dr. Muhannad Haj Hussein
PUBLIC TRANSPORTATION STATION
By Diya Tahayneh
Karam Al-Deek
Mohammad Kharraz
An-Najah National University
Faculty of Engineering
Building Engineering Department
1

## Slide 2
Outline
Introduction
Architectural Design
Environmental Design
Electrical Design
Quantity Surveying and Cost Estimation
Mechanical Design
Structural Design
2

## Slide 3
Introduction
3

## Slide 4
Public transportation station:
located in Jenin, Yahya Ayyash Center
It is consider as one of major future projects of Jenin municipality
The goal was to provide an integrated design of a public transportation building that takes into account all design aspects
4

## Slide 5
Architectural Design
5

## Slide 6
Site map
Architectural Design
6

## Slide 7
Site Plan
Architectural Design
7

## Slide 8
Ground floor
Architectural Design
8

## Slide 9
First floor
Architectural Design
9

## Slide 10
Circulations
Architectural Design
10

## Slide 11
Architectural Design
East Elevation
11

## Slide 12
North Elevation
Architectural Design
12

## Slide 13
Architectural Design
South Elevation
13

## Slide 14
Architectural Design
West Elevation
14

## Slide 15
Architectural Design
Section A – A
15

## Slide 16
Architectural Design
16

## Slide 17
Architectural Design
3D model
17

## Slide 18
Architectural Design
3D model
18

## Slide 19
Architectural Design
3D model
19

## Slide 20
Environmental Design
20

## Slide 21
Environmental Design
Daylight
Thermal Design
Acoustics
21

## Slide 22
Environmental Design
corridors in the first floor
22
D.F = 4.45%
Daylight

## Slide 23
Environmental Design
Cafeteria in the first floor
D.F = 5.9 %
Daylight
23

## Slide 24
Environmental Design
Thermal Design
24

## Slide 25
Environmental Design
Thermal Design
Internal wall (U value)
25

## Slide 26
Environmental Design
Thermal Design
Component | U value ()
Internal Floor | 0.722
External Floor | 0.389
Window (double glazing) | 2.761
Component | 
Internal Floor | 0.722
External Floor | 0.389
Window (double glazing) | 2.761
26

## Slide 27
Environmental Design
Thermal Design
District cooling load=76196.69 kWh
27

## Slide 28
Environmental Design
Thermal Design
Cooling load diagram
28

## Slide 29
Environmental Design
Thermal Design
Heating loads
District heating load=57933.55 kWh
29

## Slide 30
Environmental Design
Thermal Design
Heating load diagram
30

## Slide 31
Environmental Design
Thermal Design
Energy consumption
31

## Slide 32
Environmental Design
PPD and PMV
32

## Slide 33
Environmental Design
Acoustics
Used absorptive material
Acoustical ceiling tiles
gypsum board perforated
33

## Slide 34
Environmental Design
Acoustics
Reverberation Time ()
Waiting hall
< 0.80
Cafeteria
< 0.60
34

## Slide 35
Environmental Design
Acoustics
Reverberation Time ()
Store
< 0.60
35

## Slide 36
Environmental Design
Acoustics
STC
TL composite =59 dB
36

## Slide 37
Internal wall
STC = 48 dB
Environmental Design
Acoustics
STC
37

## Slide 38
Environmental Design
Acoustics
IIC
Floor
IIC = 84 dB
38

## Slide 39
Environmental Design
Acoustics
Articulation Loss of Consonants ()
For Waiting hall = 3.318 %
39

## Slide 40
Environmental Design
Acoustics
Sound reinforcing system
40

## Slide 41
Structural Design
41

## Slide 42
Codes
(ACI 318-14) for RC Structures Design
(UBC 97) for Earthquake Loads
(ASCE 7 2010) for loads computations
Structural Design
42

## Slide 43
Loads
Live Load =
SID=
EQ Loads (UBC97):
  I= 1.00 Cv=0.4
  R= 5.5 Ca=0.28
Z= 0.2 (2B) Ct= 0.0488
Structural Design
43

## Slide 44
Materials
Concrete for beams and slabs B300
Concrete for columns and footings B350
Steel Fy = 420MPa
Structural Design
Dimensions For The Design Sections
Slabs thickness 0.30m
Columns(rectangular) (0.30.50) m
Columns(square) (0.350.35) m
Column(circular) 0.25 m (radius)
Beams (0.30.80),(0.80.50 ),(0.300.40)m
Walls thicknesses 0.3 m
Structural system
One way ribbed slab
44

## Slide 45
Structural Design
Selected
Blocks
45

## Slide 46
Structural Design
3D model
46

## Slide 47
Structural Design
Compatibility Check
47

## Slide 48
Structural Design
Equilibrium Check
48

## Slide 49
Structural Design
Internal Forces Check
49

## Slide 50
Structural Design
Internal Forces Check
Beam label | Manual Calculations (KN) | Calculations from ETABS (KN) | Difference (%)
B 13 | 76 | 71.5 | 6
B 9 | 53.15 | 49.2 | 7.43
B 5 | 39.4 | 41.4 | 5
50

## Slide 51
Structural Design
Modal participation mass ratios
TABLE: Modal Participating Mass Ratios |  |  |  |  |  |  |  | 
Case | Mode | Period sec | UX | UY | UZ | Sum UX | Sum UY | Sum UZ
Modal | 1 | 0.375 | 0.7654 | 0.0019 | 0 | 0.7654 | 0.0019 | 0
Modal | 2 | 0.3 | 0.0041 | 0.6615 | 0 | 0.7695 | 0.6634 | 0
Modal | 3 | 0.22 | 0.0017 | 0.1086 | 0 | 0.7713 | 0.772 | 0
Modal | 4 | 0.081 | 0.000003443 | 0.0008 | 0 | 0.7713 | 0.7729 | 0
Modal | 5 | 0.076 | 0.0816 | 0.000004716 | 0 | 0.8528 | 0.7729 | 0
Modal | 6 | 0.075 | 0.1214 | 0.00001938 | 0 | 0.9742 | 0.7729 | 0
Modal | 7 | 0.065 | 0.00000114 | 0.1463 | 0 | 0.9742 | 0.9191 | 0
Modal | 8 | 0.063 | 0.0008 | 0.0003 | 0 | 0.975 | 0.9194 | 0
Modal | 9 | 0.054 | 0.000001146 | 0.0019 | 0 | 0.975 | 0.9213 | 0
Modal | 10 | 0.05 | 0.0005 | 0.0011 | 0 | 0.9755 | 0.9224 | 0
51

## Slide 52
Structural Design
Slab label | Ux | Δ S | Δ m
Store 1 | 6 | 4 | 15.4
Store 2 | 2 | 2 | 7.7
Store 0 | 0 | 0 | 0
Slab label | Uy | Δ S | Δ m
Store 1 | 3.9 | 2.4 | 9.25
Store 2 | 1.5 | 1.5 | 5.775
Store 0 | 0 | 0 | 0
Drift Story Check
Drift limitation = 125mm
52

## Slide 53
Structural Design
Deflection
Check
Limit = 13100/240 = 54.60 mm
Max Deflection = 26.4mm
(According to
ACI 318-11)
53

## Slide 54
Structural Design
Slab:
One-Way Ribbed Slab
54

## Slide 55
Structural Design
Slab:
One-Way Ribbed Slab
55

## Slide 56
Structural Design
Slab:
One-Way Ribbed Slab- axial
56

## Slide 57
Structural Design
Slab:
One-Way Ribbed Slab- axial
57

## Slide 58
Structural Design
Slab:
One-Way Ribbed Slab
58

## Slide 59
Structural Design
Beams Design
59

## Slide 60
Structural Design
Beams Sections
60

## Slide 61
Structural Design
Beams Design Summary
Beam Label | Section (mm) | Top Bars (Left) [mm2] | Bent Up [mm2] | Bottom Bars [mm2] | Top Bars (Right) [mm2] | Stirrups [mm2] | 
 |  |  |  |  |  | Zone A | Zone B
Frame 1 |  |  |  |  |  |  | 
B16 | 300*800 | 7Ø18 | 4Ø12 | 5Ø16 | 7Ø18 | 210@65mm | 210@130mm
B12 | 300*800 | 7Ø18 | 4Ø12 | 5Ø16 | 6Ø18 | 210@65mm | 210@130mm
B8 | 300*800 | 6Ø18 | 4Ø12 | 5Ø14 | 4Ø18 | 210@65mm | 210@130mm
B4 | 300*800 | 4Ø18 | 4Ø12 | 4Ø14 | 4Ø18 | 210@65mm | 210@130mm
Frame 2 |  |  |  |  |  |  | 
B20 | 300*800 | 5Ø20 | 4Ø12 | 5Ø18 | 6Ø20 | 210@65mm | 210@130mm
B17 | 300*800 | 6Ø20 | 4Ø12 | 5Ø16 | 9Ø20 | 210@65mm | 210@130mm
B13 | 300*800 | 9Ø20 | 4Ø12 | 7Ø18 | 9Ø20 | 210@65mm | 210@130mm
B9 | 300*800 | 9Ø20 | 4Ø12 | 5Ø18 | 7Ø18 | 210@65mm | 210@130mm
B5 | 300*800 | 7Ø18 | 4Ø12 | 5Ø16 | 6Ø20 | 210@65mm | 210@130mm
B1 | 300*800 | 6Ø20 | 4Ø12 | 5Ø14 | 5Ø16 | 210@65mm | 210@130mm
Frame 3 |  |  |  |  |  |  | 
B21 | 300*800 | 5Ø18 | 4Ø12 | 5Ø18 | 6Ø20 | 210@65mm | 210@130mm
B18 | 300*800 | 6Ø20 | 4Ø12 | 5Ø14 | 8Ø20 | 210@65mm | 210@130mm
B14 | 300*800 | 8Ø20 | 4Ø14 | 6Ø20 | 9Ø20 | 210@65mm | 210@130mm
B10 | 300*800 | 9Ø20 | 4Ø14 | 5Ø16 | 8Ø20 | 210@65mm | 210@130mm
B16 | 300*800 | 8Ø20 | 4Ø14 | 7Ø18 | 9Ø20 | 210@65mm | 210@130mm
B2 | 300*800 | 9Ø20 | 4Ø14 | 7Ø20 | 5Ø16 | 210@65mm | 210@130mm
Frame 4 |  |  |  |  |  |  | 
B19 | 300*800 | 7Ø18 | 4Ø14 | 5Ø16 | 7Ø18 | 210@65mm | 210@130mm
B15 | 300*800 | 7Ø20 | 4Ø14 | 5Ø16 | 6Ø18 | 210@65mm | 210@130mm
B11 | 300*800 | 6Ø18 | 4Ø12 | 5Ø14 | 7Ø18 | 210@65mm | 210@130mm
B7 | 300*800 | 7Ø18 | 4Ø12 | 6Ø16 | 7Ø18 | 210@65mm | 210@130mm
B5 | 300*800 | 7Ø18 | 4Ø12 | 5Ø14 | 5Ø14 | 210@65mm | 210@130mm
Another Beams |  |  |  |  |  |  | 
B22 | 300*800 | 5Ø14 | 4Ø12 | 5Ø14 | 5Ø14 | 210@65mm | 210@130mm
B23 | 300*800 | 5Ø14 | 4Ø12 | 5Ø14 | 5Ø14 | 210@65mm | 210@130mm
B24 | 300*800 | 5Ø14 | 4Ø12 | 5Ø14 | 5Ø14 | 210@65mm | 210@130mm
B25 | 800*500 | 6Ø18 | 4Ø16 | 6Ø20 | 5Ø20 | 210@120mm | 210@340mm
Secondary Beams |  |  |  |  |  |  | 
BSecondar | 300*400 | 4Ø12 | 4Ø12 | 4Ø12 | 4Ø12 | 210@65mm | 210@130mm
Beam Label | Section (mm) | Top Bars (Left) [mm2] | Bent Up [mm2] | Bottom Bars [mm2] | Top Bars (Right) [mm2] | Stirrups [mm2] | 
 |  |  |  |  |  | Zone A | Zone B
Frame 1 |  |  |  |  |  |  | 
B16 | 300*800 | 7Ø18 | 4Ø12 | 5Ø16 | 7Ø18 |  | 
B12 | 300*800 | 7Ø18 | 4Ø12 | 5Ø16 | 6Ø18 |  | 
B8 | 300*800 | 6Ø18 | 4Ø12 | 5Ø14 | 4Ø18 |  | 
B4 | 300*800 | 4Ø18 | 4Ø12 | 4Ø14 | 4Ø18 |  | 
Frame 2 |  |  |  |  |  |  | 
B20 | 300*800 | 5Ø20 | 4Ø12 | 5Ø18 | 6Ø20 |  | 
B17 | 300*800 | 6Ø20 | 4Ø12 | 5Ø16 | 9Ø20 |  | 
B13 | 300*800 | 9Ø20 | 4Ø12 | 7Ø18 | 9Ø20 |  | 
B9 | 300*800 | 9Ø20 | 4Ø12 | 5Ø18 | 7Ø18 |  | 
B5 | 300*800 | 7Ø18 | 4Ø12 | 5Ø16 | 6Ø20 |  | 
B1 | 300*800 | 6Ø20 | 4Ø12 | 5Ø14 | 5Ø16 |  | 
Frame 3 |  |  |  |  |  |  | 
B21 | 300*800 | 5Ø18 | 4Ø12 | 5Ø18 | 6Ø20 |  | 
B18 | 300*800 | 6Ø20 | 4Ø12 | 5Ø14 | 8Ø20 |  | 
B14 | 300*800 | 8Ø20 | 4Ø14 | 6Ø20 | 9Ø20 |  | 
B10 | 300*800 | 9Ø20 | 4Ø14 | 5Ø16 | 8Ø20 |  | 
B16 | 300*800 | 8Ø20 | 4Ø14 | 7Ø18 | 9Ø20 |  | 
B2 | 300*800 | 9Ø20 | 4Ø14 | 7Ø20 | 5Ø16 |  | 
Frame 4 |  |  |  |  |  |  | 
B19 | 300*800 | 7Ø18 | 4Ø14 | 5Ø16 | 7Ø18 |  | 
B15 | 300*800 | 7Ø20 | 4Ø14 | 5Ø16 | 6Ø18 |  | 
B11 | 300*800 | 6Ø18 | 4Ø12 | 5Ø14 | 7Ø18 |  | 
B7 | 300*800 | 7Ø18 | 4Ø12 | 6Ø16 | 7Ø18 |  | 
B5 | 300*800 | 7Ø18 | 4Ø12 | 5Ø14 | 5Ø14 |  | 
Another Beams |  |  |  |  |  |  | 
B22 | 300*800 | 5Ø14 | 4Ø12 | 5Ø14 | 5Ø14 |  | 
B23 | 300*800 | 5Ø14 | 4Ø12 | 5Ø14 | 5Ø14 |  | 
B24 | 300*800 | 5Ø14 | 4Ø12 | 5Ø14 | 5Ø14 |  | 
B25 | 800*500 | 6Ø18 | 4Ø16 | 6Ø20 | 5Ø20 |  | 
Secondary Beams |  |  |  |  |  |  | 
BSecondar | 300*400 | 4Ø12 | 4Ø12 | 4Ø12 | 4Ø12 |  | 
61

## Slide 62
Structural Design
Column details
62

## Slide 63
Structural Design
Columns Sections
63

## Slide 64
Structural Design
Columns Design
Column Label | Section (mm) | Reinforcement | Stirrups | 
 |  |  | Zone A | Zone B
C1 | D500 | 12Ø20 | 1Ø10/75mm | 1Ø10/150mm
C2 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C3 | 350*350 | 8Ø18 | 1Ø10/100mm | 1Ø10/200mm
C4 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C5 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C6 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C7 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C8 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C9 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C10 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C11 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C12 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C13 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C14 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C15 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C16 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C17 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
C18 | 350*350 | 8Ø18 | 1Ø10/100mm | 1Ø10/200mm
C19 | 350*350 | 8Ø14 | 1Ø10/100mm | 1Ø10/200mm
64

## Slide 65
Structural Design
Tie Beam Design
65

## Slide 66
Structural Design
Footing Layout
66

## Slide 67
Structural Design
Footing Design
67

## Slide 68
Footing Design
Structural Design
Column Label | Section (mm) | Footing Dimensions (m) |  |  |  | As (mm2) | As,min (mm2) | Reinforcement Flexure | 
 |  | W | L | D | H |  |  | Longitudinal | Transverse
C1 | D500 | 1.90 | 1.90 | 0.21 | 0.28 | 1423 | 958 | 10Ø14 | 10Ø14
C2 | 350*350 | 2 | 2 | 0.27 | 0.34 | 1570 | 1224 | 11Ø14 | 11Ø14
C3 | 350*350 | 1.80 | 1.80 | 0.23 | 0.30 | 1302 | 972 | 9Ø14 | 9Ø14
C4 | 350*350 | 2.20 | 2.20 | 0.30 | 0.37 | 1865 | 1465 | 13Ø14 | 13Ø14
C5 | 350*350 | 2.10 | 2.10 | 0.29 | 0.36 | 1669 | 1361 | 11Ø14 | 11Ø14
C6 | 350*350 | 2.40 | 2.40 | 0.34 | 0.41 | 2277 | 1771 | 15Ø14 | 15Ø14
C7 | 350*350 | 2.20 | 2.20 | 0.30 | 0.37 | 1849 | 1465 | 13Ø14 | 13Ø14
C8 | 350*350 | 2.20 | 2.20 | 0.30 | 0.37 | 1877 | 1465 | 13Ø14 | 13Ø14
C9 | 350*350 | 2.40 | 2.40 | 0.34 | 0.41 | 2298 | 1771 | 15Ø14 | 15Ø14
C10 | 350*350 | 2.40 | 2.40 | 0.33 | 0.40 | 2265 | 1728 | 15Ø14 | 15Ø14
C11 | 350*350 | 1.80 | 1.80 | 0.23 | 0.30 | 1267 | 972 | 9Ø14 | 9Ø14
C12 | 350*350 | 2 | 2 | 0.25 | 0.32 | 1577 | 1152 | 11Ø14 | 11Ø14
C13 | 350*350 | 2.10 | 2.10 | 0.28 | 0.35 | 1745 | 1323 | 12Ø14 | 12Ø14
C14 | 350*350 | 2.20 | 2.20 | 0.30 | 0.37 | 1900 | 1465 | 13Ø14 | 13Ø14
C15 | 350*350 | 1.90 | 1.90 | 0.25 | 0.32 | 1434 | 1095 | 10Ø14 | 10Ø14
C16 | 350*350 | 2.30 | 2.30 | 0.31 | 0.38 | 2047 | 1573 | 14Ø14 | 14Ø14
C17 | 350*350 | 1.80 | 1.80 | 0.24 | 0.31 | 1279 | 1005 | 9Ø14 | 9Ø14
C18 | 350*350 | 1.60 | 1.60 | 0.18 | 0.25 | 954 | 720 | 9Ø12 | 9Ø12
C19 | 350*350 | 1.10 | 1.10 | 0.15 | 0.22 | 332 | 463 | 5Ø12 | 5Ø12
68

## Slide 69
Structural Design
Shear wall Design
69

## Slide 70
Structural Design
Shear walls Design Summary
Shear Wall Label | Dimensions (L*H*T) | 𝝆 | Reinforcement Steel | 
 |  | Vert. | Vertical | Horizontal
SW1 | 2.1*10.5*0.3 | 0.51% | ( 2∅12mm2/150mm) | ( 2∅10mm2/200mm
SW2 | 2.1*10.5*0.3 | 0.56% | ( 2∅12mm2/130mm) | ( 2∅10mm2/200mm
SW3 | 2.1*10.5*0.3 | 0.93% | ( 2∅16mm2/140mm) | ( 2∅10mm2/200mm
SW4 | 2.1*10.5*0.3 | 0.63% | ( 2∅16mm2/200mm) | ( 2∅10mm2/200mm
SW5 | 2.25*10.5*0.3 | 0.25% | ( 2∅12mm2/200mm) | ( 2∅10mm2/200mm
SW6 | 2.1*13*0.3 | 0.64% | ( 2∅16mm2/200mm) | ( 2∅10mm2/200mm
SW7 | 2.3*13*0.3 | 0.49% | ( 2∅12mm2/150mm) | ( 2∅10mm2/200mm
SW8 | 2.1*13*0.3 | 0.74% | ( 2∅16mm2/180mm) | ( 2∅10mm2/200mm
SW9 | 4.4 *13*0.3 | 0.25% | ( 2∅12mm2/200mm) | ( 2∅10mm2/200mm
SW10 | 4.4*13*0.3 | 0.25% | ( 2∅12mm2/200mm) | ( 2∅10mm2/200mm
SW11 | 2.05*13*0.3 | 0.67% | ( 2∅16mm2/200mm) | ( 2∅10mm2/200mm
SW12 | 2.4*13*0.3 | 0.40% | ( 2∅12mm2/180mm) | ( 2∅10mm2/200mm
SW13 | 2.05*13*0.3 | 0.61% | ( 2∅16mm2/200mm) | ( 2∅10mm2/200mm
70

## Slide 71
Structural Design
Footing Shear walls Design Summary
Shear Wall Label | Section (m) | Footing Dimensions (m) |  |  | As (mm2) | As,min Total (mm2) | Reinforcement Flexure | 
 |  | B | D | H |  |  | Main | Shrinkage
SW1 | 2.10*0.30 | 2.25 | 0.28 | 0.35 | 1110 | 1418 | 1Ø18mm2/200mm | 8Ø16mm2
SW2 | 2.10*0.30 | 2.25 | 0.28 | 0.35 | 1160 | 1418 | 1Ø18mm2/200mm | 8Ø16mm2
SW3 | 2.10*0.30 | 2.50 | 0.29 | 0.36 | 1308 | 1620 | 1Ø20mm2/200mm | 9Ø16mm2
SW4 | 2.10*0.30 | 2.50 | 0.29 | 0.36 | 1350 | 1620 | 1Ø20mm2/200mm | 9Ø16mm2
SW5 | 2.25*0.30 | 2.35 | 0.27 | 0.34 | 1250 | 1438 | 1Ø18mm2/200mm | 8Ø16mm2
SW6 | 2.10*0.30 | 2.21 | 0.25 | 0.32 | 1168 | 1267 | 1Ø18mm2/200mm | 7Ø16mm2
SW7 | 2.30*0.30 | 2.21 | 0.25 | 0.32 | 1045 | 1210 | 1Ø18mm2/200mm | 7Ø16mm2
SW8 | 2.10*0.30 | 2.21 | 0.25 | 0.32 | 1045 | 1210 | 1Ø18mm2/200mm | 7Ø16mm2
SW9 | 4.40*0.30 | 1.90 | 0.23 | 0.30 | 890 | 1030 | 1Ø16mm2/200mm | 6Ø16mm2
SW10 | 4.40*0.30 | 1.50 | 0.20 | 0.27 | 738 | 730 | 1Ø14mm2/200mm | 5Ø14mm2
SW11 | 2.05*0.30 | 2.15 | 0.25 | 0.32 | 1110 | 1239 | 1Ø18mm2/200mm | 7Ø16mm2
SW12 | 2.40*0.30 | 1.60 | 0.20 | 0.27 | 597 | 777 | 1Ø14mm2/200mm | 6Ø14mm2
SW13 | 2.05*0.30 | 2.20 | 0.25 | 0.32 | 1164 | 1267 | 1Ø18mm2/200mm | 7Ø16mm2
71

## Slide 72
Structural Design
Stair Design
72

## Slide 73
Steel Structure Design
Materials
Steel A36 Fy =250 MPa
Fu = 400 Mpa
Steel structure covering glass material of 25mm thickness with 600KN/m3 (weight per unit volume)
Loads
Snow load =1
Wind load = 0.455
SID =
73

## Slide 74
Steel Structure Design
3D model
74

## Slide 75
Steel Structure Design
Compatibility Check
75

## Slide 76
Equilibrium Check
Steel Structure Design
Hand calculation:
SID load = (0.6×10*8*5)+(0.3*1*8*5)-(0.6*2*5) = 246 KN
Snow load = (1*7*8*5) = 280 KN
Wind load = (0.91*11*8*5)-(0.91*2*5) = 391.30 KN
76

## Slide 77
Steel Structure Design
Deflection
Check
∆Allowable service = L/240, L = 9m.
∆Allowable service = 9000/240 = 37.5mm > ∆Max 12.72 (OK).
77

## Slide 78
Steel Structure Design
Buckling Check
78

## Slide 79
Steel Structure Design
Buckling Check from wind load
Factor ≃ 5
79

## Slide 80
Steel Structure Design
Buckling Check from snow load
Factor ≃ 5
80

## Slide 81
Steel Structure Design
Sections After Design
81

## Slide 82
Steel Structure Design
Sections After Design
There are 4 difference sections to design (arch, bracing, column and purlin sections).
Section Label | Type of Section
Arch Sections | Tube – 60*60*4
Bracing Sections | Tube – 30*30*2
Columns Section | Tube – 60*60*3
Purlins Sections | Tube – 80*80-8
82

## Slide 83
Electrical Design
83

## Slide 84
Electrical Design
Artificial lighting:
84

## Slide 85
Electrical Design
Artificial lighting:
Calculation results
c
c
c
Required illuminance
(200 lx)
Required uniformity
(>0.60)
We should decrease the dimmed lamp by 60%.
85

## Slide 86
Electrical Design
Artificial lighting:
Calculation results
86

## Slide 87
In waiting room: all lamps are off.
Electrical Design
2. Daylighting:
Required uniformity
(>0.60)
(>0.60)
(>0.40)
c
c
Calculation surfaces
87

## Slide 88
Cafeteria: all lamps are on.
Electrical Design
Artificial lighting:
88

## Slide 89
Electrical Design
Artificial lighting:
Required uniformity
(>0.60)
(>0.60)
(>0.40)
c
c
89

## Slide 90
Electrical Design
Artificial lighting:
Calculation results
Required illuminance
(200 lx)
Required uniformity
(>0.50)
90

## Slide 91
Electrical Design
2. Daylighting:
Daylighting is enough for cafeteria.
91

## Slide 92
Retail clothes shop: all lamps are on.
Electrical Design
Artificial lighting:
92

## Slide 93
Electrical Design
Artificial lighting:
93

## Slide 94
Electrical Design
Artificial lighting:
Calculation results
94

## Slide 95
Electrical Design
Daylight and Artificial lighting:
Daylight only is not enough
Daylight and artificial lighting are dimmed by 80%
95

## Slide 96
Electrical Design
Summary
zone | Number of (ALTOP DIFFUSER 600X600MM TC-LEL 2X36W) | Number of (LED 206 TC-DEL 2X18W NICKEL MATT) | Number of (T16 1X54W DIMMABLE DALI GREY) | Number of (GX10 MAX35W ROD HEIGHT=30CM GREYON TRACK ADAPTER) | Socket of (2 AMP)
Store(No10) | - | 40 | 10 | 120 | 50
Bath rooms | - | 20 | - | - | -
Scurity,kitchen And bathroom | 6 | 5 | - | - | 6
stairs | - | 8 | - | - | -
entrance | 22 | - | - | - | 4
Waiting room | 10 | - | 12 | - | 6
w.c | - | 12 | - | - | -
w.c cafateria | - | 11 | - | - | -
hall | 7 | - | - | - | -
Cafateria | - | 30 | - | - | 9
Tottal power (watt) | 3240 | 4536 | 1188 | 4200 | -
Tottal AMP | 15 | 21 | 6 | 20 | 150
zone | Number of (ALTOP DIFFUSER 600X600MM TC-LEL 2X36W) | Number of (LED 206 TC-DEL 2X18W NICKEL MATT) | Number of (T16 1X54W DIMMABLE DALI GREY) | Number of (GX10 MAX35W ROD HEIGHT=30CM GREYON TRACK ADAPTER) | Socket of (2 AMP)
Store(No8) | - | 108 |  | 102 | 30
stairs | - | 8 | - | - | -
w.c | - | 18 | - | - | -
Hall and corridors | 55 | - | - | - | 8
cafateria | 7 | 42 | - | - | 16
Tottal power (watt) | 4464 | 6336 |  | 3570 | -
Tottal AMP | 21 | 29 |  | 17 | 108
Electrical load for ground floor
Electrical load for first floor
96

## Slide 97
Electrical Design
Summary
Circuit breaker for ground floor
Circuit breaker for first floor
CB | 3p | ELCB | 10 AMP | 16 AMP
Number | 1 (110amp) | 1 (60 AMP) 11 (40 amp ) | 22 | 17
CB | 3p | ELCB | 10 AMP | 16 AMP
Number | 1 (110amp) | 1 (80 AMP) 8 (40 amp ) | 21 | 12
97

## Slide 98
Mechanical Design
98

## Slide 99
Mechanical Design
Water Supply in cafeteria
water demand = 1/day
99

## Slide 100
Mechanical Design
Water Supply in stores
water demand = 1/day
100

## Slide 101
Mechanical Design
Final diameters of vertical and horizontal feeders and branches for each floors.
 |  | GF&FF | 
 |  | Diameter (in) | Pressure loss (psi)
Vertical pipe |  | 2in | 2.2psi
Horizontal pipe |  | 1.5in | 1.786psi
Branch pipe |  | 0.75in | 5.36psi
Total Loss |  |  | 9.346psi
Max.allowable.loss |  |  | 10psi
Assessment |  |  | OK
101

## Slide 102
Drainage Systems
Mechanical Design
102

## Slide 103
Mechanical Design
Rain Water Drainage
c
103

## Slide 104
Mechanical Design
Manholes System
c
c
35

## Slide 105
Mechanical Design
HVAC system
Variable refrigerant flow (VRF) system
Controller
104

## Slide 106
Mechanical Design
HVAC system
Variable refrigerant flow (VRF) system
High wall unit
105

## Slide 107
Mechanical Design
HVAC system for waiting room
Duct section | Volumetric flowrate (m3/s) | V (m/s) | ∆𝑷/ 𝑬𝒍 (pa/m) | Hight (mm) | Width (mm)
A-B | 0.590 | 5 | 0.722 | 500 | 250
B-C | 0.4425 | 4.528 | 0.722 | 500 | 225
C-D | 0.295 | 4.206 | 0.722 | 500 | 150
D-E | 0.1475 | 3.538 | 0.722 | 500 | 100
106

## Slide 108
Mechanical Design
HVAC system
107

## Slide 109
Mechanical Design
HVAC system
108

## Slide 110
Mechanical Design
HVAC system
109

## Slide 111
Emergency
Fire Protection System
Mechanical Design
110

## Slide 112
Mechanical Design
Emergency Egress System
111

## Slide 113
Quantity Surveying & Cost Estimation
112

## Slide 114
Quantity Surveying and Cost Estimation
Total direct Cost for the Project = 5,803,640 NIS
Total direct Cost per unit area for the Project = 2210.07 NIS /
113

## Slide 115
Thank You for watching
114