## Slide 1
An-Najah National University Faculty of Engineering and Information Technology Building Engineering Department Graduation project (2) Redesign for Sameer Shanaa Mall in Nablus Prepared By: Raghidah Fateh Maria Shtaya Dalal Nazzal Under the Supervisor of: Eng. Nirmeen Al-Barq 2022-2023

## Slide 2
Introduction
Architectural Aspects
Environmental Aspects
Electro-Mechanical Aspects
Structural Aspects
Quantity surveying and cost estimate

## Slide 3
Site analysis
Plans before and after

## Slide 4
INTRODUCTION
Location:
Located in ”Haifa Street” in Nablus
on latitude 32.231155 and 35.245252
Land area = 2690 SM
Building total area = 9000 SM
Distributed on 7 floors

## Slide 5
SITE ANALYSIS
Sun path

## Slide 6
SITE ANALYSIS
Wind analysis

## Slide 7
SITE ANALYSIS
Temperature analysis

## Slide 8
Plans before and after
Second Basement floor:

## Slide 9
Plans before and after
First Basement floor:
Before
After

## Slide 10
Plans before and after
Ground floor:
Before
After

## Slide 11
Plans before and after
First floor:
Before
After

## Slide 12
Plans before and after
Second floor:
Before
After

## Slide 13
Plans before and after
Third floor:
Before
After

## Slide 14
Plans before and after
Forth floor:
Before
After

## Slide 15
Design builder data
Daylight factor analysis
Shading analysis

## Slide 16
Design builder data
External wall
Internal wall
U-value = 0.303 w\m².k
U-value = 0.356 w\m².k

## Slide 17
Design builder data
External floor
Internal floor
U-value = 0.371 w\m².k
U-value = 0.365 w\m².k

## Slide 18
Design builder data
Glazing
U-value = 1.338 w\m².k

## Slide 19
Design builder data
Heating load
Total heating load = 68.21 KW

## Slide 20
Design builder data
Cooling load
Total cooling load = 147.64 KW

## Slide 21
Design builder data
Thermal comfort
The site and source of energy
PMV Index value

## Slide 22
Daylight factor analysis
For the ground floor:
Before
After

## Slide 23
Daylight factor analysis
For the first floor:
Before
After

## Slide 24
Daylight factor analysis
For the second floor:
Before
After

## Slide 25
Daylight factor analysis
For the third floor:
Before
After

## Slide 26
Daylight factor analysis
For the forth floor:
Before
After

## Slide 27
Shadowing and Overshadowing
at 8:00 a.m.
at 12:00 p.m.
at 3:00 p.m.
Summer (21/July)

## Slide 28
Shadowing and Overshadowing
at 8:00 a.m.
at 12:00 p.m.
at 3:00 p.m.
Winter (21/Dec.)

## Slide 30
Concrete with compressive strength of 28 MPa (B350) and 32 MPa(B400)
Steel rebar with yielding strength of 420 MPa
Steel with minimum yield stress of 248.1 MPa.
Materials
ACI 318-14
Seismic design UBC 97
ASCE for load design
AISC360-10 for steel analysis,
The parameters for seismic analysis
1
Mass source: 100% for dead laods and SID , 25% for live laods.
2
Seismic zone : The faculty is located in Nablus city Therefore, the seismic zone is 2B and the Z value is equal to 0.20.
3
Soil profile: The soil type is rock so the soil profile is SB .
4
5
6
Force Reduction Factor R = 5.5 (Building Frame System - shear wall)
Importance Factor I = 1.25
Acceleration-Dependent Seismic Coefficient Ca = 0.2
7
Velocity-Dependent Seismic Coefficient Cv = 0.2
8
Response spectrum scale factor = = = 2230
Response spectrum scale factor = (𝑰×𝒈)/𝑹 = (𝟏.𝟐𝟓 ∗𝟗𝟖𝟏𝟎)/(𝟓.𝟓) = 2230
1
Mass source: 100% for dead laods and SID , 25% for live laods.
2
Seismic zone : The faculty is located in Nablus city Therefore, the seismic zone is 2B and the Z value is equal to 0.20.
3
Soil profile: The soil type is rock so the soil profile is SB .
4
5
6
Force Reduction Factor R = 5.5 (Building Frame System - shear wall)
Importance Factor I = 1.25
Acceleration-Dependent Seismic Coefficient Ca = 0.2
7
Velocity-Dependent Seismic Coefficient Cv = 0.2
8
Loads
Codes
Live load = 5KN/m²
SID = 4KN/m²

## Slide 31
Slabs
The largest span for Flat slab

## Slide 32
Columns
The distribution of columns and shear walls

## Slide 33
ETABS model

## Slide 34
Compatibility check
To ensure the calculations is done correctly some

## Slide 35
Equilibrium
Base reaction from ETABS
The error from manual calculations less than 5% for Dead and live loads reaction from ETABS

## Slide 36
Deflection check
The deflection from ETABS in the first floor

## Slide 37
Check internal forces

## Slide 38
Seismic analysis
Mass source: 100% for dead loads and SID , 25% for live loads.
Velocity-Dependent Seismic Coefficient Cv = 0.2
Response spectrum scale factor = = = 2230
Response spectrum scale factor = (𝑰×𝒈)/𝑹 = (𝟏.𝟐𝟓 ∗𝟗𝟖𝟏𝟎)/(𝟓.𝟓) = 2230
Seismic zone : The faculty is located in Nablus city Therefore, the seismic zone is 2B and the Z value is equal to 0.20.
Soil profile: The soil type is rock so the soil profile is SB .
Force Reduction Factor R = 5.5 (Building Frame System - shear wall)
Importance Factor I = 1.25
Acceleration-Dependent Seismic Coefficient Ca = 0.2
Mass source: 100% for dead loads and SID , 25% for live loads.
Velocity-Dependent Seismic Coefficient Cv = 0.2
Seismic zone : The faculty is located in Nablus city Therefore, the seismic zone is 2B and the Z value is equal to 0.20.
Soil profile: The soil type is rock so the soil profile is SB .
Force Reduction Factor R = 5.5 (Building Frame System - shear wall)
Importance Factor I = 1.25
Acceleration-Dependent Seismic Coefficient Ca = 0.2

## Slide 39
Seismic analysis

## Slide 40
Seismic analysis
Period Check
Time period from ETABS <= 1.4
Tmethod A = 1.4 ×0.685 =1.00 sec.
Time period from mode 1 (Tx) = 1.28 sec > 1.00 sec, the check is ok if the drift check is ok.
Time period from mode 2 (Ty) = 1.00 sec < 1.00 sec, the check is ok.
Seismic checks:

## Slide 41
Modal Mass Participating Ratios Check
Summation of the mass participation ratio > 0.90, so the check is ok.

## Slide 42
Base shear check
Building weight from ETABS
Base shear values from ETABS

## Slide 43
Drift check
All drifts in floors < limit, so the check is ok

## Slide 44
  Shear check
Wide beam shear check
, so the solid slab does not need for shear reinforcement
Punishing shear check

## Slide 45
Design of structural elements
Slabs
The top reinforcement in the slabs in the X-direction for second floor
The slab reinforcement for the second floor

## Slide 46
Columns
The rebar percentage for columns from ETABS
The distribution of the columns

## Slide 47
The detailing for columns

## Slide 48
Beams
The design result from ETABS for Basement slab beams

## Slide 49
Basement wall design
From ETABS the vertical will be used 2 cm and for horizantal rebar will be used 2 cm

## Slide 50
Stair design

## Slide 51
Footing checks and design
For this building soil type is rock so Q all will be 300 KN/m2 .
Mat foundation will be used

## Slide 52
Punishing check in safe
Soil bearing capacity check in safe

## Slide 53
Mat foundation detailed

## Slide 54
Artificial lighting design
H

## Slide 55
Artificial lighting design
Office

## Slide 56
Artificial lighting design
Fast food restaurant
Shoes store
Retail store
Parking

## Slide 57
Fire Fighting System
Type of spaces | Used fire suppression system | Fire detector system
Kids playing hall | Fire extinguisher(class A),Water sprinkler | Smoke detector
Restaurant and café shop | Fire extinguisher (class C) ,Water sprinkler | Heat detector
offices | Fire extinguisher (class A) ,Water sprinkler | Smoke detector
retail store | Fire extinguisher(class A),Water sprinkler | Smoke detector
Corridor | Water sprinkler , Hose station, Fire extinguisher (class A) | Smoke detector
Parking | Water sprinklers, Fire extinguisher (class A) | Heat detector
Electrical room. | CO₂ sprinkler, fire extinguisher (class C) | Smoke detector
Transformer room | CO₂ sprinkler, fire extinguisher (class C) | Smoke detector

## Slide 58
Acoustical Consideration
Space | RT60 | SPL (dB) | NR (dB) | Noise level (dB)
Restaurants | 0.7 - 1.2 | 40-55 | 45 | 40- 50
Commercial function (stores) | 1-1.7 | 45-50 | 45 | 40-50
Open Offices | 0.8 - 1.3 | 45 | 40 | 40
Kids playing hall | 1-1.5 | 45 | 45 | 40-50

## Slide 59
Acoustical Design
Restaurant, stores and kids playing hall floor

## Slide 60
Office ceiling
Acoustical Design

## Slide 61
Acoustical Design
Walls
Office adjacent to office/toilet

## Slide 62
Acoustical Design
Walls
Office adjacent to lobby

## Slide 63
Power design
The total power load per day =156.674 KW.
Total current= 456.84 A.
Total current for the circuit breaker= 525.366 A.
Cable size=2@120mm².

## Slide 64
Sample design of water supply

## Slide 65
Sample design of Drainage system

## Slide 67
Cost estimation:
Shopping mall floor | Floor area (m2) | Unit cost ($/m2) | Floor cost ($)
Basement 1 | 1640 | 1550 | 2542000
Basement 2 | 1474 | 1550 | 2284700
Ground floor | 1245 | 1550 | 1929750
First floor | 1245 | 1550 | 1929750
Second floor | 1245 | 1550 | 1929750
Third floor | 1245 | 1550 | 1929750
Fourth floor | 1245 | 1550 | 1929750
Total shopping mall cost ≈5,475,500$