## Slide 1: Affordable Housing Units (Case study Gaza Strip)
Name Husam Qissi
Mojahed Mostafa
Rajai Awwad
Sae’d Allosh
Supervised by: Eng. Rema Nassar

## Slide 2: Outline
Overview
Containers House
Steel House
Timber House
Thermal Insulation
Conclusion
Recommendations

## Slide 3: Overview
What was graduation project 1 about ?
What have we done in graduation project 2 ?

## Slide 4
Video

## Slide 5: Container House

## Slide 6: What is Intermodal Container ?

## Slide 7: Why to use ?

## Slide 8: 1-Affordability

## Slide 9: 2-Short Time

## Slide 10: 3- Design and Strength

## Slide 11: 4-Green

## Slide 12
Architectural Design

## Slide 13: Top View
Five 20 foot containers
Area of the unit = 80m2

## Slide 15: Structural Design
Footings layout
0.2*0.2m, 0.4*0.4m

## Slide 16: Supporting System

## Slide 17: Modification Process

## Slide 18: Does the process of cutting panels have a limit ?

## Slide 19: Welding

## Slide 20: Thermal Insulation

## Slide 21: Rain Noise!

## Slide 22: Rubber Beds

## Slide 23
Steel House

## Slide 24
Why steel ?

## Slide 25
Time :it has a great ability to minimize the construction implementation time .
Strength : Steel has a high strength/weight ratio Thus, the dead weight of steel structures is relatively small and gives more resistance to earthquakes
Construction Time

## Slide 26
Strength/weight

## Slide 27
Reusable

## Slide 28
Water Resistant

## Slide 29
Fire

## Slide 30
Architectural Design

## Slide 31: Architectural design

## Slide 33
Structural Design

## Slide 34
Methodology

## Slide 35: SAP Model
This figure shows the model of the house used in sap 2000

## Slide 36: Load Calculation

## Slide 37
A36 Steel
Hollow Section

## Slide 39: Footing design

## Slide 40
Technical Specification

## Slide 42: External Panel and Roof
Sandwich Panel

## Slide 44: Suggested types

## Slide 45: Timber House

## Slide 46: Introduction
Timber houses are not common in Arab world

## Slide 47: Advantages
Timber house is considered as energy efficient
Economically efficient because the way of construction
High strength of timber as construction material

## Slide 48: Disadvantages
Need to maintain timber house in short time relatively
Might be attacked by biological agents and non biological agents

## Slide 49: Architectural Design
Area of each unit 80 m2

## Slide 50: Structural Design

## Slide 51: Structural Design

## Slide 52: Structural Design
Footing
  Blending from concrete was used as footing with thickness of 20 cm.

## Slide 53: Technical Specifications
External panel
Internal panel
Tiles
Roof cover
Doors & windows

## Slide 54: External Panel
  Swedish wood for external side of the panel
  Glass wool insulation is used for external panel
  Thin wood will be used for intern

## Slide 55: Roof Cover
Sandwich steel panel was used as roof cover.

## Slide 56: Internal Panel
Gypsum board was used for internal partitions.

## Slide 57: Tiles
Tiles (بلاط بلدي) was used.

## Slide 58: Doors & windows
Internal doors and windows were from aluminum material.

## Slide 59
Thermal Insulation

## Slide 60: Ways of Heat Transfer
Conduction

## Slide 61: Ways of Heat Transfer
Convection

## Slide 62: Ways of Heat Transfer
Radiation

## Slide 63: Thermal Insulation
Definition: The reduction of heat thermal energy transfer between objects of different temperature which are in direct contact or in range of radiation effect.

## Slide 64: Thermal Insulation Types
Glass wool
Rock wool
Polyurethane Sprayed Foam
Cotton Batts
Gypsum Boards

## Slide 65: Steel House Insulation
The steel house is made of sandwich steel material which is already insulated with Sprayed foam

## Slide 66: Timber and Containers house insulation
Glass wool is used for insulating the external panels of the timber and containers house

## Slide 67: Installation of glass wool

## Slide 68
Results

## Slide 69: Conclusion

## Slide 70
Recommendations

## Slide 71: Recommendations
The labor and materials costs were taken based on construction of one unit from Tulkarm and Nablus cities.
Building multi units of any of the alternatives will drop the cost per unit.
Building thousands of units requires manufacturing plants near the location of building.

## Slide 72: Recommendations
The distribution of the residential blocks and units should not constrain the rebuilding process.
ruins of the destroyed houses should be used.
A water tank for each unit should water supply.

## Slide 73: Recommendations
If the construction time period is the most critical factor a steel house and container house are recommended. If the initial capital cost is the most critical factor then the steel house is recommended.
Design review should be made.