# Abstract

At the height of the renaissance of electrical engineering and electrical power systems, it is necessary to pay attention to the efficiency of electrical energy and give it the greatest possible attention, to flow power with high efficiency and reduce the losses in the network. This reduces of the energy generated in power plants and reduces resources such as coal and oil that used on it, to maintain a clean environment free of gas emissions into the atmosphere. One of the most influential factors on losses is the increase in current passing through the network due to a low power factor. Therefore, Automatic Power Factor Controller using Artificial Intelligence Technique used to make power factor correction and compensate from the negative effects of electrical loads such as motors that result in a low power factor of the network. In this project, the power factor  be Measured, Monitored, and controlled. If the value of Power factor becomes with negative effect on the Network as leading or lagging power factor, controlled it to achieved value [0.92 – 0.95] lagging by the use of capacitors or reactors. And measuring and displaying ​​: “Power Factor, Voltage, Current, Real Power, Reactive Power, Energy, and average power factor”. Artificial intelligence used for improvement, control, monitoring, and taking the necessary appropriate measures to avoid problems in the operation of the system, obtain the best possible results, and facilitate the user.