## Slide 1: Redesign the Optical and Nursing College

## Slide 2: Outline
Overview
Architectural Design
Environmental Design
Structural Design
Electro-Mechanical Design
Cost estimation

## Slide 3: OVERVIEW
Last semester
  Checks
  Results
This semester
  Redesign according to Standard .

## Slide 4: Environmental and Architectural Design

## Slide 5: Architectural design
C:\Users\Meme Saleh\Downloads\ض.mp4

## Slide 6: Architectural design
Spaces areas and numbers
Functions between facilities
Openings

## Slide 7
Existing Basement three
Designed Basement three

## Slide 8
Existing Basement two
Designed Basement two

## Slide 9
Existing Basement one
Designed Basement one

## Slide 10
Existing Ground Floor
Designed Ground Floor

## Slide 11
Designed First Floor

## Slide 12
Existing Second Floor
Designed Second Floor

## Slide 13
Existing Third Floor
Designed Third Floor

## Slide 14: Environmental design
Passive aspects
Double-skinned wall

## Slide 15: Environmental design
Double-skinned wall

## Slide 16: Environmental design
Passive aspects
Sky light

## Slide 17: Daylight Factor

## Slide 18: Thermal Design

## Slide 19: External wall
U-value = 0.452 W/m2.k

## Slide 20: Flat roof
U-value = 0.381 W/m2.k

## Slide 21: Design Capacity and Energy per total building area

## Slide 22
Environmental design
Acoustics
Reverberation Time ()
Used absorptive material
Acoustical ceiling tiles
27
Concrete slabs tiles-on ground
Concrete block painted

## Slide 23
Environmental design
Acoustics
Reverberation Time ()
27
 | SABINE
FREQUENCIES | RT(60)
63Hz: | 0.85
125Hz: | 0.86
250Hz: | 0.74
500Hz: | 0.57
1kHz: | 0.52
2kHz: | 0.49
4kHz: | 0.48
8kHz: | 0.45
16kHz: | 0.45
Classroom
0.5-0.8

## Slide 24
Environmental design
Acoustics
STC and IIC
External wall stone=5cm
Morter=3cm
P.Concrete=20
Polystrene=5cm
Bloch=10cm
Plater=2cm
Paint=0.3cm
28
TL composite =53 dB

## Slide 25
Environmental design
Acoustics
STC and IIC
28
TL composite =53 dB
Internal wall
Plaster=1.5cm
Block=20cm
Plater=1.5cm

## Slide 26
Environmental design
Acoustics
STC and IIC
28
Ceiling P.Concrete=20 cm
Polystrene=5cm
Plater=2cm
Paint=0.3cm

## Slide 27
Environmental design
Acoustics
Articulation Loss of Consonants ()
For classroom = 8.5 %
29

## Slide 28
Structural Design
33

## Slide 29
Codes
(ACI 318-14) for RC Structures Design
(UBC 97) for Earthquake Loads
(ASCE 7 2010) for loads computations
Structural Design
34

## Slide 30
Loads
Live Load = 3 KN/
SID=
EQ Loads (UBC97):
I= 1.0 Cv=0.4
R= 5.5 Ca=0.28
Z= 0.2 (2B) Ct= 0.0731
Structural Design
35

## Slide 31
Material
Concrete B350
Steel Fy = 420MPa
Structural Design
Final Design Sections
Slabs thickness 0.2 m
Columns(rectangular) (0.90.6m),(0.90.35 m) ,(0.35 0.35m)
Beams (0.60.5)m
Walls thicknesses 0.2 m
Structural system
One way solid slab
36

## Slide 32
Structural Design
3D model
37

## Slide 33
Structural Design
Compatibility Check
38

## Slide 34
Structural Design
Element | Hand calculations | Calculations from ETABS | Difference (%)
Column 3 | 3351.6 KN.m | 3288 KN.m | 1.93
Beam 2 | 643. 7 KN.m | 637. 97KN.m | 0.70
Slab | 250 KN | 218 KN | 12.80
Load | Manual calculations (KN) | Calculations from ETABS (KN) | Difference (%)
Dead load | 89 769.75 | 89 594.4 | 0.19
Live load | 43069.8 | 42 413 | 1.5
Superimposed dead load | 37 314.67 | 38 172 | 2.2
Equilibrium Check
Internal Forces Check
39

## Slide 35
Structural Design
Deflection
Limit = 6200/240
= 25.83 mm
(According to
ACI 318-11)
40

## Slide 36
Structural Design
Slab:
One -Way Solid Slab
41

## Slide 37
Structural Design
Slab:
One-Way Solid Slab
41

## Slide 38
Structural Design
Slab:
One-Way Solid Slab
41

## Slide 39
Structural Design
Beam Design
42

## Slide 40
Structural Design
Beam Design
42

## Slide 41
Structural Design
Columns
43
C30

## Slide 42
Structural Design
Column Design C30
43

## Slide 43
Footing Design
Structural Design
44

## Slide 44
Footing Design
Structural Design
45
Footing number | columns | Dim.(mm) |  |  | reinforcement for short direction | reinforement for long direction
 |  | L | B | H |  | 
F1 | C(2,3,4,7,8,9,11,12,13,16,17,18,25,26,27,28,30) | 3 | 2.5 | 0.7 | 11Ø25 /150mm | 13Ø25 /150mm
F2 | C(24,23,19,20) | 3.7 | 2.7 | 0.8 | 18Ø25 /150mm | 25Ø25 /150mm
F3 | C(21,22) | 4 | 3 | 0.87 | 20Ø25 /150mm | 27Ø25 /150mm
F4 | C(15,14,10,6,5,1) | 2.5 | 1.2 | 0.45 | 8Ø25 /150mm | 17Ø25 /150mm

## Slide 45
Footing Design
Structural Design
Section in footing (F1)
Plan of footing (F1)
45

## Slide 46
Structural Design
Shear wall & wall footing Design
46

## Slide 47
Structural Design
Water Tank Design
47

## Slide 48
Structural Design
Stair Design
48

## Slide 49: Electro-Mechanical Design

## Slide 50: Electrical Design
Lighting Design
Classroom and laboratory
The average illuminance is 324lx
The uniformity is 0.42
The unified glare rating is 16.1 and 15.

## Slide 51: Electrical Design
Secretary room
The average illuminance is 646lx
The uniformity is 0.64
The unified glare rating is less than 10

## Slide 52: Electrical Design
Office Room
The average illuminance is 614lx
The uniformity is 0.63
The unified glare rating is 15.1

## Slide 53: Electrical Design
Socket system

## Slide 54: Mechanical Design
    Drainage System

## Slide 55: Mechanical Design
    Drainage System

## Slide 56: Mechanical Design
Water supply system

## Slide 57: Mechanical Design
Elevator system

## Slide 58: Mechanical Design
Required number N' = 4.
Car capacity = 2500lb.
Car speed =350fpm.
Car passenger Capacity P = 13.

## Slide 59: Mechanical Design
HVAC system

## Slide 60: Mechanical Design
Fire Fighting Design
Fire alarm system
Firefighting system
Emergency Lighting

## Slide 61: Mechanical Design
Fire alarm system

## Slide 62: Mechanical Design
Firefighting system

## Slide 63: Mechanical Design
Emergency Lighting

## Slide 64: Cost Estimate

## Slide 65: Cost Estimate
Project Works | 
construction works Cost(NIS) | 5766910.1
Finishing Works Cost(NIS) | 5053751
Mechanical Works Cost(NIS) | 2942545
Electrical Works Cost(NIS) | 841615
Total Cost(NIS) | 14604821.1