## Slide 1
Graduation project II Design of an Eco-friendly school
With a geothermal system
Supervisor:
Dr. Mutasim Babaa
Prepared by:
Ala’a Qadah
Fakhria Nabulsi
Tala Zyoud
20-5-2019
1

## Slide 2: Outline
Introduction (Design Challenge)
Site Analysis
Architectural Design
Environmental design
Structural Design
Electrical Design
Mechanical Design
Safety Design
Quantity Surveying

## Slide 3: Design Challenge
Suitable environmental design to be used in the public schools.
Not exceeding the budget of the ministry of education.
New ministry of education’s limitations of using PV solar cells in schools.
Limited building areas.
Limited schools geometries.

## Slide 4: Site analysis
Nablus near Al-Ma’ajeen area.
Total area of the Land= 3675.2 m2.
lies on two wide streets.
latitude of 32°13′15″ north.
longitude of 35°15′15″ east.

## Slide 5: Over shadowing on the land
winter season
summer season

## Slide 6: Architectural Challenge
Using the natural slope as much as possible to reduce the total amount of cut and fill needed, which leads to an organic design.
Which led to have the school on two levels as will be clear in the plans.
Organic Design.

## Slide 7: Architectural plans

## Slide 8: Site Plan
Building area = 2080 m2.
J-shaped.
Tow entrances.
Three Floors (467 m2 for the GF and 810 m2 for both FF & SF).

## Slide 9: Ground Floor
Total Area: 467 m2 .

## Slide 10: First Floor
Total Area: 810 m2 .

## Slide 11: Second Floor
Total Area: 810 m2 .

## Slide 12: Elevations

## Slide 13: Northern Elevation

## Slide 14: Southern Elevation

## Slide 15: Western Elevation

## Slide 16: Eastern Elevation

## Slide 17: Sections

## Slide 18: Section A-A

## Slide 19: Section B-B

## Slide 20: 3D Render

## Slide 24: Environmental Design

## Slide 25: Acoustical system
Space | Standard value of RT60
Classroom | ≤ 0.6
Library | 0.8-1
Manager room | 0.7-1.3
Clinic | 0.4-0.7
Standard values of RT60

## Slide 26: Reverberation time (RT60)
Classroom

## Slide 27: Reverberation time (RT60)
Library

## Slide 28: Sound Transmission Loss (STC)
Internal wall 1
External wall 2
Classroom

## Slide 29: Sound Transmission Loss (STC)
Internal wall 1
External wall 2
Library

## Slide 30: Sound Transmission Loss (STC)
Standard and actual values of STC
Function | Standard dB | Actual dB | Comply / Not comply
classroom wall | 45 | 55,45 | Comply
Library wall | 45 | 56,55 | Comply
Manager room wall | 45 | 55,55 | Comply

## Slide 31
Solar Photovoltaic System Design (PVsyst)
Total Energy for building= 260900 Wh/day= 260.9 kWh/day.

## Slide 32: Solar Photovoltaic System Design (PVsyst)
Output from PVsyst:
Number of modules = 161 modules.
Number of inverters = 4 inverters.
System productivity = 60% of building needs.

## Slide 33: Distribution of speakers in corridors
Layout for the corridor of first floor
Vertical section of the speakers

## Slide 34: Acoustical system for the school yards

## Slide 35: Geothermal System

## Slide 36: Materials used
External walls layers and their thicknesses.
Internal partitions layers and their thicknesses.

## Slide 37
Floor layers and their thicknesses.
Roof levels and their thicknesses.

## Slide 38: U- Values for the construction elements
Construction element | U-value (W/m2.k)
External wall | 0.502
Internal partition | 1.78
External floor | 3.1
Roof | 0.466

## Slide 39: Geothermal System
” The earth tube heat exchanger (ETHE) is a device that transfers the heat from ambient air to deeper layers of soil and vice versa”.

## Slide 40: Geothermal system components
Dampers in Spaces.
Complicated net of 8“ PVC horizontal and vertical pipes.
FAN.
Ardweno Controlled sensor.
Elbows.
Filters.
Fresh Air Inlet Tower.

## Slide 41: TPI Corporation CE10-DS Direct Drive Exhaust Fan

## Slide 42: PVC Pipes

## Slide 43: Main PVC Trench

## Slide 44: Elbows

## Slide 46: Inlet Air Tower

## Slide 47: Filters

## Slide 48: Pipes Distribution

## Slide 49: Pipes distribution in the GF

## Slide 50: Pipes distribution in the FF

## Slide 51: Pipes distribution in the SF

## Slide 52: Thermal Simulation Results
Thermal Simulation was done using the Design Builder program.
NOTE: The total using hours of the building is 8600 hours.

## Slide 54: Structural Design

## Slide 55
Codes and Standards:
ACI -318-14 for reinforced concrete elements.
UBC -97 for design of seismic load and loads combinations.
For the design of the structure and its elements ETABS , SAFE , SAP and hand calculations were used .
Materials used:
    Concrete strength, f’c = 24 MPa and 28 MPa.
    Steel yielding strength fy = 420 MPa.
    Bearing capacity for soil = 2.5 kg/cm2.
Design Loads:
    Live load = 5 KN/m2.
    Super imposed dead load = 4 KN/m2.

## Slide 56: Seismic design data:
City of building : Nablus.
Seismic zone factor Z=0.2
Ca=0.24
Cv=0.32
I =1.5
R =5.5
Seismic hazard map for building codes.

## Slide 57: Modeling on ETABS:

## Slide 58: Sections dimensions:
Structural element | Dimensions (cm)
Slabs | 30
Beams | 30×50
Columns | C1 : 30×40 C2 : 30×60 C3 : 35×60
Footings | F1 : 180×170 F2 : 200×180 F3 : 250×220 F4 : 190×160

## Slide 59: Slabs system:
Two-way U-boot voided slabs with a thickness of 30cm were used.

## Slide 60: Beams system:
Drop beams are used.

## Slide 61: Beams reinforcement:

## Slide 62: Columns system:

## Slide 63: Footings system:
Single footings with a depth of 50cm were used.

## Slide 64: Footings’ reinforcement:
Section in F2
Section in basement wall footing

## Slide 65: Shear walls reinforcement:

## Slide 66: Stair reinforcement:

## Slide 67: Water tank:
Top view
Section in water tank

## Slide 68: Electrical Design

## Slide 69: Artificial lighting system design
actual lux | Target lux | Function | actual lux | Target lux | Function
252 | 100 | corridor | 563 | 300 | Class room
235 | 200 | Sport storage | 584 | 500 | Library
570 | 500 | secretary | 400 | 200 | Hall
508 | 500 | Manager room | 533 | 300 | Computer room
531 | 500 | kitchen | 586 | 500 | Science lab
589 | 500 | Teacher room | 321 | 300 | Student guide
330 | 300 | Clinic | 210 | 100 | WC

## Slide 70: Artificial lighting system design
Class room

## Slide 71: Artificial lighting system design
DIALUX class room calculations
Luminaire specification

## Slide 72: Artificial lighting system design
Computer room

## Slide 73: Artificial lighting system design
DIALUX computer room calculations
Luminaire specifications

## Slide 74: Artificial lighting system design
DIALUX computer room calculations
Luminaire specifications

## Slide 75: Artificial lighting system design
Lighting Arrangement in first floor

## Slide 76: Sockets Design
Sockets number and calculation in first floor
Room | No. | No of sockets | Socket Current | Special socket | Special socket current | Total current | Voltage | Diversity Factor | Watt
Class room | 5 | 7 | 2 | 0 | 10 | 70 | 220 | 0.2 | 3080
Science lab | 1 | 16 | 2 | 4 | 10 | 72 | 220 | 0.2 | 3168
Hall | 1 | 8 | 2 | 0 | 10 | 16 | 220 | 0.2 | 704
Sport storage | 1 | 2 | 2 | 0 | 10 | 4 | 220 | 0.2 | 176
Storage | 1 | 2 | 2 | 0 | 10 | 4 | 220 | 0.2 | 176
WC | 1 | 2 | 2 | 0 | 10 | 4 | 220 | 0.2 | 176
Stair | 2 | 2 | 2 | 0 | 10 | 8 | 220 | 0.2 | 352
Corridor | 1 | 10 | 2 | 0 | 10 | 20 | 220 | 0.2 | 880

## Slide 77: Sockets Design
Sockets arrangement in first floor

## Slide 78: Mechanical Design
Water Supply system.
Drainage System.
Rain Water Management.

## Slide 79: Water Supply system
Pipes Distribution on GF

## Slide 80: Water Supply system
Pipes Distribution on FF

## Slide 81: Water Supply system
Pipes Distribution on SF

## Slide 82: Drainage System
Pipes Distribution on GF

## Slide 83: Drainage System
Pipes Distribution on FF

## Slide 84: Drainage System
Pipes Distribution on SF

## Slide 85: Rain Water Management

## Slide 86: Safety Design

## Slide 87: Fire protection in ground floor

## Slide 88
Fire protection in first floor
Fire protection in second floor

## Slide 89
Escape route plan for ground floor

## Slide 90
Escape route plan for first floor
Escape route plan for second floor

## Slide 91: Quantity Surveying

## Slide 92: Final BOQ of the project:
Aspect | Total cost (NIS)
Architectural | 814,044
Structural | 2,017,322
Electrical | 89,299
Mechanical | 12,549
Environmental | 61,460
Total building area = 2080 m2.
Total cost of the project = 2,994,675 NIS.
Unit cost of the project = 1,440 NIS/m2.

## Slide 93: Thank you..