## Slide 1
بسم الله الرحمن الرحيم
((يَرْفَعِ اللَّهُ الَّذِينَ آمَنُوا مِنْكُمْ وَالَّذِينَ أُوتُوا الْعِلْمَ دَرَجَاتٍ ۚ وَاللَّهُ بِمَا تَعْمَلُونَ خَبِيرٌ))

## Slide 2
AN-Najah National University.
Engineering College.
Civil Engineering Department
Graduation project II
Analysis and redesign of Tubas directories of education building

## Slide 3: PRELIMINARY DESIGEN
Preliminary Design for slab

## Slide 4: Preliminary Design for Beams

## Slide 5: Preliminary Design for Columns:
Staute | Column capacity (KN) | Axial Force from the Gravity Loads Only (kN), on max tributary area | Dimension(mm) | Column name
ok | 2300 | 1756.4 | 40 x 40 | C1
ok | 2300 | 1555 | 40x 40 | C2
ok | 4080 | 1423.5 | D= 50 | C3
ok | 2590 | 1256.4 | 60 x 30 | C4
ok | 5630 | 2076 | 65x95L30 | C5
ok | 4114 | 2019.67 | 95 x 30 | C6

## Slide 6: PROJECT MODLING

## Slide 7: Material Definition:
Material Type | Structural Element
Concrete 28 Mpa | Slabs
Concrete 28 Mpa | Beams
Concrete 28 Mpa | Columns & Shear Walls
Concrete 28 Mpa | Stair
A615Gr60 (420 Mpa) | Reinforcement Bar
Concrete 28 Mpa | Footing

## Slide 8: MODEL CHECKS
Compatibility Check:

## Slide 9
Internal Force Check:
Check of Deflection
Allowable deflection = 30.4 mm
And from ETABS by using long term combination, max deflection = 11mm

## Slide 10: Seismic design
seismic location factors and values
Seismic ground motion values:
seismic zone factor map
Determination of site soil classification
Site class: SC

## Slide 11: Mapped Acceleration Parameters:
acceleration parameter map S1 and Ss
S1= 0.0875 sec
Ss=0.4 sec
Fa = 1.2 & Fv = 1.7
SMS = Fa SS
SM1 = Fv S1

## Slide 12
Determination of occupancy type (risk category):
occupancy type

## Slide 13
Importance factor of the structure:
Importance Factors table
Design risk category:
Seismic design category = C .

## Slide 14
Determination of Lateral-force Procedure
1-Equivalent lateral force method (ELF method).
2-Modal response spectral analysis (MRS method).

## Slide 15
The structure system is reinforced concreate shear wall ordinary building system and lateral load resisting system of shear wall

## Slide 16
design coefficient and factor for seismic force resisting system:
Over strength factor Ω = 2.5
Deflection amplification factor Cd = 4.5
Response modification factor R = 5

## Slide 17: block one calculation: period calculation
Ct= 0.0488 X=0.75
Then : Ta = 0.4264 sec
Period of the structure
Upper period limit coefficient Cu
Cu = 1.7

## Slide 18
From ETABS:
The Value from ETABS must be smaller than upper limit (Ta x Cu = 0.724 sec)
X-direction:-
T = 0.39 Sec … OK
Y- direction:-
T = 0.35 Sec … OK

## Slide 19: Equivalent static analysis:
Base shear reaction calculation
V = Cs W
Cs: Seismic response coefficient
Cs shall not be less than
Cs =0.044SDSIe ≥ 0.01

## Slide 20
Affective seismic weight (W)
W = DL + SD + 0.25LL
= 14282.7287+ 6094.7496+0.25(6776.6608)
= 22071.643 KN
Base shear (V): V = Cs W =1920 KN
Define lateral load (equivalent static load) on ETABS:

## Slide 21
V-y by hand = 1920 KN
V-y by ETABS = 1925.34 KN
Error = 0.05% < 5% so it's ok
Figure: Equivalent Static shear by ETABS

## Slide 22: Response Spectrum Analysis by ETABS

## Slide 23
Define modal acceleration in X and Y
Define Response spectrum function
Where: scale factor = g x I /R

## Slide 24
Base shear from response spectrum .

## Slide 25
Modes and Periods
the summation of the modal participation mass ratio in X and Y more than 90% after 85 Modes

## Slide 26
block two calculation:
V-y by hand = 1255.57 KN
V-y by ETABS = 1236.92 KN
Error = 0.14% < 5% so it's ok.
Figure : Equivalent Static shear by ETABS
Figure 5.37: Final base reaction
Modal mass participation ratios (transition in x,Y,z)

## Slide 27
load combination with earthquake loads:
Combination for strength design:
1.4 D
1.2 D +1.6 L
1.2 D +1.0 E +1.0 L
0.9 D + 1.0 E
Combination for serviceability (allowability) design:
1.0 D
1.0 D +1.0L
1.0 D + 0.7 E
1.0 D + 0.525 E + 0.75 L
0.6 D + 0.7 E

## Slide 28
design checks :
Drift and deformations

## Slide 29
Block one drift check.
Table 5.22: Inelastic Response Displacement and story drift ration in Y
the inelastic Response displacement is ok and less than the allowable limit.

## Slide 30
Block TWO drift check.
Table 5.22: Inelastic Response Displacement and story drift ration in Y
the inelastic Response displacement is ok and less than the allowable limit.

## Slide 31
P-delta affect

## Slide 32
Table 5.23:p delta affect in X direction
That’s no p-delta affect in x direction, so no modification of forces on structure and the design is ok.

## Slide 33
Beam design

## Slide 34
Beams in layout in ETABs :

## Slide 35
Beam B1 :
Beam dimensions = 20cm width , 100cm depth ,
d= 95cm
Check if the beam behave as beam or beam column.
Beam column limit = 0.1 Fc Ag
= 1260 Kn
axial load on beam envelope strength combination
Axial load in beam =41.12Kn its beam not beam column

## Slide 36
Check For moment:
tributary area on beam
manual calculations:
SD load on beam = 4.317 x 1.73 = 7.47 Kn/m
Moment =
=
= 44.84 Kn.m
From Etabs :
moment on center and edge of beam from SD load
Error <10%
its ok!

## Slide 37
Design For moment:
Max ultimate design strength moment on center of beam
bottom steel :
Moment=188.6KN.m
ῤ =0.0028 . and that’s minimum than ῤmin, So
ῤ= ῤmin = 0.00333
AS= 634 mm2 = 514mm on two layer
Spacing = (200-2(30)-14*3) / (3-1) = 50mm
Spacing must be > diameter of bar 1.4cm> 2.5 so its ok!

## Slide 38
Top steel :
Moment=70KN.m
Max ultimate design strength moment on edge of beam
ῤ = .001 and that’s minimum than ῤmin, So
ῤ= ῤmin = 0.00333
AS= 634 mm2 = 514mm on two layer
Spacing = (200-2(30)-14*3) / (3-1) = 50mm
Spacing must be > diameter of bar 1.4cm> 2.5 so its ok!

## Slide 39
Design For shear:
Ultimate shear = Vu = 138.5KN
Vc = 167.5 Kn
use minimum shear reinforcement
Smax. = min. of {
= 950/2 =47.5cm
Choose Ø = 10mm
0.78 =2(0.25*3.14*102)/s
So s = 200mm = 20cm < Smax
So use 1 Ø10mm @ 20 cm .

## Slide 40
Design overwrite and preferences

## Slide 41
Maximum axial load on all beams = 148 , so all beams behave as beam not beam column
axial load design result for Beams on block2
axial load design result for Beams on block1.

## Slide 42
Results :
Area of steel in all beams in block 1

## Slide 43
Area of steel in all beams in block 2

## Slide 44
shear reinforcement in all beams in block 1

## Slide 45
shear reinforcement in all beams in block 2

## Slide 47: Column design

## Slide 48
Figure 6.62: Columns plan
Sample calculations:
6.2 Column design:-

## Slide 49
1. For column with diminutions 40*40
Figure6.63 :Column diminutions

## Slide 50
Figures 6.64:for moment and axial load
From etabs by finding max load and moment
Pu=1796.2 KN
H/D =3.63 /0.4 =9.075 so ordinary
From etabs we find max load and moment

## Slide 51
Pu=1796.2 KN
Case of moment in sway (unbraced) frames kLu/r <22 , will be short column else selender
r = 0.3h =0.3*0.4 = 0.12 , k=? , to find the value of K ?
I beams: IB2=0.00278 m4, IB3=0.01024 m4, I column(30*60) = 0.0054 m4
𝑳 𝑳
A B
 =0,  = ∑ 𝑬𝑰 𝒇𝒐𝒓 𝒄𝒐𝒍𝒖𝒎𝒏𝒔 / ∑ 𝑬𝑰 𝒇𝒐𝒓 𝒃𝒆𝒂𝒎𝒔
Then , B=0.012, K= 1 (using monograph for effective length factor foe sway frames)
Figure 6.65: monograph for effective length factor foe sway frames
KLu/r = 1*3.63/0.12=30.25 >22 so it slender column
M1/M2 =-90.88/100.3161 nigative so it will be a single curvature

## Slide 52
Mc =Sns*M2 , K=1 EI =1.439*1013 cm = 1-M1/M2 =0.96 Sns=0.96 ,
Mmin = e min * pu , emin = 0.015 +0.03*0.4 =0.027 , Mmin <100.3161 Mc=0.96*100.3161 =96.3 Kn.m
Assume M = 0.0 kN.m.(very small value)
ФPn=Pu
ФPn = Ф𝜆 (0.85 * f`c * (Ag-As) + fy * As)
As = 𝝆 Ag
= 0.02 Ag
Ag = 108.89*103 mm2 , so 40*40 is ok
ф𝑷𝒏 = 𝟏𝟕𝟗𝟔.𝟐∗𝟏𝟎𝟎𝟎 = 1.6 Ksi
𝒃𝒉 𝟒𝟎𝟎∗𝟒𝟎𝟎∗𝟕
ф𝑴𝒃 =𝟗𝟔.𝟑∗𝟏𝟎𝟎𝟎𝟎𝟎𝟎= 0.2 Ksi
𝒃𝒉𝟐 𝟒𝟎𝟎∗𝟒𝟎𝟎𝟐∗𝟕
f`c= 28/7 = 4 Ksi fy = 420/7 = 60 Ksi

## Slide 53
𝟒𝟎𝟎
ɣ =𝟒𝟎𝟎−𝟐∗𝟒𝟎 = 0.75 , cover = 40
→ By P-M interaction diagrams to determine 𝝆 (see Figure)
𝝆 = 0.01 , so As = 0.01 *400*400 =1600 mm2 ( 816)
+
figure6.66 :P-M interaction diagrams
𝑠1 = 𝑀𝑖𝑛 {
least column dimension
16𝑑𝑏
48𝑑𝑠
}
S ≤ 𝟒𝟖d = 48*10 = 480
≤16 db = 16*16 = 256
≤400
→Choose the minimum spacing 250 mm
→ Use 3Φ 10 / 250 mm
Check spacing between bars
𝟐
Short direction: S= 𝟒𝟎𝟎−𝟐(𝟒𝟎+𝟏𝟎+𝟖) = 142 mm < 150 mm

## Slide 54
2. For column with diminutions 90*30
Figures:6.66-1 for moment and axial load
From etabs we find max load and moment
Pu=1160 KN Mu=50.5 KN.M
H/D= 3.63/0.9 = 4.0333 < 5 so intermidate
Case of moment in sway (unbraced) frames

## Slide 55
kLu/r <22 , will be short column else selender
r = 0.3h =0.3*0.9 = 0.27 , k=? , to find the value of K ?
I beams: IB2=0.00278 m4, IB3=0.01024 m4, I B7= 0.0026 , I column(30*90) = 0.018225 m4
𝑳 𝑳
A B
 =0,  = ∑ 𝑬𝑰 𝒇𝒐𝒓 𝒄𝒐𝒍𝒖𝒎𝒏𝒔 / ∑ 𝑬𝑰 𝒇𝒐𝒓 𝒃𝒆𝒂𝒎𝒔
Then , B=1.1.38 =1.4, K= 1.2 (using monograph for effective length factor foe sway frames)
KLu/r = 1.2*3.63/0.27=16.2 <22 so it short column
Assume M = 0.0 kN.m.
ФPn=Pu
ФPn = Ф𝜆 (0.85 * f`c * (Ag-As) + fy * As)
As = 𝝆 Ag
= 0.02 Ag
Ag = 70318.03 mm2 , so 900*300 mm is ok

## Slide 56
ф𝑷𝒏 = 𝟏𝟏𝟔𝟎∗𝟏𝟎𝟎𝟎 = 0.6 Ksi
𝒃𝒉 𝟑𝟎∗𝟗𝟎𝟎∗𝟕
ф𝑴𝒃 =𝟑𝟎∗𝟏𝟎𝟎𝟎𝟎𝟎𝟎= 0.05 Ksi
𝒃𝒉𝟐 𝟑𝟎𝟎∗𝟗𝟎𝟎𝟐∗𝟕
f`c= 28/7 = 4 Ksi
fy = 420/7 = 60 Ksi ɣ =𝟗𝟎𝟎−𝟐∗𝟒𝟎 = 0.9
𝟗𝟎𝟎
→ Go to P-M interaction diagrams to determine 𝝆 (see Figure 4.2)
+
figure6.67 :P-M interaction diagrams

## Slide 57
𝝆 = 0.01 so As = 0.01*900*300 = 2700 mm2 , 14 16
→ Use 2Φ 10 / 250 mm
Check spacing between bars
𝟓
Long direction: S= 𝟗𝟎𝟎−𝟐(𝟒𝟎+𝟏𝟎+𝟖) =156.8 mm>150 mm
𝟐
short direction: S= ∗𝟑𝟎𝟎−𝟐(𝟒𝟎+𝟏𝟎+𝟖) = 92 mm < 150 mm
3. For column with diminutions 60*30
H/D= 3.63/0.6 = 6.03 ordinary

## Slide 58
Figures 6.68:for moment and axial load
Pu=621 KN
Mu=35.6 KN.m
Case of moment in sway (unbraced) frames kLu/r <22 , will be short column else selender
r = 0.3h =0.3*0.6 = 0.18 ,
k=? , to find the value of K ?
I beams: IB2=0.00278 m4, IB3=0.01024 m4, I column(30*60) = 0.0054 m4

## Slide 59
𝑳 𝑳
 =0,  = ∑ 𝑬𝑰 𝒇𝒐𝒓 𝒄𝒐𝒍𝒖𝒎𝒏𝒔 / ∑ 𝑬𝑰 𝒇𝒐𝒓 𝒃𝒆𝒂𝒎𝒔
A B
Then , B=1.189 =1.2 , K= 1.1 (using monograph for effective length factor foe sway frames)
KLu/r = 1.05*3.63/0.18=21.75<22 so it short column
Assume M = 0.0 kN.m.
ФPn=Pu
ФPn = Ф𝜆 (0.85 * f`c * (Ag-As) + fy * As)
As = 𝝆 Ag
= 0.02 Ag
Ag = 37644.4 mm2 , so 600*300 mm is ok
ф𝑷𝒏 = 𝟔𝟐𝟏∗𝟏𝟎𝟎𝟎 = 0.5 Ksi
𝒃𝒉 𝟑𝟎𝟎∗𝟔𝟎𝟎∗𝟕
ф𝑴𝒃 =𝟑𝟓.𝟔∗𝟏𝟎𝟎𝟎𝟎𝟎𝟎= 0.047 Ksi
𝒃𝒉𝟐 𝟑𝟎𝟎∗𝟔𝟎𝟎𝟐∗𝟕
f`c= 28/7 = 4 Ksi
fy = 420/7 = 60 Ksi ɣ =𝟔𝟎𝟎−𝟐∗𝟒𝟎 = 0.8
𝟔𝟎𝟎
→ By P-M interaction diagrams to determine 𝝆 (see Figure 4.2)
𝝆 = 0.01 so As = 0.01*600*300 = 1800 mm2 , 10  16

## Slide 60
+
figure6.69: :P-M interaction diagrams

## Slide 61
𝑠1 = 𝑀𝑖𝑛 {
least column dimension
16𝑑𝑏
48𝑑𝑠
}
S ≤ 𝟒𝟖d = 48*10 = 480
≤16 db = 16*16 = 256
≤400
→Choose the minimum spacing 256 mm
→ Use 2Φ 10 / 250 mm
Check spacing between bars
𝟒
Long direction: S= 𝟔𝟎𝟎−𝟐(𝟒𝟎+𝟏𝟎+𝟖) =121 mm<150 mm
𝟏
short direction: S= ∗𝟑𝟎𝟎−𝟐(𝟒𝟎+𝟏𝟎+𝟖) = 184 mm >150 mm

## Slide 62
4. For column with diameter 50 cm
H/D = 3.63/0.5 = 7.26 > 5 so ordinary
From etabs we find max load and moment Pu=1494 KN
Mu=73.7KN.M
Case of moment in sway (unbraced) frames kLu/r <22 , will be short column else selender
r = 0.25D =0.25*0.5 = 0.125 , k=? , to find the value of K ?
I beams: IB2=0.00278 m4, IB3=0.01024 m4, I column(cicule 0.5) = 0.00306 m4
𝑳 𝑳
A B
 =0,  = ∑ 𝑬𝑰 𝒇𝒐𝒓 𝒄𝒐𝒍𝒖𝒎𝒏𝒔 / ∑ 𝑬𝑰 𝒇𝒐𝒓 𝒃𝒆𝒂𝒎𝒔
Then , B=1.189 =1.2 , K= 1.1 (using monograph for effective length factor foe sway frames)
KLu/r = 1.1*3.63/0.15=21.3<22 so it short column Assume M = 0.0 kN.m.
ФPn=Pu
ФPn = Ф𝜆 (0.85 * f`c * (Ag-As) + fy * As)

## Slide 63
As = 𝝆 Ag
= 0.02 Ag
Ag = 73872.444 mm2 , so D= 500 mm is ok
𝟏𝟒𝟗𝟒∗𝟏𝟎𝟎𝟎 ф𝑷𝒏
𝟔𝟎𝟎∗𝟔𝟎𝟎∗𝟕 𝒃𝒉
=
= 0.6Ksi
𝟑𝟓.𝟔∗𝟏𝟎𝟎𝟎𝟎𝟎𝟎 ф𝑴𝒃
= = 0.048 Ksi
𝟔𝟎𝟎∗𝟔𝟎𝟎𝟐∗𝟕 𝒃𝒉𝟐
f`c= 28/7 = 4 Ksi fy = 420/7 = 60 Ksi
ɣ =
𝟓𝟎𝟎−𝟐∗𝟒𝟎
𝟓𝟎𝟎
= 0.9
→ Go to P-M interaction diagrams to determine 𝝆

## Slide 64
+
+
figure6.70 :P-M interaction diagrams
= 0.01 , so As = 0.01*3.14*5002/4 = 1962.5 mm2 (1016 )𝝆

## Slide 65
𝝆𝒔 = 0.45 (Ag/Ach-1) *fc/fy =0.021
S = 4As/ 𝝆𝒔DC = 4*200.96/0.021*560 = 72 <75 use 10/70 mm
Design performance and design ovewritcing:

## Slide 66
Figere 6.71:Concrete frame design prefrences
Figure 6.72:Concrete frame design overwrites
 Take column C2 :-

## Slide 67
Column dimensions :- 0.4m * 0.4m
c
f ′ = 28𝑀𝑃𝑎 , Fy=420MPa , cover = 30mm
Figure 6.73:
Column C2
Longitudinal reinforcement:-
Figure6.74:ETABS result for Longitudinal reinforcement:
As = 1600mm2 =816 mm

## Slide 69
Slab design

## Slide 70
Figure6.75:section in slap
Figure6.76: Ultimate M value
Mu (Top) = 90KN.m
6.3 Slap design
Designe for moment :

## Slide 71
=.0008 < min (.0033)
Use .0033( 2 Ø12 mm/rib )
Mu (Bottom) = 70KN.m=5.2KN.m/rib
-=.0022<min(.0033)
Use .0033( 2 Ø12 mm/rib )
Designe for shear :

## Slide 72
Figure6.77: Max shear value
Total ultimate load (Vu) = 29.17 KN/𝑚2=15.17KN/rib
1
ФVc = 1.1 ∗ .75 ∗ ∗ √Fc` ∗ bw ∗ d
6
ФVc =1.1*0.75(1/6)×√28×120×(250 -30) = 19.21KN

## Slide 75
Shear wall design

## Slide 76
Figure : Added shear wall locations

## Slide 77
Figure 6.80: ETABs result for the shear wall S.W1
f’c = 28 MPa, Fy = 420 MPa, wall thickness = 200 mm and wall length = 5.4 m.
Check axial force:
Pu = Pz <? 0.1Ag* f’c
2029KN <0.1*(0.2*5.4)*28*1000 = 3024KN
No need for axial design

## Slide 78
Desgin for shear :
Vc =
761.9 KN >Vu then we used the min shear reinforcement
ꝭt=.0025 Use 12 mm @ 450 mm / Use 10 mm @ 300 mm
ꝭl=
for this wall
>2.5 then
ꝭl=.0025 Use 12 mm @ 450 mm or Use 10 mm @ 300 mm

## Slide 79
Desgin for moment:
.03768
.
.048
< Mu
We calculate for 14 mm @ 200 mm Mn
=4771 KN.m >Mu ok
Figure 6.81: Shear S.W1 wall detailing

## Slide 81
Footing design

## Slide 82
1-Single footing design:-
P service = 1358.4 KN. P Ultimate = 1796.2 KN.
Area of footing =
=
= 3.396 m2
The ultimate pressure under footing (б u) =
=
= 497.5
Suppose :-
d = 350 mm.
.h = 350+ 50 = 400 mm.
Check punching Shear :
Vu, punching= (Pu-A1*qu)
= 1796.2-((.4+.35)^2*497.5)
= 1516.35 KN
Factored punching shear strength:
ɸ Vc, punching(min) =1882KN > Vu………. OK.

## Slide 83
-Design of wide beam shear:
Vu ≤ ɸ Vc
Vu = б u (L–d) = 497.5 (.75–.35)
= 198.88 KN/m
ɸ Vc, =
× b×d
= 231.5 KN/m >Vu ok
L1 =(1.9-0.35) / 2= .775 = L2
-Design or flexure:
Mu =
=
= 140 KN.m/m.
.b=1000mm , d=350mm ,
ρ = 0.0036
Ast = ρ ×b×d = 0.0036×1000×350 = 1260 mm2/m.>Asmin(720)
(6 Ø16 mm/m) =1 Ø16 mm/15cm in both directions
We have 5 types of single footing in this structure

## Slide 85
2-Wall footing design:-
Figure 6.84: shear wall which we design
Section cut result:-
P service = 1544KN. P Ultimate = 2030 KN.
Shear wall length =4.6m
P service = (1544/4.6) =335.65KN/m. P Ultimate = (2030/4.6) =441.3 KN/m..
width of footing
= .84 m. take it 1m
=
The ultimate pressure under footing (б u) =
=
= 441.3
Suppose :-
d = 170 mm.
.h = 170+ 50 = 220 mm.

## Slide 86
Design of wide beam shear:
Vu ≤ ɸ Vc
Vu = б u (L–d)
= 441.3 (0.4–0.17)
= 101.5KN/m
ɸ Vc, =
× b×d
= 112.4 KN/m >Vu ok
But d min =300mm from IBC-Code
So we used d = dmin = 300mm.
H =350mm
Design or flexure:
Steel in X-direction:-
L = (1-.2)/2 =0..4m
Mu =
=
= 35.3 KN.m/m.
.b=1000mm , d=300mm ,
ρ = 0.000123 < ρmin
Ast = ρmin ×b×h = 0.0018×1000×350 = 630 mm2/m.
(4 Ø14 mm/m) in X directions.
Steel in Y-direction:-
As =As min = 0.0018*1000*350 =630mm2/1m (4 Ø 14mm/m)

## Slide 87
Stair design

## Slide 88
Θ=tan-1(
)=32
l=(3^2+1.875^2)^/5= 3.5m
h =
load calculations :
W1=0.2X25X1=5 KN\m
WSTAIR=0.5X0.165X0.3X25=.618KN\m
WFINIHIMG=1.24KN\m
Take Dead load =7 KN\m
Live load =5 KN\m
Wu= 1.2 D + 1.6 L
=16.4KN\m
استراحة الدرج
Wu= 15.5 KN\m2
WFINISHING =1.24 KN\m2
Take Dead load = 6.24 KN\m2
Live load =5 KN\m2
WCONCRETE= 0.17X25 = 5 KN\m2
structural analysis:
Using Φ16 and cover = 20mm
Main steel
FOR +M :
ρ = 0.0061
As=1000X182X0.0061
=1093mm2
7Φ16\1m
FOR –M :
4Φ16\m
Shrinkage steel
ρ = ρmin = .0018
As=0.0018X1000X200
=360 mm2
5Φ10\m
Check shear
ΦVc=.75*(1\6) *λ
*bw*d
ΦVc=.75*(1\6) *1
*1000 *180*1000=120KN

## Slide 90
Retaining wall design

## Slide 91
Wall thickness = 30 cm
Wall footing thickness = 40cm
Wall footing width = 100cm
Height of basement wall =Height of story = 3.65 m
Figure 6.86: basement retaining wall preliminary dimensions.
Weight on soil = Wu = 1.2 x ((0.1 * 25 )+(4.13)) +1.6 x (4.8) = 15Kn/m2
KO = 1-sin37 = 0.4
Stem modal and soil pressure :
δ1 = .4 x 15 = 6kn/m2
δ2 = .4 x ( 15 + 3.65*20) = 35.5 Kn/m2

## Slide 92
define load
on sap
reactions.
Reaction from slap (horizontal reaction) = 19.17 kn
Ry = (3.55/2)*(17.9) = 31.8 kn/m
check bearing capacity
Mover turning =
Over turning safety factor = 0.9
It must increase width of footing to be 1.5 m .

## Slide 93
After make it 1.5 m :
Mr= 201.6 sum weight = 120.675Kn
er = 23.3 / 120.675 = 0.19 m > (B/6 =.25)
can ignore eccentricity .

## Slide 94
Design for shear :
shear force on basement retaining wall
Vu = 1.6 x 56.6 = 90.6Kn
Design for moment :
vertical reinforcement:
moment force on basement retaining wall
Mu = 1.6 x 35.5 = 56.8Kn.m
ῤ = 0.00248 < ῤmin
take ῤ= ῤmin =0.0025
As = 750 mm2 (5Ф14 / meter )
Horizontally reinforcement :
As=750 (7Ф12 / meter ) take it 4 Ф12/m for each face .

## Slide 96
لُيَ ۆلُزملُآئيَ آلُشُرٍفَ آلُگبيَرٍ ۆآلُمقآم آلُڌيَ يَضآہيَ آلُنجٍۆم آن نہدِيَيَ مشُرٍۆعٍ تخـرٍجٍنآ آلُﮯ آقصآنآ آلُجٍرٍيَحٍ , لُلُۆطُن آلُنآزف,لُآرٍۆآحٍ آلُشُہدِآء ,لُلُمقآۆميَن تحٍت آيَ سمآء ۆفَۆق آيَ آرٍض ,لُلُبنآدِق آلُملُطُخـة بدِمآء آلُيَہۆدِ, آلُﮯ آبآئنآ نبرٍآس آضآء لُنآ آلُحٍيَآة
ۆہم گ آلُشُمس آڌآ آشُرٍقت خـجٍلُت منہآ آلُگۆآگب
ۆآمہآتنآ آلُحٍضن آلُدِآفَئ آلُآتيَ لُم يَترٍگننآ يَۆمآ
, ۆخـتآمآً آلُمرٍبيَة آلُفَآضلُة آلُدِگتۆرٍة صآحٍبة آلُفَضلُ عٍلُيَنآ بعٍدِ آلُلُہ تعٍآلُﮯ ہندِ طُبيَلُة .
ۆآلُسلُآم عٍلُيَگم ۆرٍحٍمة آلُلُہ