## Slide 1
Design An Elderly Home In Nablus City
Prepared By:
Amer Abu Al-huda
Mohammad Zawawi
Rafat Abu Al-haija
Supervisor:
Eng. Fady Fatayer
Faculty of Engineering & Information Technology
Department of Building Engineering
Graduation Project - II

## Slide 2
Contents
Introduction
Description of the project.
Architectural design.
Environmental design.
Structural design.
Mechanical design.
Contents
Electrical design.
Quantity surveying.

## Slide 3
The project is about design an elderly home.
Analysis the building.
Finding the problems.
Solve problems.
INTRODUCTION

## Slide 4
DESCRIPTION OF THE PROJECT.

## Slide 5
Architectural Aspect
Bubble Diagram
5
PROJECT 2
Reception
Entrance
Entrance
Bedrooms
Administrative spaces
Healthcare areas
Staff areas
Bedrooms
Bedrooms
Bedrooms
Set area
Cafeteria
Multi-purpose area
Activity areas
Laundry
Corridor

## Slide 6
Architectural Aspect
Redesigned
6
PROJECT 2
Modification areas:
Cafeteria.
Added areas:
Smoking room.
Accountant office.
Archive file room.
Healthcare center.
Equipment storage room.
Laundry.
Mechanical and electrical room.
Staff lounge and staff bedrooms.
Hair salon.
Maintenance workshop.
Emergency stair.
Emergency elevator.
Reception.
Housekeeping storage room.

## Slide 7
The ground floor before re-design:
7
PROJECT 2

## Slide 8
The ground floor after re-design:

## Slide 9
The first floor before re-design:
9
PROJECT 2

## Slide 10
The first floor after re-design:

## Slide 11
Bathroom design:

## Slide 12
Site plan after re-design:

## Slide 13
Elevations
before
re-design:

## Slide 14
Elevations
after
re-design:

## Slide 15
Sections before re-design :

## Slide 16
Sections after re-design :

## Slide 17
3D views:

## Slide 18
3D views:

## Slide 19
Daylighting
Solar insolation
Heating and cooling load
Wind analysis
Environmental Aspect
Thermal comfort

## Slide 20
Sun Path
Summer
Winter

## Slide 21
Materials Used in Project
External wall cross section
Roof cross section

## Slide 22
Materials Used in Project
Window Layers
U-value Table

## Slide 23
Daylighting
Daylight factors for some spaces in elderly home project.
D.F standard for spaces D.F values in project

## Slide 24
3D views:
24
PROJECT 2
Daylighting factor for ground floor after
re-design
Avg D.F before modification = 5% Avg D.F after modification = 2.75%

## Slide 25
3D views:
25
Daylighting factor for First floor After
re-design
PROJECT 2

## Slide 26
Amount of solar energy for building before improvement for solar radiation
Amount of solar energy for building after improvement for solar radiation
01
02

## Slide 27
Heating and cooling load
Cooling Load graph
Cooling Load values
Cooling Load design capacity

## Slide 28
Heating and cooling load
Heating Load values
Heating Load graph

## Slide 29
CFD & Wind
Side External CFD
Top External CFD

## Slide 30
CFD & Wind
G.F Internal CFD
F.F Internal CFD

## Slide 31
Thermal comfort (PMV Analysis)
Hourly PMV graph
Daily PMV graph

## Slide 32
Energy consumption
Total Site Energy

## Slide 33
Shading Systems
Horizontal louvers
Vertical louvers

## Slide 34
Baseline Analysis

## Slide 35
Contents
Slab design.
Beams design.
Columns & shear walls design
Footings design
Structural Aspect
Water tank design

## Slide 36
Design data
36
PROJECT 2
Compressive strength of concrete B350  (F’c = 28 Mpa).
Materials
Yielding strength of steel (fy) = 420 Mpa.
Elasticity of steel (E) = 200 Gpa.
Weight per unit volume for concrete = 25 KN/m3.
Weight per unit volume for steel = 78 KN/m3.
ACI 318-14
Codes
UBC -97
ASCE

## Slide 37
Design data
37
PROJECT 2
Live load = 2.5 KN/m2
Design Loads
SID for one way ribbed slab = 5.42 KN/m2
SID for external walls = 18 KN/m
SID for two way ribbed slab = 5.52 KN/m2
SID for curtain walls = 2.16 KN/m
Zone type 2B Z= 0.2
Seismic Loads
Cv = 0.32
I = 1
R = 6.5
Ca = 0.24

## Slide 38
Structural Aspect

## Slide 39
Structural Aspect

## Slide 40
Checks for block 1
Analysis Checks | 
Check | Result
Compatibility Check | Ok
Equilibrium check | Ok
Dead Load | Ok
Live Load | Ok
SID Load | Ok
Internal Force Check | Result
Columns | Ok
Beams | Not Ok
Slab | Ok
Design Check | 
Check | Result
Deflection for slab | Ok
Deflection for beams | Ok
Shear Check | Ok
Seismic Checks | 
Check | Result
Period check. | Ok
Modal mass participation ratio | Ok
Base shear (scale factor) | Ok
Drift | Ok
∆−P Effects | Ok

## Slide 41
Slab Reinforcement
Two way ribbed slab
One way ribbed slab

## Slide 42
Slab Reinforcement
Sections in slabs

## Slide 43
Beams Reinforcement
Beams table

## Slide 44
Beams Reinforcement
Beams table

## Slide 45
Columns Reinforcement
Columns table

## Slide 46
Columns Reinforcement
Column (C1) Details

## Slide 47
Shear walls Reinforcement
Shear walls table

## Slide 48
Shear walls Reinforcement
Shear walls sections

## Slide 49
Shear walls Reinforcement
Shear wall (W1) details

## Slide 50
Footings Reinforcement
Footing layout

## Slide 51
Footing Checks
Footing Checks | 
Check | Result
Punching shear | Ok
Bearing capacity | Ok
Settlement | Ok
Shear | Ok

## Slide 52
Footings Reinforcement
Footing table

## Slide 53
Footings Reinforcement
Footing (F1) details

## Slide 54
Water Tank Design
Length = 15m
Design Data
ɣ𝑤𝑎𝑡𝑒𝑟 = 10 KN/𝑚3
Width = 15m
Height = 5m
ɣ𝑠𝑜𝑖𝑙 = 18 KN/𝑚3
q all = 300 KN/m2

## Slide 55
Water Tank Checks
Analysis Checks | 
Check | Result
Compatibility | Ok
Equilibrium | Ok
Design Checks | 
Check | Result
Footing | 
Bearing capacity | Ok
Settlement | Ok
Shear | Ok
Walls | 
Shear | Ok
Axial | Ok
Slab | 
Shear | Ok
Deflection | Ok

## Slide 56
Water Tank Reinforcement
Water tank sections

## Slide 57
Contents
Artificial lighting design
Acoustical design
Power design
Electrical design

## Slide 58
Artificial lighting design

## Slide 59
Artificial lighting design

## Slide 60
Artificial lighting design
Internal

## Slide 61
Artificial lighting design
Internal

## Slide 62
Artificial lighting design
External

## Slide 63
Artificial lighting design
External
Working mode for this type of luminaires is working with 30% intensity when there is no action below the lamp and 100% when people pass in sensor range.
This type works 15 hours in full charge and its need 6 hour to charge full power.

## Slide 64
Artificial lighting design
External

## Slide 65
Artificial lighting design
G.F lighting distribution layout

## Slide 66
Power design
Distribution Boards

## Slide 67
Power design

## Slide 68
Power design

## Slide 69
Acoustical design
External walls
Partitions
Ceiling

## Slide 70
Acoustical design

## Slide 71
Contents
H-VAC system design.
Firefighting system design.
Water supply.
Water drainage.
Mechanical Design
Rain water Drainage and Harvesting.

## Slide 72
H-VAC system design

## Slide 73
H-VAC system design
G.F H-VAC layout

## Slide 74
H-VAC system design
New technology used in H-VAC systems to kill viruses and microorganisms

## Slide 75
Firefighting system design

## Slide 76
Firefighting system design
Fire Hose Station

## Slide 77
Firefighting system design
Smoke Detector
Heat Detector
Visual Alarm
Manual Call Point

## Slide 78
Firefighting system design
Main Pump
Jockey Pump
Fire Pump Controller

## Slide 79
Firefighting system design
G.F Fire System Layout

## Slide 80
Water supply

## Slide 81
Water supply

## Slide 82
Water supply

## Slide 83
Water drainage

## Slide 84
Water drainage
Drainage pipes size and slope

## Slide 85
Rain Water Drainage and Harvesting
The rainfall quantity in Nablus city is 600 mm.
The roof area which the water is drained is 2500 m2.
The volume of drainage water is equal to
2500*0.6 = 1500 m3.
- Design water tank with capacity 1125 m3 to save this . water to use it for landscape and fire system.

## Slide 86
Rain Water Drainage and Harvesting

## Slide 87
Areas
Total area for two floors equal 3134 .
The cost for each square meter equal 2,476 NIS/
Cost Estimate
Total cost for project 7,760,347 NIS

## Slide 88
Cost Estimate

## Slide 89
Thank You
YOUR QUESTIONS, PLEASE!