## Slide 1: Faculty of Engineering & Information Technology Department of Building Engineering Retrofitting and Enhancement for Nablus Municipality
Prepared by :
BushraDwaikat
Hanan Abo-Hassan
Haneen Ghanem
Supervisor :Eng:Moayad Salhb

## Slide 2
Outline:
Site location
Artchitecture Design
Enviromntail Design
Structural Design
Electro mechanical Design
Quantity surveying

## Slide 3
Site location
Site location in Nablus city, Faisal Street, near the commercial center of Nablus.
This is located on latitude of 32.13 norths and longitude of 35.15 easts.
Site location and description:

## Slide 4
Figure: A clear picture of what surrounds Nablus Municipality.

## Slide 5
Noise analysis
Figure: Sound levels in the land.

## Slide 6
Architectural design
Current state VS New Design

## Slide 7
Architectural plan
Figure: site plan before and after redesign
The total area of the project is 6940.62 m2 above the basement; and the project consist six floor.

## Slide 8
Figure: two proposal for basement floor

## Slide 9
Figure: Ground floor plan

## Slide 10
Figure: First floor plan

## Slide 11
Figure: second floor plan

## Slide 12
Figure: third floor plan

## Slide 13
Figure: Four floor plan

## Slide 14
Section and Elevation
Figure: Front and Back elevation

## Slide 15
Figure: northwestern elevation

## Slide 16
Figure: section A-A and C-C

## Slide 17
      Building Massing &Orientation
As analysis
Figure : envelop to volume ratio on energy efficiency.
Figure ‎: Orientation of Nablus municipality
Environmental design

## Slide 18
Material definition
Figure ‎: layer of external wall.
Figure layer of floor
Figure ‎ layer of roof
Tabel :U value for construction item compared with the U effective.
Analysis using Design Builder Software.
item | U value | U effective | note
External wall | 0.466 | 0.5 | Satisfy
roof | 0.36 | 0.39 | Satisfy
floor | 0.4 | 0.9 | Satisfy

## Slide 19
Comfortable analysis result by Design Builder
Figure ‎: Simulation comfort result for the building

## Slide 20
Design builder simulation result
Table: Building Area.
Table: Site and Source Energy.
Note: In the administrative buildings Energy per area (KWh/m2) are usually around 207 KWh/m2

## Slide 21
Figure : site data for building.

## Slide 22
In 21th January
8:00 am
12:00 pm
Shadows on the building
In 21st June
8:00 am
12:00 pm

## Slide 23
Daylighting analysis
Figure‎: Daylight factor in fourth and third floor

## Slide 24
Tabel:RT60 result by Ecotect analysis
Acoustical design
Room | RT60 | room | RT60
Meeting room | 0.3-0.54 | Privet office | 0.32-0.6
Multipurpose | 0.8-1.57 | General office | 0.33-0.58
Open office | 0.35-0.74 | Cafeteria | 0.36-061
Tabel:STC and IIC by INSUL analysis
item | STC/IIC
Internal floor | STC = 68 dB
External wall | STC = 55 dB
roof | IIC= 55 dB
Partition | STC =47 dB

## Slide 25
Table :STC between adjacent spaces :
Room1 | Room2 | STC component | STC dB | STC Requirement dB | Satisfy or not
public hall | Head office of public | Partition +glass | 46 | 43 | satisfy
Affairs office | corridor | Partition(27.625m2)+wood door (2.25 m2) | 43 | 43 | satisfy
President office | Corridor +reception | Partition(36.9)+2 wood door (5 m2) | 45 | 47 | satisfy
Human resource | Affairs office | Partition(21.9m2) | 47 | 31 | satisfy
Meeting room | corridor | Partition(9.13m2) door 2.25 m2 | 40 | 40 | Satisfy
Multipurpose | corridor | Partition(63 m2)+2 wood door (5 m2) | 43 | 40 | satisfy

## Slide 26
The project consist of three blocks :
Structural Design

## Slide 27
      DESIGN CODES
The codes use for concrete structural members design is:
1. ACI -318-14 for reinforced concrete structural design.
2. UBC -97 for earthquake load computations.
3.(ASCE 7 2010) for loads combination
Loads
1.Live Load (L.L)= 3 KN/m2
2.Super imposed dead load (SI)=6.44KN/m2
3.Weight of wall =20 KN/m
4.Bearing capacity of soil = (150-200) KN/m2

## Slide 28
EQ factors (UBC97):
I= 1 | Cv=0.4
R= 5.5 | Ca=0.28
Z= 0.2 (2B) | Ct= 0.0488
Material 1.concrete f′c = 24 MPa for columns , beams and slab
2.Yielding strength of steel Fy = 420 MPa.

## Slide 29
Structural system One way ribbed slab with drop beam Final Design Sections **Slabs thickness 0.35 m **Columns(square) , (0.6×0.6),(0.7×.7 m) and Columns circular with Diameter .65 m **Beams - Main drop beams (0.8×0.4),(0.6×0.3) m*m,
- secondary beams (0.35*0.65) m*m **Walls thicknesses 0.2 m

## Slide 30
3D model for the designed block 2 using ETABS software.
Figure ‎ 3D model from ETABS for block 2.

## Slide 31
Compatibility Check
Figure ‎:the animation of the deformed shape

## Slide 32
Equilibrium check
Difference (%) | Calculations from ETABS (KN) | Manual calculations | load
< 5%% 3.99 | 20970.6 | 21843.35 | Dead load
< 5%% 0.2 | 6889.7 | 6904.8 | Live load
4.5% < 5% | 25904.5 | 27138 | Superimposed dead load
Table: Equilibrium check for live ,dead and superimposed dead load

## Slide 33
Internal Forces Check
Figure : beams distribution for basement and ground floor

## Slide 34
figure :beams distribution for first ,second and third floor
Table : internal force check
Difference in internal force < 10%

## Slide 35
Deflection Limit = 12900/240 = 53.75 mm (According to ACI 318-11)
Figure : deformation value of slab (Uz) ,Max deflection in slab =52.35mm

## Slide 36
Slab :one-Way Ribbed Slab
Figure : slab section and reinforcement

## Slide 37
Beam Design example
Figure :detailing of frames available in six floor (story 6 on ETAbS).

## Slide 38
Column Design
Stirrups zone B | Stirrups zone A | reinforcement | Section mm | column
2 Ø10/300 | 2Ø10/150 | 16Ø20mm | 700*700 | C(19.12.11.13.20.16.15.14.10.18.17
2 Ø10/200 | 2Ø10/150 | 14Ø18mm | 600*600 | C(4.24.3.5.6.8.7)
 |  | 16Ø18mm | Circular (650) | C(1.2.21)
Table :column summary design
Figure: sections in column 12

## Slide 39
Footing Design
Figure : Footings plan

## Slide 40
Fig :Top view of a single footing (1)
Fig :Section in a single footing (1)

## Slide 41
group | dim/col mm*mm | B (m) | L (m) | D (mm) | h (mm) | # of bars in longitudinal direction | # of bars in transverse direction
1 | 700*700 | 3.7 | 3.7 | 590 | 650 | 24 Ø16 | 24 Ø16
2 parapets footing | 600*600 | 1.8 | 1.8 | 440 | 500 | 12 Ø14 | 12 Ø14
3 | D650 | 2.5 | 2.5 | 480 | 550 | 16Ø14 | 16Ø14
4 parapets footing | 700*700 | 2.5 | 2.5 | 590 | 650 | 22 Ø16 | 22 Ø16
5 | 700*700 | 3.5 | 3.5 | 480 | 550 | 23 Ø16 | 23 Ø16
6 parapets footing | 700*700 | 3.2 | 3.2 | 730 | 800 | 28 Ø20 | 28 Ø20
Footing summary Design
Table: footing design

## Slide 42
Stair Design
Fig :section in stair

## Slide 43
Method of retrofitting for block 1
1.Concrete retrofitting method
2- steel retrofitting

## Slide 44
Retrofitting
1- Concrete retrofitting
In new building we have 3 types of columns
**Column 1=65*65cm with area of steel 4225mm^2 with # of bars =14Ø20
**Column 2=50*50cm with area of steel 2500mm^2 with # of bars =10Ø18
**Column 3=45*45cm with area of steel 1600mm^2 with # of bars =8Ø18
In existing story we have 40*40 cm with area of steel 1600mm^2 with # of bars =8Ø18
The difference between Column 1 and Column 40*40 in # of bars =10Ø20
The difference between Column 2 and Column 40*40# of bars =4Ø20
There is no difference between Column 3 and Column 40*40 in steel bars just the difference in concrete area

## Slide 45
The bridge between the municipality and parking
1. SLAB design
2. BEAMS
Main drop beams were given the dimensions of 45x25 cm
3. Columns
Column dimensions, 30x30 cm

## Slide 46
Electro mechanical Design
Electrical Design
    **Artificial lighting by DIAlux evo
**meeting room design by Dialux
Table ‎:Dimming table if we used natural lighting for meeting room
Lamp type:

## Slide 47
Figure ‎: Room summery
Figure :Lamps layout plan
Figure :3D views for meeting room

## Slide 48
3D views for other room
Figure :3D views for public hall
Figure :3D views for multipurpose

## Slide 49
3D views for other room
Figure :3D views for cafeteria
Figure :3D views for office

## Slide 50
Figure :Distribution of camera and sensor at ground floor
    **camera and sensor plan

## Slide 51
Figure :Lighting distribution for ground floor

## Slide 52
Figure ‎:Picture shows the calculated distribution panel

## Slide 53
Mechanical Design
Outline:
Fire escape
Fire Fighting
Drainage system
Water supply
Elevator design
HVAC system

## Slide 54
Fire escape design
Figure: Ground floor escape plan

## Slide 55
Fire fighting system
Figure :Sprinkler distribution for ground floor

## Slide 56
Drainage system
Figure :drainage system for first floor

## Slide 57
Figure ‎: stack 1 calculation diameter and slope

## Slide 58
Water supply system
Figure ‎: water supply for first floor
The capacity of roof tank 45 m3
The found one 18 tank the extra 13 tank

## Slide 59
    Mechanical analysis for elevator
According calculation:
Table ‎elevator calculation to compute requirement number of elevator needed in Nablus municipality
Option | (2500/350) | Standard | (2500/400) | Standard
Capacity (person) | 13 |  | 13 | 
RT | 96.25 |  | 93.50 | 
hc | 40.52 |  | 41.71 | 
N=HC/hc | 1.05 |  | 1.02 | 
N' | 2 |  | 2 | 
Check |  |  |  | 
PHC=N''*hc/pop | 26.79% | (12-14)% | 26.27% | (12-14)%
I=RT/N'' | 44.38 | (25-29)sec | 40.75 | (25-29)sec
For N''=2 not ok for PHC not ok for Interval Try N'''=3
Option | (2500/350) | Standard | (2500/400) | Standard
N''' | 3 |  | 3 | 
Check |  |  |  | 
PHC=N'''*hc/pop | 40.20% | (12-14)% | 39.41% | (12-14)%
I=RT/N''' | 29.58 | (25-29)sec | 27.17 | (25-29)sec
For N'''=3 ok for PHC ok for I for 2500/400 with car speed 2m/s with capacity of 13 passenger

## Slide 60
      HVAC system
Table: Heating and cooling design capacity for each floor
Floor /zone | cooling design capacity kw | Heating design capacity kw
Ground floor | 72.97 | 56.44
First floor | 136.11 | 70.7
Second floor | 103.96 | 44.52
Third floor | 129.36 | 63.88
Fourth floor | 69.25 | 43.05
Table: Recommended fresh air for different spaces
space | L/s/person | occupancy | Fresh air L/s | building
cafeteria | 10 | 30 | 300 | added
kitchen | 10 | 10 | 100 | added
multipurpose | 8 | 100 | 800 | added
Collection dep | 10 | 40 | 400 | added
Public hall | 10 | 40 | 400 | old

## Slide 61
Figure ‎: FCUs and diffusers distributed for first floor

## Slide 62
Group according capacity | Fan number | Real capacity | Model name | Model number
Group A | 02 ,09 | 15 KW | MSP 16 KW | MMD-AP0566BHP-E
Group B | 05,08,10,11 | 12.16 KW | MSP 14 KW | MMD-AP0486BHP-E
Group C | 01,012,03,06,04 | 10 KW | MSP 11.2 KW | MMD-AP0366BHP-E
Group D | 07 | 7.3 | MSP 9.0 KW | MMD-AP0306BHP-E
Table ‎: summary result of FCU and model name for first floor
description | Total Capacity kw | Capacity per each /model name
For old building | 207.09 | MMY- AP4014HT8P-E/106.5KW
For multipurpose + cafeteria+ Drawers+coll dep | 99.23 | MMY- AP3614HT8P-E 101 KW
New office building | 205.81 | MMY- AP4014HT8P-E/106.5KW
Table: Outdoor unit capacity for municipality

## Slide 63
Quantity surveying
Table: summaries for all calculation cost

## Slide 64
Thanks
For
Listening