## Slide 1
prepared by:
Malak Sholi
Raya Hassoun
Laiale Samer
An- Najah National University
Assessment and Redesign Al-Ledawi Building
Under the supervision:
Eng.Alaa Shaheen

## Slide 2
1
2
3
4
CONTENT
5
6

## Slide 3
Introduction
Site Analysis
Architectural Aspect
Structural Aspect
1
2
3
4
Electro-Mechanical Aspect
5
6
Quantity surveying

## Slide 4
Introduction
This project represents an integrated design for a commercial and residential classification building in Rafidia in Nablus, to be a very good model in design for similar projects.

## Slide 5
Land location in Nablus
Site Analysis
The building is located in Nablus, the Rafidia area specifically, on an area of 2240.00 m2

## Slide 6
Site Analysis
SURROUNDING
BUILDINGS
IN THE PROJECT

## Slide 7
WIND DIRECTION
AND SPEED
Site Analysis
The wind direction at the site is Southwest and the wind speed is 10 km / h.

## Slide 8
Architectural Aspects

## Slide 9
First basement floor
before& after modification

## Slide 10
Second basement floor
This floor was added after modification

## Slide 11
Ground floor
before& after modification

## Slide 12
Ground floor block
before& after modification

## Slide 13
First& second floor
before& after modification

## Slide 14
Third& Fourth floor
before& after modification

## Slide 15
Fifth floor
before& after modification

## Slide 16
Sixth floor
before& after modification

## Slide 17
Seventh, eighth and ninth floor
before& after modification

## Slide 18
Structural Aspect

## Slide 19
Assumption:
loads:
Live load =4.79KN/m2
Superimposed load =2 KN/m2
Wall load =18 KN/m2
Live load of parking =6 KN/m2
Capacity load =220 KN/m2

## Slide 20
Materials :
steel: fy=420 Mpa.
Concrete : B350 kg/cm2 (f'c=28 Mpa).

## Slide 21
Structure System:
Slab system
Two way ribbed thickness =350mm

## Slide 22
ETABS check
Compatibility check
Equilibrium check
Load | Etabs (KN) | MANUAL (KN) | % error
Dead | 385530.58 | 393295.49 | 2%
Superimposed with wall | 173009.35 | 170478.5 | 2%
Live | 114388.17 | 121878 | 6%

## Slide 23
Internal Force Check:
Columns:
Live Load | Hand Calculation | ETABS | Errors %
Corner columns | 43.72 | 40.0234 | 8.46%
Edge columns | 242.2 | 229.892 | 5.08%
Internal columns | 6762 | 6241 | 8.35%

## Slide 24
Seismic checks:
Period check
Direction | ETABS (PERIOD) (SEC) | Manual (sec) | 1.4 Manual | check
X | 1.07 | 0.93 | 1.3 | ok

## Slide 25
Drift Check:
All ∆m in X, Y direction less than (∆story), so check is OK
Story height | Dis-X (Ux) (from ETABs) | Dis-Y (Uy) (from ETABs) | Drift Delta x - (ΔSX) | Drift Delta y - (ΔSY) | Inelastic drift x - (ΔMX) | Inelastic drift y - (ΔMy) | Delta Limit (ΔMAll) | Check Status
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ----
3.5 | 0.019 | 0.225 | 0.019 | 0.225 | 0.072 | 0.866 | 70 | OK
3.5 | 0.070 | 0.806 | 0.051 | 0.581 | 0.196 | 2.237 | 70 | OK
3.5 | 0.232 | 5.185 | 0.162 | 4.380 | 0.625 | 16.862 | 70 | OK
3.5 | 0.170 | 12.739 | 0.402 | 7.553 | 1.549 | 29.080 | 70 | OK
3.5 | 0.423 | 22.456 | 0.252 | 9.718 | 0.971 | 37.413 | 70 | OK
3.5 | 0.333 | 32.873 | 0.756 | 10.416 | 2.911 | 40.103 | 70 | OK
3.5 | 1.252 | 40.685 | 0.919 | 7.812 | 3.536 | 30.078 | 70 | OK
3.5 | 0.206 | 47.124 | 1.458 | 6.439 | 5.612 | 24.791 | 70 | OK
3.5 | 1.099 | 50.744 | 0.893 | 3.620 | 3.437 | 13.937 | 70 | OK
3.5 | 2.600 | 55.600 | 1.501 | 4.856 | 5.781 | 18.694 | 70 | OK
3.5 | 1.600 | 63.000 | 4.200 | 7.400 | 16.170 | 28.490 | 70 | OK
3.5 | 1.800 | 68.000 | 0.200 | 5.000 | 0.770 | 19.250 | 70 | OK

## Slide 26
modal participation mass ratio
Seismic checks:

## Slide 27
Slab:
Details

## Slide 28
Slab:

## Slide 29
Slab:

## Slide 30
Columns:
cm

## Slide 31
Beam:

## Slide 32
Shear wall:

## Slide 33
Foundation
Raft footing

## Slide 34
Foundation
Raft footing

## Slide 35
Stair

## Slide 36
Water tank :
View of the top tank

## Slide 37
1
2
3
4
5
6
Electro-Mechanical
Aspect

## Slide 38
Acoustics
Lighting and power
Thermal analysis and comfort
HVAC and drainage
1
2
3
4
Water supply
5
6
Fire fighting

## Slide 39
Acoustics

## Slide 40
Reverberation time for Office
Acoustics
Acoustic design
Reverberation time for Restaurant
Reverberation time for Clothing Shop

## Slide 41
Acoustics
Acoustic design
Total SPL Value for Office
Total SPL Value for Restaurant
Total SPL Value for Clothing Shop

## Slide 42
Acoustics
Acoustic design -Sound insulation

## Slide 43
Lighting And Power

## Slide 44
Lighting And Power
Artificial Lighting Design
Example Type of used Luminaires:

## Slide 45
Lighting and power
Artificial Lighting Design
Residential Floor :
Bed Room :
Kitchen & Dining Room :
Bathroom:

## Slide 46
Lighting and power
Artificial Lighting Design
Office Floor :
Office:
Reception:
Inner Corridor:

## Slide 47
Lighting and power
Artificial Lighting Design
Barking Floor :

## Slide 48
Lighting and power
Artificial Lighting Design
Exhibition Floor :
Gym :
Drink Shop:
Restaurant:

## Slide 49
Lighting and power
Artificial Lighting Design
Stores Floor & Basement Floor:
Stores Floor :
Basement Floor :
Corridor:

## Slide 50
Artificial Lighting Design – plan for Office floor & Residential floor

## Slide 51
Artificial Lighting Design – plan for Barking floor & Opposed floor

## Slide 52
Artificial Lighting Design – plan for Store floor & Warehouse floor

## Slide 53
Artificial Lighting Design – plan for Basement floor & Barking floor

## Slide 54
Power design – plan for Residential floor

## Slide 55
Power design – plan for Office & Barking floor

## Slide 56
Power design – plan for Opposed & Store floor

## Slide 57
Power design – plan for Basement & Barking floor

## Slide 58
Thermal Analysis and Comfort

## Slide 59
Thermal Analysis and Comfort
Building in the Design Builder program
3D Design Building

## Slide 60
Thermal Analysis and Comfort
Design Builder Baseline Comparison
Baseline = 52.18 %

## Slide 61
Thermal Analysis and Comfort
Roof with insulation material
Wall with insulation material
U-Value = 0.499 (w/m^2.k)
U-Value = 0.933 (w/m^2.k)

## Slide 62
Thermal Analysis and Comfort
External glazing with
insulation material
U-Value = 1.345 (w/m^2.k)

## Slide 63
Thermal Analysis and Comfort
Daylight Factor After Modification
)Eighth& Ninth Floor )
) Fourth Floor )
) Fifth Floor )

## Slide 64
Thermal Analysis and Comfort
Daylight Factor After Modification
) Second Floor )
) Fourth Floor )
) First Floor )

## Slide 65
Thermal Analysis and Comfort
Heating and Cooling Load
Total Heating Loads | 3212.08 KW
Total Cooling Loads | 1163.86 KW
Total Consumption | 133.59 KWh/m^2

## Slide 66
HVAC design

## Slide 67
HVAC design
The system used for HVAC design is (VRF system)
Outdoor unit:
The Air stage company Catalog was used for
VRF .

## Slide 68: Indoor unit :
Split unit:
Air stage company Catalog was used.
Cassette unit:
Air stage company Catalog was used.

## Slide 69
Commercial
occupations

## Slide 70
Office occupations

## Slide 71
Office occupations

## Slide 72
Residential occupations

## Slide 73
Residential occupations

## Slide 74
Drainage Design

## Slide 75
Drainage Design
Drainage Design for basement-2 floor

## Slide 76
Drainage Design
Drainage Design for
Rainwater drainag

## Slide 77
Drainage Design
Drainage Design for ground floor

## Slide 78
Drainage Design
Drainage Design for
Commercial occupations

## Slide 79
Drainage Design
Drainage Design for
Office occupations

## Slide 80
Drainage Design
Drainage Design for
parking

## Slide 81
Drainage Design
Drainage Design for
Residential occupations

## Slide 82
Drainage Design
Drainage Design for
Roof slope plan

## Slide 83
Water Supply Design:

## Slide 84
Water Supply Design:
The maximum number of people may exist inside the building at the
same time, equals 96 person.
The average consumption of water for each person daily in such this building equals 135 L/day for each person.
In the city of Nablus, water is cut off 3 days a week
The volume based on the number of people and their
consumption of water 96 x 135 x3 = 38880 liters/day ≈ 39 m3

## Slide 85
Water Supply Design:
Diameters of the used pipes for vertical feeder 1 .
Diameters of the used pipes for Horizontal 1.1

## Slide 86
Water Supply Design:
Water Supply Design:
for ground floor

## Slide 87
Water Supply Design:
Water Supply Design:
for first & second floor

## Slide 88
Water Supply Design:
Water Supply Design:
for Third & fourth floor

## Slide 89
Water Supply Design:
Water Supply Design:
for Third & fourth floor

## Slide 90
parking

## Slide 91
Residential occupations

## Slide 92
Water Supply Design:
Water Supply Design:
for Roof floor plan

## Slide 93
Fire safety design

## Slide 94
basement floors
)Evacuation ways(

## Slide 95
Commercial
Occupations
)Evacuation ways(

## Slide 96
Commercial
Occupations
)Evacuation ways(

## Slide 97
Office Occupations
)Evacuation ways(

## Slide 98
parking

## Slide 99
Residential Occupations
)Evacuation ways(

## Slide 100
Fire safety design:
The symbols of suppression system
Emergency signs and light
Extinguishers
Fire Hose

## Slide 101
basement floors

## Slide 102
Commercial
Occupations

## Slide 103
Commercial
Occupations

## Slide 104
Office Occupations

## Slide 105
parking

## Slide 106
Residential Occupations

## Slide 107
Quantity Surveying

## Slide 108
Cost summery
The Total Project Cost = 28,769,347.95 ILS
The Unit Cost = 2435 ILS/m^2
Earthworks | 2,058,870.00 ILS
Structural | 19,000,000 ILS
Finishing | 6,997,000.63 ILS