## Slide 1: Design of a Wastewater Collection Network for the New Nablus Area (B)
By
Hatem Abu Asbeh
Mohammad Qamhiya
Sayel At-Torman
Supervisor
Dr. Mohammad N. Almasri
December 2012

## Slide 2: OUTLINE
INTRODUCTION
OBJECTIVES
STUDY AREA
METHODOLOGY
RESULTS
COST
CONCLUSIONS

## Slide 3: INTRODUCTION

## Slide 4: OBJECTIVES
ESTIMATE THE OVERALL COST USING ARCGIS
DESIGN THE SEWER NETWORK USING SEWERCAD
ESTIMATE
THE WASTEWATER
GENERATION (LOAD)

## Slide 5: BACKGROUND
Effective WASTEWATER COLLECTION NETWORK
EFFICIENT SOFTWARE
ENGINEERING CONCEPTS
GOOD DESIGN

## Slide 6: STUDY AREA
LOCATION
LAND USE
TOPOGRAPHY

## Slide 7: LOCATION
camp

## Slide 8: LAND USE
It luxurious . residential buildings

## Slide 9: TOPOGRAPHY

## Slide 10: METHODOLOGY

## Slide 11: SELECTION OF STUDY AREA
We selected an area
  Not served
  Located in Nablus
  Priority for Nablus Municipality
  Availability of data
Facts about our study area
1- one-third of the area is sparsely built
2- The area is hilly with high range slopes

## Slide 12: DATA COLLECTION
Information from Nablus Municipality about the study area
Street plan
Contour map
Parcels and buildings distribution plan
Items cost
Site investigation

## Slide 13: WASTEWATER GENERATION
WASTEWATER GENERATION
FAMILY PER BUILDING
2
FAMILY SIZE
6
DAILY
WATER CONSUMPTION
100 L/c/d
INFILTRATION
10 %
(WW/W) FACTOR
0.8
HOURLY PEAK FACTOR
4

## Slide 14
MANHOLE No.
7
PARCELS SERVED
2
Each Parcel Contains One Building
BUILDINGS
2
Two Families per Building
FAMILIES
4
PERSONNEL NUMBER
24
Each Family of 6 Personnel
Water Consumption 100 L/c/d

## Slide 15
TOTAL WATER CONSUMPTION
2400
WasteWater Factor is 0.8
AVE. WW GENERATION
1920
Peak Factor is 4
MAX. WW GENERATION
7680
Infiltration 10 %
INFILTRATION
192
DESIGN WW
VOLUME
8448
DESIGN WASTEWATER VOLUME
7872 L/d

## Slide 16: Design and analysis using SewerCAD
Designing a Sewer system by using SewerCAD is
More efficient .
Provides the output in a short duration .

## Slide 17: DATA COLLECTED
A) Maps: (all in AutoCAD format)
1- Contour map for the area
2- Road network
3- Parcels
B) Wastewater related data
C) Design constraints

## Slide 18: Development of the network
Drawing the network using AutoCAD

## Slide 19
PLAN

## Slide 20
Assign manholes loads and extract elevations
Define design constraints
Initial run
Solving warning messages
Final design
PROCEDURES

## Slide 21: Warning messages

## Slide 22: RESULTS
Diameters
Velocity
Cover

## Slide 23: DIAMETERS
8 inch

## Slide 24: VELOCITY
Chart: 

## Slide 25: COVER
Chart: 

## Slide 26: PROFILES

## Slide 27: PROFILES

## Slide 28: COST
Quantity identification using ArcGIS
Cost calculation

## Slide 29: Quantity identification using ArcGIS

## Slide 30: Cost calculation
Cost ($) | Unit Cost | Quantity | Item
37872 | 7.9 ($/m3) | 4800 (m3) | Excavation
95535 | 29 ($/m) | 3300 (m) | Sewer line
45724 | 329 ($/manhole) | 140 | Manhole (No.)
24874 | 179 ($/cover) | 140 | Manhole cover (No.)
27786 | 21 ($/m3) | 1320 (m3) | Backfill
69465 | 21 ($/m) | 3300 (m) | Asphalt
301256 |  |  | Total
Cost per kilometer is~ $ 90,000

## Slide 31: Conclusions
Only 8-inch diameter sewer lines were used
SewerCAD and ArcGIS are important and efficient to use.
Teamwork is critical .

## Slide 32: Recommendations
WWTP
ENTIRE AREA
SITE INVESTIGATIONS

## Slide 33
Thank you