## Slide 1: Graduation Project (II) Redesign of Jenin health care center (L-4)
Prepared by :
Ahmad Hussain
Obaida Owaidat
Mahmoud Ibrahim
Supervisor: Eng. Ameer Aker
14-MAY-2018

## Slide 2: Outline
Introduction
Methodology
Site analysis
Architectural design
Environmental design
Structural design
Electrical design
Mechanical design & Safety
Quantity Survey

## Slide 3: Introduction
Project Definition
Objectives

## Slide 4: Methodology
Redesign
Data Collection
Codes and Standards
Data Analysis
Obtain Results
Evaluate

## Slide 5: Site Analysis

## Slide 6: Site Analysis

## Slide 7: Site Location
N
`

## Slide 8: Climate Conditions
Temperature = (11-31) °C
Humidity = 59%
Wind speed = 13 km/hr.

## Slide 9: Architectural Design

## Slide 10: Parking
Previous Parking

## Slide 11: Parking
New Parking

## Slide 12: Functions
New function

## Slide 13: Functions
New function

## Slide 14: Area of Functions
Previous waiting area

## Slide 15: Area of Functions
New waiting area

## Slide 16: Relationships
Previous Entrance

## Slide 17: Relationships
New entrance

## Slide 18: Site plan
Entrance of parking
Main entrance
Emergency exit

## Slide 19: Basement floor

## Slide 20: Ground floor
A
A
B
B
A

## Slide 21: First floor
A
A
B
B

## Slide 22: Second floor
A
A
B
B

## Slide 23: Elevation

## Slide 24: Elevation (cont.)

## Slide 25: Elevation (cont.)

## Slide 26: Elevation (cont.)

## Slide 27: Section

## Slide 28: Section ( cont. )

## Slide 29
3D- view

## Slide 30
3D- view

## Slide 31
3D- view

## Slide 32
3D- view

## Slide 33
3D- view

## Slide 34
3D- view

## Slide 35
3D- view

## Slide 36
3D- view

## Slide 37
3D- view

## Slide 38: Environmental Design

## Slide 39: Environmental Design
Material used.
Thermal Design.
Daylight Effect.
Acoustics Design.
Shading Effect Analysis.

## Slide 40: Materials Used
External wall layers.
(5) cm Jamaine Lime Stone.
(10) cm Cast Concrete.
(5) cm XPS Extruded Polystyrene- CO2 Blowing
(10) cm Concrete Block.
(2) cm Cement Plaster.
U-value= 0.467 W/

## Slide 41: Materials Used
Internal floors layers :
(3) cm terrazzo tile.
(3) cm mortar.
(7) cm sand and gravel.
(3) cm XPS Extruded Polystyrene- CO2 Blowing
(30) cm cast concrete, reinforced
(2) cm cements plaster.
U-value= 0.729 W/

## Slide 42: Materials Used
Flat roof layers :
(3) cm Foam – phenol ,rigid
(5) cm cast concrete.
(3) cm XPS Extruded Polystyrene- CO2 Blowing
(30) cm cast concrete, reinforced
(24) cm light weight concrete block.
(2) cm cement plaster.
U-value= 0.466 W/

## Slide 43: Materials Used
Glass Properties.
Double LoE (e2=0.1) clear glass with 6mm/13 mm Argon gas.

## Slide 44: Thermal Design.
Design Builder Parameters:
HAVC System : VRV.
Fuel is Electricity from Grid.
System is used for Heating & Cooling.
Building is used from 8:00 AM to 2:00 PM.

## Slide 45: Thermal Design.
Heating and cooling capacity:
Site energy:
 | Old | New
Total site energy/year | 235.31 kWh/m2 | 91.71 kWh/m2
Load capacity | Old | New
Heating capacity | 224.7 kW | 117.4 kW
Cooling capacity | 305.67 kW | 269.88 kW

## Slide 46: Thermal Design.
Comfort

## Slide 47: Natural Daylight.
Average daylight factor for ground floor zones

## Slide 48
Acoustic Design
Reverberation Time(RT60):
ECOTECT program was used to test and analyze one of the clinics of the building and the conference room .

## Slide 49
Reverberation time
RT60 for clinic should be (0.7 - 1.25) sec.
Most Suitable calculation : Sabine calculation
RT60- Full | RT60 – Empty | Freq. (Hz)
0.86 | 0.91 | 63
0.84 | 0.88 | 125
0.83 | 0.97 | 250
0.96 | 1.13 | 500
0.92 | 1.03 | 1K
0.77 | 0.84 | 2K
For GP- Clinic # 1 Clinic:
New:
Room RT60 at deferent frequency and capacity range between (0.77– 1.13) S
Old:
Room RT60 at deferent frequency and capacity range between (0.2– 0.75) S

## Slide 50
Reverberation time
For Conference room :
RT60 for conference room should be between ( 0.6 - 1.4) sec
Most Suitable calculation : Millington-Sette calculation
RT60 - Empty | RT60- Full | Freq. (Hz)
0.62 | 0.6 | 63
0.59 | 0.58 | 125
0.72 | 0.64 | 250
0.79 | 0.71 | 500
1.01 | 0.89 | 1K
0.94 | 0.82 | 2K

## Slide 51
STC for enveloped of clinic:
Description | Value (dB) | Recommended value(dB) | Suitable
IIC for ceiling | 67 | 50 | Yes
STC for external wall | 48 | 45 | Yes
STC for partition of room adjacent room | 45 | 45 | Yes
STC for partition of room adjacent Corridor | 43 | 42 | Yes
Acoustic Design

## Slide 52: Acoustic Design
STC for Partition of clinic:
The STC for partition must =42 dB.

## Slide 53: Acoustic Design
STC for enveloped of Conference room :
Description | Value (dB) | Recommended value(dB) | Suitable
IIC for ceiling | 67 | 50 | Yes
STC for external wall | 42 | 38 | Yes
STC for partition of room adjacent Corridor | 49 | 40 | Yes

## Slide 54: Acoustic Design
STC for Partition of Conference room :
The STC for partition must =40 dB.

## Slide 55: Shading Effect
Building shadow on 21 January at 12:00 pm.
Building shadow on 21 July at 12:00 pm.

## Slide 56: Structural Analysis & Comparison

## Slide 57: Main Problems in Structural System (First Phase Project)
Many beams failed the design process due to seismic loads.
Many areas of the slab were under reinforced.
The period was too high, which means that the building is too soft.
There was a big eccentricity problem which caused the building to rotate.
No Structural Joint.

## Slide 58: Structural Redesign (Phase 2)
Codes and Standards:
ACI 318-14 (American Concrete Institution)
ASCE-2010 (American Society of Civil Engineers)
UBC97 (Uniform Building Code)
For the design of the structure and its elements ETABS , Safe, SAP2000 were used.

## Slide 59: Loads
SID = 4 kN / m²
Live = 5 kN / m²
Lateral Loads are obtained by service and ultimate design combinations and using response spectrum curve.

## Slide 60: Structural & Seismic Design Parameters
Fy = 420 MPa.
f’c = 28 MPa (B350).
Bearing Capacity = 1.9 kg/cm².
1 Basement & 3 Floors.
Floor height = 4.00 m.
Basement height = 2.8 m.
Soil profile = SD
Z = 0.15
Ca = 0.22
Cv = 0.32
R = 5.5
I = 1.5

## Slide 61: Structural Sections Dimensions
Structural Element | Dimensions
Ribbed Slab | 30 cm Thickness.
Solid Slab | 20 cm Thickness.
Beams | 40 x 60 cm, 50 x 30 cm
Columns | 40 x 60 cm

## Slide 62: Building Blocks (Seismic Separator)

## Slide 63: Ribbed Slab Reinforcement

## Slide 64: Solid Slab Reinforcement

## Slide 65: Beam Reinforcement
Beam ID | Span Length [m] | Section Size (Width x Depth) [cm] | Longitudinal Bars |  |  | Stirrups |  | Diameter
 |  |  | Top |  | Bottom | C | D | 
 |  |  | A | B |  |  |  | 
B3 | 3.75 | 40 x 60 | 8 | 8 | 8 | 1Ø10/200mm | 1Ø10/250mm | 20
B4 | 2.95 |  |  |  |  |  |  | 
B17 | 2.75 |  |  |  |  |  |  | 
B27 | 6.85 |  |  |  |  |  |  | 
B28 | 3.6 |  |  |  |  |  |  | 
B30 | 5 |  |  |  |  |  |  | 
B32 | 5 |  |  |  |  |  |  | 
B37 | 3.8 |  |  |  |  |  |  | 
B38 | 3.6 |  |  |  |  |  |  | 
B5 | 7.95 |  | 8 | 2 | 5 | 1Ø10/200mm | 1Ø10/250mm | 16
B6 | 7.15 |  |  |  |  |  |  | 
B8 | 7.75 |  |  |  |  |  |  | 
B9 | 7.75 |  |  |  |  |  |  | 
B16 | 6.15 |  | 8 | 8 | 8 | 1Ø10/200mm | 1Ø10/250mm | 25
B18 | 7.15 |  |  |  |  |  |  | 
B29 | 7.15 |  |  |  |  |  |  | 
B34 | 7.15 |  |  |  |  |  |  | 
B21 | 7.25 |  | 6 | 2 | 5 | 1Ø10/200mm | 1Ø10/250mm | 16
B23 | 7.25 |  |  |  |  |  |  | 
B26 | 7.1 |  |  |  |  |  |  | 
B33 | 7 |  |  |  |  |  |  | 
B35 | 7 |  |  |  |  |  |  | 
B36 | 7 |  |  |  |  |  |  | 
B39 | 2.5 |  |  |  |  |  |  | 
B40 | 7 |  |  |  |  |  |  | 
B41 | 4.5 |  |  |  |  |  |  | 
B43 | 2 |  |  |  |  |  |  | 
B1 | 6.65 |  | 7 | 2 | 5 | 1Ø10/200mm | 1Ø10/250mm | 16
B14 | 7.7 |  |  |  |  |  |  | 
B19 | 7.25 |  |  |  |  |  |  | 
B20 | 7.25 |  |  |  |  |  |  | 
B31 | 7 |  |  |  |  |  |  | 
B2 | 6.65 |  | 4 | 2 | 3 | 1Ø10/200mm | 1Ø10/250mm | 16
B7 | 9 |  |  |  |  |  |  | 
B13 | 3.75 |  |  |  |  |  |  | 
B15 | 3.1 |  |  |  |  |  |  | 
B24 | 5.1 |  |  |  |  |  |  | 
B25 | 4.5 |  |  |  |  |  |  | 
B42 | 2.4 |  |  |  |  |  |  | 
B10 | 5.7 | 50 x 30 | 4 | 2 | 3 | 1Ø10/200mm | 1Ø10/250mm | 16
B11 | 1.75 |  | 3 |  | 2 |  |  | 
B12 | 5.7 |  |  |  |  |  |  | 
B22 | 3.6 |  |  |  |  |  |  | 

## Slide 66: Column Reinforcement and Dimensions

## Slide 67: Staircase Reinforcement

## Slide 68: Footing Layout

## Slide 69: Footing Reinforcement (F1)

## Slide 70: Footing Reinforcement (F2)

## Slide 71: Electrical Design.

## Slide 72: Artificial Lighting
Recommended illumination.
Reflection factor.
surface | Reflection factor
Ceiling | 80 %
Walls | 70%
Floors | 30%
Space | Ēm (lux)
Laboratory | 500
Storage | 300
Pharmacy | 500
X-Ray | 300
Archive | 200
Lockers | 200
Reception/cashier | 300
Examination clinic | 500
General clinic | 500
Staff room | 300
Office | 500
Circulation | 200
Toilet | 200
Waiting room | 200
Kitchen | 500
Maintenance room | 500

## Slide 73: Artificial Lighting
Clinics(Family planning)
 | OLD | NEW
E (lux) | 408 | 533
U (Uniformity) | 0.42 | 0.65
UGR | 19.3 | 18.3

## Slide 74: Artificial Lighting
Offices (General manager).
 | OLD | NEW
E (lux) | 408 | 513
U (Uniformity) | 0.1 | 0.79
UGR | 17.5 | 17

## Slide 75: Artificial Lighting
Clinics and offices selected luminaires.

## Slide 76: Artificial Lighting
Waiting area.
 | OLD | NEW
E (lux) | 215 | 249
U (Uniformity) | 0.2 | 0.41

## Slide 77: Artificial Lighting
Pharmacy.
 | NEW
E (lux) | 570
U (Uniformity) | 0.79
UGR | <10

## Slide 78
Waiting area and pharmacy selected luminaires.
Artificial Lighting

## Slide 79: Artificial Lighting
Lighting arrangement in ground floor.

## Slide 80: Sockets arrangement for ground floor

## Slide 81: Mechanical Design.

## Slide 82: Water supply
 | Diameter of pipes
Vertical | 3``
Horizontal | 2.5``
Branch | 3/4``

## Slide 83: Water supply (cont.)
Ground floor

## Slide 84: Water supply (cont.)
First floor

## Slide 85: Water supply (cont.)
second floor

## Slide 86: Drainage system ( previous design )
Ground floor

## Slide 87: Drainage system ( New design )
Ground floor

## Slide 88
Elevator and toilets ( previous design )

## Slide 89
Elevator and toilets ( New design )

## Slide 90: Drainage system
The sewers for lavatory which reach to the main drainage = 2"
The sewers for kitchen sink which reach to the main drainage =2"
The sewers for W.C which reach to the main drainage = 4”.
From tables the pipe reaching from riser to the manhole = 6”.
The distance between manhole less than 15 meter
ventilation stakes 4’’

## Slide 91: HVAC System.
System used are :
VRV
This building was divided into several zones.
Main components of VRV system are :
Air handing units( out door units for cooling and heating).
Chiller.
Ducts.
Controller
Diffusers.
Return diffusers units

## Slide 92: HVAC System.
Out door unit(AHU).

## Slide 93: HVAC System.
Chiller

## Slide 94: HVAC System.
Controller

## Slide 95: HVAC System.
Diffusers.

## Slide 96: HVAC System.
HVAC diffusers distribution in ground floor :

## Slide 97: Reflected Ceiling.

## Slide 98: Safety Design.

## Slide 99: Safety
Sprinklers
Smoke detectors
Fire extinguisher
Fire alarm
Safety signs
Emergency lighting

## Slide 100: Safety
Exit Routes:

## Slide 101: Quantity Surveying
Total Cost of The Project | 3,027,594.19 NIS
The Unit Cost Of the Project | 1190 NIS/m2