## Slide 1
Supervisor : Dr .Monther Dwaikat
Design of primary school in Nablus
B.M.S

## Slide 2
Contents
Architectural and environmental design
Structural design
Electromechanical design
Quantity surveying

## Slide 3
Architectural and environmental
Site and location

## Slide 4
Architectural and environmental
Basement floor plan

## Slide 5
Architectural and environmental
Ground floor plan

## Slide 6
Architectural and environmental
First floor plan

## Slide 7
Architectural and environmental
Second floor plan

## Slide 8
Architectural and environmental
South elevation

## Slide 9
Architectural and environmental
West elevation

## Slide 10
Architectural and environmental
North elevation

## Slide 11
Architectural and environmental
East elevation

## Slide 12
Architectural and environmental
Section B-B

## Slide 13
Architectural and environmental
Doors elevation:
D1
D2
D3

## Slide 14
Architectural and environmental
Windows elevation:
W1

## Slide 15
Architectural and environmental
Environmental

## Slide 16
Architectural and environmental
Environmental

## Slide 17
Architectural and environmental
Environmental

## Slide 18
Architectural and environmental
Environmental

## Slide 19
Architectural and environmental
Environmental

## Slide 20
Architectural and environmental
Environmental

## Slide 21
Architectural and environmental
Acoustical design
Reverberation time:
Function | The critical line in the curve | Rt60 from the critical | Rt60 from figure 18 | Good/Not good
Teachers room | Millington settle | 0.3-1.0 | 0.70-1.10 | good
Classroom | Millington settle | 0.28 -0.9 | 0.50-0.90 | good
Computer lab | Millington settle | 0.33-1.07 | 0.6-1.2 | good
Headmaster &secretary | Millington settle | 0.28-0.97 | 0.75-1.25 | good
Multipurpose hall | Millington settle | 0.36-1.12 | 0.6-1.2 | good

## Slide 22
Architectural and environmental
Acoustical design
Transmission loss for classrooms with corridors:

## Slide 23
Architectural and environmental
Acoustical design
Transmission loss for Partitions:

## Slide 24
Architectural and environmental
Acoustical design
Transmission loss for ceiling:

## Slide 25
Architectural and environmental
Acoustical design
Loud speakers design:
Multipurpose hall

## Slide 26
Architectural and environmental
Acoustical design
Loud speakers design:
Classrooms

## Slide 27
Architectural and environmental
Acoustical design
Loud speakers design:
Computer lab

## Slide 28
Architectural and environmental
Acoustical design
Loud speakers design:
Cafeteria and library

## Slide 29
Structural
Building description:

## Slide 30
Structural
ETABS Modeling:
Compressive strength for columns and wall Concrete f′c = 28MPa and for beams and slab Concrete f′c = 24MPa.
Yielding strength of steel fy = 420MPa.
Section type | The defined dimensions (mm)
corner columns | (350*500)
side columns | (400*700)
middle columns | (450*300)
columns in the cafeteria mass | (450*800)
Beam 1 | (350*300)
Beam 2 | (500*350)
Beam 3 | (300*300)
Beam 4 | (650*450)
Slab | 200

## Slide 31
Structural
Model check:

## Slide 32
Structural
Model check:
Load Case | Reaction from Etabs (KN) | Manual reaction (KN) | Error %
Dead | 22537.9 | 21960 | 2.4
Live | 8970.1 | 8962.4 | 0.08
SD | 23837.5 | 24106.4 | 1.10

## Slide 33
Structural
Model check:

## Slide 34
Structural
Model check:
 | ETABS Value | Manual Value | % Error
Corner column in the second block | 1767 | 1750 | 0.96
Beam 1 | 1478.13 | 1799.50 | 1.43
Slab 1 | 12.4 | 12.1 | 2.5

## Slide 35
Structural
Seismic design:
zone 2B which has a micro zonation factor of 0.20.
Soil profile type of very dense soil and soft rock (Sc).
Seismic importance factor of 1.5.
Building frame concrete system R 5.5.
Ca of 0.24.
Cv of 0.32.

## Slide 36
Structural
Seismic design:
Time Period check
T from ETABS = 0.647 sec, T manual = 0.49 sec
Base shear check
V = 8652 kN, 1- The Fx from the EQx = 8690 KN.
2- The Fy from the EQy= 9787 KN.
Drift check
The maximum drift in the model is 4.85 cm in the X-axis and 3.5 cm in the Y-axis.

## Slide 37
Structural
Footings, G.B and columns layout:

## Slide 38
Structural
Footings design:

## Slide 39
Structural
Footings design:

## Slide 40
Structural
Ground beams design:

## Slide 41
Structural
Columns design:

## Slide 42
Structural
Columns design:

## Slide 43
Structural
Walls design:

## Slide 44
Structural
Beams layout:

## Slide 45
Structural
Beams design:

## Slide 46
Structural
Slab design:

## Slide 47
Structural
Retaining wall design:

## Slide 48
Structural
Water tank design:

## Slide 49
Electromechanical
Water supply system:

## Slide 50
Electromechanical
Water supply system:

## Slide 51
Electromechanical
Drainage system:
2" diameter sewer from sinks and lavatories to floor trap.
4"diameter sewer from floor trap to the risers

## Slide 52
Electromechanical
Drainage system:
6"diameter used between manholes with a slope of 1%.

## Slide 53
Electromechanical
Fire fighting system:

## Slide 54
Electromechanical
Fire protection system:

## Slide 55
Electromechanical
HVAC system:
The maximum cooling load equal 114.15 kW.
The chiller that will be used must have a capacity greater than 114.15 kW. XWK-T/EC chiller with 58-116 KW capacity was used.

## Slide 56
Electromechanical
HVAC system:
The maximum heating load equal 81.73KW.
The boiler that will be used must have a capacity greater than 81.73 kW. CRS 100 KW boiler with 100 KW capacity was used. It has specifications as shown in the table below.

## Slide 57
Electromechanical
HVAC system:
space | capacity(kw) | Fan coil unit capacity(kw)
cafeteria | 8.8 | 10kw
library | 11.48 | 4.4-11.7 kW
multipurpose hall | 16.16 | 7.3-17.9kW
classroom | 3.84 | 4kW
computer lab | 5.05 | 6kW
Secretary | 1.63 | 4kW
administration | 2.4 | 4kW
first aid room | 1.26 | 4kW
social worker room | 1.32 | 4kW
teachers room | 3.01 | 4kW
activity room | 4.5 | 4.4-11.7kW

## Slide 58
Electromechanical
HVAC system:
Space | Design Flow Rate (/s) | velocity (m/s) | Number of diffusers | d (m) | Width (m) | Depth (m)
Cafeteria | 0.32 | 3.50 | 9.00 | 0.34 | 0.33 | 0.3
Computer Lab& activity room | 0.33 | 3.50 | 6.00 | 0.35 | 0.33 | 0.3
Teachers Room | 0.21 | 3.50 | 4.00 | 0.28 | 0.33 | 0.2
Secretary | 0.11 | 3.50 | 3.00 | 0.20 | 0.2 | 0.2
Administration | 0.16 | 3.50 | 3.00 | 0.24 | 0.3 | 0.2
Multipurpose Hall | 1.04 | 3.50 | 11.00 | 0.62 | 0.83 | 0.4
First Aid Room | 0.09 | 3.50 | 2.00 | 0.18 | 0.2 | 0.2
Classroom | 0.26 | 3.50 | 4.00 | 0.31 | 0.3 | 0.3
Library | 0.80 | 3.50 | 11.00 | 0.54 | 0.63 | 0.4
Social worker Room | 0.09 | 3.50 | 2.00 | 0.18 | 0.2 | 0.2
Main duct in the ground floor | 1.3 | 5.00 | - | 0.58 | 0.70 | 0.40
Main duct in the first floor | 1.81 | 5.00 | - | 0.68 | 1.05 | 0.40
Main duct in the second floor | 1.73 | 5.00 | - | 0.66 | 0.98 | 0.40
Space |  | velocity (m/s) | Number of diffusers | d (m) | Width (m) | Depth (m)
Cafeteria | 0.32 | 3.50 | 9.00 | 0.34 | 0.33 | 0.3
Computer Lab& activity room | 0.33 | 3.50 | 6.00 | 0.35 | 0.33 | 0.3
Teachers Room | 0.21 | 3.50 | 4.00 | 0.28 | 0.33 | 0.2
Secretary | 0.11 | 3.50 | 3.00 | 0.20 | 0.2 | 0.2
Administration | 0.16 | 3.50 | 3.00 | 0.24 | 0.3 | 0.2
Multipurpose Hall | 1.04 | 3.50 | 11.00 | 0.62 | 0.83 | 0.4
First Aid Room | 0.09 | 3.50 | 2.00 | 0.18 | 0.2 | 0.2
Classroom | 0.26 | 3.50 | 4.00 | 0.31 | 0.3 | 0.3
Library | 0.80 | 3.50 | 11.00 | 0.54 | 0.63 | 0.4
Social worker Room | 0.09 | 3.50 | 2.00 | 0.18 | 0.2 | 0.2
Main duct in the ground floor | 1.3 | 5.00 | - | 0.58 | 0.70 | 0.40
Main duct in the first floor | 1.81 | 5.00 | - | 0.68 | 1.05 | 0.40
Main duct in the second floor | 1.73 | 5.00 | - | 0.66 | 0.98 | 0.40

## Slide 59
Electromechanical
HVAC system:

## Slide 60
Electromechanical
Electrical system :

## Slide 61
Electromechanical
Electrical system :

## Slide 62
Electromechanical
Electrical system :

## Slide 63
Electromechanical
Electrical system :

## Slide 64
Electromechanical
Electrical system :

## Slide 65
Electromechanical
Electrical system :

## Slide 66
Electromechanical
PV system :

## Slide 67
Electromechanical
PV system :

## Slide 68
Quantity Surveying
Project
Electrical works cost is equal to 128804 NIS.
Project
Structural works cost is equal to 1781306 NIS.
Project
Mechanical works cost is equal to 201877 NIS .
Project
Architectural works cost is equal to 2152701 NIS.
4%
40%
7%
49%

## Slide 69
Quantity Surveying
The total cost of the school building is 4,243,328 NIS and the total area of the school building is 2700 which means that the total unit cost per is 1574 NIS/ .