## Slide 1: Graduation Project II Designing of Wastewater collection network of Kafr Ra’I Town
Project Done by:
Abd Al-Khaliq Touqan
Obadah Hamdan
____________________________
Submitted to:
Dr. Anan Jayousi

## Slide 2: Project Outline
Revision of Graduation Project I
Introduction to Project II
Methodology of designing Wastewater Collection Network
Collected data and Calculations
Theory
Design
Problems and Solution
Design Results
Recommendations

## Slide 3: Revision of Project I
Our project is to design a water distribution network (WDN) for Kufr Ra’I Town.
Figure 1: Kafr Ra’I Town

## Slide 4: Location and Topography of the studied area Figure 2: Topography of Kafr Ra’i

## Slide 5: Location
The Town is located nearly 22 km Southwest of Jenin city
Northeast to the city of Tul-Karm
Located on and between 4 highlands

## Slide 6: Location
Figure 3: Location of Kafr Ra’I Town

## Slide 7: Introduction to Project II
We had redesigned WDN in our Project I
Most of the Town contains Cesspits
And the Objective is to design a WWCN

## Slide 8: Methodology of designing Wastewater Collection Network
Collecting Useful Informations
Mainly: Contours, Buildings, and Roads maps
Figure 4: Useful maps

## Slide 9
Area = 1,431,850.4586 sm =1,432 Donum
And Density was = 0.0107 C/sm
Figure 5: Design Area

## Slide 10: Sewer sheds design
Figure 6 Sewer Sheds

## Slide 11: Related Hydraulic Concepts
General procedure for flow rate quantification
Average water consumption
Average wastewater generation
Average infiltration enters manholes
Total WW flow
Max hourly WW
Computing the design value

## Slide 12: Collected Data and Calculations
Wastewater Generation = 0.80 of Designed Consumption
Infiltration is 0.20 of the returned Value
Design

## Slide 13: Manhole Loading Figure 7: Manholes Loading

## Slide 14: Theories
Energy Principle
Manning’s Equation “Friction Loss”

## Slide 15: The Energy Principle
In hydraulic applications, energy is often represented as energy per units of length.
We used the following energy equation

## Slide 16: Hydraulic and Energy Grade Lines
Hydraulic grade line (HGL): Describes the heads of pressures and elevation
Energy grade line (EGL): Describes the heads of pressures, elevation and velocity

## Slide 17: Friction Loss Method
We used Manning’s equation for free surface flow

## Slide 18: Designing of WWCN

## Slide 19: Design Constraints
Velocities (0.60 – 3.00) m/s.
Slopes (1-12) %
Cover depth (1.00-5.00) m

## Slide 20: Types of Sewer systems
Sanitary Sewer System
Storm Sewer System
Combined Sewer System

## Slide 21: Types of Wastewater Collection systems
Gravity Sewer System
Pressurized Sewer System

## Slide 22: WWCN Components
Figure 8: WWCN Components

## Slide 23: Cross Section of manhole
Figure 9: Cross – section of Manhole

## Slide 24: Final Design
Figure 10: WWCN

## Slide 25: Problems and Solutions
Design Area = 3,483,835.2262 sm = 3,484 Donum
Figure 11: Design Area Problem

## Slide 26
Figure 12: Low Velocities

## Slide 27: Design results

## Slide 28: Outfalls
Figure 13: Outfalls Flow Values and Locations

## Slide 29: Profiles
An Engineering Graph which describes the Slope, Cover, Rim elevation, Invert of Manholes and Conduits and it shows how the drop Manhole “Structure” would look like.

## Slide 30
Figure 14: Profile-1

## Slide 31
Figure 15: Profile-2

## Slide 32: Velocities
Figure 16: Velocities Range

## Slide 33: Cover Start Values
Figure 17: Cover Start Range

## Slide 34: Cover Stop Values
Figure 18: Cover Stop Range

## Slide 35: Slope Values
Figure 19: Slope Range

## Slide 36: Conclusion and Recommendation

## Slide 37: Conclusion
The network ends with two outfalls.
The network includes 561 manholes and 561 conduits.
All conduits have a diameter of 8" and 10".
Slopes of pipes are within a range of (1 - 12%).
Cover depths varies from (1.00 – 4.94 m).
Velocities through conduits varies from (0.41 – 3.09 m/s).

## Slide 38: Recommendations
Outfalls
Flushing

## Slide 39
  Thank you  