## Slide 1: Design And Analysis A Solar System For A Villa
Mohammad Yasin
Ayham Osta
Preparing By
Dr. Raed Jaber
Supervisor

## Slide 2: Photovoltaic System
is an electric power system designed to supply usable solar power by means of photovoltaics.
PV systems convert light directly into electricity's

## Slide 3: Polycrystalline Silicon Cell
Type of PV Modules
Thin Film Cells
Monocrystalline Silicon Cell

## Slide 4
Advantages
1. Green energy 2. it is thus free and abundant
3. Operating and maintenance costs for PV panels are considered to be low
Disadvantages
1. You need an adequate roof space
2. If the north or east prevails over the location of the house, there is a difficulty in it
Advantages and Disadvantages

## Slide 5
Cloudy Environment
Snowy Environment
Lightning
Extreme Temperatures
The Effect of Weather

## Slide 6
Network General Analysis
electrical network in the West Bank suffers from a lack of capacity we need to cover the missing capacity in several ways, such as solar cells
The electric power demands in (MW) in the northern districts of the West Bank

## Slide 7
Off-Grid
Type Of Connection with Grid

## Slide 8
ON-Grid
Type Of Connection with Grid

## Slide 9
Weather Data
Solar Radiation
The electromagnetic radiation emitted by the sun
Temperature Effect
Temperature increases reduce the
effectiveness of solar panels
Photovoltaic modules are tested at
a temperature of 25 degrees

## Slide 10
Since the short-circuit current of a PV cell is proportional to the insolation level, the partial shading effect is a reduction of the photocurrent for the shaded PV cells while the unshaded cells continue to operate at a higher photocurrent.
Partial Shading Effects

## Slide 11
sun path diagram of a given location which shows the path of the sun across sky from the summer to winter solstice
Sun Paths

## Slide 12
Because your panels create the most energy when the sun is directly perpendicular to them,
Tilt Angle of PV

## Slide 13
Solar Panels
solar panels from LG company with model number LG 400 N2W-A5
Hardware system

## Slide 14
Hardware system
Number of PV module , Inverter , Total PV Power and the Mpp Value

## Slide 15
changes in battery voltage
changes in ambient temperature
losses In pv Systems