## Slide 1: “Developing Water Demand and Losses Forecasting and Losses Reduction Models for Water Management System in the Municipality of Nablus.”
An-Najah National University
Faculty of Engineering and Information Technology
Industrial Engineering Department
Graduation Project II
Wednesday, December 29, 2021

## Slide 2: Meet The Team
Supervisor: Dr. Yahya Saleh
Prepared By:
Eng. Adnan Seddeh
Eng. Aya Abu-Rajab
Eng. Hala Ratrout
Eng. Lana Lahham
Eng. Osama Hijawi

## Slide 3: 01 02 03 04 TABLE OF CONTENTS
INTRODUCTION
PROBLEM STATMENT
OBJECTIVES
CONSTRAINTS & DIFFICULTIES
08
07
06
05
CONCLUSION
DATA ANALYSIS AND RESULTS
METHODOLOGY
LITERATURE REVIEW
09
RECOMMENDATIONS
MANAGMENT
FORECASTING

## Slide 4: INTRODUCTION
About municipality of Nablus
Water and Sanitation Department in Nablus Municipality.
Major idea of our project
related to the importance of water and reduce the losses to achieve the best.

## Slide 5: PROBLEM STATMENT
The current water network in Nablus is considered unqualified, as there are several types of losses that lead to losses in the amount of water sent to citizens as well as financial losses.
Water losses causes:
-physical  leakage of tanks, leakage of pipes.
-commercial inaccurate measurements, water theft.

## Slide 6: OBJECTIVES
The project aims to reach two main points, namely, building an effective prediction model to predict the state of the water network in Nablus, which specifically detects water losses for each pressure zone (PZ) and transition lines (TL). Which helps in evaluating the future water consumption of the city to meet the demand of customers at the lowest possible cost. And the second trend is to provide an initial administrative system that helps manage and reduce waste to reach the same goal.

## Slide 7: CONSTRAINTS & DIFFICULTIES
The difficulty of taking times for meeting with people in municipality because of the afraid from corona
The lack in time because of the current situation and the procedure of taking data form water department
Missing data for some pressure zones, periods, and meters that needs calibration.
The difficulty of collecting data and finding sources or references about the problem, which took a lot of time and effort to achieve accurate and reliable results.

## Slide 8: LITERATURE REVIEW
Forecasting
Anticipating the occurrence of an expectation of the company's ability to derive its next moves from predicting what will happen if this occurs, as the study of current events is a tool for decision-making and dealing with future uncertainty.
The importance of forecasting lies in giving the ability to make data-driven decisions, as forecasting provides information related to past, present, and potential future events. Especially in the process of water forecasting, managers are able to estimate future demand and enable them to understand spatial and temporal patterns of future water use to improve the system or plan for future water purchase in addition to future revenues and expenditures.

## Slide 9: LITERATURE REVIEW
Management system
For a management system, the four phrases (plan, do, verify and implement) are the key aspects of any management system in addition to continuous system improvement.
water management system :
Water Management is important since it helps determine future Irrigation expectations. water management is the control and movement of water resources to minimize the loses under set policies and regulations.

## Slide 10: METHODOLOGY
collect accurate data to help in building the models that In conjunction with field visits and follow up with engineers
Data Collect
after analyze data we will put a work frame aims to Improve water distribution and management after get suitable forecasting model in terms of reduce losses
Data forecasting and management system
follow mechanisms, read studies and articles
Study tool
use a statistical software’s in terms of know the weakness and the trends of data in way to improve it to do the necessary processes to build and improve models
Data Analysis
02
01
03
04

## Slide 11: DATA ANALYSIS AND RESULYS
Nablus city divided into 28 areas doe to water department distribution
Have a population about 155K people with growth rate about 2.5%

## Slide 12: SCATTER PLOT CHARTS
Chart: (NM 2015-2019) WP&WC FOR Nablus(28PZ)
| 940940 | 130377 | 2003960 | 1497877.1 | 1605937 | 1605937 | 447854 | 675372 | 2415756 | 1506405 | 972702.4 | 1179007.2 | 991366 | 2340650 | 1050767 | 2134067 | 1146121 | 2098086 | 2237754 | 1855965 | 642687 | 300258 | 1056437 | 7414222 | 2709733 | 798444 | 1338699 | 733807
WC | 520009 | 106575 | 1182564 | 1055308.2 | 1303973 | 1303973 | 203108 | 430788 | 2003784 | 964060 | 610045.3 | 708695.7 | 578436.2 | 1833129 | 891711 | 1219018 | 639043 | 1357690 | 1761752 | 1061201 | 397816 | 212172 | 789829 | 3665523 | 1928059 | 621931 | 979874 | 461120
Chart: (NM 2015-2019) WP&WC FOR 14PZ
| 2944900 | 2872402 | 5420278.0999999996 | 3852715 | 2340650 | 991366 | 3203808.6 | 4335840 | 4818600 | 1146121 | 447854 | 2796858 | 11283381 | 130377
WC | 1702573 | 2071577 | 4012472.2 | 2866099 | 1833129 | 578436.2 | 2209252 | 3119442 | 3145913 | 639043 | 203108 | 1673829 | 6130849 | 106575


## Slide 13: SCATTER PLOT CHARTS
Chart: SCATTER PLOT FOR NM WATER PRODUCE & WATER CONSUME MONTHELY (1-2015 TO 12-2019)

## Slide 14: COEFFICIENT OF VARIATION CHARTS
Chart: coefficient of variation 28 pz WP
| NE3 | NE4 | NE2 | W1 | W0 | W-1 | Zawata | Ein Camp | W2a | W2b | S3 | S4 | S5 | W3 | W4 | E0.1 | NE1 | E0.2 | E0.3 | SE1 | SE2 | SE3 | S2 | C1 | Asker old pump | NW0 | NW1+NW2a | NW3+NW2b
 | 0.51255 | 0.13918 | 0.21825 | 0.16191 | 0.16831 | 0.16831 | 0.19944 | 0.1235 | 0.14972 | 0.26121 | 0.1904 | 0.3205 | 0.31777 | 0.12293 | 0.27116 | 0.17925 | 0.195 | 0.1365 | 0.11332 | 0.13998 | 0.21909 | 0.14596 | 0.13768 | 0.31127 | 0.2272 | 0.16863 | 0.15911 | 0.13693
Chart: coefficient of variation 28 pz WC
| NE3 | NE4 | NE2 | W1 | W0 | W-1 | Zawata | Ein Camp | W2a | W2b | S3 | S4 | S5 | W3 | W4 | E0.1 | NE1 | E0.2 | E0.3 | SE1 | SE2 | SE3 | S2 | C1 | Asker old pump | NW0 | NW1+NW2a
 | 0.13997 | 0.14346 | 0.13191 | 0.13788 | 0.12308 | 0.12308 | 0.23708 | 0.14427 | 0.16668 | 0.15221 | 0.13413 | 0.21426 | 0.34161 | 0.13092 | 0.20246 | 0.16473 | 0.11834 | 0.15359 | 0.15458 | 0.11557 | 0.30062 | 0.10974 | 0.13297 | 0.15888 | 0.14932 | 0.3495 | 0.085685
Chart: coefficient of variation 14 pz WP
| NE2+NE3 | NW1+NW0+NW3 | W2b+W2a+W1 | W-1+W0+EIN | W3 | S5 | W4+S3+S4 | E0.3+E0.2 | Askar+E0.1 | NE1 | ZAWATA | SE1+SE2+SE3 | C1+S2+SE1+SE2+SE3 | NE4
 | 0.16253 | 0.1228 | 0.13187 | 0.11175 | 0.12293 | 0.31777 | 0.12996 | 0.11219 | 0.14808 | 0.195 | 0.19944 | 0.11582 | 0.20743 | 0.13918
Chart: coefficient of variation 14 pz WC
| NE2+NE4 | NW1+NW0+NW4 | W2b+W2a+W2 | W-1+W0+EIN | W3 | S5 | W4+S3+S4 | E0.3+E0.2 | Askar+E0.1 | NE1 | ZAWATA | SE1+SE2+SE3 | C1+S2+SE1+SE2+SE3 | NE4
 | 0.12054 | 0.17549 | 0.12944 | 0.11061 | 0.13092 | 0.34161 | 0.13728 | 0.13207 | 0.1209 | 0.11834 | 0.23708 | 0.12822 | 0.13049 | 0.14346

## Slide 15: PARETO CHARTS

## Slide 16: DATA NOTE
Miss data points rate is 0.0327%. it’s common to have a 5% miss data points rate in data.
Using R language libraries (import TS).
The output of this procedure is fitting N/A data points. Uses na_Kalman fuc Smoothing on structural time series models (or on the state space representation of an ARIMA model) for imputation.
Calendar effect.
Why Cube root?
Data Note: Bagging
Some of PZ’s called “Isolated PZ”. That means NM sure that these PZ’s impossible have -ve (-ve value means WC > WP and that’s impossible) values. So, we assume Isolated PZ is an anchor PZ to stand on it.
WL=WP-WC

## Slide 19: METHODS
Time Plot.
Time Series Decomposition
Trend Analysis
Forecasting Models
  Moving Average (MA)
  Single Exponential Smoothing (SES)
  Double Exponential Smoothing (DEA)
  Triple Exponential Smoothing (HW)
  Autoregressive Integrated Moving Average (ARIMA)

## Slide 20: ADAPTIVE NEURO FUZZY INFERENCE SYSTEM (ANFIS)
Takagi-Sugeno function fj Where, pj, qj, and rj are the consequent (then-part) parameters.
In our case we use rules as (and). MTF = 3

## Slide 21: NABLUS WC FORECASTING RESULTS

## Slide 22: NABLUS WC FORECASTING RESULTS

## Slide 23: NABLUS WC FORECASTING RESULTS

## Slide 24: NABLUS WC FORECASTING RESULTS
 | MAPE | MSE | MAE
MA 2 | 2.93493 | 2.28116 | 8.01494
MA 4 | 3.37018 | 2.62007 | 9.91726
MA 6 | 3.6574 | 2.8436 | 11.2444
MA 2 C | 2.25435 | 1.75486 | 4.7142
MA 4 C | 2.11173 | 1.6432 | 4.33629
MA 6 C | 2.38412 | 1.85372 | 5.34023
MA 1 | 3.4716 | 2.7108 | 10.7719
MA 3 | 3.05072 | 2.37637 | 8.59035
MA 5 | 3.4422 | 2.6754 | 10.3269
MA 7 | 3.5662 | 2.7656 | 10.6524
MA 1 C | 3.4716 | 2.7108 | 10.7719
MA 3 C | 1.95662 | 1.52077 | 3.56219
MA 5 C | 2.21967 | 1.73043 | 4.69421
MA 7 C | 2.4573 | 1.91173 | 5.4528
SES | 3.02918 | 2.35772 | 8.23512
DEMA | 3.07946 | 2.4039 | 8.81254
HW 0.2 | 2.25882 | 1.75778 | 4.78173
HW (0.8, 0.005, 0.1) | 2.41757 | 1.88867 | 5.35394

## Slide 25: NABLUS WC FORECASTING RESULTS
Type | Coef | SE Coef | T-Value | P-Value
AR 1 | -0.798 | 0.152 | -5.24 | 0.000
AR 2 | -0.396 | 0.156 | -2.53 | 0.015
SMA 12 | 0.769 | 0.176 | 4.36 | 0.000
Lag | 12 | 24 | 36 | 48
Chi-Square | 12.76 | 29.52 | 42.74 | *
DF | 9 | 21 | 33 | *
P-Value | 0.174 | 0.102 | 0.119 | *
DF | SS | MS
44 | 259.209 | 5.89111
Modified Box-Pierce (Ljung-Box)
Chi-Square Statistic
Residual Sums of Squares
Final Estimates of Parameters

## Slide 26: NABLUS WC FORECASTING RESULTS ARIMA(2,1,0) (0,1, 1)12

## Slide 27: NABLUS WC FORECASTING RESULTS ARIMA(2,1,0) (0,1, 1)12
Chart: Arima forecastin for nm wc (2015-2024)
| 43831 | 43862 | 43891 | 43922 | 43952 | 43983 | 44013 | 44044 | 44075 | 44105 | 44136 | 44166 | 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531 | 44562 | 44593 | 44621 | 44652 | 44682 | 44713 | 44743 | 44774 | 44805 | 44835 | 44866 | 44896 | 44927 | 44958 | 44986 | 45017 | 45047 | 45078 | 45108 | 45139 | 45170 | 45200 | 45231 | 45261 | 45292 | 45323 | 45352 | 45383 | 45413 | 45444 | 45474 | 45505 | 45536 | 45566 | 45597 | 45627
Forecast WC | 413876.7105 | 412941.0664 | 394884.7094 | 469916.5658 | 451226.4874 | 491594.9964 | 449185.8288 | 461940.1113 | 472006.7596 | 402365.7037 | 405340.65 | 369214.4321 | 382051.8851 | 405202.644 | 388711.7282 | 451274.1411 | 441578.5937 | 478955.1545 | 435745.3547 | 450416.8876 | 459186.6092 | 390869.6291 | 394171.4261 | 358426.942 | 371110.5826 | 393866.6872 | 377613.2471 | 439053.9806 | 429531.482 | 466218.1233 | 423803.3682 | 438201.8939 | 446812.8476 | 379762.9503 | 383000.405 | 347945.1366 | 360381.7125 | 382701.4521 | 366758.7997 | 427047.9378 | 417698.7941 | 453719.5598 | 412076.6029 | 426209.7624 | 434663.3987 | 368868.6896 | 372044.0169 | 337671.157 | 349863.133 | 371749.2425 | 356115.8848 | 415261.1169 | 406087.082 | 441444.6548 | 400569.8099 | 414440.1088 | 422737.9002 | 358183.283 | 361297.076 | 327600.0126
Lower | 339554.164 | 337329.4096 | 315442.9632 | 370232.8468 | 350427.9739 | 378232.6699 | 337317.7797 | 343420.5918 | 346757.7297 | 286412.7195 | 285038.4113 | 253128.0024 | 255723.8189 | 269601.1597 | 252604.962 | 294685.0037 | 283202.4987 | 306441.0343 | 270376.8871 | 277096.3967 | 279455.6071 | 227500.4753 | 226542.5767 | 199050.8808 | 201910.7462 | 213765.6686 | 199232.9835 | 235397.1306 | 225446.2109 | 245380.2171 | 214302.3869 | 219935.4215 | 221825.2763 | 177395.3841 | 176438.5994 | 153114.0608 | 155660.0967 | 165506.2241 | 153191.349 | 183616.5311 | 175052.1246 | 191795.564 | 165386.8802 | 169973.4635 | 171405.2202 | 134095.8679 | 133153.3657 | 113771.7964 | 115877.3861 | 123846.3176 | 113619.013 | 138600.9825 | 131373.8681 | 145105.3584 | 123152.1807 | 126782.1531 | 127817.66 | 97267.4577 | 96381.8564 | 80735.8358
Upper | 498322.6702 | 499082.9746 | 486655.99 | 586056.8515 | 569708.3571 | 625605.5256 | 583398.984 | 605004.1722 | 624276.6433 | 546021.6393 | 555469.0074 | 516268.4471 | 544341.8922 | 580014.4142 | 566588.55 | 655349.5036 | 650139.3417 | 706440.953 | 657665.467 | 684142.5144 | 703045.9483 | 618141.4318 | 629010.857 | 585966.5156 | 615396.0309 | 654238.7804 | 639472.3941 | 735441.3692 | 729967.5678 | 790832.1038 | 738415.1847 | 767279.6832 | 787982.6612 | 696557.3095 | 708684.9141 | 662404.9321 | 693932.1583 | 736348.5747 | 720614.8365 | 824573.2895 | 819066.9049 | 885106.5349 | 828960.119 | 860584.6769 | 883404.0354 | 785055.8186 | 798677.6477 | 748994.279 | 783134.9601 | 829561.2113 | 812900.2803 | 925739.0398 | 920292.8163 | 992094.9221 | 931965.0219 | 966689.8555 | 991897.9799 | 886033.3248 | 901350.3132 | 847992.7479

## Slide 28: NABLUS WL FORECASTING RESULTS

## Slide 29: NABLUS WL FORECASTING RESULTS

## Slide 30: NABLUS WL FORECASTING RESULTS

## Slide 31: NABLUS WL FORECASTING RESULTS
Chart: Nablus WL** VS WL***
| 65.06351985584476 | 62.735899738892023 | 61.236238348881898 | 54.043496808967134 | 51.180623827900362 | 59.331957059107573 | 50.576924021852157 | 57.90334971852603 | 47.71926545092866 | 52.149955413108877 | 53.623033108266469 | 50.230903535065551 | 60.28890850008456 | 66.268035910625272 | 62.985649315736254 | 64.42853541448244 | 60.478394738986374 | 67.016124742036482 | 62.368140655738713 | 59.061002659769457 | 53.712625180402412 | 62.932971621463125 | 60.013498698968753 | 60.273418180999528 | 65.132101231384453 | 67.093242268906423 | 59.403171202645751 | 64.718895697710565 | 59.187771123576574 | 57.826815690268475 | 61.627534834149685 | 65.033895599978493 | 67.466634782978744 | 64.637370354886798 | 63.130595567546109 | 57.677957924884808 | 68.648516903827726 | 69.516678899401484 | 74.983212610708648 | 69.998425276366603 | 61.876261986146666 | 59.820476120150445 | 68.439745078829219 | 62.392952068350752 | 59.013507153604287 | 72.226830570260105 | 70.239860127789044 | 70.196565953572815 | 69.287656215289914 | 66.930649933587077 | 55.424704239056645 | 61.652556220835855 | 61.091230544923356 | 74.114268246940881 | 62.908956686001233 | 70.906360992778659 | 68.119576914022375 | 66.702730386403175 | 65.859359611070218 | 71.172709337438022
WL*** Nablus | 65.3434 | 63.7344 | 61.29 | 53.6096 | 52.2948 | 55.1691 | 50.7902 | 56.8778 | 49.2727 | 52.9889 | 56.2033 | 50.2579 | 59.5429 | 65.8998 | 62.0255 | 63.9879 | 59.4025 | 68.2966 | 62.22 | 60.0089 | 54.6003 | 62.5474 | 59.2402 | 60.1879 | 65.8989 | 67.6933 | 59.6779 | 65.7287 | 58.1061 | 57.6425 | 61.4037 | 65.0075 | 66.9747 | 63.5535 | 63.5679 | 57.5113 | 67.5009 | 71.8189 | 65.3713 | 71.442 | 60.8242 | 59.589 | 70.9996 | 62.6875 | 57.8733 | 65.2035 | 67.9522 | 66.6638 | 67.5189 | 66.7499 | 54.6445 | 58.3426 | 61.1009 | 75.1672 | 63.3449 | 70.5705 | 70.6618 | 68.3015 | 66.7045 | 68.3298

## Slide 32: NABLUS WL FORECASTING RESULTS
Models | WL** |  |  | WL*** |  | 
 | MAPE | MAE | MSE | MAPE | MAE | MSE
MA 1 | 7.9764 | 4.9254 | 35.6963 | 7.9625 | 4.9113 | 35.3132
MA 3 | 7.439 | 4.6135 | 32.8422 | 6.9158 | 4.2594 | 29.8254
MA 5 | 7.2962 | 4.579 | 32.1289 | 7.0312 | 4.38 | 28.6599
MA 7 | 7.2454 | 4.565 | 30.2256 | 6.7928 | 4.2685 | 27.4152
MA 1 C | 7.9764 | 4.9254 | 35.6963 | 7.9625 | 4.9113 | 35.3132
MA 3 C | 4.9403 | 3.058 | 13.6568 | 4.892 | 3.0231 | 13.7205
MA 5 C | 5.3369 | 3.2813 | 16.8561 | 5.1134 | 3.1492 | 15.8976
MA 7 C | 5.9127 | 3.6562 | 18.4335 | 5.6797 | 3.5072 | 17.8884
SES | 6.933 | 4.2855 | 27.6758 | 6.6954 | 4.1297 | 26.1671
DEMA | 7.727 | 4.7905 | 33.2116 | 7.8783 | 4.8869 | 33.6204
HW (0.8, 0.1 ,5) | 6.8742 | 4.3271 | 27.8908 | 6.8059 | 4.2584 | 24.9593

## Slide 33: NABLUS WL FORECASTING RESULTS

## Slide 34: NABLUS WL FORECASTING RESULTS ARIMA(2,1,0) (0,1, 1)12
Chart: ARIIMA forecasting for NM WL***
| 43831 | 43862 | 43891 | 43922 | 43952 | 43983 | 44013 | 44044 | 44075 | 44105 | 44136 | 44166 | 44197 | 44228 | 44256 | 44287 | 44317 | 44348 | 44378 | 44409 | 44440 | 44470 | 44501 | 44531 | 44562 | 44593 | 44621 | 44652 | 44682 | 44713 | 44743 | 44774 | 44805 | 44835 | 44866 | 44896 | 44927 | 44958 | 44986 | 45017 | 45047 | 45078 | 45108 | 45139 | 45170 | 45200 | 45231 | 45261 | 45292 | 45323 | 45352 | 45383 | 45413 | 45444 | 45474 | 45505 | 45536 | 45566 | 45597 | 45627
FORE | 70.0097 | 69.6659 | 61.7229 | 63.4763 | 60.0279 | 65.283 | 62.8435 | 64.4467 | 62.1294 | 63.726 | 63.644 | 62.2518 | 66.3176 | 67.4213 | 60.4699 | 62.7094 | 59.625 | 64.9778 | 62.6881 | 64.3306 | 62.0904 | 63.6843 | 63.6177 | 62.2566 | 66.2608 | 67.3495 | 60.5137 | 62.7175 | 59.6842 | 64.9499 | 62.6978 | 64.3136 | 62.1102 | 63.678 | 63.6125 | 62.2737 | 66.2124 | 67.2832 | 60.5593 | 62.7271 | 59.7435 | 64.9229 | 62.7077 | 64.2971 | 62.1297 | 63.6719 | 63.6074 | 62.2906 | 66.1648 | 67.2181 | 60.6042 | 62.7365 | 59.8017 | 64.8964 | 62.7174 | 64.2808 | 62.1489 | 63.6658 | 63.6025 | 62.3072
LOWE | 60.3948 | 58.4655 | 50.0084 | 51.5836 | 48.0723 | 53.305 | 50.8575 | 52.4579 | 50.1395 | 51.7358 | 51.6537 | 50.2614 | 54.1791 | 55.2305 | 48.2604 | 50.4932 | 47.4064 | 52.7584 | 50.4684 | 52.1108 | 49.8706 | 51.4644 | 51.3978 | 50.0367 | 53.9027 | 54.9424 | 48.0891 | 50.2867 | 47.2512 | 52.5161 | 50.2637 | 51.8794 | 49.676 | 51.2438 | 51.1783 | 49.8395 | 53.6467 | 54.6709 | 47.9304 | 50.0922 | 47.1065 | 52.2852 | 50.0697 | 51.659 | 49.4916 | 51.0337 | 50.9693 | 49.6524 | 53.4014 | 54.4103 | 47.7806 | 49.9073 | 46.9705 | 52.0644 | 49.8852 | 51.4485 | 49.3166 | 50.8335 | 50.7701 | 49.4748
UPPE | 79.6246 | 80.8663 | 73.4374 | 75.369 | 71.9835 | 77.2611 | 74.8295 | 76.4356 | 74.1193 | 75.7162 | 75.6344 | 74.2422 | 78.456 | 79.6122 | 72.6795 | 74.9255 | 71.8435 | 77.1972 | 74.9078 | 76.5504 | 74.3103 | 75.9042 | 75.8376 | 74.4765 | 78.619 | 79.7566 | 72.9382 | 75.1483 | 72.1172 | 77.3836 | 75.1319 | 76.7478 | 74.5444 | 76.1122 | 76.0467 | 74.708 | 78.7781 | 79.8956 | 73.1883 | 75.3619 | 72.3805 | 77.5606 | 75.3457 | 76.9352 | 74.7678 | 76.31 | 76.2456 | 74.9287 | 78.9281 | 80.0259 | 73.4278 | 75.5658 | 72.633 | 77.7284 | 75.5497 | 77.1131 | 74.9813 | 76.4982 | 76.4348 | 75.1395
#REF! | 1

## Slide 35: NABLUS WL FORECASTING RESULTS
NM Losses for (2015-2019) = 14,885,168 m3
NM Losses for (2020-2024) = 15,421,616 m3 with PI=95%
WL will increase by 4%
NM WL cost for (2020-2024) = 86,361,050 NIS

## Slide 36: NE2+NE3 WC FORECASTING RESULTS
 | MAPE | MAD | MSD
TA Linear | 3.37765 | 1.02998 | 1.48685
TA Quadratic | 3.06424 | 0.93527 | 1.2708
TA Growth | 3.37231 | 1.02917 | 1.48746
TA S-Cycle |  |  | 
TS Decomp. | 2.20053 | 0.66961 | 0.67636
MA 2 | 3.46284 | 1.05571 | 1.52401
MA 4 | 3.8239 | 1.16566 | 1.77072
MA 6 | 4.10684 | 1.25465 | 2.08414
MA 2 C | 2.56818 | 0.78323 | 0.86036
MA 4 C | 2.44477 | 0.74597 | 0.75571
MA 6 C | 2.59651 | 0.7931 | 0.89308
MA 1 | 3.55608 | 1.08585 | 1.81212
MA 3 | 3.57152 | 1.08744 | 1.59581
MA 5 | 3.95898 | 1.20823 | 1.92907
MA 7 | 3.9932 | 1.21762 | 1.95502
MA 1 C | 3.55608 | 1.08585 | 1.81212
MA 3 C | 2.30856 | 0.7038 | 0.67734
MA 5 C | 2.52225 | 0.77033 | 0.82258
MA 7 C | 2.67004 | 0.81621 | 0.93198
SES | 3.36651 | 1.02648 | 1.45217
DEMA | 3.50009 | 1.0649 | 1.55611
HW (0.2, 0.2, 0.2) | 1.97701 | 0.60086 | 0.66776

## Slide 37: NE2+NE3 WC FORECASTING RESULTS

## Slide 38: NE2+NE3 WC FORECASTING RESULTS

## Slide 39: NE2+NE3 WC FORECASTING RESULTS

## Slide 40: NE2+NE3 WC FORECASTING RESULTS
Chart: Wc for ne2+ne3 (2020-2024) using Arima (2, 1, 0)(0, 1, 1)12 with log
| 42005 | 42036 | 42064 | 42095 | 42125 | 42156 | 42186 | 42217 | 42248 | 42278 | 42309 | 42339 | 42370 | 42401 | 42430 | 42461 | 42491 | 42522 | 42552 | 42583 | 42614 | 42644 | 42675 | 42705 | 42736 | 42767 | 42795 | 42826 | 42856 | 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070 | 43101 | 43132 | 43160 | 43191 | 43221 | 43252 | 43282 | 43313 | 43344 | 43374 | 43405 | 43435 | 43466 | 43497 | 43525 | 43556 | 43586 | 43617 | 43647 | 43678 | 43709 | 43739 | 43770 | 43800
WC** NE2+NE3 | 28.9896 | 28.9115 | 28.2873 | 30.1321 | 29.7924 | 30.5498 | 32.0636 | 30.203 | 31.527 | 30.5569 | 29.4734 | 28.9076 | 29.2658 | 29.5458 | 28.9322 | 31.044 | 30.7979 | 31.9924 | 32.2614 | 31.6149 | 32.7568 | 30.2989 | 31.3147 | 29.5953 | 29.8989 | 31.1104 | 29.5455 | 31.5264 | 31.1294 | 33.0433 | 29.5567 | 31.15 | 32.3786 | 30.616 | 30.6311 | 30.0145 | 29.724 | 30.8605 | 29.556 | 31.1479 | 31.4215 | 32.105 | 30.0349 | 32.3257 | 33.1842 | 29.1899 | 28.7332 | 28.3126 | 29.231 | 29.7439 | 30.3095 | 31.1479 | 31.6659 | 30.0821 | 31.4665 | 31.1435 | 30.2756 | 29.4598 | 29.4785 | 28.2225
Forecast | 28.9428 | 29.606 | 28.9448 | 30.512 | 30.6069 | 30.6683 | 30.507 | 30.7617 | 31.1387 | 29.3339 | 29.1407 | 28.2638 | 28.7985 | 29.4259 | 28.8782 | 30.3697 | 30.4656 | 30.5591 | 30.3739 | 30.6309 | 31.0149 | 29.2092 | 29.0195 | 28.1475 | 28.6781 | 29.3035 | 28.7587 | 30.2434 | 30.3389 | 30.432 | 30.2475 | 30.5035 | 30.8859 | 29.0877 | 28.8988 | 28.0304 | 28.5588 | 29.1817 | 28.6391 | 30.1176 | 30.2127 | 30.3054 | 30.1217 | 30.3767 | 30.7581 | 28.9668 | 28.7786 | 27.9145 | 28.44 | 29.0603 | 28.52 | 29.9923 | 30.0878 | 30.1801 | 29.9965 | 30.2503 | 30.6302 | 28.847 | 28.6589 | 27.7984
Lower | 27.0327 | 27.5962 | 26.8714 | 28.0104 | 27.9963 | 27.9164 | 27.6032 | 27.7204 | 27.9357 | 26.1969 | 25.9221 | 25.0409 | 25.211 | 25.6336 | 25.0184 | 26.1234 | 26.0717 | 26.0112 | 25.7087 | 25.7976 | 25.9914 | 24.3579 | 24.0868 | 23.2552 | 23.4331 | 23.8128 | 23.23 | 24.2493 | 24.1874 | 24.1179 | 23.8248 | 23.893 | 24.058 | 22.532 | 22.2669 | 21.4847 | 21.6531 | 21.9913 | 21.4417 | 22.3738 | 22.3044 | 22.228 | 21.9457 | 21.9958 | 22.1345 | 20.7186 | 20.4626 | 19.7319 | 19.8857 | 20.1846 | 19.6703 | 20.5168 | 20.4418 | 20.361 | 20.0928 | 20.1275 | 20.2432 | 18.9378 | 18.6935 | 18.0157
Upper | 30.9877 | 31.7622 | 31.1781 | 33.2361 | 33.4619 | 33.6907 | 33.7171 | 34.1358 | 34.7088 | 32.8466 | 32.759 | 31.9007 | 32.8965 | 33.7785 | 33.3334 | 35.3061 | 35.6 | 35.9021 | 35.8856 | 36.3689 | 37.0092 | 35.0268 | 34.9623 | 34.069 | 35.0962 | 36.0604 | 35.6033 | 37.719 | 38.0548 | 38.399 | 38.4008 | 38.9422 | 39.6524 | 37.5509 | 37.5059 | 36.5704 | 37.6669 | 38.7231 | 38.2525 | 40.5415 | 40.9261 | 41.319 | 41.3438 | 41.9508 | 42.7405 | 40.4995 | 40.4744 | 39.4894 | 40.6752 | 41.8389 | 41.3523 | 43.844 | 44.2843 | 44.7332 | 44.7827 | 45.4653 | 46.3468 | 43.94 | 43.938 | 42.8934

## Slide 41: NE2+NE3 WL FORECASTING RESULTS
 | MAPE | MAD | MSD
TA Linear | 7.64432 | 2.05169 | 6.97838
TA Quadratic | 7.61519 | 2.0368 | 6.75764
TA Growth | 7.39469 | 1.99589 | 6.65502
TA S-Cycle | 7.55453 | 2.03642 | 6.93543
TS Decomp. | 7.94777 | 2.17202 | 7.196
MA 2 | 7.83239 | 2.12045 | 7.16009
MA 4 | 8.03805 | 2.1937 | 8.35275
MA 6 | 8.42989 | 2.30292 | 8.95838
MA 2 C | 5.79496 | 1.57068 | 4.02074
MA 4 C | 5.25337 | 1.42326 | 3.51112
MA 6 C | 5.62239 | 1.52439 | 4.14568
 | MAPE | MAD | MSD
MA 1 | 8.26483 | 2.24334 | 8.42993
MA 3 | 7.87246 | 2.13328 | 7.77255
MA 5 | 8.35415 | 2.27984 | 8.99425
MA 7 | 8.58709 | 2.35081 | 8.69985
MA 1 C | 8.26483 | 2.24334 | 8.42993
MA 3 C | 5.2216 | 1.41363 | 3.18226
MA 5 C | 5.53014 | 1.49637 | 3.91215
MA 7 C | 5.83597 | 1.58319 | 4.44594
SES opt. | 7.39227 | 1.99974 | 6.73086
DEMA opt. | 7.7911 | 2.1067 | 7.56455
HW (0.2, 0.2, 0.2) | 7.79782 | 2.11106 | 7.5298
HW (0.9, 0.2, 0.5) | 8.17926 | 2.23078 | 7.93164
HW (0.8, 0.1, 0.5) | 7.99699 | 2.17714 | 7.30972

## Slide 42: NE2+NE3 WL ARIMA RESULTS
Chart: WL for NE2+Ne3 (2015-2024)

## Slide 43: NE2+NE3 FORECASTING RESULTS
ARIMA model estimates that NE2+NE3 will loss 2,485,370 m3 between (2020-2024).
Results says that WL m3 ’s will be more than the WC m3 ’s for these PZ’s.
These results should push NM to improve its performance.

## Slide 44: TYPE OF LOSSES

## Slide 45: FMEA ANALYSIS
Detection Rate
Losses Type | Rank
Customer meters | 4
Water theft | 7
Leakage of pipes between tanks house connection | 6
Leakage and overflow of tanks | 1
Losses Type | Rank
Customer meters | 4
Water theft | 2
Leakage of pipes | 3
Leakage and overflow of tanks | 1
Losses Type | Rank
Customer meters | 9
Water theft | 9
Leakage of pipes | 10
Leakage and overflow of tanks | 10
Failure Rate
Severity Ranking

## Slide 46: FMEA ANALYSIS

## Slide 47: RECOMMENDED ACTIONS FOR PIPES LEAKAGE REDUCTION
1. Pressure control
pipe diameter
PRVs
2. Pipes Isolation
3. Monitor network activities

## Slide 48: RECOMMENDED ACTIONS FOR PIPES LEAKAGE REDUCTION
4. wireless sensor networks
5. Increase metering
6. educational campaign
7. Rehabilitation of pipes and connections

## Slide 49: LEAKAGE MANAGEMENT STRATEGY OF WATER NETWORK
PROMETHEE Method: Preference Ranking Organization Method for Enrichment Evaluations

## Slide 50: PROCEDURE OF PROMETHEE METHOD
1. Identification of alternative

## Slide 51: PROCEDURE OF PROMETHEE METHOD
2. Identification of decision-makers
CODE | Decision-makers
DM1 | Nablus Municipality representative
DM2 | Consultant—Engineer (technician who assesses the system’s hydraulic situation)
DM3 | Environment Agency (professional with twofold interest, to guarantee suitable conditions, being the reduction of leakage itself beneficial for the environment, and to avoid environmental impacts, because the way in which leakage reduction is achieved can provoke impacts).
DM4 | Community representative (represents the citizens’ interests—wanting to receive water under normal pressure and to avoid a price increase)

## Slide 52: PROCEDURE OF PROMETHEE METHOD
3. Identification and assessment of relevant criteria
Criterion | Description
Cr1 | Cost (minimize) The cost to implement the alternative. The lower cost, the most preferable the alternative. The values are expressed in dollar currency ($)
Cr2 | Benefit period (maximize) Useful life-span of the alternative. This time is measured in months. The higher the time, the more preferable the alternative
Cr3 | Economic-financial balance (maximize) Criterion reflecting the measurement of improvement of the company’s financial health by the potential of the alternative to increase revenue and to have as consequence a significant increase on the profit
Cr4 | Effects in reduction of waste (maximize) Reflects the potential of the alternative to reduce the water waste (inducing water conservation)
Cr5 | Environmental benefits (maximize) Reflects the influence of the alternative in protecting the environment, favoring those activities that degrade the water resources less
Cr6 | Maintenance and operation conditions (maximize) Seeks the more efficient identification of leaks, as well as the decrease in time needed to repair a leak. It also treats the reduction of the high pressure in the networks
Cr7 | Social acceptability (maximize) Seeks to represent the repercussion of the establishment of each alternative inside communities, understanding the importance of the rational use of water

## Slide 53: PROCEDURE OF PROMETHEE METHOD
4. Judgment of the alternatives in relation to the criteria
5. Aggregation of results

## Slide 54: CONCLUSION
-Forecasting:
*Future strategies and planning.
*Knowing the situation of the city in general and the needs for each pressure zone.

## Slide 55: CONCLUSION
-High water losses
* The most serious losses is due to the leakage of pipes

## Slide 56: CONCLUSION
-The importance of implementing a system for water losses analysis and management to find scientific solutions to control the problem.
*The PROMETHEE method.

## Slide 57: RECOMMENDATION
Rewards and penalties

## Slide 58: RECOMMENDATION
Preventive maintenance

## Slide 59: RECOMMENDATION
Advanced analytical models
Best experienced and the most efficient
Awareness
Continuous improvement
Ministry of Local Government

## Slide 61
Q & A