## Slide 1
An-Najah National University
Facility Of Engineering And Information Technology
Department of Building Engineering
Graduation Project II
Integrated Redesign of Hebron municipality
Performed by : Bana Salhi
Dalal Hanani
Tariq Salameh
Under the supervision of Eng.Hitham sawalha

## Slide 2
Contents:
Architectural Aspect
Introduction
Environmental Aspects
Structural Aspects

## Slide 3
The municipality is loaded in the city of Hebron.
It consists of six floors including two basements and a roof.
Total area of floors above ground = 4507 SM.
Basements total area = 5540 SM
Introduction

## Slide 4
Architectural Aspects

## Slide 5
Site Plan:

## Slide 6
Parking before modification :

## Slide 7
Parkings after modification :

## Slide 8
Ground floor before and after modification:
before modification:
before modification:

## Slide 9
First floor before and after modification:

## Slide 10
Second floor before and after modification:

## Slide 11
Roof before and after modification:

## Slide 12
Elevations:
North elevation

## Slide 13: Sections:

## Slide 14
Environmental Aspects

## Slide 15
Environmental design program:
Put insulation in roof.
Use double type of glass with 60% lighting,26% solar, good insulation.
Put vertical louvers and cantilever.
Photovoltaics.
The working hours in the building are from 8:00 am-2:00pm.

## Slide 16
.
Environmental Analysis:
Summer 9 Am
Summer 12 Am
Summer 3 Pm
Winter 9 Am
Winter 12Am
Winter3Pm

## Slide 17: Heating and cooling load:
Heating Load: Total heating load capacity=216.45 kW
--61.54 ton .
Cooling Load: Total cooling load capacity=229.42 kW
--65.23 ton .

## Slide 18: Beseline energy building analysis:

## Slide 19
External wall layers
U = 0.458(w/m2.k)
U =1.289 (w/m2.k)
Thermal analysis:
Glass layers
Roof layers
U =0.91 (w/m2.k)

## Slide 20: Daylight factor:
Ground Floor:

## Slide 21
First Floor:

## Slide 22: Second Floor:

## Slide 23: Roof Floor:

## Slide 24: Thermal comfort:
PMV between (-0.7 to 0.7)
The total site energy is 65.28 kwh/m2

## Slide 25: Photovoltaic design:
Number of modules =75
Number of inverter =3

## Slide 26: Electro-mechanical aspects

## Slide 27
Water supply
Drainage Design
Firefighting system
Artificial lighting
HVAC design
Acoustic
Electrical design
Electro-mechanical aspects
27

## Slide 28
Two component should be taken into consideration :
Architectural side
Electro- acoustic side
Component that was studied:
Reverberation time (RT60)
Sound transmission loss
Sound pressure level
Sound transmission class (STC)
Spaces designed by using insul, ease ,ease address and ecotect programs:
amphitheater
cafeteria
public service room
Articulation loss (AL)
28
Acoustical design

## Slide 29
Reverberation time (RT60):
By using ecotect program the following results for reverberation time is conducted:
Amphitheater reverberation time
is in the range of (1-1.6) which is within standards.
Cafeteria reverberation time
is less than (1) which is within standards.
29

## Slide 30
Glazing
30
Sound transmission class (STC)
By using Insul program the following results for sound transmission class is conducted:
External wall
Internal wall

## Slide 31
Sound pressure level (SPL) ( loud speakers design )
By using Ease address program the following results for SPL is conducted:
31

## Slide 32
Sound pressure level (SPL) ( loud speakers design )

## Slide 33
Articulation loss (AL) and Sound transmission loss (STL)
AL value of the amphitheater = 7
STL value of the amphitheater =0.6
33

## Slide 34
Water supply
distribution pipes on the ground floor
34

## Slide 35
Diameter design for pipes and calculation loss for ground floor
Dim | 1 ¼ " | 1" | ¾ " | .5"
loss/100ft | .6 | 2.2 | 8 | 36
loss/29.5ft | .17 | .64 | 2.36 | 10.2
Dim | 4" | 3" | 2.5" | ”2 | 1.5”
loss/100ft | .16 | .45 | 1.5 | 3.3 | 13
loss/91.3ft | .14 | .4 | 1.3 | 3 | 11.8
Table 1: Diameter of the vertical pipe(steel).
Flow= 41gpm
Table 3: Diameter of the branch pipe.
Flow=5.2gpm
Dim | 3” | 2.5” | 2" | 1.5” | 1”
loss/100ft | .19 | .5 | 1.5 | 4.6 | 9
loss/14.1ft | .02 | .07 | .21 | . 63 | 1.2
Table 2: Diameter of the horizontal pipe.
Flow = 24gpm
 | vertical design |  | Horizontal design | 
floor | Steel pipes | Loss/eq.length | PVC pipes diameter | Loss/eq. length
G.F | 2” | 3 | 1” | 11.8
F.F | 2.5” | 2.9 | 1 .25” | 1.4
S.F | 2.5” | 1.4 | 1 .25” | . 3
R.F | 3” | .47 | 1 .25” | .53
Table 4: Diameter of the vertical &horizontal pipe in floors.
35

## Slide 36: Draining
36

## Slide 37
Artificial lighting design :
Indoor lighting design is simulated on DIAlux evo software
37

## Slide 38
Public services center:
38

## Slide 39
547 lux > 500 lux ok.
Uniformity = 0.59 == 0.6 ok.
Maximum glare permeated =19.
39

## Slide 40
Amphitheater
40

## Slide 41
audience area
Stage area
glare result
41

## Slide 42
Meeting room

## Slide 43
571 lux > 500 lux ok
Uniformity = 0.65 > 0.6 ok
Maximum glare permeated =19.
43

## Slide 44: Firefighting system: Requirements:
A sprinkler system was used in the cafeteria and the two basements , while other floors cannot be provided with fire sprinklers due to it’s space function.
Automatic extinguishing systems must be linked to the automatic alarm system in order for these systems to operate at the same time.
Each floor is provided of fire extinguishers , hose stations and fire bells.
44

## Slide 45: Fire system
Sprinkler and Heat detectors arrangement in the cafeteria
Fire extinguishers , hose stations and fire bell arrangement in the ground floor

## Slide 46
As long as providing exist signs for the escape path

## Slide 47
HVAC design
Outdoor unit:
The system used for HVAC design is (VRF system)
Outdoor unit model name (AM220FXVAGH/TK) and type (DVM S).
Total heating load capacity = 216kW
Total cooling load capacity = 229 kW
We need four units .

## Slide 48: Indoor unit :
Fan coil unit:
Cassette unit:
Indoor unit model flow rate equal 0.28m3/s.
We used a diffuser model with airflow =0.09:

## Slide 49: HVAC design
HVAC plan for ground floor.

## Slide 50: Electrical design

## Slide 51: Electrical design
After designing wire for the worst case each floor:

## Slide 52
Structural Aspects

## Slide 53
General information
Design codes are ACI 318, ASCE , UBC-97
Slab system is a Two-way Ribbed Slab.
Subjected loads are as follows:
Live load = 4.79 KN/m
Live load in basements = 6 KN/m
Dead load = 5.64 KN/SM
SID = 5.14 KN/SM
Concrete brick wall =18 KN/SM
Materials used:
Concrete B350 kg/Cm2 (f'c=28 Mpa).
Steel fy=420 Mpa.

## Slide 54
Structural system
Slab thickness equals to 350 mm

## Slide 55
Beams and Columns dimensions
Dimensions (cm) |  | 
width | depth | beam name
100 | 35 | Main Hidden beam
90 | 95 | Dropped Beam 1 (60 cm under floor)
90 | 90 | Dropped Beam 2 (55 cm under floor)
30 | 35 | Edge beam

## Slide 56
3D Etabs model
Due to different heights in the building, dissimilar shape and large dimensions it needed structural separates so the building is separated into three parts:

## Slide 57
ETABS Checks
To ensure that the calculation is done correctly and to adopt the design results from ETABS; some checks are required:
compatibility check
Equilibrium check
Stress-strain check
deflection check
Seismic loads check

## Slide 58
Compatibility check

## Slide 59
Equilibrium check
 | Etabs | Hand | Error%
live load | 33820.18 | 34974.05 | 3.29
Dead load | 110233.5 | 104341.7 | 5.65
SID external walls | 11727.21 | 11930.4 | 1.70
SID slabs | 34743.85 | 34915.7 | 0.49

## Slide 60: Stress-strain check
% Error | Etabs result | Total | Pu | Wall weight | Beam weight | Own weight | Column type
20.50 | 986.55 | 1240.876 | 701.096 | 235.08 | 223.7 | 81 | Edge
3.57 | 1131.07 | 1092.113 | 624.6128 | 288 | 112 | 67.5 | Corner
11.46 | 2477.35 | 2797.971 | 2294.496 |  | 382.2 | 121.275 | Middle
Total | Pu | beam weight | column weight
1032.51 | 618.11 | 382.9 | 31.5
For the separated area:
= 8.55 %
= 2.64 %

## Slide 61
Deflection check
Deflection = = = 0.055 m

## Slide 62
Seismic loads checks
Response spectrum function factors are as follows:
Seismic zone is 2A (Z=0.15)
Soil profiles in the project is (SD)
Acceleration-dependent seismic coefficient, Ca =0.22
Velocity dependent seismic coefficient, Cv = 0.32
Ductility factor, R 5.5
Importance factor I =1
Four checks will be performed:
Time period check.
Model participation check.
Minimum force checks.
Drift check.

## Slide 63
Time period check
Building part | Time period result | Time period of the building | 
Upper part | 0.64 | 0.7 | ok
Lower part | 0.42 | 0.7 | ok
Separated part | 0.17 | 0.7 | ok
T of the building = 0.7

## Slide 64
model participation checks.
Upper part
Lower part
Separated part

## Slide 65
Minimum force checks
Lower part
Upper part
Separated part

## Slide 66
Drift check
Height (mm) | Dis-X | Dis-Y | Drift-X | Drift-Y | Δm X | Δm Y | Δ M allow
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3000 | 1.65 | 1.65 | 0.864 | 2.49 | 3.33 | 9.59 | 75
3000 | 3.5 | 3.3 | 1.85 | 1.65 | 7.12 | 6.35 | 75
3500 | 8.1 | 4.4 | 4.6 | 2.75 | 17.71 | 10.59 | 87.5
3500 | 10.8 | 6.1 | 2.7 | 1.70 | 10.40 | 6.55 | 87.5
3500 | 16.3 | 8.5 | 5.5 | 2.40 | 21.18 | 9.24 | 87.5
3500 | 34 | 19 | 17.7 | 10.50 | 68.15 | 40.43 | 87.5
Story | Height(mm) | Dis-X | Dis-Y | Drift-X | Drift-Y | Δm X | Δm Y | Δ M allow
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B2 | 3000 | 7.2 | 6.7 | 0.864 | 2.492 | 3.3264 | 9.5942 | 75
B1 | 3000 | 4.9 | 5.1 | -2.3 | -1.6 | -8.855 | -6.16 | 75
GF | 3500 | 12 | 12.9 | 7.1 | 9.4 | 27.335 | 36.19 | 87.5
F1 | 3500 | 22 | 17 | 10 | 4.1 | 38.5 | 15.785 | 87.5
F2 | 3500 | 23 | 17.2 | 1 | 0.2 | 3.85 | 0.77 | 87.5
Roof | 3500 | 22 | 11 | -1 | -6.2 | -3.85 | -23.87 | 87.5
Story | Height(mm) | Dis-X | Dis-Y | Drift-X | Drift-Y | Δm X | Δm Y | Δ M allow
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B2 | 3000 | 0.125 | 0.388 | 0.864 | 2.49 | 3.33 | 9.59 | 75
B1 | 3000 | 3.3 | 3.33 | 3.175 | 2.94 | 12.22 | 11.33 | 75
Lower part

## Slide 67
Columns detailing

## Slide 68
Slab detailing

## Slide 69
Stair detailing

## Slide 70
Shear wall detailing

## Slide 71
Beam detailing

## Slide 72
Ramp detailing

## Slide 73
Mat Footing detailing

## Slide 74
Mat Footing detailing

## Slide 75
Cost estimation and Quantity Surveying
Total cost of building = 15,000,000 NIS
Cost per square meter = 1500 NIS/SM

## Slide 76
Thank you for your attention
The End