## Slide 1: The Design of Water and Waste Water Networks for Issa and Farsh Al-Hawa Regions Network
Prepared by Under Supervision of Yazan Ibrahim / Alaa Jubeh Dr. Numan Mizyed Yousef Sherif / Khaled Yaseen

## Slide 2: Outline
Study Area & GP1 Review
Objectives
Design Methodology
Sewer Network Layout
Waste Water Collection System Design
Design Results

## Slide 3: Study Area and First Project Review
The first region which is called Farsh Al-Hawa.

## Slide 4
The second region which is called Issa.

## Slide 6: Objectives
Design a reliable Waste Water Collection System.
Provide the adequate drainage of the waste water.
Meet the PWA design standards
Make sure that the Sewer network will function under capacity for the intended design period.

## Slide 7: Design Methodology

## Slide 8: Sewer Network Layout
The first region which is called Farsh Al-Hawa.

## Slide 9
The second region which is called Issa.

## Slide 10: Waste Water System Design
Sewer Network layout for the first region ( Farsh Al Hawa )

## Slide 11
Sewer network layout for the second region ( Issa )

## Slide 12: Network Component and Material Used

## Slide 13: Design Constrains
PWA Design Constrains
Velocities range (0.6-3.0 m/s)
Cover range (1-5 m)
Slope range (0.5-15 %)

## Slide 14: Design Results
First Region ( Farsh Al Hawa )
Conduits Lengths Conduits Covers

## Slide 15
Second Region ( Isaa )
Conduits Lengths Conduits Covers

## Slide 16
High Cover Example

## Slide 17
Main Line Profile
First Region ( Farsh Al Hawa )

## Slide 18
Main Line Profile
Second Region ( Isaa )

## Slide 19
Conduits Diameters and Velocities
First Region ( Farsh Al Hawa )

## Slide 20
Conduits Diameters and Velocities
Second Region ( Isaa )

## Slide 21: Summary & Conclusion
First Region Conduit Diameters |  |  |  | 
300mm | 250mm | 200mm | 150mm | Conduit Diameter
53 | 8 | 27 | 992 | Number of Conduit
1472 | 241 | 616 | 25080 | Conduit Lengths
Second Region Conduit Diameters |  |  |  |  | 
375mm | 300mm | 250mm | 200mm | 150mm | Conduit Diameter
6 | 2 | 36 | 68 | 848 | Number of Conduit
103 | 35 | 732 | 1640 | 29486 | Conduit Lengths (m)
First Region Manholes | 
1000 mm | Manhole Diameter
1079 | Number of Manholes
Second Region Manholes | 
1000 mm | Manhole Diameter
959 | Number of Manholes

## Slide 22: Thank You