## Slide 1: Water Works For Baqa Al-Sharqyah Town -Analysis And Re/Design
Supervisor : Dr . Abd Alfttah Almallah
An – Najah National University
Prepared by :
Boraq Ali Raghad Onnab

## Slide 2
Outline :
Objectives
Study area
WDN Review
WWCN
Results
Conclusion & Recommendations

## Slide 3
Objectives:
Analysis the existing water distribution network.
Redesign the existing water distribution network.
Design a wastewater collection network.

## Slide 4
Study area:
Location:
Located in the north of Tulkarem governorate
at a distance of about 17km at the north of the
west bank.
2. Surrounded by Apartheid wall from the west,
Wadi Abu Nar from the south and some villages
that surrounds the rest of it.

## Slide 5: Location:

## Slide 6
Study area:
Topography:
The elevation of Baqa ranges from 60 up to 130 meters above sea level.
This town varies in its terrains, it has three mountains at the east, plain from the west and valley from the south.

## Slide 8
Study area:
Population Calculations
Year | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Pop. | 4064 | 4143 | 4222 | 4304 | 4386 | 4471 | 4555 | 4641 | 4726
population estimations from the Palestinian Central of Statistics:
The study period is 30 years from now (2015) so depending on these data and using annual compounding method
We predict the population in 2045,
P(2045) = 9674 capita.
Design demand = 4704.6 m³/day.
Design load = 4015 m³/day.

## Slide 9
Graduation Project 1 Review
Water Distribution Network

## Slide 10: Methodology:

## Slide 11: Drawing the existing network

## Slide 12
Distribution of houses for each junction in each service area

## Slide 13: Redesigning and changing the main pipe size

## Slide 14: Results:
Pressure
Velocities

## Slide 15: Pressure:

## Slide 16: Velocities:

## Slide 17: Recommendations:
Pressure reducing valves (PRV) for high pressure.
Internal pumps for low pressure.
Boosters for low velocities.

## Slide 18: WasteWater Collection Network

## Slide 19: Methodology:

## Slide 20: Drawing the Network

## Slide 21: Arc-hydro:
Long time
Low accuracy
Shorter time
Medium accuracy
Very short time
High accuracy

## Slide 22
Arc-Hydro Method

## Slide 23: Results:
Cover
Slope
Velocity
Length of conduits
Cost

## Slide 24: Cover Depth:

## Slide 25: Slope:

## Slide 26: Velocity:

## Slide 27: Length of conduits:

## Slide 28: Cost Estimations:
Considering the prices in our country,
we estimated the total cost of the wastewater collection network = 1563206$, and the cost per 1km = 72683$.

## Slide 29: Conclusion and Recommendations:
Flushing system in the network especially where low velocities occurs.
Implementation of Continuous maintenance to the network.
Constructing a waste water treatment plant to avoid pollution of the environment and to reuse the treated water for agriculture instead of wasting it.

## Slide 30: Thank you