## Slide 1
Contents
Motivation
Task
Methodology
Codes
Case study analysis
Faculty of Engineering & Information Technology
Department of Building Engineering
“Design of Health Center ”
Supervisor :
Dr. Nirmeen Al-Barq
Prepared By:
Razan Qablawi
& Taimaa Nazzal
2020
New design
New design
New design

## Slide 2
Contents
Motivation
Task
Methodology
Codes
Case study analysis
Case Study
1
Architectural Aspect and analysis
2
Structural Design
3
Contents
New design

## Slide 3
Contents
Motivation
Task
Methodology
Codes
Case study analysis
Contents
New design
Electro-
Mechanical
4
Fire Fighting
5
Cost Estimation
6
7
Acoustical
Design

## Slide 4
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
To reach and understand the design requirements.
Case study.
Task

## Slide 5
Contents
Motivation
Task
Methodology
Codes
Case study analysis
CASE STUDY 1
Case study analysis
Project name : Health Center
Project location : Spain.
Area : 3981.0 sqm .
Year : 2006-2009

## Slide 6
Contents
Motivation
Task
Methodology
Codes
Case study analysis
CASE STUDY 1
DESIGN IDEA :A single organization H shaped
was the design idea for our project
B)The requirement and functions for the building.

## Slide 7
Contents
Motivation
Task
Methodology
Codes
Case study analysis
The existing building
Architectural aspect and analysis :
Site analysis
Standard
Bubble Diagram
3D model

## Slide 8
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
Site Location and Analysis of the movement of the sun and wind .
Architectural analysis :

## Slide 9
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
Bubble Diagram
Main entrance
Reception
Clinics
Pharmecy
X-ray room
Store
laboratory
back door
mechanical room

## Slide 10
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
Standard
♦ Parking

## Slide 11
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
Standard
♦ Ground Floor
Before
After

## Slide 12
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
Standard
♦ First Floor

## Slide 13
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
3D model

## Slide 14
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
Environmental analysis :
3D model Design builder and materials
Shadow analysis
Day lighting
Solar analysis

## Slide 15
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
3D model Design and materials
♦ U-Glass(double clear) =2.67 W/m2-k  U-Glass(double glazing clear )= 1.5
♦ U-wall = 0.807 W/m2-k  U-wall = 0.49 W/m2-k
♦ U-Roof=0.396 W/m2-k which is approximately less than 0.39 W/m2-k

## Slide 16
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
3D model Design builder and materials

## Slide 17
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
Shadow analysis
♦ The shadow analysis was done at 8 AM, 12 PM, 14 PM , the results :
in morning is semi shaded at 21 – January & 21 – June
Winter
Summer

## Slide 18
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
Shadow analysis
 In afternoon is full exposed to sun
Winter
Summer

## Slide 19
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
Day lighting
Day lighting analysis is made to make a thermally comfortable spaces in building by making a solution for the room that have a day light factor less than 2 % and more than 6 %.
Day lighting For the Existing building

## Slide 20
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
Day lighting
D.F%(before) | Areas | Solutions | D.F %(after)
0% | Kitchen , corridors | Area of Window is expanded | 2% - 6%
0% | Vaccination room , X-ray, storage and laundry room | Artificial lighting | 
10% | The lab and Clinics | Use a double glass window and louvers | 2%-6%
Day lighting for ground floor (after solution)

## Slide 21
Contents
Motivation
Task
Methodology
Codes
Case study analysis
New design
Shadow analysis
This analysis is done to prevent direct sun to pass through windows and to minimize the electrical usage, this is done by using Design Builder and Ecotect programs

## Slide 22
Contents
Motivation
Task
Methodology
Codes
Case study analysis
The existing building
Structural Design
Structural distribution
ETAB Modeling
Model check
Seismic design
Footing , G.B and column layout
Elements design

## Slide 23
Contents
Motivation
Task
Methodology
Codes
Case study analysis
The existing building
Structural distribution

## Slide 24
Contents
Motivation
Task
Methodology
Codes
The existing building
ETAB modeling
.
Section type | The defined dimensions (mm)
corner columns | (300*750)
side columns | (300*750)
middle columns | (400*800)
Beam 1 | (400*900)
Beam 2 | (700*400)
Beam 3 | (900*500)
Slab | 400
Compressive strength for columns and wall Concrete f′c = 28MPa and for beams and slab Concrete f′c = 24MPa.
Yielding strength of steel fy = 420MPa.

## Slide 25
Contents
Motivation
Task
Methodology
Codes
Case study analysis
The existing building
Model check
1-Compatibility check  ok

## Slide 26
Contents
Motivation
Task
Methodology
Codes
Case study analysis
The existing building
2-Equilibrium check : All errors are less than 10%.  ok
Model check
Load case | Reaction from Etabs (KN) | Manual reaction (KN) | Error
dead | 21587.5336 | 22537.9 | 4.22%
Live | 6172.0617 | 6171.99 | 0.0011%
SD | 14151.5801 | 15451.7289 | 8.4%

## Slide 27
Contents
Motivation
Task
Methodology
Codes
The existing building
3-Stress strain check  ok
Model check
 | ETABS Value | Manual Value | % Error
Beam | 375 | 405 kN.m | 7.75 %
4-Check wide beam shear All the values is within the range (-249.33-249.33), slabs So, no shear design is required, use 3ø10 stirrups per meter in rib.
Check slab thickness for shear: ØVc=249.33 KN/m

## Slide 28
Contents
Motivation
Task
Methodology
Codes
The existing building
3-Deflection check  ok
Model check
✓ Immediate deflection due to live load : 9.13/360 = 25.36 mm
✓ Immediate deflection due to service load: 9.13/240 = 38 mm
✓ The average deflection of beams in GF around the purple area = 20
slab deflection = 43-20 = 23 mm << 38 mm < ok

## Slide 29
Contents
Motivation
Task
Methodology
Codes
The existing building
Seismic design:
zone 2B which has a micro zonation factor (Z) = 0.20.
Soil profile type of very dense soil and soft rock (Sc).
Seismic importance factor (I)= 1.00
Building frame concrete system (R)= 5.5.
Acceleration seismic coefficient (Ca) = 0.24.
velocity seismic coefficient (Cv) = 0.32.

## Slide 30
Contents
Motivation
Task
Methodology
Codes
The existing building
Footings, G.B and columns layout:

## Slide 31
Contents
Motivation
Task
Methodology
Codes
The existing building
Footings design

## Slide 32
Contents
Motivation
Task
Methodology
Codes
The existing building
Footings design

## Slide 33
Contents
Motivation
Task
Methodology
Codes
The existing building
Footings design

## Slide 34
Contents
Motivation
Task
Methodology
Codes
The existing building
Ground beams design
No. | Depth (cm) | Width | Length | T reinf | B Reinf. | Stirrups
G.Beam | 50 | 25 | 2.55 | 3Ø14 | 3Ø14 | 1Ø10

## Slide 35
Contents
Motivation
Task
Methodology
Codes
The existing building
Columns design

## Slide 36
Contents
Motivation
Task
Methodology
Codes
The existing building
Wall design
No. | Depth (cm) | Width | Reinforcement.
Wall | 200 | --- | 5Ø12/20 cm

## Slide 37
Contents
Motivation
Task
Methodology
Codes
The existing building
Beams design

## Slide 38
Contents
Motivation
Task
Methodology
Codes
The existing building
Beams design

## Slide 39
Contents
Motivation
Task
Methodology
Codes
The existing building
Slab design
֍ For main steel: Use 2Ø16/ rib Top and bottom steel
֍ For shrinkage steel: 4 Ø8 /m

## Slide 40
Contents
Motivation
Task
Methodology
Codes
The existing building
Stair design

## Slide 41
Contents
Motivation
Task
Methodology
Codes
The existing building
Retaining wall design
Friction angle (ϕ) = 300
γ (soil) = 20 kN/m3,
The height of basement wall is 3 m.
Service Loads on the wall:
  Surcharge Load= 15kN/m2
  Q1= 7.5 kN/m
  Q2= 30 kN/m

## Slide 42
Contents
Motivation
Task
Methodology
Codes
The existing building
Ramp design
Load on the ramp
Dead load = 12.5KN/m2
Live load = 5 KN/m2
  1.Check Compatibility

## Slide 43
Contents
Motivation
Task
Methodology
Codes
The existing building
Ramp design
  2. Equilibrium Check
Load type | Hand results | Sap results (KN) | Differences %
Dead load | 794 | 794 | 0 < 5 OK
Live load | 317.5 | 317.5 | 0 < 5 OK
3.Internal force
Mu(hand)=203KN.m/m Mu(Etab)= 223KN.m/m
%error = 9 <10 % (accepted)

## Slide 44
Contents
Motivation
Task
Methodology
Codes
The existing building
Ramp design
  4-Deflection check
Max Deflection =0.02 mm
Deflection allowable =35mm>0,02mmOK

## Slide 45
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ Water supply system:

## Slide 46
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ Drainage system:
2" diameter sewer from sinks and lavatories to floor trap.
4"diameter sewer from floor trap to the risers

## Slide 47
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ Drainage system:
6"diameter used between manholes with a slope of 1%.

## Slide 48
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ HVAC system (VRF):
1-outdoor unit
The maximum cooling load equal 47.87 kW.
From LG company a two model of MULTI V 5 were selected with 8 tons for the ground floor and 6 Tons for the second floor

## Slide 49
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ HVAC system (VRF):

## Slide 50
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ HVAC system (VRF) for G.F

## Slide 51
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ Artificial lighting

## Slide 52
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ Artificial lighting

## Slide 53
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ Artificial lighting
1-Clinic Room

## Slide 54
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ Artificial lighting
2-Meeting room

## Slide 55
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ Artificial lighting for ground floor

## Slide 56
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ Artificial lighting for ground floor

## Slide 57
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦Electrical system :
♦The total power for lighting for ground floor is 35750 watts.
♦ The total number of ring circuit needed for the G.F is 41 loop circuit.
♦ Every ring circuit have 8 A max rating.
♦ The cable size for every rings is 2.5 mm^2.
♦ The C.B for every rings is 16 A..
♦ The demand factor has used for lighting is 40%.

## Slide 58
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦Electrical system :

## Slide 59
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦Electrical system :
The distribution of circuit breaker in distribution board.

## Slide 60
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦Electrical system :
The demand factor for some kinds of buildings

## Slide 61
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦Electrical system :
The SDB for G.F

## Slide 62
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦Electrical system :
Grounding design
● d=0.019m.
●L= 1.5m long.
●N=3m.
●R=57
●Rn=19.2 Ω

## Slide 63
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦Electrical system :
Electricity consumption
●Number of working hours in month = 156 hrs./month.
●Total daily Power for ground floor = 22755.6 watt/day.
●Total power for the ground floor =22.76 Kw/day.
●The total consumption of lighting power per month = 591.78 kW
●Cost of consumption for ground floor = 384.66 Nis/Month.
●Total Cost of consumption for the building = 576 Nis/month.

## Slide 64
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦Fire Fighting system :

## Slide 65
Contents
Motivation
Task
Methodology
Codes
The existing building
Electromechanical
♦ evacuation plan :

## Slide 66
Contents
Motivation
Task
Methodology
Codes
The existing building
Acoustical Design
♦ Sound Transmission Loss (STC):
The sound transmission loss (STC) for the internal walls between different spaces.
♦The sound transmission loss (STC) for the internal walls between different spaces.

## Slide 67
Contents
Motivation
Task
Methodology
Codes
The existing building
Acoustical Design
♦ Reverberation Time (RT60):
The reverberation time for the Clinic room according to Sabine
The reverberation time for the Office room according to Sabine

## Slide 68
Contents
Motivation
Task
Methodology
Codes
The existing building
Cost Estimation
♦Quantity Surveying :
The total cost of the building is 3,380,642.23NIS and the total area of the building is 2026.54 which means that the total unit cost per is 1668.18 NIS/

## Slide 69
Contents
Motivation
Task
Methodology
Codes
The existing building
Cost Estimation
♦Percentage for each work from total cost of the faculty :
Project
Electrical works cost is equal to 40066.62 NIS.
Project
Structural works cost is equal to 2196404.97 NIS.
Project
Mechanical works cost is equal to 360043.25 NIS .
Project
Architectural works cost is equal to 656662.61 NIS.
4%
65%
11%
20%