## Slide 1: Analysis & design of An-Najah National University mosque
Under supervision of: Dr. Mohammad Samaaneh
Prepared by:
Aref Shehab
Fawzi Al-Asaad
Murad Abdul-Halim
Notes: NOTE:
To change the image on this slide, select the picture and delete it. Then click the Pictures icon in the placeholder to insert your own image.

## Slide 2: OUTLINE
2134 m2

## Slide 3: Ground floor: Male mosque.
Total area:
790

## Slide 5: Basement one: language and rescore center.
Total area:
918

## Slide 7: Basement two: Female mosque.
Total area:
426

## Slide 9: Site and geology
Rocky soil with bearing capacity = 350

## Slide 10: Codes and standards
ACI 318-12
IBC 2009
ASCE7-10 code

## Slide 11: Materials
Concreate 28 Mpa Grade-60 Steel
Fy is 420 MPa
Finishing materials and its unit weight

## Slide 12: Static Loading
Slab loads:
Load type | Value
Dead load | Slab own weight
Live load | 4
SD | 4
Load type | Value
Dead load | Slab own weight
Live load | 
SD | 
Wall additional weight:
3.2 kN/m2 (Masonry stone from one side)
6.5 kN/m2 (Masonry stone from two sides).

## Slide 13: Static Loading
Layers thickness in the wall section
Shear wall loads:

## Slide 14: PRELIMINARY CALCULATIONS
  Slab thickness
fm > 2.
Slab thickness > 90mm.
h= 0.163m, try h=0.2m.
fm = ok.

## Slide 15: Beam size
KN/m2
=
Moment on the critical beam is:
.m
Let beam width (b) = 0.5m & beam depth (h) = 1m.
Ok.

## Slide 16: Column Size
Section | Ultimate load ( kN/m2) | Approximate capacity ( kN/m2)
70cm diameter (circular) | 2515 | 3850
(40×40)cm (rectangular) | 277 | 1600
(25×175)cm (rectangular) | 2090 | 4375
(35×85)cm (rectangular) | 1141 | 2975
Ultimate loads & approximate capacity of column sections

## Slide 17: Dome thickness & ring beam dimensions
Dead load (g) = 0.12*25 = 3 kN\m2 , Radius (R) =3.45m , Thickness (T) = 0.12m
Live load (q) =2 kN\m2 , Semi-sphere (ϴ) =90o.
For dead load:
N⦶
Nϴ=
For live load:
N⦶ =
Nϴ ==

## Slide 18
Max. Values:
N⦶=90= 3.45+10.35=13.8 kN\ N⦶u = 1.2
Nϴ=90 = 10.35+3.45 =13.8 kN\ Nϴu =
= OK.

## Slide 19: Ring beam dimensions
Let choose beam depth (h) =1m, width (b) of 0.3m.
Base reaction in Z direction for the dome is 455 kN.
Base reaction for the ring beam

## Slide 20
Perimeter of the ring beam is 6.9*4m = 27.6m.
Load on the ring beam is 16.5 kN/m to the gravity.
= 0.0011 < Ok. Use.

## Slide 21: Minaret of the Mosque
Ultimate load
For each column =
Column capacity ≈ it's area in cm2.
= =10000 kN. OK

## Slide 22: 3-D MODEL & CHECKS

## Slide 23: 3-D model of the dome

## Slide 24: 3-D model of the minaret

## Slide 25: Compatibility checks

## Slide 26: Compatibility checks

## Slide 27: Compatibility checks

## Slide 28: Equilibrium check
Main structure
Total volume of the structural elements of the building
Hand calculations

## Slide 29: Equilibrium check
Dome load =1144.8 kN.
Concrete weight = 2369.77×25 = 59244.25 kN.
Total dead load = concrete weight + dome load DL =59244.25 +1144.8 = 60389.05 kN
SAP2000 result:
Error% = = 3.6% < 5% Ok

## Slide 30: Equilibrium check
Dome
Hand calculation:
Reaction from dead load = 280KN
Error% = = 0.07% < 5% Ok.
SAP2000 results:

## Slide 31: Equilibrium check
Minaret
Hand calculation:
Reaction from dead load = 4392 KN
SAP2000 result:
Error% = = 0% < 5% Ok.

## Slide 32: Base reaction from live load
Hand calculation:
R=2×(3.9×3.9-0.9×0.9)×11= 316.8 kN
From SAP2000

## Slide 33: Base reaction from Supper imposed load
Hand calculation:
R=1.5×8×30×3.2= 1152 kN
From SAP2000

## Slide 34: Stress-Strain relationship check
Moment
Hand calculation:
SAP2000 results:
=
Fawzi

## Slide 35: Stress-Strain relationship check
Shear in slab
Hand calculation:
/m
SAP2000 result: 2/m

## Slide 36: SAP2000 result:
Shear value due to live load

## Slide 37: Axial load
Hand calculation
Error% = = 1.07% < 10% Ok.
SAP2000:

## Slide 38: Deflection
Allowable deflection criteria

## Slide 39: Deflection check
Allowable deflection:
U3=7.2/240 = 0.03m
Immediate deflection : 0.0193 m .
Long term deflection : 0.0216 m.
SAP2000 result: 0.01664m

## Slide 40: Deflection in the exterior columns
U3 =m < 0.03 m.

## Slide 41
Statical DESIGN & DETAILING

## Slide 42: DESIGN & DETAILING
  For slab:
The result is: 37 KN.m

## Slide 43: Steel reinforcement for slab
= 3.48 ×10-3
As = ρbd = mm2
Area of steel that we used Ø12\200mm.

## Slide 44: Slab detailing

## Slide 45: Beam(0.5*2.5) internal moment (static)
Mu=660KN.m

## Slide 46: Beams
Beams reinforcement:

## Slide 47: Beams detailing
Beam 0.5*1
Beam 0.5*2.5

## Slide 48: Columns design

## Slide 49: Columns detailing

## Slide 50: Minaret:
Minaret slab:
Mu = 10.6KN.m
Minaret slab detailing:

## Slide 51: Minaret walls detailing

## Slide 52: Dome detailing

## Slide 53: Panel
Mu = 3371 KN.m
Maximum moment

## Slide 54: Panel detailing

## Slide 55
Dynamic analysis
Aref

## Slide 56: Location classification zone

## Slide 57: Site soil classification

## Slide 58: Fa & Fv based on site soil classification

## Slide 59: Fa & Fv based on site soil classification
Z=0.2 g
site class = B
S1=1.25*Z=0.25
Ss=2.5 Z =0.5
Fa = 1
Fv = 1
SDs = (2/3) X SMs = 2/3 *Fa*Ss =2/3*1*0.5 = 0.334 SD1 =2/3* SM1 = 2/3 *Fv*S1 = 2/3 *1*0.25 = 0.167

## Slide 60: Occupancy type

## Slide 61: Importance factor

## Slide 62: Seismic design category

## Slide 63: Period calculations

## Slide 64: Period calculations

## Slide 65: Equivalent Static Force using SAP2000
Vx from SAP2000 = 7839 kN
Vy from SAP2000 = 7839 kN

## Slide 66: Ultimate load combinations

## Slide 67: DYNAMIC DESIGN & DETAILING

## Slide 68: FOOTINGS & COLUMN CENTERLINES
BASMENT 2

## Slide 69: FOOTINGS & COLUMN CENTERLINES
BASMENT 2

## Slide 70: FOOTINGS & COLUMN CENTERLINES
BASMENT 1

## Slide 71: FOOTINGS & COLUMN CENTERLINES
GROUND FLOOR

## Slide 72: FOOTINGS DETALING

## Slide 73: FOOTINGS DETALING

## Slide 74: FOOTINGS DETALING

## Slide 75: FOOTINGS DETALING

## Slide 76: FOOTINGS DETALING

## Slide 77: FOOTINGS DETALING

## Slide 78: FOOTINGS DETALING

## Slide 79: SLAB DETALING
Mu = 55.5 KN.m/m

## Slide 80: SLAB DETALING

## Slide 81: BAEMS DESIGHN & DETALING

## Slide 82: BEAM (1X0.5)

## Slide 83: BEAM (2.5X0.5)

## Slide 84: COLUMNS DESIGHN & DETAILNG

## Slide 85: COLUMNS DESIGHN & DETAILNG
C1 (0.7m diameter)

## Slide 86: COLUMNS DESIGHN & DETAILNG
C2 (1.75X0.25m)

## Slide 87: COLUMNS DESIGHN & DETAILNG
C3 (0.4X0.4m)

## Slide 88: COLUMNS DESIGHN & DETAILNG
C4 (0.85X0.35m)

## Slide 89: COLUMNS DESIGHN & DETAILNG
C5 (0.5X0.3m)

## Slide 90: COLUMNS DESIGHN & DETAILNG

## Slide 91: PANEL DETALING

## Slide 92: PANEL DETALING

## Slide 93: PANEL DETALING

## Slide 94: PANEL DETALING

## Slide 95
THANK YOU